ZMET III 1.5 SCADA WIND TABLE DEFINITION

The following is a description of the wind data tables collected on the 1.5 projects via the Visupro using the ZMET III Software 1.10.  This description is intended to define the requirement for both the SQL Server for STAR Lite, and Oracle database used by STAR.

Table definition

Field



Description





Size


1. Site _ID

Site database ID




var(8)

2. SCADA_Ver
SCADA Version





var(8)

3. ID


ZMET address/"SystemNumber"


num(10)

4. DTTM

Date/Time





DateTime

5. Offset

TimeOffset Num. Minutes from UTC to Local

Num(4)




6. Wind_Speed
Average wind velocity (V_WIN_AVG)


Num

7. Wind_Direction
Average wind direction (WIN_DIR_AVG)


Num

8. Temp

Average temperature (TEMP_AVG)


Num

9. Air_Prss

Average air pressure (AIR_P_AVG)


Num

10. Wind_Speed_SD
Standard deviation wind velocity (V_WIN_SD)

Num

11. Wind_Direction_SD
Standard deviation wind direction (WIN_DIR_SD)
Num

12. Temp_SD

Standard deviation temperature (TEMP_SD)

Num
13. Prss_SD

Standard deviation air pressure (AIR_P_SD)

Num
14. Cre_Date

Creation Date/Time




DateTime
15. MDFD_Date
Modification Date/Time




DateTime
Note: Data for these fields is not correct until next version change.
To keep track of the changes to this data, and sensors we should include the following fields.

Current Structure

[image: image1.emf]






