

Exhibit No. ________



I.99-007-003

Exhibit No. _______

I.99-07-003

FIRM PIPELINE CAPACITY CONNECTED WITH SOUTHERN CALIFORNIA GAS COMPANY

Delivery Point
     Delivering Pipeline and Capacity



  (MMcfd)
SoCalGas Take-Away Capacity (MMcfd)





Cole Levee (Gosford)
Occidental


   200
Incl. in WR





Kern River Station
PG&E Expansion

   600
Incl. in WR





Wheeler Ridge
Kern River


   700

  680 (1) (2) (3)


Mojave


       Incl. in Topock(4)






Hector Road
Mojave


       Incl. in Topock(4)
    50





North Needles
Transwestern


1,090
   750





South Needles (Topock)
El Paso


2,230
   540


Transwestern

   Incl. in No. Needles(5)






Blythe (Ehrenberg)
El Paso


1,210
1,210





Line 85
Production


   150
   150





North Coastal
Production


   120


   120





TOTAL




6,300
3,500





(1)  Take-away from PG&E at Kern River Station is 600 but is limited to 520 MMcfd by Line 225 capacity from KRS to Wheeler Ridge with 650 psig of pressure from PG&E.

(2)  Kern/Mojave meter currently set to 500 MMcfd.

(3)  Total SoCalGas take-away capacity of 680 MMcfd from PG&E, Occidental and Kern/Mojave interconnects assumes minimum flow of 160 MMcfd from Kern/Mojave interconnect.

(4)  Mojave's 400 MMcfd capacity is connected with SoCalGas at both Hector Road and Wheeler Ridge.  Insofar as Mojave is supplied out of El Paso's 2,230 MMcfd at Topock, Mojave capacity is not included as additional delivering pipeline capacity to avoid double-counting.

(5)  340 MMcfd of Transwestern's 1,090 MMcfd is connected with SoCalGas at both North Needles or Topock.

LA-1070989v1


