Paragraph 15

9% statistic:  

As of Dec 3, 2001 the Alberta Power Pool lists the total generation capacity in Alberta as 7,885 MW [http://www.powerpool.ab.ca/Market/Reports/CSDReportServlet].  The Sundance B PPA is 706 MW.  706 MW / 7885 MW = 0.0895 or 9%.

