
[image: image1.png]1-316-792-4454 ET&S NNG GB CDC PAGE 92

18/06/2080 ©8:55 886 256 5159 P.81

OCT-B2Z-DPE BB8:17 AM SHAMROCK.GAS. ANMALYSIS.

£.6.4,
SHAMROCK GAS ANALYSIS =—
LIQ ANALYSIS REPORT NO: 001-083000-04 DATE: 09~30-0C
FOR: 'RON TRANS . % ORAGE SAMPLE IDENTIFICATION:
ATIN: RICK KILE ) COMPANY : ENRON TRANS. & STORAGE
: b 30805, g FIELD: KANSAS
GREAT BEND KANSAS LEASE: MT. JESUS DRIP
87530 STA #: NOT/REC
SAMPLE DATA: DATE: 02-20-00 BY: RICK KILE
PSIG: 323 TEMP : 58 DEG.F.
FLOW RATE (BBL/DAY) : NOT/REC

REMARKS : FAX TO: (316)792-4454
CONDENSATE ANALYSIS
CYL & Y-2 LAE # D30130

.._______---__--._---..__--.._..—-___-____-.___-..-__—____--__-..___-..__-____-_

COMPONENT ANALYSIS

MOL WT. LIC VoL
COMPONENT PERCENT PERCENT PERCENT
HYDROGLEN SULFIDE (iI28) 0.00 0.00 0.00
CARBON DICXIDE (Co2) 0.1s .10 0.08
NITRCGEN ( N2) 0.00 0.00 Q.00
METHANE ( C1) 22.00 4.9¢4 10.26
ETHANE ( c2) 3.82 1.48 2.5%
PROFANE ( C3) 4.14 2.56 3.14
ISO-BUTANE (IC4) 1.27 1.03 1.14
N-BUTANE (NC4¢) 3.594 3.20 3.41
ISQ- PENTANE {ICs) 2.80 2.82 2.81
N-PENTANE (NC5) 4.24 4.28 4.22
HEXANES { Cg) 7.92 9.54 8.55
HEPTANES PIL,US (C7+) 50.01 70.05 63.40
TOLALS 0.00 100.00 100.00
TOTAL HEPTANE
CALCULATED VALUES LIQ PLUS
SPECIFIC GRAVITY @ 60 DEG. G. (WATER = 1) 0.6228 0.6881
MOLECULAR WEIGHT i ' 71.5000 100.2040
POUNDS/GALLON (ABSOLUTE DENSITY) 5.1920 5.7364
POUNLS/CALLON (WEIGHT IN AIR) 5.1820 5.7264
CU.FT. VAPOR/GAL. @ 14.696 PSIA, 60 DEG. F. 27.5570 21.7250
BTU/CUPT: DRY GAS @ 14.65%6 PSIA, €0 DEG. F. 3968.9 §502.5
BTU/GALLON LIQUID 108318 119541

BTU/POUND 1057 5
1100 SOUTH MADDEN * SHAMROCK, TEXAS 75079 * (8063~ %%%-3249 2083

OCT @6 200 89:82 1 316 792 4454 PAGE . 82




_1054367311.bin

