INTRODUCTION TO THE ELECTRIC POWER INDUSTRY

Enron Gas Pipeline Group Presentation 

August 25, 2000

Doubletree Hotel, Houston TX

Granger A & B

8 AM – 5 PM

8:00 AM to 8:15 AM

Welcome & Introduction
8:15 AM to 10:15AM

 SEQ CHAPTER \h \r 1I.  Properties of Electricity & Industry Structure 
                                                          PAGE #

The difference between power & electrical energy
1-2


Volts, amperes & watts-hours
1-3


AC versus DC electric current
1-6


How electricity moves: Kirchoff’s Law
1-7


Parallel & Looping Flows
1-8


Apparent power, real power & VARs
1-9


The structure of the electric service system
1-10


IOUs, Municipals, NUGs, rurals, power agencies, IPPs & other players
1-13


PURPA and The Energy Policy Act of 1992
1-22


Highlights of FERC Orders 888 & 889
1-25


Industry associations
1-28


North American Electric Reliability Councils (NERC)
1-31


The four “Synchronistic Regions”, “Interconnects” or “Grids”
1-34


Why Texas is an electrical island
*


Tight and loose power pools
1-36


Nuclear & hydroelectric generation/“Pumped Storage”
1-39


Coal-fired steam boilers
1-41


Gas turbines & gas-fired combined cycle units
1-43


Baseload, intermediate & peaking units: Use and relative cost
1-45


Heat rates, System Lambda, Economic Dispatch and the EMS system
1-48


EHV lines, VAR transmission & shrinkage
1-52


Control areas, spinning reserve and non-spinning reserve
1-57


Area Control Error (ACE)
1-63


Load pockets & TDUs 
1-66

10:15 AM to 11:30 AM

        II. Open Access Markets 

Retail Wheeling
1-67

Independent System Operators (ISOs), Transcos & RTOs 
1-69


OASIS
1-81

Poolco Vs. Bilateral Markets
1-83


The Contract Path method for transmitting electricity
1-88


Point-to-point versus Network Transmission Service
1-91


Understanding ATC, TTC, TRM & CBM 
Handout


“TLR  Procedures”
1-98


Locational Marginal Pricing (“LMP”)
1-108


Power Marketers, Brokers & Power Exchanges
1-110

      11:30 AM to 11:45 AM

    
LUNCH SERVED

11:45-12:45 (WORKING LUNCH)

III.  Overview of Current Market Structures

12:45 PM to 2:00 PM

IV.  Overview of Bulk Power Trading

Financial & legal responsibility
1-119


Gas versus electricity trading: Similarities
1-120


Gas versus electricity trading: Differences
1-121


Power trading units: MWs versus MWhs
1-129


On-peak and round-the-clock transactions
1-130


Common contractual terms and transaction sizes
1-131


Defining the different trading periods: Multiple Spot Markets
1-132


Common trading locations
1-135

The “Seller’s Choice” method of trading power
1-136

Enabling, Service, & Wheeling Agreements
1-137


“Financially Firm”, “Unit Firm” & other contract terms
1-139


Calculating Transmission Prices
1-143

              Virtual title transfer & bulk power “Bookouts”
                                                               

               Scheduling, shrinkage and TIS tags
2:15 PM to 3:00 PM
V. Spark Spreads, Heat Rates & Tolling Arrangements


Heat rates and their impact on cross-commodity economics  

Converting gas, oil & coal MMBtu prices to MWh prices 

The difference between operational & economic heat rates  

Converting gas, oil & coal MMBtu quantities to Mwhs  


Defining the “Spark Spread”
Tolling and reverse tolling arrangements

Selling gas by wire

3:15 PM to 5:00 PM
      VI. Introduction to Gas-to-Electricity Arbitrage


Gas-fired electric generation: refinery or electricity producer?


Assets as financial options on locational, time or product “basis”


Gas-fired generation as a spark-call option


Class discussion
      Appendix : 
List of Electric Power Industry Websites 
2


Glossary of Electricity Terms
3


Deregulation Status by State
7


Sample Electricity Pricing Broker Sheets
10


Sample Enabling Agreement: Purchase of Power 
14


Sample Enabling Agreement: Firm Transmission Service
24


Sample Enabling Agreement: Non-Firm Transmission Service
28

-1-


