[image: image1.wmf]Monthly Maximum/Minimum MW Demand

Supply Requirement for 10% PTB Load (2002-2004)

-

100

200

300

400

500

600

700

800

900

1,000

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

26

27

28

29

30

31

32

33

34

35

Month

MW Demand

Min

Max


10% PTB Load for 2002

 
Energy (MWH)
Maximum Demand (MW)
Minimum Demand (MW)

January
          160,676 
                                     537 
                                       -   *

February
          264,990 
                                     721 
                                    215 

March
          262,832 
                                     533 
                                    193 

April
          257,031 
                                     580 
                                    206 

May
          353,991 
                                     804 
                                    247 

June
          410,733 
                                     828 
                                    352 

July
          444,424 
                                     912 
                                    319 

August
          432,228 
                                     880 
                                    343 

September
          357,988 
                                     764 
                                    240 

October
          274,840 
                                     621 
                                    196 

November
          229,576 
                                     506 
                                    111

December
          253,719 
                                     563 
                                    183 

Total
       3,703,029 



* Demand will be phased in due to the implementation of full competition in ERCOT beginning January 1, 2002 as PTB customers are switched to the Reliant Energy Retail Services, LLC, the affiliated REP.
10% PTB Load for 2003

 
Energy (MWH)
Maximum Demand (MW)
Minimum Demand (MW)

January
          253,794 
                                     498 
                                    182 

February
          217,594 
                                     610 
                                    172 

March
          216,445 
                                     442 
                                    155 

April
          214,694 
                                     492 
                                    171 

May
          299,356 
                                     689 
                                    205 

June
          350,825 
                                     718 
                                    289 

July
          382,590 
                                     790 
                                    267 

August
          374,293 
                                     765 
                                    293 

September
          311,867 
                                     685 
                                    207 

October
          240,040 
                                     545 
                                    168 

November
          202,095 
                                     448 
                                    102 

December
          225,171 
                                     500 
                                    162 

Total
       3,288,764 

 

10% PTB Load for 2004

 
Energy (MWH)
Maximum Demand (MW)
Minimum Demand (MW)

January
          218,906 
                                     481 
                                    153 

February
          187,737 
                                     509 
                                    131 

March
          186,710 
                                     371 
                                    119 

April
          185,363 
                                     425 
                                    150 

May
          258,492 
                                     568 
                                    172 

June
          303,034 
                                     625 
                                    255 

July
          330,543 
                                     674 
                                    225 

August
          323,371 
                                     660 
                                    248 

September
          269,357 
                                     591 
                                    179 

October
          207,085 
                                     457 
                                    149 

November
          174,356 
                                     385 
  100

December
          194,260 
                                     425 
                                    140 

Total
       2,839,214 



[image: image2.wmf]10% PTB Load

Representative Seasonal Days

-

100

200

300

400

500

600

700

800

900

1,000

1

2

3

4

5

6

7

8

9

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

Hours

MW

Winter

Summer

Shoulder


[image: image3.wmf]10% PTB Load

Represenatative Winter Month (February, 2002)

200

300

400

500

600

700

800

1

51

101

151

201

251

301

351

401

451

501

551

601

651

Hours

MW


[image: image4.wmf]10% PTB Load

Representative Shoulder Month  (October, 2002)

100

200

300

400

500

600

700

1

51

101

151

201

251

301

351

401

451

501

551

601

651

701

Hours

MW


[image: image5.wmf]10% PTB Load

Representative Summer Month  (July, 2002)

300

400

500

600

700

800

900

1,000

1

51

101

151

201

251

301

351

401

451

501

551

601

651

701

Hours

MW








