HIGHLY CONFIDENTIAL

# MONITORING & SUPPORT SERVICES

# FOR ECT

## Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

11/13/00 Update

(italicized plants have changed status since last week’s report)

November 2000

ECAR

Cook 1			- In regulatory outage; Restart expected 12/12/00

Perry			- Holding at 98% due to power uprate calculation

Total Regional MWe for month 	= 7713

Average operating MWe for month = 6298.7

ERCOT

Comanche Peak 2	- In derate for heater drain pump leakage; Full power expected 11/15/00

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4471

FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3848.9

MAAC

Oyster Creek		- In refueling outage; Restart expected 11/25/00; Full power expected 11/30/00

Salem 2			- In refueling outage; Restart expected 11/14/00; Full power expected 11/19/00

Susquehanna 2		- In derate; Full power expected 11/14/00

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 11,492

MAIN

Clinton			- In power ascension; Full power expected 11/15/00

Kewaunee		- Holding at 96% maximum power

LaSalle 2                        	- In refueling outage; Restart expected 11/16/00

Point Beach 2		- In refueling outage; Restart expected 11/25/00; Full power expected 11/30/00

Quad Cities 1		- In derate for recirc pump repair; Full power expected 11/14/00

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 10045

##### MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3236.7

##### NPCC

FitzPatrick		- In refueling outage; Restart expected 11/14/00; Full power expected 11/19/00

Indian Point 2		- In steam generator replacement outage; Restart expected 11/29/00

Pilgrim			- In derate for control rod swap; Full power expected 11/14/00

Seabrook		- In refueling outage; Restart expected 11/30/00

Total Regional MWe for month 	= 9292

Average operating MWe for month = 6534.3

SERC

Catawba 1		- In refueling outage; Restart expected 11/18/00; Full power expected 11/23/00

Hatch 1			- In power ascension; Full power expected 11/14/00

Sequoyah 1		- In forced outage; Restart expected 11/14/00; Full power expected 11/18/00

Sequoyah 2		- In refueling outage; Restart expected 11/16/00; Full power expected 11/21/00

Summer			- In refueling outage; Restart expected 12/24/00

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 21,656

##### SPP

Arkansas Nuclear One 2	- In refueling outage; Restart expected 11/20/00

Waterford 3		- In refueling outage; Restart expected 11/18/00; Full power expected 11/23/00

Total Regional MWe for month 	= 7217

Average operating MWe for month = 5354.8

Total All Regions MWe for month	= 86,971

Average operating MWe for month = 72,693

December 2000

ECAR

Cook 1			- In regulatory outage; Restart expected 12/12/00; Full power expected 12/22/00

Perry			- Holding at 98% due to power uprate calculation

Total Regional MWe for month 	= 7713

Average operating MWe for month = 6526.2

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4717

FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3798.4

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12392

MAIN

Kewaunee		- Holding at 96% maximum power

LaSalle 2		- In refueling outage; restart expected 12/16/00; Full power 12/21/00

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,181

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3280.8

NPCC

Indian Point 2		- In power ascension; Full power expected 12/4/00

Seabrook		- In power ascension after refueling; Full power expected 12/5/00

Total Regional MWe for month 	= 9292

Average operating MWe for month = 8534.6

SERC

Oconee 1		- In refueling outage; Restart expected 1/2/01

Summer		- In refueling outage; Restart expected 12/24/00; Full power expected 12/29/00

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 23,249

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6748.6

Total All Regions MWe for month	= 86,971

Average operating MWe for month = 80,428

January 2001

ECAR

Perry			- Holding at 98% due to power uprate calculation

Total Regional MWe for month 	= 7713

Average operating MWe for month = 7000.1

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4717

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3798.4

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,392

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,767

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3082.6

NPCC

Total Regional MWe for month 	= 9292

Average operating MWe for month = 8616.5

SERC

Oconee 1		- In refueling outage; Restart expected 1/2/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,680

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6748.6

Total All Regions MWe for month	= 86,971

Average operating MWe for month = 82,802

February 2001

ECAR

Perry			- Holding at 98% due to power uprate calculation

Total Regional MWe for month 	= 7713

Average operating MWe for month = 7000.1

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4497.6

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3798.4

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,392

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,767

MAPP

Prairie Island 1		- In refueling outage;  Restart expected 2/1/00

Total Regional MWe for month 	= 3460

Average operating MWe for month = 2768.7

NPCC

Total Regional MWe for month 	= 9292

Average operating MWe for month = 7589.1

SERC

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,770

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6748.6

Total All Regions MWe for month	= 86,971

Average operating MWe for month = 81,332