HIGHLY CONFIDENTIAL

# MONITORING & SUPPORT SERVICES

# FOR ECT

## Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

12/12/00 Update

(italicized plants have changed status since last week’s report)

December 2000

ECAR

Beaver Valley 2		- In forced outage due to RCS leak; Restart expected 12/13/00; Full power expected 12/15/00

Cook 1			- In regulatory outage; Restart expected 12/17/00; Full power expected 12/27/00

Perry			- Derate to 85% due to power limit testing; Maximum power (98%) expected 12/6/00

Total Regional MWe for month 	= 7713

Average operating MWe for month = 6470

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4749.1

FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3845.6

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,482

MAIN

Kewaunee		- Holding at 96% maximum power

Point Beach 2		- In refueling outage; Restart expected 12/14/00; Full power expected 12/19/00

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,447

##### MAPP

Prairie Island 1		- In forced outage; Restart expected 12/14/00; Full power expected 12/17/00

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3122.6

##### NPCC

FitzPatrick		- In derate due to feed pump maintenance; Full power expected 12/13/00

Indian Point 2		- In steam generator replacement outage; Restart expected 12/17/00; Full power expected 12/22/00

Seabrook		- In refueling outage; Restart expected 12/30/00; Full power expected 1/4/01

Total Regional MWe for month 	= 9292

Average operating MWe for month = 7184.3

SERC

Brunswick 2		- In derate; Full power expected 12/13/00

Oconee 1		- In refueling outage; Restart expected 1/7/01

Summer			- In refueling outage; Restart expected 1/11/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 23,347

##### SPP

Arkansas Nuclear One 2	- In refueling outage; Restart expected 12/12/00; Full power expected 12/17/00

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6566.4

Total All Regions MWe for month	= 86,971

Average operating MWe for month = 79,215

January 2001

ECAR

Perry			- In coastdown to refueling; Refueling start expected 2/17/01

Total Regional MWe for month 	= 7713

Average operating MWe for month = 6836.9

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4717

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3818.2

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,392

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,767

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3088.4

NPCC

Seabrook		- In power ascension; Full power expected 1/4/01

Total Regional MWe for month 	= 9292

Average operating MWe for month = 8585.2

SERC

Oconee 1		- In refueling outage; Restart expected 1/7/01; Full power expected 1/12/01

Summer			- In power ascension; Full power expected 1/11/01; Full power expected 1/16/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,206

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6748.6

Total All Regions MWe for month	= 86,971

Average operating MWe for month = 82,159

February 2001

ECAR

Perry			- In coastdown to refueling; Refueling start expected 2/17/01

Total Regional MWe for month 	= 7713

Average operating MWe for month = 6401

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4717

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3818.2

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,392

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,767

MAPP

Prairie Island 1		- In refueling outage;  Restart expected 3/1/00

Total Regional MWe for month 	= 3460

Average operating MWe for month = 2774

NPCC

Total Regional MWe for month 	= 9292

Average operating MWe for month = 7589.1

SERC

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,770

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6748.6

Total All Regions MWe for month	= 86,971

Average operating MWe for month = 80,977

March 2001

ECAR

Perry			- In refueling outage; Restart expected 3/23/01; Full power expected 3/28/01

Total Regional MWe for month 	= 7713

Average operating MWe for month = 6165.1

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 3553.6

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3233.6

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 10,043

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,767

MAPP

Prairie Island 1		- In power ascension;  Full power expected 3/6/00

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3027.6

NPCC

Millstone 3		- In refueling outage; Restart expected 3/16/00; Full power expected 3/21/00

Total Regional MWe for month 	= 9292

Average operating MWe for month = 7763

SERC

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 22,743

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6345.1

Total All Regions MWe for month	= 86,971

Average operating MWe for month = 74,641

April 2001

ECAR

Total Regional MWe for month 	= 7713

Average operating MWe for month = 6618.9

ERCOT

Comanche Peak 1	- In refueling outage; Restart expected 4/28/01

South Texas 2		- In refueling outage; Restart expected 4/9/01; Full power expected 4/14/01

Total Regional MWe for month 	= 4800

Average operating MWe for month = 3198.7

##### FRCC

St. Lucie 1		- In refueling outage; Restart expected 4/19/01; Full power expected 4/24/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3258.1

MAAC

Calvert Cliffs 2		- In refueling outage; Restart expected 4/29/01

Limerick 2		- In refueling outage; Restart expected 4/26/01

Salem 1			- In refueling outage; Restart expected 4/26/01

Susquehanna 2		- In refueling outage; Restart expected 4/25/01; Full power expected 4/30/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 8727.1

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 10,194

MAPP

Fort Calhoun		- In refueling outage; Restart expected 4/18/01; Full power expected 4/23/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 2584.5

NPCC

Nine Mile Point 1	- In refueling outage; Restart expected 4/22/01; Full power expected 4/27/01

Total Regional MWe for month 	= 9292

Average operating MWe for month = 7060.6

SERC

Browns Ferry 2		- In refueling outage; Restart expected 4/21/01; Full power expected 4/26/01

Farley 2			- In refueling/steam generator replacement outage; Restart expected 6/4/01

McGuire 1		- In refueling outage; Restart expected 4/25/01

North Anna 2		- In refueling outage; Restart expected 4/14/01; Full power expected 4/19/01

Robinson 		- In refueling outage; Restart expected 4/21/01; Full power expected 4/26/01

Vogtle 2			- In refueling outage; Restart expected 5/4/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 19,425

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 4386.7

Total All Regions MWe for month	= 86,971

Average operating MWe for month = 65,453