Fixing What Is Broken: What Steps Are Needed to Complete California’s Power Markets?

[Docket Nos. EL00-95-000 and EL00-98-000]

A White Paper prepared by

Seabron Adamson, Frontier Economics

Carl Imparato, Tabors Caramanis and Associates

October 15th, 2000

Fixing What Is Broken: What Steps Are Needed to Complete California’s Power Markets?

Seabron Adamson, Frontier Economics

Carl Imparato, Tabors Caramanis and Associates

# Introduction

The events of this summer in California’s power industry have led some to conclude that the market has “failed” California. This is untrue. The market structure in California has been only half a market, and has performed about as well as could be expected for such an incomplete enterprise. What is the basis for this claim? Consider the many elements of a normal and robust market structure that have been missing since 1998 from the California power market:

- A typical market is an effective mechanism for gathering and evaluating information on the characteristics of supply and demand. Dissemination of this information is essential to the efficient operation of the market. But in the California market, information is shared poorly or not at all. In addition, the California Independent System Operator (‘ISO’) cannot be effective as a market institution, because market participants dominate its governance. It is in this context that the Federal Regulatory Commission (‘FERC’) has a clear mandate for improving the efficiency of wholesale markets.

- However, the California wholesale market also exhibits a number of serious structural problems. A robust market has many sellers and buyers. While the divestiture process created numerous sellers; policy decisions have greatly limited the number of buyers of electricity, and have unduly constrained the manner of their participation in the marketplace.

- In a normal market, prices reflect not only the offers of suppliers but are also shaped by the price responsiveness of demand. Yet in the California power market, these demand price signals are nearly absent from the wholesale market.

- A market is a powerful mechanism for the sharing of risks between affected parties. Most commodity markets are characterized by active and liquid forwards markets. The spot market is the last link in a chain – an important link to be sure – but not the only one. Yet the California market structure has prevented risks from being managed efficiently by forcing all purchases and sales through the spot market, to the detriment of efficiency and customers.

- Finally, in a real market prices reflect scarcity where it exists. This is a necessary condition for investment in a capital-intensive industry with large sunk and fixed costs. The recent decisions of the FERC have reinforced the distortions on prices that will constrain investment and reduce reliability.

Half a market will not be sufficient to create efficient prices, nor to bring on the new generating capacity that California needs to meet its future load growth. Having stepped off the dock, California cannot afford to have only one foot on the boat. A halfway point between the old forms of regulation and a market is likely to be far worse than either.

## Primary issues

This paper identifies and discusses three fundamental issues that need to be addressed by FERC and state authorities if the California market is to work efficiently. These are:

- Improvements on information flow: Price discovery and efficiency in markets depends on information. The amount of information released in California is too little and too late to allow arbitrage to occur that is critical for efficiency. Section 2 of this paper will discuss why and how FERC should improve the efficiency of the market by improving the quantity and quality of transmission and operational data released to participants.

- Development of forwards markets and risk management: Many observers have pointed out the limitations of relying only on spot markets to procure electricity for customers, with little or no forwards contracting or hedging. This paper will discuss why forwards markets and proper scheduling in the day-ahead market are critical for market efficiency and competitiveness, and what regulatory changes are required to realize these benefits.

- Removing distortions on prices that affect supply and investment: A fundamental issue for California is the scarcity of generation in a state and region with rapidly growing load. The issue for FERC is therefore to ensure that its policies do not hinder the needed investment. The lower and lower price caps on prices are one obvious example. This paper will focus on why these mechanisms distort investment signals and why other available mechanisms should be used, if indeed they are required.

The information issue is discussed first, as this is the one major issue where FERC has sole jurisdiction, and could act to improve market peformance quickly through direct order. Finally, we also comment briefly on the question of governance of the California ISO. The governance structure of the California ISO places the pursuit of short-term interests before the longer-term efficiency objectives that will best serve the interest of customers.

## Objectives and recommendations

There are three basic objectives of this paper. First, we highlight the economic distortions that have been created due to past regulatory and legislative policies and why these are significant. Second, we will show what policy changes are needed to remove these distortions and to allow the market to operate more efficiently. Third, we will recommend specific changes FERC can enact to realize these benefits.

This paper is not intended to be a complete or even partial list of specific changes needed in the ISO tariff, or in the other market rules. While some changes are justified, at this point it is more important to focus attention on these basic economic issues, rather than attempt to fine-tune the market rules to address problems that in fact are more far-reaching in nature.

Each of the three key issues identified will be discussed in the following sections. The final section concludes with a discussion of why FERC is right to focus on fundamental problems and should reject attempts to solve fundamental market issues through either ISO tariff quick fixes or by futile attempts to create the effects of competition through intrusive regulation, which has failed in the past and if attempted will fail again.

# Market transparency issues

Information is critical to the smooth functioning of markets – in particular complex markets such as the energy markets – to achieve an efficient allocation of resources. In many circumstances, a market process can find the appropriate and efficient allocation of resources even if no single participant has all of the requisite information. The importance of good information to support efficient trading outcomes is vital for a decentralized wholesale market such as California. In other deregulated US energy markets, including PJM and NEPOOL, all key operational and pricing decisions are undertaken by centralized software. The structure of the California energy market is fundamentally different. It relies on the ability of many independent market participants to make decentralized decisions, in order to meet demand at least cost, both in the short- and in the longer-term. However, it is clear that market outcomes will only be efficient, if market participants have accurate and timely information, rather than being left guessing about the nature of key system events and parameters.

## Information and market efficiency

The following are key reasons for maximizing the amount of information that is made available to market participants:

- Optimal allocation of resources: The efficiency of California’s market structure depends on participants receiving enough data from the California ISO to enable them to undertake efficient decentralized decisions. That is, at the end of trading, transmission and energy services should be allocated to those market participants who value these most. However, effective market incentives require the ISO to release sufficient information on a timely basis, so that the participants will have the ability to respond to those incentives in their activities.

- Liquidity enhancement: A greater understanding of the underlying ‘drivers’ of market trends is likely to encourage confidence in the market and hence support liquidity in individual trades. For instance, the publication of transmission information will mitigate the available transmission capacity (‘ATC’) knowledge advantage retained by grand fathered transmission contract holders.

- Detection and policing of collusive behavior: Publication of information relevant to grid and market operations can assist the market in self-policing anti-competitive behavior. Increased data release allows all market participants, including those representing loads, to play a greater role in identifying rules problems and operational issues.

## Information and arbitrage in a decentralized market structure

The basic California market design was premised on the idea of free arbitrage across inter-temporal and geographic (zonal) markets. In an efficient sequence of decentralized markets, price differences should reflect fundamental economic differences. Otherwise, arbitrage transactions should occur that will eliminate any (risk-adjusted) price differences not caused by fundamental economic drivers (e.g. congestion on transmission lines, changes in supply and demand that would affect short-term prices in real-time markets, etc.).

Figure 1 illustrates the process of inter-temporal arbitrage that should occur in California. Note that the arrows reflect a process of backward induction from the last market in the sequence, as prices in earlier markets will be based at least partially on expected outcomes in the ISO’s real-time energy markets.

Figure 1: Inter-temporal arbitrage in the California market design

Arbitrage against the real-time energy market price is critical for several reasons:

- The California market was not designed with structured penalties for deviations against balanced schedules. Paying the real-time price is the penalty, and it was considered that arbitrage between day-ahead and real-time markets would be sufficient to ensure that market quantity and price relationships were stable.

- The ancillary services protocol used in California is strongly dependent on bidders being able to arbitrage between day-ahead, ancillary services and real-time markets in selling their scheduled capacity.

Information about the current and expected state of the transmission system in particular is critical for ensuring that this needed arbitrage occurs. When sufficient information is available, Scheduling Coordinators (‘SCs’) can identify market opportunities where price differences arise, and can schedule additional transactions. If a sufficient number of schedules are submitted, arbitrage will become complete and uneconomic price differences will be virtually eliminated – all through a market process.

## Market outcomes suggest that arbitrage is incomplete

Recent outcomes in the California market suggest that both geographical and inter-temporal arbitrage is highly incomplete. This is illustrated in Figure 2, which shows average peak hour (16 hours for all days but Sundays) prices for the day-ahead PX and ISO real-time ex post markets. As will be discussed in the next section, the pattern of day-ahead versus real-time prices is likely caused by UDC underscheduling of load. This explains the lack of inter-temporal arbitrage.

Figure 2: Zonal price differences in August and September 2000

However, inter-zonal price differences suggest that geographical arbitrage is highly incomplete as well. For example, in August 2000 in peak hours SP15 prices were higher on average day ahead, reflecting the fact that north to south transactions were congested in 53% of relevant hours. The patterns completely reverse in the real-time ex post market, however. In this market, NP15 was at a sustained premium, and the pattern of congestion is completely reversed. This is counterintuitive, and suggests that the information - especially about transmission between zones - needed to achieve scheduling efficiency was unavailable. Otherwise, SCs could have made “free money” simple by submitting schedules. In an efficient market with adequate information and low transaction costs, such a strategy is impossible.

## FERC’s role in achieving more transparent market operations

The efficient management of the California transmission system, including major interfaces leading into the state, plays a key role for market price outcomes. It is in this context that substantial benefits from greater information provision and market transparency could be realized. FERC has an important role to call for the transparent functioning of the California energy markets by requiring the California ISO to post the detailed information that is required to ensure its efficient operations.

### Public market information

As a general principle, information that affects the allocation of grid resources should be available to market participants to ensure that limited grid resources are efficiently allocated. This should include information related to scheduling and the use of the grid, as well as information related to the allocation of transmission capacity. For instance, in contrast to PG&E, market participants currently have no information about such key indicators of system conditions as actual flows across the main interfaces (specifically Path 15, the transmission interface separating zone NP15 from zone ZP26) and demand by zone. As a result, market participants are unable to predict or explain the incidence and severity of system congestion. This increases the extent of uncertainty in the market and hence the risk of forward transactions, and potentially limits the number of counter trades to mitigate congestion. Annex 1 to this paper provides an overview of the type of information that is necessary for the transparent operations of the California energy markets.

### Existing transmission contracts

The rules applied by the California ISO for determining ATC on critical inter-zonal transmission paths have not been published to date. Instead, the ISO permits incumbent transmission owners to de facto determine ATC by designating these transmission owners to be ‘ETC Facilitators’. Accordingly, these transmission owners know the actual amount of ATC when they are bidding in the market, but other participants do not. This discrimination is especially problematic in relation to Path 15, but also in the context of other inter-zonal interfaces (for example, the California-Oregon interface).

The uncertainty in relation to ATC on key transmission interfaces leaves non-transmission owning grid users unable to predict the potential quantities of ATC for release and hence the value of such capacity. This has wider (adverse) implications for market participants’ ability to enter into longer-term transactions and of valuing energy and transmission services at different grid locations.

### ISO market models and software

At present market participants do not have access to the California ISO’s congestion management software (‘CONG’). Hence market participants are unable to fully understand the nature of congestion on the ISO grid and are limited in their ability to formulate revised preferred schedules and revised adjustment bids in the day-ahead scheduling process. This compounds the inadequate information problems discussed above by preventing market participants from interpreting system data. In effect, market participants are required to pay for congestion in the ISO’s real-time balancing market with little or no information about the likely costs of these transactions.

The absence of such key operational information deters efficient market operations and violates Section 205(c) of the Federal Power Act. Section 205(c) requires all public utilities to file with FERC for public inspection all rates, charges, classifications and practices, as well as any contracts that affect or relate thereto.

Market rules must be transparent to market participants. While the California ISO’s recent proposals for a simplified, flowgate-based commercial model for managing congestion should be supported, the ISO has made no commitment to release the CONG model to users of the grid. This has implications for the ability of market participants to manage congestion efficiently, as well as for the liquidity of corresponding real-time and forward energy and ancillary services markets. FERC should therefore require the California ISO to make available the CONG (or its equivalent successor) algorithm for identifying and managing congestion within the California ISO grid with the objective of bringing complete transparency to the ISO’s congestion management process.

The same rationale – the need for transparent market rules as a prerequisite to broad participation in forward markets – applies to the ISO’s ancillary services markets. The ISO should be required to make publicly available the detailed rules through which it determines the ancillary services requirements that will be imposed on market participants and the ancillary services procurement model (‘ASM’) which the ISO uses in its procurement process.

### Rules for real-time operation of the grid

The mechanism for out-of-market (‘OOM’) calls by the ISO has come under considerable scrutiny given this summer’s high prices. The lack of transparency of important ISO real-time operations rules – in particular, how the ISO uses its BEEP stack and how the ISO purchases OOM energy and capacity – represents a serious barrier to the efficient operation of the California energy marketplace and potentially undermines the integrity of the California ISO.

The California ISO’s OOM mechanism raises serious questions about price discrimination (Section 4.4). But there is also a clear need for transparency in making OOM calls by the California ISO and the rules under which these calls are made:

- while a price cap is hypothetically in place, this price cap is routinely exceeded in the course of the ISO’s OOM purchases;

- it appears that the ISO is discriminatory in requesting OOM energy and capacity – at prices far beyond the price cap – from certain market participants, but not from others; and

- it is unclear how the ISO identifies OOM energy suppliers and how the ISO make arrangements for replacement reserves under OOM on a purely bilateral basis.

FERC should require the ISO to establish a clear acquisition process for OOM calls. One option would be to require the ISO to publish its potential need for OOM power on a real-time bulletin board, to widen the potential field of suppliers and ensure least-cost service provision for customers.

Furthermore, FERC should review the ISO’s complex and arcane procedures for real-time dispatch and for allocating the costs of OOM purchases. Currently OOM costs are not reflected in the ISO’s real-time balancing energy prices. As a result, entities that under-schedule in the forward market and rely on the ISO’s real-time market do not bear the full cost impacts of their decisions. To the extent that these parties cause future OOM costs, they should be responsible for paying them. The most appropriate method – which is used for other reserves – would be for the ISO to place energy costs in the BEEP stack, so that they can set the real-time balancing energy price. In this way, the real-time price could reflect the true marginal cost of securing additional power – a prerequisite for real-time allocative efficiency.

# Forward contracts

Many of the basic problems in the California wholesale electricity market stem from the inadequacy of generation supply and demand responses. While these are serious issues, some of the key consequences arising from a tight supply–demand margin, including the perceived lack of competitiveness of the California market and the absence of investment signals, could be substantially ameliorated through the existence of forward markets. As has been noted by many observers, including the California ISO’s Market Surveillance Committee (‘MSC’), forward markets are a critical component of a competitive wholesale electricity market.

## Benefits of robust forward markets

The benefits of robust forward markets extend substantially beyond improved price stability and predictability, to include strengthened competition and efficiency incentives, as well as improved price discovery.

### Increased competition

It is well recognized that forward contracting improves the competitiveness of power markets, by strengthening the commercial incentives of contracted generating units to compete aggressively in spot markets. The California ISO’s Department of Market Analysis has argued that a market is not ‘workably competitive’ if a pivotal supplier can, during conditions in which supply is scarce relative to demand, dictate the market clearing price either by withholding supply or specifying the price for its supply. Achieving such a competitive environment potentially requires substantial overcapacity in generation.

Generation

A more efficient alternative is to place greater reliance on forward markets as a source of competitive pressures. The evidence from the England and Wales and the Australian power markets is that generating units with a significant amount of contract cover have a strong commercial interest to bid capacity into the spot market at marginal cost, to ensure that they are not exposed to high difference payments in the spot market.

Bargaining power of loads

A significant level of forward contracting by loads also avoids the ‘last MW on the shelf’ buying problem that can occur when sellers have perfect or near-perfect information about the exact level of demand, and when demand is inelastic or nearly so. For example, consider the situation shown in Figure 3. There are six generators, and at lower levels of demand the outcome would be expected to be competitive, as two generators are not needed to meet demand. This lower level of demand is expected to occur 90% of the time (given the information known to participants at the time when contracts are to be signed). There is a 10% probability, however, that demand (due to weather, etc.) will be much higher, as shown by the right hand column. When this occurs, generators could individually extract a much higher price, as it is now clear that all six will be required to meet demand. This ‘last minute’ problem illustrates the hazards of forcing loads to buy only in short-term spot markets – they are placed in the weakest possible position.

The situation is changed significantly when loads can purchase forward. Given imperfect information, generators cannot extract the previous rents based on a dominant strategy of pricing high when all generators must be called. Nor can each generator attempt only to contract at that higher price, as there is now a large opportunity cost of facing a market in which all demand has been contracted for, and the possibility of high peak demands does not materialize.

It might be thought that generators would not sign contracts, if the existence of such contracts would tend to lower overall prices. However, such a strategy is non-credible, as the existence of the contract market precludes such a pre-commitment strategy. Each generator is caught in the equivalent of multi-party Prisoner’s Dilemma, with an incentive to sign contracts before others do.

Figure 3: Residual demand analysis with uncertain demand

### Efficiency effects

The fundamental premise of market-based restructuring is that a market mechanism can achieve a greater level of efficiency (and hence lower prices for consumers over time) than the traditional cost-based regulatory mechanisms. In the power industry, the concept of efficiency is traditionally identified with productive efficiency or dispatch, that is, electricity is produced at the lowest cost in that period with the resources available. In economics, an accurate definition of market efficiency extends far beyond this minimization of fuel and operating costs in the hour to include concepts of allocative and dynamic efficiency, including the efficient sharing of risks.

Efficient price signals

Markets should not only stimulate production at lowest cost (productive efficiency), but the corresponding prices should also guide efficient allocations of consumers’ purchases (allocative efficiency). For example, prices help tell a consumer – with a limited budget – whether he or she is better off using her fixed resources to buy a Ford or a Ferrari. Correct price signals assist customers in choosing between different types of fuels, e.g. gas or electricity, as well as informing the decision about whether or not to consume energy in the first place.

This concept extends naturally across time as well, as consumers must make purchasing decisions that involve consumption in one period or another. The concept of allocative efficiency therefore highlights the need for forward markets for the demand side as well. In the absence of forward prices, consumers (be they residential, commercial or industrial) have no information to guide the timing of their use of electricity. Most consumers are not able to respond in actual or near real-time to price signals, and this further emphasizes the importance of forward prices, since price signals received from electricity spot markets arrive too late to affect purchasing behavior.

Risk sharing

The recent exposure of consumers in San Diego to volatile prices has highlighted the price risks faced by consumers in a market environment – and the unwillingness of consumers to bear all of that risk. While spot markets are good at short-run productive efficiency, they do not allow market participants to share risks efficiently. Forward markets are required in this respect. Conversely, forward markets represent an instrument for owners of generating units to mitigate revenue and price risks in relation to substantial fixed and sunk costs in building and maintaining generating capacity. To operate efficiently, generators need forward markets in order to manage cash-flow risks against their debt obligations, maintenance expenditures and other costs. The ability of market participants to contract forward therefore permits the more efficient allocation of risks, including that risks should be borne by those for whom the cost is least.

In contrast, in California opportunities for effective risk management have been actively disallowed. For instance, the California Public Utilities Commission (‘CPUC’) has required utility distribution companies (‘UDCs’) to purchase their entire load requirements through the California Power Exchange (’PX’) and real-time markets during a four-year transition period and has also prevented utilities from hedging market risks in the forward markets. Although the CPUC has partially relaxed the PX purchasing restriction, it has yet to create a regulatory mechanism for the UDCs that provides the incentives to hedge their customers’ risks adequately.

Efficient investment

Forward markets provide investors in capital assets with a market-derived signal about the profitability of projects into the future. Such price signals are required to support dynamic (or investment) efficiency. In restructured power markets, generating stations are often built partially on the back of long-term forward contracts. Longer-term forward contracts not only provide important price signals about the future supply-demand balance, but also can lower the cost of capital for investment and hence lower costs to customers over time.

### Price discovery

Finally, forward markets play an essential role in the process of price discovery. Without market-based price discovery, traders must act only on their own very limited information. This both reduces the efficiency of the market and aids larger players (who, by virtue of their size tend to have more information) in dominating the market. Forward price discovery (e.g. through traded futures) in the market diffuses price information throughout the market, as non-public information (e.g. of suppliers) is reflected in futures prices where it is observable to other participants.

Typically, price discovery can and does occur in both forward markets and spot markets. Prices in the two markets are clearly linked, since forward contracts are often settled against spot prices, and the production decisions made in response to forward prices affect market prices. Evidence from the economic analysis of other commodities markets suggests that in most commodity markets the majority of price discovery occurs in forward markets, not in spot markets.

## Policy impediments to forward market development

To date, forward markets have failed to develop in California; primarily, because of regulatory constraints and incentives placed on UDCs through state policies:

- Until recently, the CPUC required UDCs to procure power for their default customers – the vast majority of load – from the PX’s day-ahead market and subsequent markets. The CPUC has only partially removed this requirement, and is yet to create an economically sensible procurement regulation process for the UDCs – leaving them with undue prudence risks in hedging that would be eliminated in a new default service model.

- The retail rate freeze, in conjunction with the Competition Transition Charge (‘CTC’) mechanism, has ensured that customers have not migrated into retail markets, where forward contracting by energy service providers (‘ESPs’) would be a de facto operational requirement used by ESPs to protect slim retailing margins.

- Policy choices at both the state and federal level have been skewed towards the development of spot market structures. This has created both institutional inertia and a form of regulatory bias ensuring that these spot markets continue to be the predominant forums for energy trading.

California therefore represents one of few markets where an industry structure has been developed that relies almost entirely on the spot market, rather than longer-term mechanisms for procuring power. In other competitive markets the majority of traded volumes are covered by physical or financial contracts that hedge price risks:

- In the England and Wales and Australian markets, the majority of sales occur under forward hedging contracts referred to as contracts for differences (‘CfDs’). Estimates of the total volumes covered by CfDs range at around 90% for the England and Wales market and 85-90% in the Australian National Electricity Market. These examples illustrate the type of commercial contracting behavior that might be expected when both loads and generators participate equally in the market.

- In the United States the transitional mechanisms used to date outside of California have ensured that substantial volumes are contracted forward. In New England, for example, the consumption of much of the largest UDCs is covered under standard offer contracts that formed part of the original divestiture processes. In PJM, the largest load serving entities by far are still vertically-integrated, leaving the PJM spot market as a residual. And in much of the rest of the United States, significant vertical disaggregation has yet to occur.

## FERC’s role in creating efficient forward markets

Developing forward markets will bring significant benefits to the wholesale electricity market and should be a priority for California. Many of the changes required to develop the needed forward markets will require the reform of state, rather than federal, policies. FERC, however, will have a significant role to play in developing a broad framework for further market reform and ensuring that initiatives proposed by key market institutions meet overall market (efficiency) objectives. State and federal responsibilities cannot be completely separated, if an acceptable outcome is to be achieved, as retail and wholesale market issues are so intimately linked. Some of the preconditions for forward markets development are discussed in detail below.

### Conditions for real retail competition

In practice, the strongest impetus for a market-driven development of forward markets will arise from the development of retail competition, and FERC should play a key role in supporting moves to implement active retail competition.

Strong retail competition forces ESPs to contract with generating units to match specific customers’ load profiles and eliminate price and quantity risks. Thus the experience in other deregulated markets – including in England and Wales and in Australia – where competition for electricity services has been extended to the retail level, has been that competition for commercial and industrial customers has initiated the development of diverse hedging instruments to meet the needs of ESPs and customers.

A new model is required for default service provision for those customers who choose not to switch immediately to non-utility supply of energy services (default customers). Central requirements in this respect are the separation of the function of default energy supply service from the regulated ‘wires’ business of the UDCs, but also, within the traditional host utility, the separation of competitive from non-competitive (default) retail activities. Separation can take a number of forms, ranging from accounting separation to the separation of underlying businesses. However, the underlying objective is to achieve competitive neutrality by preventing the utility from cross-subsidizing competitive and non-competitive services, to the detriment of new entry and competition, to ensure the least-cost service provision of all customers, but specifically default customers. A number of models are available that can meet the need for customer price risk management without the need for detailed CPUC ratemaking or prudence reviews. Both models discussed allow default service provision – on a yearly or longer basis – to be conducted on a competitive basis.

#### Franchise bidding

Under franchise bidding, default service providers (‘DSPs’) compete to serve default customer loads. The winning DSP would be the one that offered the lowest price to customers, based on a set of pre-determined criteria. The CPUC might specify that not all price risk need be eliminated from the rate offered to final default customers. Some level of indexation against spot (e.g. PX) prices could be allowed, so that default rates might be 75% fixed (under the franchise bidding mechanism) and 25% variable (indexed against the PX price or a combination of spot market prices). The default service mechanism would also need to specify which party would have to bear remaining volume and price risks.

#### Yardstick competition

A second model for default service provision could be based on yardstick or comparative competition. Under this approach multiple DSPs would be created, and would be responsible for managing price risk on behalf of customers. The yardstick is a numerical measure for measuring performance; in this case this might be the $/MWh rate provided to default customers. The regulator’s task then centers on developing and implementing an incentive mechanism for the DSPs, who compete with each other on the basis of the yardstick.

As an example, assume there are five DSPs. The yardstick ($/MWh) is computed, and compared (in this simple example) to the average DSP $/MWh price. DSPs whose purchase cost for default customers is above average are penalized, and those whose cost is below average are rewarded, through a performance-based ratemaking (‘PBR’) mechanism. Unlike a traditional PBR mechanism, however, the yardstick mechanism does not require the CPUC or the regulator to make a detailed determination of expected costs.

### Removal of regulatory barriers

The requirement that the California utilities meet the needs of default retail customers through purchases of energy or ancillary services in the day-ahead or nearer-term time frame should be eliminated. Again, FERC can play a key role, in terms of setting the framework within which efficient power purchases can be undertaken on behalf of default customers. As highlighted above, FERC should ensure that mechanisms are put in place so that energy requirements for default customers are met competitively.

### ISO barriers to the development and use of forward markets

A number of the California ISO’s rules are biased against the use of forward markets for energy, transmission rights and ancillary services. At a minimum, FERC should order the California ISO tomake several changes:

- Cost allocation: The costs of the ISO’s day-ahead and hour-ahead procurement mechanisms should be unbundled and allocated solely to those SCs who make use of such mechanisms. This would ensure that market participants wishing to trade through forward markets would not be at a cost disadvantage in comparison with those relying solely on the spot markets.

- Forward transmission rights: The California ISO should remove the barriers to use of forward markets in transmission rights by making available, through an annual auction, the entirety of the transmission rights that can be sold under commercially reasonable availability standards. This would encourage the development of complete markets, in which future energy and transmission rights could be traded in parallel.

# FERC’s role in promoting price signals in the market

It is commonplace in economics that no market can operate efficiently when price signals are distorted. Inefficient consumption, production and investment are the inevitable results. Despite years of development, however, the California power market is yet to produce correct price signals, and many of the problems observed this summer are the unintended but predictable consequences. Recent regulatory decisions have exacerbated the problem , and FERC has a clear role and responsibility to order the necessary changes.

There are three main sources of distortions in California’s market prices for electricity:

- Price caps have been applied at low levels that distort peak period price signals, in an attempt to manage prices. These price caps have been applied to control purported market power. Yet, if this is necessary, other mechanisms exist which could do the job with less distortion of market price signals.

- Demand price signals have been virtually removed from the wholesale price setting mechanism, due to policy choices that have prevented retail competition from developing, and have insulated customers from all price signals. These policies must be reversed if the wholesale market in California is to function effectively.

- Price discrimination likely occurs in both the ISO’s market operations and in the procurement of power by UDCs through the PX and other markets. This price discrimination can occur because of monopsony power. Many believe that such exercise of monopsony power is justifiable – under the assumption that it will produce lower prices. However, such strategies have distorted market prices, interfered with system reliability, and have tended to produce higher prices over time.

These three problems will be discussed in some detail in the following sub-sections. FERC, which is charged with the operation of an efficiently functioning wholesale market in California, has the ability to correct each of these problems directly or directly. Each of the three sub-sections will include a discussion of what steps FERC can and should take to correct the problem.

## Eliminating price caps is necessary for an efficient market

Few would disagree that one basic problem in California is the paucity of generating capacity. Given the robust load growth, and the consequent higher prices as demand and supply have grown tighter, it might be expected that policy measures would be aimed at alleviating this shortfall. Instead the California ISO, as a result of political pressures and with the approval of FERC, has capped prices at lower and lower levels. This will further reduce incentives for new generation.

### Price caps eliminate scarcity signals

In functioning markets, scarcity rents are reflected in market prices for power during periods of scarce capacity. This is a fundamental principle for the recovery of fixed costs in a longer-term equilibrium – over time, prices rise so that investors recoup the costs of their initial (fixed cost) investments. Such scarcity price signals are a valid part of short-run marginal costs (‘SRMCs’). Without scarcity price signals being reflected in SRMC-based price signals, efficient investment, especially in peaking plants, simply cannot occur.

Virtually all writers and commentators on the subject have noted the importance of reflecting scarcity rents in market prices for power:

- Much of the economic work on the design of spot markets for electricity is based on the work of Schweppe et al. . Within this framework, spot prices explicitly include a term that reflects the scarcity value of generation through a generation quality of supply term, which rises (potentially substantially) as capacity constraints are reached.

- Prices in periods of scarcity should rise above the marginal costs of the highest cost units. In equilibrium, this should be just enough to pay for the fixed costs of this unit, as noted by authors such as Borenstein.

The MSC of the California ISO has commented on the importance of scarcity price signals for maintaining short- and long-term reliability:

- Short-term reliability: The MSC is concerned that price caps reduce the ability of the California ISO to compete for power during system peaks, certainly at the $250/MWh level, but also at the $750/MWh level. This has potentially serious implications for short-term system reliability.

- Long-term reliability and investment: The MSC also notes that price caps reduce investment incentives in California, for two reasons. First, low price caps per se are likely to limit investment incentives. Second, the continued imposition of price caps raises the prospect of heightened regulatory risks for investors.

In addition, the imposition of price caps in the California has a related effect, which serves to undermine any efforts to limit the rapid rises in peak demand that have been observed in recent years. At artificially capped prices customers, in particular large industrial and commercial customers who are likely to be in a good position to provide demand response services, never ‘see’ the real cost of power. That is, price caps undermine any attempt to encourage customers to respond to the high cost of power.

### Price cap levels are inefficient

It has been argued that since demand responsiveness is so low in the California power market, partially due to regulatory restrictions, price caps are required to mimic efficient outcomes, due to the potential for market power abuse. This syllogism is faulty on two accounts. First, the price cap levels used in California are not reflective of the prices that would occur even in a perfectly competitive market where (expected) scarcity existed. Second, as discussed in Section 4.1.3, other mechanisms are available if market power controls are required. These do not have the undesirable effect of eliminating crucial scarcity price signals. From an economic perspective, current price caps – especially at very low levels like $250/MWh – are prima facie inefficient.

Three forms of evidence support this conclusion:

- Investment signals: Over time, SRMC prices (on average) must approach the long run marginal cost (‘LRMC’) of new capacity. Real SRMCs (which should include scarcity rents) should therefore be sufficient to pay for new peaking capacity over time. By capping prices at low levels (e.g. $250 to $350/MWh), it is highly unlikely that low load factor peaking units can be economically viable in the market. However, high cost peaking units are what are required to reliably meet load in California.

- Willingness to pay: When scarcity exists, prices should be set by the willingness of users to pay for electricity. There are some users who might be willing – absent regulatory distortions of the type that plague California – to reduce their demand for less than $250/MWh. However, the recent experience of the California ISO in implementing load reduction programs shows that the amount of such load is small. In response to its request for bids in early 2000, the California ISO only received bids totaling 180MW at a cost of over $26 million, corresponding to an average unit cost of $36,215 per MW-month.

- Value of lost load: There is little evidence from the actions of the California ISO or operators of other markets that US$250-$350/MWh price caps are remotely in the right order of magnitude of the value of power at peak demand conditions. The Calfornia ISO and the California transmission owning utities appear to use value of lost load numbers many times this level. Systems that use an explicit value of lost load cap on exchange prices apply far higher prices, ranging from C$1,000/MWh (~US$700/MWh) in Alberta to a proposed $A20,000/ MWh (~$10,000/ MWh) in the National Electricity Market in Australia.

If FERC is interested in market efficiency, then it cannot ignore the substantial and accumulating evidence that prices caps are inimical to that efficiency. As will be shown in the next section, other mechanisms exist which can control market power without capping prices.

### Alternatives to price cap are less distortionary

There is wide agreement among power market economists that other mechanisms can and should be used to deal with residual market power concerns, if these prove necessary. Price caps have undesirable outcomes, because they do not discriminate between legitimate high prices (due to real or expected scarcity) and illegitimate high prices (due to market power). Price caps can be seen as a badly designed filter, which unnecessarily eliminates the radio signal along with the static. If FERC believes that intervention is required to prevent the abuse of market power in the wholesale market, then it should turn to alternative mechanisms that do not suffer from this shortcoming.

The remainder of this section will briefly outline some of the other alternatives that should be considered by FERC if direct market power controls are needed. These alternatives include:

- Bid cap mechanisms can be used in bid-based markets. Bid caps restrict generator bids, but do not place a limit on market price outcomes. In contrast to price caps, prices are permitted to rise above generator bids when capacity is short. This would prevent market power from being used by a monopolistic generator, while allowing scarcity price signals to be reflected in market outcomes if it exists.

- Imposed contracts have been used in other jurisdictions (e.g. Alberta, England and Wales, Australia) to control market power. Such contract portfolios reduce the incentive for generators to push up prices by fixing the amount paid for some fraction of their generation. This changes the payoffs of attempting strategic behavior to manipulate prices. Such mechanisms can also be valuable where there are specific locational constraints such as local reliability constraints.

Price caps per se are simply not the right method to use, even if the objective of controlling market power is justified by the circumstances. The distortions created by the unwarranted removal of scarcity rents from wholesale prices will undermine generation investment.

### FERC's role with respect to price caps

The immediate need is to develop wholesale market policies that will not prevent new generation investment from occurring. Price caps tend to discourage new generation investment – especially in peaking plants that can be brought on in reasonable time periods.

FERC should consider a two-stage process for eliminating this distortion:

- First and foremost, would price caps be needed in California, if fundamental design flaws – in particular regarding the existence of forward markets – were removed? The existence of forward contracts acts to remove generators’ gaming incentives and protects customers from the ’last MW on the shelf‘ problems that have occurred under the spot procurement mechanism . If these reforms are implemented, price caps may prove completely extraneous in the majority, if not all, hours.

- Second, if market power controls are needed in peak hours, FERC should approve only less distortionary mechanisms, such as the bid caps or contractual mechanisms discussed previously. Reflexively capping prices in response to complaints will ultimately hinder, not advance, the development of new generation and the wholesale markets.

## Demand price signals in the wholesale market

Recent developments have shown that wholesale market operations and retail market development cannot be effectively separated. Many observers would now agree that a fully functioning wholesale market without any form of retail market or demand participation is likely to be impossible.

The key role of the retail market is to reflect demand price signals back upstream into the wholesale market. Without any form of demand elasticity signaled in wholesale demand, market efficiency and competitiveness will be compromised for two reasons:

- In the absence of price responsiveness, creating a market without market power problems at high peak periods is difficult, unless the supply side is composed of very many, very small independent generators. Demand response reduces the potential for withholding strategies to significantly increase prices – demand bids will set prices lower than the sort of capacity-constrained spike prices that have been seen in California this summer.

- A longer-term objective efficiency of restructuring is to increase the capital efficiency of the industry. The Cal ISO MSC has used the airline industry as an example. Airline deregulation allowed consumers to reflect their willingness to pay in ticket purchase decisions. The result has been a great increase in the efficiency of the airline industry, with few half-empty planes being flown to distant destinations. Similarly, increasing demand responsiveness allows generating capacity to be used more efficiently.

### Lack of demand price signals in the wholesale market

California’s restructuring legislation has stifled the creation of demand elasticity in two significant ways. First, it has created insurmountable barriers to competition for retailers (ESPs) who were expected to provide the infrastructure and energy management products to bring demand responsiveness into prominence. Second, the legislation has effectively shielded retail customers from real-time energy price signals. The combination has been fatal for the development of an efficient wholesale market:

- Elimination of competing retailers: The reasons for the weak development of retail competition in California are by now well known. The CTC and rate freeze mechanism have created a situation (for the vast majority of load) where no cost savings can be realized by switching to an ESP that competes with the utility to provide energy services. Because the California restructuring legislation (AB 1890) has created a structure that effectively freezes retailers out of the California market, there is no robust set of ESPs available to serve the retail customers that are starting to emerge from the rate freeze period (e.g. in San Diego). This leaves electricity consumers in the state exposed to price risk once the rate freeze is lifted.

There are also more subtle cross-subsidies built into UDC rates that have prevented ESPs from effectively competing for load. The default service provided by UDCs has cross-subsidized advantages over the cost structure of alternative providers. Much of the costs of providing default service (e.g. billing systems, general administrative and overhead costs, etc.) can be recovered from customers under the guise of distribution costs. This inhibits the development of retail competition – as competing retailers will have to pay such costs out of their own retailing margins.

- Poor incentives for customers: Given the incentives created by the CTC mechanism, and the rate freeze, there is simply no incentive for customers to reduce their consumption during high price periods. This has disrupted the operation of the wholesale market, in California and elsewhere, during peak periods when supply is highly inelastic.

### FERC's role with respect to demand price signals

The assumption that wholesale and retail markets could be effectively separated was strengthened by the historical jurisdictional separation between wholesale market operations, under the jurisdiction of FERC, and retail operations, under the jurisdiction of state authorities. Recent experience, however, has shown that this separation is not economically nor practically feasible, and that the wholesale market under FERC’s jurisdiction is highly dependent on a functioning retail market, in which price signals from the wholesale market are reflected in retail prices paid by customers, and conversely their demand shifts in periods of higher prices influence price setting in the wholesale market.

Although FERC has not historically exerted any jurisdiction over retail issues, it does possess considerable influence over restructuring designs and policy. In existing markets, such as in California, FERC can act by strictly conditioning any form of locational or broader market power controls (not just price caps, which are per se not justified given that better alternatives exist) on the willingness of state authorities to take effective measures to ensure that customers can and will respond to price signals.

## Implications of monopsony price discrimination

Price discrimination occurs when a participant with market power (a monopolist or monopsonist) strategically adjusts its selling or purchasing decisions in order to change market outcomes. The market structure in California has created two monopsonists in two different contexts: the UDCs with respect to energy procurement for default customers and the ISO with respect to certain wholesale market operations (e.g. OOM calls). These two problems will be discussed in the next sections.

### Monopsony power: UDC under-scheduling

A widely noted pattern exists whereby UDCs routinely purchase a disproportionate amount of their load in the real-time market. That some real-time purchases are unavoidable is obvious, if only because the precise level of demand cannot be forecasted perfectly. However, over time, forecasting errors should be evenly distributed around actual demand outcomes, as market participants ‘learn’ and systematic mistakes disappear (i.e. inadvertent over- and underscheduling should have an expected average of zero). Instead, in many instances, the UDCs purchase more than 10% of their served load in the real-time market, and the California ISO has noted that under-scheduling is particularly evident when system load is greater than 35,000 MW. The California ISO attributes this behavior to the lack of bids in excess of 35,000 MW available in the PX day-ahead market, leading the UDCs to move some of their purchases to the real-time market.

There are also incentives to underschedule arising from the combined effects of the rate freeze and the dominant size of the UDCs. The rate freeze encourages the UDCs to minimize their total energy purchase costs, as this maximizes stranded cost recovery. The size of the UDCs lead to purchasing decisions akin to those faced by a monopsonist, in which the cost of purchasing an additional unit not only incurs a direct cost, but also raises the price paid on all other units.

The numerical example in Figure 4 illustrates this point. Consider a firm serving 1,000 MW of load. It must decide whether to purchase energy in the PX day-ahead market for $30/MWh, or in the real-time market at an uncertain price. If it reduces its day-ahead purchases by 100 MW, the day-ahead price will fall by $2/MWh to $28/MWh. This results in a cost reduction of $4,800, which makes the firm willing to pay up to $48/MWh for the 100 MW in the real-time market. Because the ‘swing’ volume that faces a higher real-time price is small relative to the large volume that enjoys the price savings in the day-ahead market, such a purchaser will be willing to accept high real-time prices if it leads to even modest price reductions in the day-ahead market.

This incentive weakens as the quantity purchased by any one firm is reduced. In such an example, the swing volume will not be purchased by the same firm as the one enjoying the cost savings in the day-ahead market. It therefore will have no incentive to accept a real-time price higher than $30/MWh. This leads to the competitive purchasing outcome in which substitution between markets will only occur up to the point where the prices are equal.

The fact that real-time prices were higher on average than day-ahead prices at high demand periods also eliminates the possibility that UDCs were simply acting to shelter under the ISO’s real-time market price caps, as has been suggested. Real-time imbalance prices when demand exceeded 40,000MW were, on average, significantly higher than day-ahead PX prices.

Figure 4: Example of monopsony purchasing incentives

These monopsony incentives are consistent with the significant underscheduling behavior witnessed in California. Substitution of real-time purchases for day-ahead purchases are profitable, even if real-time prices are significantly higher than day-ahead prices. Indeed, these incentives will act to discourage price equalization between the markets. An examination of PX day-ahead and imbalance (ISO) prices shows that these prices can deviate significantly, particularly at higher levels of load. Figure 5 and Figure 6 show the distribution of price differentials between the day-ahead and real-time prices for zones NP15 and SP15, respectively, during hours in 2000 when demand exceeds 40,000. Table 1 summarizes these results.

Table 1: Summary of ISO - PX price differentials by zone

Figure 5: Distribution of ISO - PX price differences for N15 when system load exceeded40,000 MW; January to August 2000

SDG&E, which is no longer subject to a rate freeze, has significantly lower levels of purchases in the real-time market than the other UDCs. SDG&E’s real-time market sales represent less than 5% of its total load and it is often long in this market, with net imbalance sales rather than purchases. SCE and PG&E, which still subject to the rate freeze, are both always short in the real-time market, with imbalances often in excess of 5%.

Figure 6: Distribution of ISO - PX price differences for S15 when system load exceeds 
40,000 MW; January to August 2000

### FERC’s role with respect to underscheduling

A basic premise of the original California market design was that inter-temporal arbitrage would eliminate the (risk-adjusted) differences between day-ahead, hour-ahead and real-time prices. The protocols for ancillary services pricing, for example, were designed on this premise. Underscheduling by the UDCs has undermined the operation of the market, and has led Cal ISO management to raise serious questions about grid reliability.

The Cal ISO has prepared tariff amendments that would create balance standards for SCs. Such a strategy tends to lower the efficiency of the market over time, which depends on free arbitrage between the various markets. A much better solution would be for California to eliminate the incentives that have created underscheduling by UDCs in the first place. This requires enacting a full process of retail market reform, including replacement of the CTC/rate freeze mechanism, requiring default service to be provided by third-party ESPs, and other measures. These reforms were discussed in more detail in Section 3.3.1.

## Out-of market rules and price discrimination by the California ISO

The California ISO is able to engage in price discrimination under the current tariff. A clear example is the rules and practices for out-of-market calls, which have been used to procure additional power by the Cal ISO in shortage periods from outside of California.

### Implications of misguided price caps

The need for OOM calls reflects even the ISO’s disbelief that the price caps imposed in the real-time and ancillary services markets are correct. Absent the price caps, there is little reason to believe that additional generation could be attracted through OOM calls that would not have made ancillary services or supplemental energy bids anyway. These markets are open to all importers and local generating resources. OOM calls exist to circumvent the price cap trap of the ISO’s own devising. By ensuring that OOM calls are not reflected in real-time market prices, the amounts paid for OOM power are not submitted into the balancing energy and ex post pricing (‘BEEP’) stack, like all other energy and ancillary services bids. If OOM prices were reflected in the BEEP stack, real-time energy and ancillary services prices would effectively rise to efficient market-clearing levels. The basic mechanism of OOM in California is price discrimination, pure and simple.

### FERC’s role with respect to OOM calls and pricing

The operation of OOM is directly contrary to the basic premises of the California market. The best solution would be for FERC to remove the price cap, and use other mechanisms if necessary. This would eliminate the need for OOM altogether. If OOM is required, under a less complete set of wholesale market reforms, then it should be treated like any other ancillary service. Specifically, the ISO would continue to pay a reservation price, and the energy purchased would be placed in the BEEP stack, so that real-time prices could reflect the actual costs of the energy used.

# Governance issues

Restructuring is a continuing process, and many detailed decisions affecting the efficiency and operations of the California ISO and PX will need to be made by their boards of directors. As a matter of institutional design, it is a dubious proposition whether a market institution, whose governance is dominated by market participants – be they commercial or governmental – can really be effective. This governance structure has a considerable constituency for short-term interests, but little constituency for efficiency.

## Market efficiency objectives

As one would expect, commercial interests on a stakeholder board will tend to vote for their interests, whether they be generators, distributors, transmission owners or municipals. The tendency for state actions that will tend to lower prices in the short-term, but by reducing market efficiency will raise them in the longer-term should also not be neglected and is widely known. All too often, decisions in such a situation will be made by coalition-building that seeks not to improve market performance, but only to create the smallest group with sufficient votes to transfer costs to the minority or revenues to itself. Proper governance arrangements, which focus on short- and longer-term efficiency objectives in the interest of customers, should avoid this problem.

## FERC’s role in improving governance arrangements

The solution to this problem is to undertake a complete reform of market institution governance. There is no other way for FERC to ensure that these institutions, which are under its direct and sole jurisdiction, are directed to take steps that are consistent with FERC’s mandate to promote competition.

FERC is not the first regulator to address such issues. Many market institutions have been paralyzed by their inability to enact needed changes when some party is always benefiting from the status quo. As an example, the England and Wales Pool committee structure was unable to make needed changes in the Pool rules, as the clear problems were of benefit to a sufficient number of stakeholders to make passing votes for changes impossible.

FERC, either directly in its investigation of the California energy marketplace or as part of its Order 2000 initiative, should require that the California ISO and California PX governance structures be reviewed to create truly independent oversight of those institutions. We believe that the approach that has been proposed for the Pacific Northwest’s RTO would effectively achieve the dual goals of ISO independence and effective stakeholder input to the ISO. Under this approach, an independent governing board is installed by the representatives of the diverse stakeholder classes, and ongoing stakeholder participation in the affairs of the RTO is accommodated through an open stakeholder advisory committee that provides advisory opinions to the independent board.

# Conclusions

What is really needed in California is the willingness to tackle basic economic issues, rather than to make continuous incremental modifications that do not address the fundamental market structure problems. The insufficiency of some of the latter proposals is discussed briefly in the next section.

## What steps will not fix the problem?

In the aftermath of this summer’s price spikes, many proposals have been floated that have suggested short or longer-term regulatory fixes to the ‘problem‘ of high prices. Yet these prices are not a problem, they are an economic reality, brought on the market structure issues noted previously. Returning to out-dated regulatory solutions will not address this fundamental issue, nor will returning to the market separation debates.

### Combining the PX and ISO functions will not help

California regulators have recently announced an investigation of whether the institutional roles of the ISO and PX should be combined. They should not. Functionally, the roles of the institutions are quite distinct, so there is little logic and the potential for significant harm if they were combined. FERC has recently recognized that value of potential alternative exchanges in a recent decision regarding the structure of ISO New England. Combining the PX and ISO institutions would make the development of alternative exchanges more difficult or impossible.

### Return to cost-based rates is impractical, uneconomical and unjustified

The California Municipal Utilities Association has advocated that FERC require a return to cost-based ratemaking in California. This is practically impossible, and economically unjustified.

Practically, it must be recognized that a return to regulation is impossible. The three California utilities no longer own substantial amounts of generating assets. Setting a new ratebase value for hundreds of existing plants would pose an impossible administrative burden for FERC, and will be heavily litigated. Addressing wholesale market issues must be accomplished immediately for the obvious reason that California needs the capacity to meet its electrical load.

### FERC approval of contracts between UDCs and suppliers

Another interim proposal is for FERC to approve forward contracts between UDCs and suppliers, presumably on a cost of service basis. Californians should remember the financial harm that can be caused by regulatory approval of generation contracts. The state’s consumers are still paying the costs of millions of dollars worth of stranded QF contracts. Such a scheme is also entirely unworkable, in terms of the enormous administrative and regulatory burden that would be placed on FERC.

The history of the U.S. natural gas industry provides ample evidence for skepticism. A key court decision in 1954 (the Phillips decision) required the FPC to regulate wellhead prices. The FPC then attempted to do so on traditional cost of service principles. However, the number of well prices requiring a cost of service proceeding quickly made such a process utterly impractical. The FPC moved at “area pricing” and on to further distortions before finally turning to full price decontrols for wellhead gas.

## The way forward for California

The challenge in California is to move from half a market to a whole. To do so will require focusing beyond the short-term and considering the fundamental economic issues that have prevented the market from functioning efficiently to date. To summarize, this will require fundamental changes in market structure that will:

- Shift the emphasis from spot market procurement to the operation of a complete market, incorporating both forwards and spot markets. Doing so will increase the competitiveness of all markets and eliminate the present situation where all price risks are allocated to those who can bear them the least: customers.

- Remove the distortions on market prices that discourage investment and prevent customer’s economic preferences from being reflected in market prices. The wholesale market structure cannot succeed until the retail market is functioning.

- Allow more openness in information flows in the market, which is critical for efficiency and market transparency. The processes of ISO and PX governance should also be reviewed.

Development of an efficient wholesale market requires a focus on the fundamental economic issues hindering market efficiency. The changes that are required have been clear for some time, although recent events have brought them into sharp relief. FERC has sole jurisdiction over two of the major changes required - eliminating price distortions and improving information flow – and can exert substantial influence on forward market and procurement issues. The challenge for FERC is to look to long-term market efficiency, rather than the short-term political objectives that have dominated the recent debate.

# Annex 1:	Public Market Information

Generation data:

- Scheduled generation by bus bar;

- Net generation by unit by hour;

- Unit outage information showing planned and forced outages;

- Water levels and hydro outputs (daily, weekly and monthly information);

- Calls by the ISO on plants with Reliability Must Run contracts;

- BEEP stack merit order and BEEP stack actual generation by 10-minute intervals;

- RMR contracted plants and RMR calls exercised;

- Out-of-area calls.

Load data:

- ISO load forecasts and updates to load forecasts;

- Long-term load forecasts.

Transmission-related information:

- Adjustment bids;

- Day-ahead and hour-ahead schedules, real-time adjustments to schedules;

- Ratings of significant branch groups, flowgates, inter-zonal interfaces, and between the ISO and neighboring control areas and scheduling points;

- Actual flows on significant branch groups, flowgates, inter-zonal interfaces, and between the ISO and neighboring control areas and scheduling points;

- Significant intra-zonal congestion, intra-zonal congestion management-related redispatch;

- Transmission availability and transmission use by category of ownership, for all transmission lines, differentiated by uses;

Energy and ancillary services price information:

- Bid information in the ISO’s day-ahead and hour-ahead markets;

- Bids by SCs, initial preferred schedules, final schedules and the BEEP stack.

Information that could impact the current or future operation of the energy/transmission /ancillary services markets that is made available to the ISO in its role as control area operator should also be made public.

See e.g., Milgrom, Paul R., “A Convergence Theorem for Competitive Bidding with Differential Information”, Econometrica, Vol.47, No.3, May 1979.

Figure 1is a stylized representation only and does not attempt to show the full sequence of markets in California, including bilateral markets, alternative exchanges, the PX block forwards markets, etc.

The basic design of the California ancillary service protocols is that bidders offer $/MW capacity blocks into the ancillary services market. The clearing quantity is paid the clearing ($/MW) price, any associated energy is put into the BEEP stack and called quantities are paid the real-time price. However, this mechanism may produce higher than expected ancillary services prices, if in fact the real-time price is (on average, and risk-adjusted) higher than the day-ahead prices, or if real-time prices are highly volatile. The latter makes it very difficult for bidders to develop efficient ancillary services capacity bids.

In some instances it is advantageous to delay release of certain market-sensitive information, in order to discourage certain types of ‘gaming’ behavior. However, this is not at issue in this paper, which is focused on the means of achieving greater market transparency and hence efficiency.

For example, the ISO’s Curtailment Priority Table for Path 15 states that the ETC Facilitator (i.e., PG&E) will determine the appropriate order and magnitude of curtailments, given the circumstances that occur in real time. However, the manner in which PG&E will allocate such curtailments to the uses within any of the priority blocks is not specified. This leaves all grid users at a competitive disadvantage vis-à-vis PG&E and hampers the ability of grid users to manage their resources to minimize the economic impacts of such curtailments.

The issue is again the overall transparency and predictability of the California energy market, and contrasts with instances where limitations on information provision may be appropriate to address concerns about gaming.

In its October 30, 1997 order, Pacific Gas and Electric Co., et al., 81 FERC 61,122, (1997), p.132, FERC ordered that the ISO provide market participants with the tools used by the ISO to calculate the ISO's inter-zonal congestion prices.

Market Surveillance Committee, California ISO, “An Analysis of the June 2000 Price Spikes in the California ISO's Energy and Ancillary Services Markets”, September 6, 2000, p.6 ff.

Market Surveillance Committee, September 6, 2000, p.6. See also Green, R.J., “The Electricity Contract Market”, Working Paper 9616, Department of Applied Economics, University of Cambridge, 1996, and Newbery, Newbery, D.M. (1997) "Competition, Contracts and Entry in the Electricity Spot Market", RAND Journal of Economics, (1998/9 forthcoming) (DAE Working Paper 9707). See also Wolak, Frank A., “An Empirical Analysis of the Impact of Hedge Contracts on Bidding Behavior in a Competitive Electricity Market”. mimeo. Stanford University. Available at www.econ.stanford.edu/ wolak.

For instance, a generating unit that has sold a forward contract for the duration of a specific high demand period has a strong incentive to generate during this period, for two reasons. First, it will be paid a (relatively high) market price for its output in that period. It requires these revenues to finance contract difference payments. Second, in the event that it does not generate, market prices are likely to be higher than would otherwise be the case, and the generating unit would still be liable to higher and unfunded difference payments.

Gans, Joshua, Danny Price and Kim Woods, “Contracts and Electricity Pool Prices”, Australian Journal of Management, Vol. 23, No. 1, June, 1998.

This requirement also underlies the need for longer-term forward markets for transmission resources (i.e., firm physical transmission rights).

It is highly unlikely that forward markets will be liquid over very long time horizons (e.g. 10-20 years), so that new generation financing can occur solely against forward prices. Therefore some level of residual price risk is inevitable. However, even shorter-term forward price signals (1-3 years) are valuable to banks and investors as unbiased information on the medium-term supply-demand balance in the market.

See, e.g. Stein, Jerome, “Price Discovery Processes”, The Economic Record, Special Supplement on Futures Markets, September, 1992.

See, e.g. Garbade, Kenneth D. and William L. Silber. “Price Movement and Price Discovery in Futures and Cash Markets” Review of Economics and Statistics, Vol. 65, p. 289-297, 1983.

In California, the multi-year stakeholder process which resulted in the proposals for the California ISO and PX market structures focused almost entirely on spot market issues.

Electricity Association at http://www.electricity.org.uk/uk_inds/how_work.html and Frontier Economics Australia.

See, e.g., Market Surveillance Committee, September 6, 2000, p.10.

The model promoted by the MSC in the September 2000 report (p.12) requires the CPUC to set the default provider rate. This is likely to be extremely contentious in practice, and is not really necessary under the two alternatives presented.

Shleiffer, Andrei, “A Theory of Yardstick Competition,” Rand Journal of Economics, 1985.

A single yardstick could be used for all customer classes who deemed load profile was the same (and hence the purchase cost should be the same).

This could be incorporated over time into the design of the flow-based congestion pricing mechanism.

See e.g. Market Surveillance Committee, September 6, 2000, p.2., Department of Market Analysis, California ISO, “Report on California Energy Market, Issues and Performance: May-June, 2000”, Special Report, August 10, 2000, p.i.

SRMC is the additional cost of producing an additional (marginal) unit of output, keeping all fixed inputs constant.

F. Schweppe, R. Tabors, M. Caramanis and R. Bohn, Spot Pricing of Electricity, Boston: Kluwer Academic, 1988.

For instance, the quality of supply term γQS can be based on the loss of load probability (‘LOLP’) function.

Borenstein, Severin, “Understanding Competitive Pricing and Market Power in Wholesale Electricity Markets”, POWER Working Paper PWP-067, August 1999, p.3.

See, e.g., Wolak, Frank, Chairman Market Surveillance Committee of the California Independent System Operator, “Recent Events in the California Electricity Industry and the Level of Price Caps on the ISO’s Energy and Ancillary Services Markets”, July 6, 2000, p.6ff.

California Energy Commission, “High Temperatures & Electricity Demand, An Assessment of Supply Adequacy in California, Trends & Outlook”, July 1999, p.5.

California ISO, Memorandum re the Summer 2000 Demand Relief Program of April 17, 2000 to the Grid Reliability/Operations Committee (from: Donald L. Fuller, Director, Client Relations, Barbara Kindel, Director, Operations Systems, Jim Detmers, Managing Director of Operations), p.3.

Sabine: Quote Cal ISO communciation of $18,000?

Efficient bids caps should allow bids to reflect the expected opportunity costs of sales in other markets, whether they be geographically separate (e.g. exports to another region) or coterminous (e.g. the bilateral market). Bid caps imply a need to (at least broadly) monitor the production decisions of generators, but do not prevent key price signals from being transmitted to the market.

There may be justification for “emergency level” maximum prices in the market rules – these are common in many power market designs, if nothing else to protect against software and data errors. However, in practice they have generally been set at prices many times higher than the levels used for price caps in California and in other U.S. jurisdictions.

Market Surveillance Committee, September 6, 2000, p.17.

Department of Market Analysis, California ISO, August 10, 2000, p.37.

See, for example, Southern California Edison’s ‘Schedule PX’ tariff and ‘Schedule D’ tariff for an explanation of this mechanism.

The two markets reflect different quality products, and we would therefore expect some residual price differences to remain. Such effects are of secondary importance to this argument, however.

Winter, Terry, President and CEO, Memorandum to ISO Board of Governors, Re: Reliability Concerns with Underscheduling of Load, August 25, 2000.

Olson, Mancur, The Logic of Collective Action: Public Goods and the Theory of Groups, Harvard Economic Studies, Vol. 124, Cambridge, Mass.: Harvard University Press, 1965.

FERC 61,311, ISO New England, Inc. and New England Power Pool, Order Conditionally Accepting Congestion Management and Multi-settlement Systems, June 28, 2000, p.12.

California Municipal Utilities Association, Complaint, Request to Institute Cost-Based Rates, and Motion to Consolidate of the CMUA.

This discussion draws on the material presented in Arlon R. Tussing and Connie C. Barlow, The Natural Gas Industry: Evolution Structure and Economics, Cambridge, MA: Ballinger Publishing, 1984 and Joseph Kalt and Frank C. Schuller, eds., Drawing the Line on Natural Gas Regulation: The Harvard Study on the Future of Natural Gas, New York: Westport Books, 1987.