HIGHLY CONFIDENTIAL

# MONITORING & SUPPORT SERVICES

# FOR ECT

## Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

5/08/01 Update

(italicized plants have changed status since last week’s report)

May 2001

ECAR

Palisades		- In refueling outage; Restart expected 5/9/01; Full power expected 5/14/01

Perry			- In maintenance outage; Restart expected 5/10/01; Full power expected 5/12/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 6662.1

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4706.3

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3785.4

MAAC

Calvert Cliffs 2		- In refueling outage; Restart expected 5/11/01; Full power expected 5/16/01

Salem 1			- In refueling outage; Restart expected 5/13/01; Full power expected 5/18/01

Three Mile Island	- In power ascension following a forced outage; Full power expected 5/10/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 11,306

MAIN

Kewaunee		- Holding at 96% maximum power

Point Beach 1		- In refueling outage; Restart expected 5/11/01; Full power expected 5/16/01

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,647

MAPP

Duane Arnold		- In refueling outage; Restart expected 5/23/01; Full power expected 5/28/01

Fort Calhoun		- In power ascension following refueling; Full power expected 5/4/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 2854.5

NPCC

Indian Point 2		- In derate to 60%; Full power expected 5/10/01

Indian Point 3		- In refueling outage; Restart expected 5/27/01; Full power expected 6/01/01

Millstone 2		- In forced outage; Restart expected 5/9/01; Full power expected 5/10/01

Nine Mile Point 1	- In power ascension following refueling; Full power expected 5/13/01

Nine Mile Point 2	- In maintenance outage; Restart expected 5/12/01; Full power expected 5/15/01

Pilgrim 			- In refueling outage; Restart expected 5/22/01; Full power expected 5/27/01

Seabrook		- In derate to 94%; Full power expected 5/9/01

Vermont Yankee	- In refueling outage; Restart expected 5/25/01; Full power expected 5/30/01

Total Regional MWe for month 	= 9292

Average operating MWe for month = 6414.9

SERC

Farley 2			- In refueling/steam generator replacement outage; Restart expected 5/9/01; Full power expected 5/14/01

Oconee 2		- In refueling outage; Restart expected 6/5/01; Full power expected 6/10/01

Robinson 		- In refueling outage; Restart expected 5/12/01; Full power expected 5/17/01

Vogtle 1			- In derate to 99%; Full power expected 5/9/01

Vogtle 2			- In power ascension following refueling; Full power expected 5/9/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 23,154

##### SPP

Callaway		- In refueling outage; Restart expected 5/12/01; Full power expected 5/17/01

Grand Gulf		- In power ascension following refueling; Full power expected 5/9/01

Total Regional MWe for month 	= 7217

Average operating MWe for month = 5417.4

Total All Regions MWe for month	= 86,960

Average operating MWe for month = 76,797

June 2001

ECAR

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7143.6

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4673.8

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3820.9

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,179

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,754

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3226.1

NPCC

Total Regional MWe for month 	= 9292

Average operating MWe for month = 8616.5

SERC

Oconee 2		- In refueling outage; Restart expected 6/5/01; Full power expected 6/10/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,418

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6997.6

Total All Regions MWe for month	= 86,960

Average operating MWe for month = 82,829

July 2001

ECAR

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7369.3

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4730.4

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3822.5

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,208

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,810

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3378

NPCC

Total Regional MWe for month 	= 9292

Average operating MWe for month = 8644.3

SERC

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,896

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month	= 86,960

Average operating MWe for month = 83,846

August 2001

ECAR

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7194.3

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4730.4

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3822.5

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,208

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,810

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3378

NPCC

Total Regional MWe for month 	= 9292

Average operating MWe for month = 8644.3

SERC

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,896

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month	= 86,960

Average operating MWe for month = 83,671