HIGHLY CONFIDENTIAL

# MONITORING & SUPPORT SERVICES

# FOR ECT

## Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

5/15/01 Update

(italicized plants have changed status since last week’s report)

May 2001

ECAR

Palisades		- In power ascension following refueling; Full power expected 5/19/01

Perry			- In maintenance outage; Restart expected 5/15/01; Full power expected 5/18/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 6494.2

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4569.1

##### FRCC

Crystal River 3		- In derate; Full power expected 5/16/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3788.8

MAAC

Calvert Cliffs 2		- In power ascension following refueling; Full power expected 5/17/01

Hope Creek		- In maintenance outage; Restart expected 5/16/01; Full power expected 5/20/01

Oyster Creek		- In maintenance outage; Restart expected 5/18/01; Full power expected 5/20/01

Salem 1			- In refueling outage; Restart expected 5/16/01; Full power expected 5/21/01

Three Mile Island	- In power ascension following a forced outage; Full power expected 5/16/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 10,776

MAIN

Byron 2			- In derate for power uprate adjustments; Full power expected 5/16/01

Kewaunee		- Holding at 96% maximum power

Point Beach 1		- In power ascension following refueling; Full power expected 5/18/01

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,710

MAPP

Duane Arnold		- In refueling outage; Restart expected 5/23/01; Full power expected 5/28/01

Prairie Island 2		- In forced outage; Restart expected 5/17/01l Full power expected 5/20/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 2747.2

NPCC

Indian Point 3		- In refueling outage; Restart expected 5/27/01; Full power expected 6/01/01

Pilgrim 			- In refueling outage; Restart expected 5/22/01; Full power expected 5/27/01

Seabrook		- In derate to 95%; Full power expected 5/18/01

Vermont Yankee	- In refueling outage; Restart expected 5/25/01; Full power expected 5/30/01

Total Regional MWe for month 	= 9292

Average operating MWe for month = 6491

SERC

Farley 2			- In power ascension; Full power expected 5/16/01

Oconee 2		- In refueling outage; Restart expected 6/5/01; Full power expected 6/10/01

Surry 2			- In forced outage; Restart expected 5/17/01; Full power expected 5/19/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 23,196

##### SPP

Callaway		- In refueling outage; Restart expected 5/17/01; Full power expected 5/22/01

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6080.5

Total All Regions MWe for month	= 86,960

Average operating MWe for month = 75,853

June 2001

ECAR

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7143.6

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4673.8

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3820.9

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,179

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,715

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3226.1

NPCC

Total Regional MWe for month 	= 9292

Average operating MWe for month = 8616.5

SERC

Oconee 2		- In refueling outage; Restart expected 6/5/01; Full power expected 6/10/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,418

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6997.6

Total All Regions MWe for month	= 86,960

Average operating MWe for month = 82,790

July 2001

ECAR

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7369.3

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4730.4

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3822.5

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,208

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,771

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3378

NPCC

Total Regional MWe for month 	= 9292

Average operating MWe for month = 8644.3

SERC

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,896

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month	= 86,960

Average operating MWe for month = 83,807

August 2001

ECAR

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7194.3

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4730.4

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3822.5

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,208

MAIN

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 11,771

Average operating MWe for month = 11,810

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3378

NPCC

Total Regional MWe for month 	= 9292

Average operating MWe for month = 8644.3

SERC

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,896

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month	= 86,960

Average operating MWe for month = 83,632