HIGHLY CONFIDENTIAL

# MONITORING & SUPPORT SERVICES

# FOR ECT

## Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

5/21/01 Update

(italicized plants have changed status since last week’s report)

May 2001

ECAR

Perry			- Entering maintenance outage; Restart expected 5/24/01; Full power expected 5/27/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 6391

ERCOT

South Texas 2		- Derate to 90%; Full power expected 5/22/01

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4589.5

##### FRCC

Crystal River 3		- In maintenance outage; Restart expected 5/22/01; Full power expected 5/24/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3681.6

MAAC

Calvert Cliffs 1		- In derate; Full power expected 5/22/01

Hope Creek		- In power ascension from maintenance outage; Full power expected 5/22/01

Oyster Creek		- In power ascension from maintenance outage; Full power expected 5/22/01

Salem 1			- In power ascension from refueling outage; Full power expected 5/22/01

Three Mile Island	- In derate at 75%; Full power expected 5/24/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 10,867

MAIN

Braidwood 1		- Holding at 99% due to power uprate adjustment

Braidwood 2		- In power ascension following forced outage; Full power expected 5/23/01

Byron 1			- Holding at 98% due to power uprate adjustment

Byron 2			- Holding at 97% due to power uprate adjustment

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,175

Average operating MWe for month = 11,725

MAPP

Duane Arnold		- In refueling outage; Restart expected 5/23/01; Full power expected 5/28/01

Prairie Island 2		- In forced outage; Restart expected 5/25/01; Full power expected 5/28/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 2601

NPCC (NEPOOL)

Pilgrim 			- In power ascension following refueling; Full power expected 5/24/01

Seabrook		- In derate to 95%; Full power expected 5/24/01

Vermont Yankee		- In power ascension following refueling; Full power expected 5/25/01

Total Regional MWe for month 	= 9292

Average operating MWe for month = 3262.3

NPCC (NYPP)

Indian Point 3		- In refueling outage; Restart expected 5/27/01; Full power expected 6/01/01

Nine Mile Point 2	- In power ascension following forced outage; Full power expected 5/22/01

Total Regional MWe for month 	= 9292

Average operating MWe for month = 3304.3

SERC

Brunswick 1		- In derate for maintenance; Full power expected 5/22/01

Brunswick 2		- In derate for maintenance; Full power expected 5/22/01

Oconee 2		- In refueling outage; Restart expected 5/31/01; Full power expected 6/5/01

Sequoyah 2		- In derate for maintenance; Full power expected 5/22/01

Summer			- In derate for maintenance; Full power expected 5/22/01

Surry 2			- In forced outage; Restart expected 5/23/01; Full power expected 5/25/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 23,414

##### SPP

Callaway		- In refueling outage; Restart expected 5/22/01; Full power expected 5/26/01

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6005.7

Total All Regions MWe for month	= 87,205

Average operating MWe for month = 75,842

June 2001

ECAR

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7143.6

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4673.8

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3820.9

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,179

MAIN

Braidwood 1		- Holding at 99% due to power uprate adjustment

Byron 1			- Holding at 98% due to power uprate adjustment

Byron 2			- Holding at 97% due to power uprate adjustment

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,758

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3226.1

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Oconee 2		- In power ascension; Full power expected 6/5/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,550

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6997.6

Total All Regions MWe for month	= 86,920

Average operating MWe for month = 83,301

July 2001

ECAR

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7369.3

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4730.4

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3822.5

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,208

MAIN

Braidwood 1		- Holding at 99% due to power uprate adjustment

Byron 1			- Holding at 98% due to power uprate adjustment

Byron 2			- Holding at 97% due to power uprate adjustment

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,706

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3378

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,896

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month	= 86,920

Average operating MWe for month = 84,050

August 2001

ECAR

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7194.3

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4730.4

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3822.5

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,208

MAIN

Braidwood 1		- Holding at 99% due to power uprate adjustment

Byron 1			- Holding at 98% due to power uprate adjustment

Byron 2			- Holding at 97% due to power uprate adjustment

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,706

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3378

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,896

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month	= 86,920

Average operating MWe for month = 83,875

September 2001

ECAR

Beaver Valley 1		- In refueling outage; Restart expected 10/3/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 6314.3

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 3663.8

##### FRCC

Turkey Point 3		- In refueling outage; Restart expected 9/30/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 2987.7

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 10,307

MAIN

Braidwood 1		- Holding at 99% due to power uprate adjustment

Byron 1			- Holding at 98% due to power uprate adjustment

Byron 2			- Holding at 97% due to power uprate adjustment

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,193

MAPP

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3269

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4126.9

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4536.5

SERC

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 21,826

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6089.7

Total All Regions MWe for month	= 86,920

Average operating MWe for month = 74,313