HIGHLY CONFIDENTIAL

# MONITORING & SUPPORT SERVICES

# FOR ECT

## Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

8/07/01 Update

(italicized plants have changed status since last week’s report)

August 2001

ECAR

Cook 1			- In derate to 98%; Full power expected 8/8/01

Palisades		- In forced outage due to CRD penetration leak; Restart expected early September 2001

Total Regional MWe for month 	= 7702

Average operating MWe for month = 6666.7

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4746.1

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3770.5

MAAC

Peach Bottom 3		- In coastdown to refueling; Refueling start expected 9/1/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,116

MAIN

Braidwood 1		- Holding at 97% due to power uprate adjustment

Braidwood 2		- Holding at 97% due to power uprate adjustment

Byron 1			- Holding at 99% due to power uprate adjustment

Dresden 2		- In derate to 76% due to maintenance; Full power expected 8/8/01

Dresden 3		- In derate to 88% due to maintenance; Full power expected 8/8/01

Kewaunee		- Holding at 96% maximum power

Quad Cities 1		- In forced outage; Restart expected 8/11/01; Full power expected 8/15/01

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,627

MAPP

Cooper			- In derate to 75% due to lake temperature; Full power expected 8/8/01

Monticello		- In derate to 90% due to discharge canal temperature; Full power expected 8/8/01

Prairie Island 1		- In forced outage; Restart expected 8/9/01; Full power expected 8/11/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3219

NPCC (NEPOOL)

Millstone 2		- In derate to 98%; Full power expected 8/8/01

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4284.3

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4744

SERC

North Anna 1		- In coastdown to refueling; Refueling start expected 9/9/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 25,393

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 7023

Total All Regions MWe for month	= 87,010

Average operating MWe for month = 83,007

September 2001

ECAR

Palisades		- In power ascension following forced outage; Full power expected 9/6/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 6613.9

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 3771.9

##### FRCC

Crystal River		- In coastdown to refueling; Refueling start expected 9/29/01

Turkey Point 3		- In refueling outage; Restart expected 9/30/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3011.9

MAAC

Hope Creek		- In coastdown to refueling; Refueling start expected 9/3/01

Peach Bottom 3		- In refueling outage; Restart expected 10/1/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 9657.2

MAIN

Braidwood 1		- In coastdown to refueling; Refueling start expected 9/22/01

Braidwood 2		- Holding at 97% due to power uprate adjustment

Byron 1			- Holding at 99% due to power uprate adjustment

Byron 2			- Holding at 99% due to power uprate adjustment

Kewaunee		- Holding at 96% maximum power

LaSalle 1		- In coastdown to refueling; Refueling start expected 10/13/01

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,235

MAPP

Cooper			- In coastdown to refueling; Refueling start expected 11/4/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3353.8

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Catawba 2		- In coastdown to refueling; Refueling start expected 9/9/01

Hatch 2			- In coastdown to refueling; Refueling start expected 9/8/01

North Anna 1		- In coastdown to refueling; Refueling start expected 9/15/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 22,338

SPP

River Bend 		- In coastdown to refueling; Refueling start expected 9/8/01

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6263.5

Total All Regions MWe for month	= 87,010

Average operating MWe for month = 75,197

October 2001

ECAR

Beaver Valley 1		- In refueling outage; Restart expected 10/9/01; Full power expected 10/14/01

Fermi 2			- In coastdown to refueling; Refueling start expected 10/19/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 6426

ERCOT

South Texas 1		- In refueling outage; Restart expected 10/8/01; Full power expected 10/13/01

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4358.4

##### FRCC

Crystal River 3		- In refueling outage; Restart expected 11/13/01; Full power expected 11/18/01

Turkey Point 3		- In power ascension; Full power expected 10/6/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 2507.6

MAAC

Hope Creek		- In refueling outage; Restart expected 10/18/01; Full power expected 10/23/01

Peach Bottom 3		- In power ascension following refueling; Full power expected 10/6/01

Three Mile Island	- In refueling outage; Restart expected 10/18/01; Full power expected 10/23/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 11,058

MAIN

Braidwood 1		- In refueling outage; Restart expected 10/19/01; Full power expected 10/24/01

Braidwood 2		- Holding at 97% due to power uprate adjustment

Byron 1			- Holding at 99% due to power uprate adjustment

Byron 2			- Holding at 99% due to power uprate adjustment

Dresden 2		- In coastdown to refueling; Refueling start expected 10/6/01

Kewaunee		- In refueling outage; Restart expected 11/26/01; Full power expected 12/1/01

LaSalle 1		- In coastdown to refueling; Refueling start expected 10/13/01

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 9331.7

##### MAPP

Cooper			- In coastdown to refueling; Refueling start expected 11/4/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3065.6

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Catawba 2		- In refueling outage; Restart expected 10/13/01; Full power expected 10/18/01

Farley 1			- In refueling outage; Restart expected 11/15/01; Full power expected 11/20/01

Harris			- In refueling outage; Restart expected 11/3/01; Full power expected 11/8/01

Hatch 2			- In refueling outage; Restart expected 10/18/01; Full power expected 10/23/01

North Anna 1		- In refueling outage; Restart expected 10/15/01; Full power expected 10/20/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 20,440

SPP

River Bend		- In refueling outage; Restart expected 10/13/01; Full power expected 10/18/01

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6569

Total All Regions MWe for month	= 87,010

Average operating MWe for month = 72,708

November 2001

ECAR

Cook 2			- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Fermi 2			- In refueling outage; Restart expected 11/19/01; Full power expected 11/24/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 5616.1

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4730.4

##### FRCC

Crystal River 3		- In refueling outage; Restart expected 11/13/01; Full power expected 11/18/01

St. Lucie 2		- In refueling outage; Restart expected 11/19/01; Full power expected 11/24/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 2875

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,208

MAIN

Braidwood 2		- Holding at 97% due to power uprate adjustment

Byron 1			- Holding at 99% due to power uprate adjustment

Byron 2			- Holding at 99% due to power uprate adjustment

Dresden 2		- In refueling outage; Restart expected 11/10/01; Full power expected 11/15/01

Kewaunee		- In refueling outage; Restart expected 11/26/01; Full power expected 12/1/01

LaSalle 1		- In refueling; Restart expected 11/17/01; Full power expected 11/22/01

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 10,541

##### MAPP

Cooper			- In coastdown to refueling; Refueling start expected 11/4/01

Prairie Island 2		- In refueling outage; Restart expected 12/5/01; Full power expected 12/10/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 1612.2

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Farley 1			- In refueling outage; Restart expected 11/15/01; Full power expected 11/20/01

Harris			- In refueling outage; Restart expected 11/3/01; Full power expected 11/8/01

Oconee 3		- In refueling outage; Restart expected 11/27/01; Full power expected 12/2/01

Sequoyah 1		- In refueling outage; Restart expected 11/15/01; Full power expected 11/20/01

Surry 1			- In refueling outage; Restart expected 11/16/01; Full power expected 11/21/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 22,506

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month	= 87,010

Average operating MWe for month = 76,029

December 2001

ECAR

Cook 2			- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7124.3

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4730.4

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3822.5

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,208

MAIN

Braidwood 2		- Holding at 97% due to power uprate adjustment

Byron 1			- Holding at 99% due to power uprate adjustment

Byron 2			- Holding at 99% due to power uprate adjustment

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,917

##### MAPP

Cooper			- In refueling outage; Restart expected 12/14/01; Full power expected 12/19/01

Monticello		- In refueling outage; Restart expected 12/13/01; Full power expected 12/18/01

Prairie Island 2		- In refueling outage; Restart expected 12/5/01; Full power expected 12/10/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 2630.3

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Oconee 3		- In power ascension; Full power expected 12/2/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,894

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month	= 87,010

Average operating MWe for month = 83,266