HIGHLY CONFIDENTIAL

# MONITORING & SUPPORT SERVICES

# FOR ECT

## Four Month Daily Forecast

Executive Summary:  Reasons for Shutdowns

8/21/01 Update

(italicized plants have changed status since last week’s report)

August 2001

ECAR

Palisades		- In forced outage due to CRD penetration leak; Restart expected 9/9/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 6794.9

ERCOT

Comanche Peak 1	- In maintenance outage; Restart expected 8/22/01; Full power expected 8/23/01

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4640.8

##### FRCC

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3689.9

MAAC

Peach Bottom 3		- In coastdown to refueling; Refueling start expected 9/14/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,448

MAIN

Braidwood 1		- Holding at 97% due to power uprate adjustment

Braidwood 2		- Holding at 97% due to power uprate adjustment

Byron 1			- Holding at 99% due to power uprate adjustment

Kewaunee		- Holding at 96% maximum power

LaSalle 2		- In derate at 75% due to surveillance; Full power expected 8/22/01

Quad Cities 2		- In forced outage; Restart expected 8/25/01; Full power expected 8/29/01

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,396

MAPP

Prairie Island 1		- In forced outage to repair CRD problems; Restart expected 8/29/01; Full power expected 8/29/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 2897.9

NPCC (NEPOOL)

Millstone 2		- In derate to 70% due to condenser waterbox cleaning and high condenser back pressure; Full power expected 9/1/01

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4121

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4824.8

SERC

North Anna 1		- In coastdown to refueling; Refueling start expected 9/9/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 25,136

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 7043.6

Total All Regions MWe for month	= 87,010

Average operating MWe for month = 82,993

September 2001

ECAR

Beaver Valley 1		- In refueling outage; Restart expected 10/8/01; Full power expected 10/13/01

Palisades		- In forced outage; Restart expected 9/9/01; Full power expected 9/14/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 6343.5

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4683.4

##### FRCC

Crystal River		- In coastdown to refueling; Refueling start expected 9/29/01

Turkey Point 3		- In coastdown to refueling; Restart expected 9/29/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3574.4

MAAC

Peach Bottom 3		- In coastdown to refueling; Refueling start expected 9/14/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 11,470

MAIN

Braidwood 1		- In coastdown to refueling; Refueling start expected 9/22/01

Braidwood 2		- Holding at 97% due to power uprate adjustment

Byron 1			- Holding at 99% due to power uprate adjustment

Kewaunee		- Holding at 96% maximum power

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,386

MAPP

Cooper			- In coastdown to refueling; Refueling start expected 11/3/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3353.8

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Catawba 2		- In coastdown to refueling; Refueling start expected 9/14/01

Hatch 2			- In coastdown to refueling; Refueling start expected 9/15/01

North Anna 1		- In coastdown to refueling; Refueling start expected 9/9/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 22,802

SPP

River Bend 		- In coastdown to refueling; Refueling start expected 9/21/01

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6626.3

Total All Regions MWe for month	= 87,010

Average operating MWe for month = 79,191

October 2001

ECAR

Beaver Valley 1		- In refueling outage; Restart expected 10/8/01; Full power expected 10/13/01

Fermi 2			- In coastdown to refueling; Refueling start expected 10/26/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 6821.6

ERCOT

South Texas 1		- In coastdown to refueling; Refueling start expected 10/3/01

Total Regional MWe for month 	= 4800

Average operating MWe for month = 3788.7

##### FRCC

Crystal River 3		- In refueling outage; Restart expected 11/3/01; Full power expected 11/8/01

Turkey Point 3		- In refueling outage; Restart expected 10/27/01; Full power expected 11/1/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 2388.6

MAAC

Hope Creek		- In coastdown to refueling; Refueling start expected 10/6/01

Peach Bottom 3		- In refueling outage; Restart expected; 10/4/01; Full power expected 10/9/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 10,528

MAIN

Braidwood 1		- In refueling outage; Restart expected 10/8/01; Full power expected 10/13/01

Braidwood 2		- Holding at 97% due to power uprate adjustment

Byron 1			- Holding at 99% due to power uprate adjustment

Dresden 2		- In coastdown to refueling; Refueling start expected 10/12/01

Kewaunee		- In refueling outage; Restart expected 12/1/01; Full power expected 12/6/01

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 10,569

##### MAPP

Cooper			- In coastdown to refueling; Refueling start expected 11/3/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 3252.7

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Catawba 2		- In refueling outage; Restart expected 10/14/01; Full power expected 10/19/01

Farley 1			- In refueling outage; Restart expected 11/10/01; Full power expected 11/15/01

Harris			- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Hatch 2			- In refueling outage; Restart expected 10/30/01; Full power expected 11/4/01

North Anna 1		- In refueling outage; Restart expected 10/7/01; Full power expected 10/12/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 20,847

SPP

River Bend		- In refueling outage; Restart expected 10/19/01; Full power expected 10/24/01

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6393.6

Total All Regions MWe for month	= 87,010

Average operating MWe for month = 73,541

November 2001

ECAR

Cook 2			- In coastdown to refueling; Refueling start expected 11/3/01

Fermi 2			- In refueling outage; Restart expected 12/1/01; Full power expected 12/6/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 5341.6

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4730.4

##### FRCC

Crystal River 3		- In refueling outage; Restart expected 11/3/01; Full power expected 11/8/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3374.9

MAAC

Hope Creek		- In refueling outage; Restart expected 11/17/01; Full power expected 11/22/01

Three Mile Island	- In refueling outage; Restart expected 11/4/01; Full power expected 11/9/01

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 11,480

MAIN

Braidwood 2		- Holding at 97% due to power uprate adjustment

Byron 1			- Holding at 99% due to power uprate adjustment

Dresden 2		- In power ascension; Full power expected 11/2/01

Kewaunee		- In refueling outage; Restart expected 12/1/01; Full power expected 12/6/01

LaSalle 1		- In coastdown to refueling; Refueling start expected 11/23/01

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,003

##### MAPP

Cooper			- In coastdown to refueling; Refueling start expected 11/3/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 2121.5

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Farley 1			- In refueling outage; Restart expected 11/10/01; Full power expected 11/15/01

Harris			- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Hatch 2			- In power ascension; Full power expected 12/4/01

Sequoyah 1		- In refueling outage; Restart expected 11/27/01; Full power expected 12/2/01

Surry 1			- In refueling outage; Restart expected 11/7/01; Full power expected 11/12/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 21,890

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month	= 87,010

Average operating MWe for month = 75,881

December 2001

ECAR

Cook 2			- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Fermi 2			- In power ascension; Full power expected 12/6/01

Total Regional MWe for month 	= 7702

Average operating MWe for month = 7046.9

ERCOT

Total Regional MWe for month 	= 4800

Average operating MWe for month = 4730.4

##### FRCC

St Lucie 2		- In refueling outage; Restart expected 12/17/01; Full power expected 12/22/01

Total Regional MWe for month 	= 3889

Average operating MWe for month = 3334.2

MAAC

Total Regional MWe for month 	= 12,836

Average operating MWe for month = 12,208

MAIN

Braidwood 2		- Holding at 97% due to power uprate adjustment

Byron 1			- Holding at 99% due to power uprate adjustment

Kewaunee		- In power ascension; Full power expected 12/6/01

LaSalle 1		- In refueling outage; Restart expected 12/11/01; Full power expected 12/16/01

Total Regional MWe for month 	= 12,135

Average operating MWe for month = 11,444

##### MAPP

Cooper			- In refueling outage; Restart expected 12/13/01; Full power expected 12/18/01

Monticello		- In refueling outage; Restart expected 12/16/01; Full power expected 12/21/01

Total Regional MWe for month 	= 3460

Average operating MWe for month = 2705.4

NPCC (NEPOOL)

Total Regional MWe for month 	= 4355

Average operating MWe for month = 4264.4

NPCC (NYPP)

Total Regional MWe for month 	= 4937

Average operating MWe for month = 4687.7

SERC

Harris			- In refueling outage; Restart expected 12/6/01; Full power expected 12/11/01

Oconee 3		- In refueling outage; Restart expected 12/15/01; Full power expected 12/20/01

Sequoyah 1		- In power ascension; Full power expected 12/2/01

Total Regional MWe for month 	= 25,589

Average operating MWe for month = 24,262

SPP

Total Regional MWe for month 	= 7217

Average operating MWe for month = 6987.5

Total All Regions MWe for month	= 87,010

Average operating MWe for month = 81,670