- ERCOT Protocols

- Section 3: Open Access to the ERCOT Transmission Grid

- January 5, 2001

3	Open Access to the ERCOT Transmission Grid	3-1

3.1	Overview	3-1

3.2	Eligibility for Transmission Service	3-1

3.3	Nature of Transmission Service	3-1

3.4	Payment for Transmission Access Service	3-1

3.5	Interconnection of New Generation	3-1

# Open Access to the ERCOT Transmission Grid

## Overview

Open access to the ERCOT Transmission Grid will be provided to all Eligible Transmission Service Customers by Transmission Service Providers (TSPs) and ERCOT in accordance with these protocols and the PUCT Substantive Rules, Chapter 25, Subchapter I, Transmission and Distribution.

## Eligibility for Transmission Service

Transmission Service is available to all Eligible Transmission Service Customers. Energy may be transmitted and Ancillary Services may be provided on behalf of an Eligible Transmission Service Customer through the ERCOT System only if scheduled through a Qualified Scheduling Entity ("QSE").

## Nature of Transmission Service

Transmission Service allows all Eligible Transmission Service Customers to deliver Energy from Resources to serve Load obligations, using the Transmission Facilities of all of the Transmission Service Providers in ERCOT.  ERCOT shall ensure the scheduling of Energy and Ancillary Services into, out of or through the ERCOT Transmission Grid on behalf of all Eligible Transmission Service Customers subject to the provisions stated in these Protocols.

## Payment for Transmission Access Service

ERCOT will not collect Transmission Access Service fees for the TSP’s cost of service.  ERCOT will provide volumetric data, pursuant to Section 9, to the TSPs so that the TSPs can calculate their Transmission access fees.  ERCOT’s collection and settlement process associated with ERCOT’s scheduling and deployment of Ancillary Services is addressed separately in these Protocols.

## Interconnection of New Generation

Interconnection of new Generation Resources to the ERCOT Transmission Grid shall be in accordance with the ERCOT Standard Generation Interconnection Agreement (SGIA) and ERCOT SGIA Procedures.

PUCT Rules, Ch. 25, Section 25.191.