1999 Facilities:

Brownsville

Caledonia

New Albany

| Size of Brownsville acreage | - floodplain issue |  |
| --- | --- | --- |
| Size of New Albany acreage | - FEMA floodplain map/ floodplain issue |  |
| Caledonia | - FEMA floodplain map/ floodplain issue |  |
| Review of all executed/ draft documents involving 1999 facilities related to operations & EGC as party | - Agreement w/ T&C ? |  |
| Contractor details | - confirm ECT roles - description of ECT, EE&CC & NEPCO |  |
| OEC (Operational Energy Corp- O&M contractor) | - details of experience |  |
| Diligence Assessment reports prepared by ENSR consulting (environmental site assessment) | - need copies |  |
| Peaking firing temperature for each of the plants (F) |  |  |
| Water consumption for NOX control @ Brownsville | -check if 460gpm includes evaporative cooling |  |
| Max. water consumption @ Caledonia & New Albany | - [ ]gpm |  |
| Natural gas interconnection @ each site | - check if guarantees for minimum gas pressure available in gas line to each CTG |  |
| Confirm that Projects operated w/in ind. O&M guidelines | - Operation w/in generally accepted industry practice & w/ env. Requirements |  |
| Reliability & Availability | - HESI on peak availability; specify capacity factors |  |
| Status of permits & approvals | - list of all permits |  |
| Projected O&M costs | - need budget |  |
| Operating history | - missing all information |  |

- additional Manufacturer/3rd party information on inlet fogging system effect on turbines