Part 1 – Introduction and Overview

A.	Applicability:  This Generating Facility Interconnection Application (Application) may be used to request the interconnection of a Generating Facility to Pacific Gas and Electric Company’s (PG&E) Distribution System (over which the California Public Utilities Commission (CPUC) has jurisdiction).  Refer to PG&E’s Rule 21 to determine the specific requirements for interconnecting a Generating Facility.  Capitalized terms used in this Application, and not otherwise defined herein, shall have the same meanings as defined in PG&E’s Rule 21 and Rule 1.

Except as noted in the next paragraph, this Application may be used for any Generating Facility to be operated by or for a Customer and/or Producer to supplement or serve the Customer’s electric service requirements that would otherwise be served by PG&E, including “distributed” generation, “cogeneration,” emergency, backup, and standby generation, and Net Energy Metered Generating Facilities.  A simpler, shorter form is also available from PG&E for most Net Energy Metered Generating Facilities.  While Customers or Producers operating isolated Generating Facilities are not obligated to enter into an Interconnection Agreement with PG&E, some parts of this Application will need to be completed even for Generating Facilities that will always be isolated from the PG&E's Distribution System.  Completing this application will satisfy PG&E’s notice requirements for operating an isolated Generating Facility.

This Application may not be used to apply for interconnecting Generating Facilities used to participate in transactions where all or a portion of the electrical output of the Generating Facility is scheduled with the California Independent System Operator (CAISO).  Such transactions are subject to the jurisdiction of the Federal Energy Regulatory Commission (FERC) and require a different application available from PG&E.

- Guidelines and Steps for Interconnection:  This Application must be completed and sent to PG&E along with the additional information indicated below to initiate PG&E’s review and authorization to interconnect the proposed Generating Facility.   An application fee of $800 (payable by check or money order to PG&E) must accompany most Applications.  Exceptions to this fee requirement include Applications used for isolated Generating Facilities, Solar Generating Facilities  up to 1 MW  that do not export power, and most Net Energy Metered Generating Facilities.  Additional fees and charges may also apply for large and/or more complex Generating Facility Interconnections; see PG&E’s Rule 21 Section C.1 (b) & (c).

This document is only an application.  Upon acceptance, PG&E will prepare an Interconnection Agreement for execution by PG&E and the “Producer,” the party that will be responsible for the Generating Facility.  PG&E may also require an inspection and testing of the Generating Facility and any related Interconnection Facilities prior to giving the Producer written authorization to Interconnect.  Unauthorized interconnections may be dangerous and may result in injury to persons and/or may cause damage to equipment and/or property for which a Producer may be liable!

Please note, other approvals may need to be acquired and/or other agreements may need to be formed with PG&E or regulatory agencies, such as the Air Quality Management Districts and local governmental building and planning commissions prior to operating a Generating Facility.  PG&E’s authorization to interconnect does not satisfy the need for an Applicant to acquire such other approvals.

C.	Required Documents:  Four copies of this Application and each of the following documents are required to be submitted.  Drawings must conform to accepted engineering standards and must be legible.  11”x17” drawings are preferred.

1.	A Single-line drawing showing the electrical relationship and descriptions of the significant electrical components such as the primary switchgear, secondary switchboard, protective relays, transformers, generators, circuit breakers, with operating voltages, capacities, and protective functions of the Generating Facility, the Customer’s loads, and the interconnection with PG&E’s Distribution System.

2.	Site plans and diagrams showing the physical relationship of the significant electrical components of the Generating Facility such as generators, transformers, primary switchgear/secondary switchboard, and control panels, the Customer’s loads and the interconnection with PG&E’s Distribution System.

3.	If transformers are used to interconnect the Generating Facility with PG&E Distribution System, please provide transformer nameplate information (voltages, capacity, winding arrangements, connections, impedance, et cetera).

4.	If a transfer switch or scheme is used to interconnect the Generating Facility with PG&E’s Distribution System, please provide component descriptions, capacity ratings, and a technical description of how the transfer scheme is intended to operate.

5.	If protective relays are used to control the interconnection, please provide protection diagrams or elementary drawings showing relay wiring and connections, proposed relay settings, and a description of how the protection scheme is intended to function.

D.	Mailing Instructions, Assistance:  When this application has been completed it may be printed and mailed, along with the required attachments to:

Pacific Gas and Electric Company

Attention: Interconnection Services

MCB13J;

P.O. Box 770000

San Francisco, CA 94177

Alternatively, you may contact PG&E at [ (415) 972-5676] or [ gen@pge.com ] and make arrangements to e-mail or fax copies of the required information with payment of the required fees to follow.  If you have questions or need assistance in completing this application please call [ (415) 972-5676 ]

| Project Name: | Date Received: | Generating Facility ID: |
| --- | --- | --- |
| (For PG&E Use Only) |  |  |

Part 2 – Identifying the Generating Facility’s Location and Responsible Parties

A.	Host Customer Facility Information	 (Where will the Generating Facility be installed?)

| Name shown on PG&E service account | Electric Account Number | Meter Number |
| --- | --- | --- |

NOTE: If available, please also submit a copy of the host Customer facility’s utility bill.

| Street Address | City | State | Zip |
| --- | --- | --- | --- |

B.	Contact Information	(Who should be contacted for additional information, if necessary?)

| Contact Person | Company Name |
| --- | --- |

| Phone | Fax | Email |
| --- | --- | --- |

| Mailing Address | City | State | Zip |
| --- | --- | --- | --- |

| Backup Contact Person (Optional) | Company Name |
| --- | --- |

| Phone | Fax | Email |
| --- | --- | --- |

| Mailing Address | City | State | Zip |
| --- | --- | --- | --- |

C.	Operating Date   (What date is this Generating Facility expected to begin operation?)

#### Part 3: Describing the Generating Facility and Host Customer’s Electrical Facilities

| A (MP&I) | Indicate how this Generating Facility will interface with PG&E’s Distribution System. | 1 2 3 (Choose one) |
| --- | --- | --- |

Instructions and Notes

Choose from the following three interface options:

1.	Parallel Operation: The Generating Facility will interconnect and operate “in parallel” with PG&E’s Distribution System for more than one (1) second.

2.	Momentary Parallel Operation: The Generating Facility will interconnect and operate on a “momentary parallel” basis with PG&E’s Distribution System for a duration of one (1) second or less through switches or circuit breakers specifically designed and engineered for such operation.

3.	Isolated Operation: The Generating Facility will be “isolated” and prevented from becoming interconnected with PG&E’s Distribution System through a transfer switch or operating scheme specifically designed and engineered for such operation.

If the answer is option 1, “parallel operation,” please supply all of the information requested for the Generating Facility.  Be sure to supply adequate information including diagrams and written descriptions regarding the protective relays that will be used to detect faults or abnormal operating conditions on PG&E’s Distribution System.

If the answer is option 2, “momentary parallel operation,” only questions A, E and F of this Part 3 and questions A, B, E, F, I, L, M, N, and S of Part 4 need be answered.  Be sure, however, to supply adequate information including diagrams and written descriptions regarding the switching device or scheme that will be used to limit the parallel operation period to one second or less.  Please also describe the back up or protective device and controls that will trip the Generating Facility should the transfer switch or scheme not complete the transfer in one second or less.

If the answer is option 3, “Isolated Operation,” only questions A, E, and F of this Part 3 and questions A, B, F, and S of Part 4 need be answered.  Be sure, however, to supply adequate information including diagrams and written descriptions regarding the isolating switching device or scheme that will be used to prevent the Generating Facility from operating in parallel with PG&E’s Distribution System.

| B | If the Answer to Question A was option 1, please indicate the type of agreement that is being requested with this Application. If options 2 or 3 were selected, please skip to questions E and F. If options 2, 3, or 4 to this question B are chosen, please provide an estimate of the monthly kWh the Generating Facility is expected to deliver to PG&E’s Distribution System. If PG&E determines that the amount of power to be exported is significant in relation to the capacity available on its Distribution System, it may request additional information, including time of delivery or seasonal kWh estimates. | 1 2 3 4 (Choose one) _____________ KWh |
| --- | --- | --- |

Instructions and Notes

Sample agreements are available from PG&E for review.  Choose from the following four agreement options:

1.	A Generating Facility Interconnection Agreement that provides for parallel or momentary parallel operation of the Generating Facility, but does not provide for exporting power to PG&E’s Distribution System.

2.	A Generating Facility Interconnection Agreement that provides for parallel operation of the Generating Facility, and the occasional, inadvertent, non-compensated, export of power to PG&E’s Distribution System.  (This type of Agreement has not yet been developed by PG&E or approved by the CPUC.  Check with PG&E for availability.)

3.	A “Qualifying Facility” Power Purchase Agreement that provides for parallel operation of the Generating Facility, and exporting power to PG&E’s Distribution System for sale to PG&E.  This option is available only to “Qualifying Facilities” with a total Nameplate Capacity of 100 kW or less. See Question F for the definition of a Qualifying Facility.  (This type of Agreement has not yet been developed by PG&E or approved by the CPUC.  Check with PG&E for availability.)

4.	A Net Energy Metering Agreement that provides for parallel operation of the Generating Facility, and exporting power to PG&E’s Distribution System for credit under the terms of PG&E’s Net Energy Metering Tariff.  This option is available only to solar and wind powered Generating Facilities per the terms of Section 2827 of the California Public Utilities Code.

| C | If the answer to question B was option 1, please indicate the option that will be used to prevent energy from being exported to PG&E’s Distribution System. If option 3 to this question C is selected, please provide the continuous current rating of the host Customer facility’s service entrance equipment (service panel size): If option 4 to this question C is selected, please provide the minimum load of the host Customer facility: | 1 2 3 4 (Choose one) ____________ Amps ____________ KW |
| --- | --- | --- |

Instructions and Notes

Refer to PG&E’s Rule 21, Section I. 4. for additional information as to how to answer this question.  If the Generating Facility will never export power to PG&E’s Distribution System, a simpler, lower cost, protection scheme may be used to control the interface between the Generating Facility and PG&E’s Distribution System.  Choose from the following four options:

1.	A reverse-power protection device will be installed at the Point of Common Coupling (PCC) to measure any outflow of power and trip the Generating Facility or open an intertie breaker to isolate the Generating Facility if limits are exceeded.

2.	An under-power protection device will be installed at the PCC to measure the inflow of power and trip or reduce the output of the Generating Facility if limits are not maintained.

3.	The Generating Facility’s interface equipment has been certified as Non-Islanding and the incidental export of power will be limited by the design of the interconnection.  If this option is to be used, the continuous ampere rating of the service entrance equipment (Main Panel size) that is used by the host Customer facility must be stated in the space provided above.

4.	The nameplate rating of the Generating Facility will not exceed 50% of the host Customer facility’s minimum electrical load.  If this option is to be used, the minimum load of the host Customer facility must be stated in the space provided above.

Note: With the approval of PG&E, a Producer that wishes to retain the option to export power from a Generating Facility to PG&E’s Distribution System may use a different protection scheme that provides for the detection of faults and other abnormal operating conditions.

| D | What is the maximum 3-phase fault current that will be contributed by the Generating Facility to a 3-phase fault at the Point of Common Coupling (PCC)? (If the Generating Facility is single phase in design, please provide the contribution for a line-to-line fault.) Please indicate the short circuit interrupting rating of the host Customer facility’s service entrance (“main”) panel: | ______________ Amps _____________ Amps |
| --- | --- | --- |

Instructions and Notes

Refer to PG&E’s Rule 21, Section D. 3. a. (2) and Section I. 9. for significance and additional information.  To determine this value, any transformers and/or significant lengths of interconnecting conductor used between the each of the Generators (if there are more than one) that make up the Generating Facility and the PCC must be taken into account.  The details, impedance, and arrangement of such transformers and cable runs should be shown on the single-line diagram that is provided.  Consult an electrical engineer or the equipment supplier if assistance is needed in answering this question.

It is expected that most Applicants will want to reserve the flexibility to operate any or all of their Generators in parallel.  However, if the design of the proposed installation will limit the amount of generation that may be interconnected at any time to PG&E’s Distribution System, please describe the assumptions used in calculating the maximum fault current contribution value.

| E (MP&I) | Please indicate how this Generating Facility will be operated. | 1 2 3 4 5 (Please choose all options that may apply.) |
| --- | --- | --- |

Instructions and Notes

Choose from the following five operation options:

1.	Combined Heat and Power or Cogeneration – Where the operation of the Generating Facility will produce thermal energy for a process other than generating electricity.

2.	Peak Shaving/Demand Management – Where the Generating Facility will be operated primarily to reduce electrical demands of the host Customer facility during PG&E’s “peak pricing periods.”

3.	Primary Power Source – Where the Generating Facility will be used as the primary source of electric power and that supplied by PG&E to the host Customer’s loads will be required for supplemental, standby or backup power purposes only.

4.	Standby / Emergency / Backup – Where the Generating Facility will normally be operated only when PG&E’s electric service is not available.

5.	Net Energy Metering – Where the Generating Facility qualifies and receives service under PG&E’s Net Energy Metering tariff.

| F (MP&I) | Please indicate if Qualifying Facility Status will be obtained from the FERC for this Generating Facility. | Yes No |
| --- | --- | --- |

Instructions and Notes

Parties operating Generating Facilities complying with all of the requirements for qualification as either a small power production facility or cogeneration facility pursuant to the regulations of the Federal Energy Regulatory Commission (18 Code of Federal Regulations Part 292, Section 292.203 et seq.) implementing the Public Utility Regulatory Policies Act of 1978 (16 U.S.C.A. Section 796, et seq.), or any successor requirements for “Qualifying Facilities” may seek certification from FERC to have the Generating Facility designated as a Qualifying Facility or “QF.”  In summary, Qualifying Facilities are Generating Facilities using renewable or alternative fuels as a primary energy source or facilities that utilize the thermal energy given off by the generation process for some other useful purpose.  QF facilities enjoy certain rights and privileges not available to non-QF Generating Facilities.

QF status is not required to interconnect and operate in parallel with PG&E’s Distribution System.

Part 4 – Describe each of the Generators (See Instructions.)  Use additional sheets, if necessary.

#### Part 4 – Describe each of the Generators (See Instructions.) Use additional sheets, if necessary.

|  | ##### Generator Information | Generator Type 1 | Generator Type 2 | Generator Type 3 | ##### Totals # For All Generators |
| --- | --- | --- | --- | --- | --- |
| # | ##### Please indicate the number of each “type” of Generator being installed: (See instructions) |  |  |  |  |
| A (MP&I) | Generator/Inverter Manufacturer (Name) |  |  |  |  |
| B (MP&I) | Generator/Inverter Model (Name/Number) |  |  |  |  |
| C | Generator/Inverter Software Version (Number) |  |  |  |  |
| D | Is the Generator Certified by a Nationally Recognized Testing Laboratory (NRTL) according to Rule 21? | Yes No | Yes No | Yes No |  |
| E (MP) | Generator Design (Choose One) | Synchronous Induction Inverter | Synchronous Induction Inverter | Synchronous Induction Inverter |  |
| F (MP&I) | Gross Nameplate Rating (KVA) |  |  |  |  |
| G | Gross Nameplate Rating (KW) |  |  |  |  |
| H | Net Nameplate Rating (KW) |  |  |  |  |
| I (MP) | Operating Voltage (Volts or kV) |  |  |  |  |
| J | Power Factor Rating (%) |  |  |  |  |
| K | PF Adjustment Range (%) | Min. ________ Max. _______ | Min. _______ Max. _______ | Min. _______ Max. _______ |  |
| L (MP) | Wiring Configuration (Choose One) | Single-Phase Three-Phase | Single-Phase Three-Phase | Single-Phase Three-Phase |  |
| M (MP) | 3-Phase Winding Configuration (Choose One) | 3 Wire Delta 3 Wire Wye 4 Wire Wye | 3 Wire Delta 3 Wire Wye 4 Wire Wye | 3 Wire Delta 3 Wire Wye 4 Wire Wye |  |
| #### Part 4 Cont.– Describe each of the Generators (See Instructions.) Use additional sheets, if necessary. |  |  |  |  |  |

|  | ##### Generator Information | Type 1 | Type 2 | Type 3 |  |
| --- | --- | --- | --- | --- | --- |
| N (MP) | Neutral Grounding System Used (Choose One) | Ungrounded Solidly Grounded Ground Resistor ________ Ohms | Ungrounded Solidly Grounded Ground Resistor ________ Ohms | Ungrounded Solidly Grounded Ground Resistor ________ Ohms |  |
| O | For Synchronous Generators Only: Synchronous Reactance: Transient Reactance: Subtransient Reactance: | _______ (Xd %) _______(X’d %) _______(X”d %) | _______ (Xd %) _______(X’d %) _______(X”d %) | _______ (Xd %) _______(X’d %) _______(X”d %) |  |
| P | For Induction Generators Only: Locked Rotor Current: ###### OR ###### Stator Resistance: Stator Leakage Reactance: Rotor Resistance: Rotor Leakage Reactance: | _____________ (Amps) __________(%) __________(%) __________(%) __________(%) | _____________ (Amps) __________(%) __________(%) __________(%) __________(%) | _____________ (Amps) __________(%) __________(%) __________(%) __________(%) |  |
| Q | Short Circuit Current Produced by Generator: (Amps) |  |  |  |  |
| R | For Generators that are Started as a “Motor” Only 1. In-Rush Current: 2. Host Customer’s Service Entrance Panel (Main Panel) Continuous Current Rating: | ____________ (Amps) ___________ (Amps) | ____________ (Amps) ___________ (Amps) | ____________ (Amps) ___________ (Amps)) |  |
| S (MP&I) | Prime Mover Type: (Choose One) | 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 | 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 | 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 |  |

#### Instructions for Part 4 – Describing the Generators

|  | ##### Generator Information | Instructions and Comments |  |
| --- | --- | --- | --- |
| # | ##### Please indicate the number of each “type” of Generator being installed: | Please provide the following information for each Generator “type”. Be sure all Generators classified as one “type” are identical in all respects. If only one type of Generator is to be used, only one column needs to be completed. Please be sure the information in the “Totals” column is correct and reflects the total number of Generator units to be installed. |  |
| A | Generator/Inverter Manufacturer | Enter the brand name of the Generator. |  |
| B | Generator/Inverter Model | Enter the model name or number assigned by the manufacturer of the Generator. |  |
| C | Generator/Inverter Software Version | If this Generator’s control and or protective functions are dependent on a “software” program supplied by the manufacturer of the equipment, please provide the version or release number for the software that will be used. |  |
| D | Is the Generator Certified by a Nationally Recognized Testing Laboratory (NRTL) according to Rule 21? | Answer “Yes” only if the Generator manufacturer can or has provided certification data. See PG&E’s Rule 21, Section J for additional information regarding Generator certification. |  |
| E | Generator Design | Please indicate the design of each Generator. Designate “Inverter” anytime an inverter is used as the interface between the Generator and the electric system regardless of the primary power production/storage device used. |  |
| F | Gross Nameplate Rating (kVA) | This is the capacity value normally supplied by the manufacturer and stamped on the Generator’s “nameplate”. This value is not required where the manufacturer provides only a “kW” rating. However, where both kVA and kW values are available, please indicate both. |  |
| G | Gross Nameplate Rating (kW) | This is the capacity value normally supplied by the manufacturer and stamped on the Generator’s “nameplate”. This value is not required where the manufacturer provides only a “kVA” rating. However, where both kVA and kW values are available, please indicate both. |  |
| H | Net Nameplate Rating) (kW) | This capacity value is determined by subtracting the “Auxiliary” or “Station Service” loads used to operate the Generator or Generating Facility. Applicants are not required to supply this value but, if it is not supplied, applicable Standby Charges may be based on the higher “gross” values. |  |
| I | Operating Voltage | This value should be the voltage rating designated by the manufacturer and used in this installation. Please indicate phase-to-phase voltages for 3-phase installations. See PG&E’s Rule 21, Section D. 2. a. for additional information. |  |
| J | Power Factor Rating | This value should be the nominal power factor rating designated by the manufacturer for the Generator. See PG&E’s Rule 21, Section D. 2. f. for additional information. |  |
| #### Instructions for Part 4 – Describing the Generators – Continued |  |  |  |

|  | ##### Generator Information | Instructions and Comments |
| --- | --- | --- |
| K | Power Factor Adjustment Range | Where the power factor of the Generator is adjustable, please indicate the maximum and minimum operating values. See PG&E’s Rule 21, Section D. 2. f. for additional information. |
| L | Wiring Configuration | Please indicate whether the Generator is a single-phase or three-phase device. See PG&E’s Rule 21, Section D. 3. a. (1) for additional information. |
| M | 3-Phase Winding Configuration | For three-phase generating units, please indicate the configuration of the Generator’s windings or inverter systems. |
| N | Neutral Grounding | Wye connected generating units are often grounded – either through a resistor or directly, depending upon the nature of the electrical system to which the Generator is connected. If the grounding method used at this facility is not listed, please attach additional descriptive information. |
| O | For Synchronous Generators Only: | If the Generator is of a “synchronous” design, please provide the synchronous reactance, transient reactance, and subtransient reactance values supplied by the manufacturer. This information is necessary to determine the short circuit contribution of the Generator and as data to be input in load flow and short circuit computer models of PG&E’s Distribution System. If the Generator’s Gross Nameplate Capacity is 10 MW or greater, PG&E may request additional data to better model the nature and behavior of the Generator with relation to its Distribution System. |
| P | For Induction Generators Only: | If the Generator is of an “induction” design, please provide the “locked rotor current” value supplied by the manufacturer. If this value is not available, the stator resistance, stator leakage reactance, rotor resistance, rotor leakage reactance values supplied by the manufacturer may be used to determine the locked rotor current. If the Generator’s Gross Nameplate Capacity is 10 MW or greater, PG&E may request additional data to better model the nature and behavior of the Generator with relation to its Distribution System. |
| Q | Short Circuit Current Produced by Generator | Please indicate the current each Generator can supply to a three-phase fault across its output terminals. For single phase Generators, please supply the phase-to-phase fault current. |
| R | For Generators that are Started as a “Motor” Only: 1. In-Rush Current 2. Host Customer’s Service Entrance Panel (Main Panel) Continuous Current Rating | This information is needed only for Generators that are started by “motoring” the generator. Refer to PG&E’s Rule 21, Section I. 7. for significance and additional information. If this question was answered in Part 3, question C of this Application, it need not be answered here. |

#### Instructions for Part 4 – Describing the Generators - Continued

|  | ##### Generator Information | Instructions and Comments |
| --- | --- | --- |
| S | Prime Mover Type | Please indicate the type and fuel used as the “prime mover” or source of energy for the Generator. 1 = Internal Combustion Engine – Natural Gas/Propane Fueled 2 = Internal Combustion Engine – Diesel Fueled 3 = Internal Combustion Engine - Other Fuel 4 = Microturbine (< 250 kW) – Natural Gas/Propane Fueled 5 = Microturbine – Other Fuel 6 = Combustion Turbine (> 250 kW) Natural Gas/Propane Fueled 7 = Combustion Turbine - Other Fuel 8 = Steam Turbine 9 = Photovoltaic Panels 10 = Solar-thermal engine 11 = Fuel Cell– Natural Gas/Propane Fueled 12 = Fuel Cell– Other Fuel 13 = Hydroelectric Turbine 14 = Wind Turbine 15 = Other (please describe) |