# SHADDOCK PROPERTIES

September 28, 2025

## PROPOSAL CONTRACT

Tana Jones

1714 Wroxton Court

Houston, Texas  77005

| ### Airconditioning: | #### Cost |
| --- | --- |
| 2-3 ton condensing units 12.0 S.E.E.R. condensing units (Carrier equipment) |  |
| 2-3 ton evaporator coils |  |
| 2 gas heaters |  |
| Fiberglass duct trunklines with flex duct run-outs |  |
| Steel supply air and return air grille |  |
| PVC drain lines |  |
| 24 volt thermostats |  |
| Copper refrigerant lines |  |
| Sheetmetal safety drain pans |  |
| Remove two wall heaters | $12,503 |
| Electrical: |  |
| Rebuild service to both floors of duplex and connect new heaters and condensing units | 4,803 |
| Locate condensing units to west side of house: add | 484 |
| Plumbing (gas piping): |  |
| Extend existing gas line from wall heaters into attic | 2,000 |
| Sheetrock work: |  |
| Downstairs unit |  |
| Build furrdowns as necessary to cover AC ducts |  |
| Sheetrock, texture and paint furrdowns |  |
| Check for leak in tub area and sheetrock, and paint ceiling |  |
| Install exhaust fan in downstairs bath |  |
| Repair hole left by wall heater and remove 2 AC units from windows |  |
| #### Upstairs unit |  |
| Paint hall, front and back bedroom, including trim |  |
| Repair patch in living room ceiling and check for leak |  |
| Repair hold in front after removal of AC unit |  |
| Fix hole in sunroom after removal of AC unit and repair wood siding |  |
| Patch hold left by wall heater |  |
| Touch of base paint in entry hall |  |
| Remove window units from windows | 8,500 |
| Electric Gate (Griffin Fence Co.): |  |
| Fence | 3,570 |
| Run electric conduit to gateline | 326 |
| Total Cost: | $32,186 |

Payment:  Due upon completion

Accepted:  The above prices, specifications, and conditions are satisfactory and hereby accepted.  I understand the price is an estimate and that the actual cost may vary from the stated amount.  You are authorized to do the work stated herein.  Payment will be made as outlined above.

Date of Acceptance:  __________________

By:  _______________________________________________________

By:  ________________________________________________________

This proposal may be withdrawn by us if not accepted within 30 days