## January 17, 2000

98-10947-LO-021

### PG&E Company

705 P Street, Third Floor

Fresno, CA 93760

Attn: 	Mr. Don Fantz

Subject:    	115kV Substation, CSU Fresno

Reference:	PG&E Detailed Study

Dear  Don:

Enron Energy Services (EES) is currently reviewing the scope and costs associated with the January 12, 2000, Detailed Transmission Interconnection Study for the California State University, Fresno (CSUF).  It is apparent that the costs associated with the scope of work being provided are extremely inflated and have a detrimental impact on the overall Project.

With the costs being excessive and having a significant impact on the Project, EES and CSUF might require more than fifteen days to respond to the Detailed Study.  Even though we have requested for this information previously, the release of PG&E’s cost breakouts for both the Substation/Distribution and the Transmission Line parts of the Detailed Study will allow us to speed up our review.  Find attached a past breakout EES received previously on a project that was implemented with PG&E.  Note that labor and material costs were provided.  This is the type of breakout that EES and CSUF requires and expects in order to justify the costs previously submitted by PG&E.

Once our review is complete, we intend to have a meeting at our San Ramon office with all parties to go over the Detailed Study.  EES requests that PG&E have the appropriate personnel at this meeting to field questions pertaining to scope, schedule, cost, and regulatory issues of the referenced Detailed Study.  This will avoid any unnecessary loss of Project time to field and respond back to questions.

Once we have confirmed our timetable to respond to the Detailed Study, I will inform you of the date with advance notice to schedule your personnel.  Again, I look forward to working with you on negotiating an amicable agreement that will allow us to move forward in executing an Interconnection Agreement for the above referenced project.  Should you have any question or comments, please feel free to contact me.

Sincerely,

## ENRON ENERGY SERVICES

Robert M. Cone

Lead Project Manager

cc:	Dick Smith, CSUF

Dirk van Ulden, EES

Richard Crevelt, EES

Jeff Dasovich, Enron