EXHIBIT A  ELECTRICAL LOSSES GUARANTEE AND DAMAGES

| Electrical Losses Guarantee* @ 64 MVA | Applicable Liquidated damages |
| --- | --- |
| 202.2 kW | $2,000/kW |

* Electrical Losses Guarantee assumes the cooling fans are not in operation.  Total losses are defined to be the sum of the no load losses (52.5 kW) and the load losses (149.7 kW) as established in Exhibit B-1 for ABB Design HU-Enron-1C.