# Allegheny Questions and Answers: Gleason Facility (Second Batch)

### October  23, 2000

1.  Does the Gleason facility have an air operating permit from the Tennessee Department of Environment & Conservation?  If so, please provide a copy.  If not, please explain status.  We also noticed that the construction permit expired on October 1, 2000.  See 02.01.02.  Was it renewed?

The facility has not yet applied for an air operating permit. The deadline for submitting this application is April 2001. The construction permit authorizes the current operation of the facility.

2.  What is the status of the petition for variance to the Tennessee Department of Environment & Conservation for alternative testing and monitoring methods under NSPS Subpart GG dated April 17, 2000?  See 02.01.04B.  What is the status of the letter requesting a waiver of certain source emission tests dated April 18, 2000?  See 02.01.04A.

The facility received approval of its alternate monitoring and test methods in a letter from EPA region 5 to the state specifically addressing the Gleason request. A copy of this letter has been placed in the data room.

3.  Is there enough water to support an expansion of the facility at Gleason?  Please provide any testing/analysis that has been performed with respect to this issue.

My Initial response to this question is yes there is enough water for expansion at the facility. Currently both wells are capable of over 1000 GPM and current consumption is only @600 GPM. The testing results that are being sent down on the wells will provide the needed information.