# Allegheny Questions and Answers: Lincoln & Wheatland

October 22, 2000

## Lincoln Plant Questions:

1.	We have received a CD with Project Drawings.  We will be reviewing them shortly.  Please send Seimens drawings when available.

2.	Please provide documents that contain operating budget for Lincoln.

3.	Please provide the O&M contract with Operational Energy Corporation.

4.	Please provide water chemistry analysis for wells or identify document on DealBench.

5.	Please provide copy of standard operating procedure for the plant.

6.	Please provide equivalent starts and equivalent base hours for all

CTs.

Wheatland Plant Questions:

1.	We have received a CD with Project Drawings.  We will be reviewing them shortly.  Please send Seimens drawings when available.

2.	Please provide documents that contain operating budget for Lincoln.

3.	Please provide the O&M contract with Operational Energy Corporation.

4.	Please provide copy of standard operating procedure for the plant.

5.	Please provide equivalent starts and equivalent base hours for all CTs.

6.	Please provide engineering details of RTU module and associated equipment used for plant dispatch.

7.	Please provide any available information on Westinghouse contract.

8.	Please provide chart and guarantee curves for CTs.

9.	Please provide your calculations supporting the 902 hour annual operating limit.

10.	Please status of NPDES application and any associated correspondence.