Analysis of DPC's Break-Even Tariff Versus

MSEB's Average Projected Realisation

|  |  | 2001 | 2002 | 2003 | 2004 |
| --- | --- | --- | --- | --- | --- |
| Exchange Rate | Rs./$ | 49.35 | 51.82 | 54.41 | 57.13 |

| Capacity Charge (@ 75% PLF) | Cents/kwh | 4.77 | 4.19 | 4.22 | 4.25 |
| --- | --- | --- | --- | --- | --- |
| Energy Charge (@ 25$/bbl) | Cents/kwh | 5.38 | 4.24 | 4.55 | 4.52 |
| Total Tariff | Cents/kwh | 10.15 | 8.44 | 8.78 | 8.77 |
| Less : Cash RoE Per Unit | Cents/kwh | (2.26) | (2.03) | (1.83) | (1.76) |
| DPC's Net Tariff at Bus-Bar | Cents/kwh | 7.90 | 6.41 | 6.95 | 7.01 |

| Capacity Charge (@ 75% PLF) | Rs/kwh | 2.36 | 2.17 | 2.30 | 2.43 |
| --- | --- | --- | --- | --- | --- |
| Energy Charge (@ 25$/bbl) | Rs/kwh | 2.65 | 2.20 | 2.48 | 2.58 |
| Total Tariff | Rs/kwh | 5.01 | 4.37 | 4.77 | 5.01 |
| Less : Cash RoE Per Unit | Rs/kwh | (1.11) | (1.05) | (1.00) | (1.00) |
| DPC's Net Tariff at Bus-Bar | Rs/kwh | 3.90 | 3.32 | 3.78 | 4.01 |
| Average T&D Losses |  | 30% | 30% | 30% | 30% |
| DPC's Net Tariff at Consumer End | Rs/kwh | 5.57 | 4.74 | 5.40 | 5.72 |

| MSEB's Average Realization | Rs/kwh | 2.85 | 2.93 | 3.05 | 3.17 |
| --- | --- | --- | --- | --- | --- |
| MSEB's Average Cash Realization* | Rs/kwh | 2.57 | 2.64 | 2.75 | 2.85 |
| Gap in Unit Tariff (Cash Basis)# | Rs/kwh | (3.00) | (2.11) | (2.65) | (2.87) |

The above analysis assumes the following:

- With the commissioning of Phase II and the LNG terminal, LNG T-O-P would be applicable which is equivalent to 75% PLF

- With regard to MSEB system, an average T&D loss of 30% and collection efficiency at 90% have been assumed.

- The breakeven tariff for DPC, over the period under consideration, has been computed by netting off the cash Return on Equity (RoE) component.

Conclusion:

- Assuming a Merit order dispatch model, DPC should be dispatched upto 75% PLF, since it's variable cost would be minimal upto this level owing to T-O-P considerations. However, beyond this PLF level, DPC is unlikley to be dispatched during this period.

- It is evident from the table above that DPC's tariff at the busbar (net of Cash RoE) is significantly higher than MSEB's projected average realisation. This gap widens even more when we consider the impact of T&D losses and MSEB's collection efficiency.

- In summary, to keep MSEB whole, measures over and above deferral of cash RoE need to be undertaken, which could include reschedulement of debt, third party sale of LNG, third party sale of power, etc.