Aquila Questions & Answers: Gleason & Wheatland Plants

October 20, 2000

1) Are the units started in parallel or sequence? (Could you please provide a diagram of the ramp-up sequence to include timing).

These units can be started either in parallel or in sequence.  Additional information will follow.

2) How much start up power is required?

# To be provided on Monday.

3) Is start up power purchased from Cinergy &/or IPL?  At what tariff rate?

See 01.02.27 A and 01.02.27 B in DealBench

4) How many Mwh are produced during start up? (May include as part of #1)

To be provided on Monday.

5) How much fuel is burned (MMBTU's) during start up? (May include as part of

#1)

Approximately 100 MMBtu/turbine is burned per start up.