# Aquila Questions and Answers: Wheatland

October 26, 2000

1.  Could you please provide a complete asset listing that will be conveyed to

the new owner (including spare parts).

2.  There are currently 12 permanent staff assigned to Wheatland. Is

this a requirement due to switchyard interconnects or any other contractual

requirements?

S/4 operations were expected to be more “intensive” that they turned out to be.  Four extra employees were for S/4 operations.  Bond on the number of S/4 operations per year (5), these extra four persons are probably excessive.

3.  Do we understand that you are entering into a switchyard maintenance

contract for five years? Yes If so, may we have a copy and what is the annual

cost? No and its approximately $48,000 per year.

4.  Are you willing to enter into an agreement to provide turbine

maintenance after the warranty?

Yes.  Perhaps OEC might have an interest.  Separate discussions would be required with OEC.