- Nashville Gas Company Transportation and Storage Assets

| Transportation Services |  |  |  |
| --- | --- | --- | --- |
| ## Pipeline | Location | Winter Capacity (Dt/d) | Summer Capacity (Dt/d) |
| ## Tennessee FT-A | Zone 0/100 Leg | 22,435 | 22,435 |
|  | Zone 1/500 Leg | 23,461 | 23,461 |
|  | Zone 1/800 Leg | 28,204 | 28,204 |
| ** See Note1Below | Zone 1/100 Leg | 55,900 | 55,900 |
| Columbia Gulf FTS1 | Mainline | 5,000 | 4,601 |
| Columbia Gulf FTS1 2 | Mainline | 30,000 | 0 |
| CNG FT | Transmission | 7,000 | 0 |
| Columbia SST | Transmission | 10,000 | 5,000 |
| Storage Services |  |  |  |
| ## Service | SCQ (Dts) | MDWQ (Dt/d) | MDIQ (Dt/d) |
| Tennessee FS-PA | 672,091 | 6,190 | 4,480 |
| Tennessee FS-MA | 2,901,943 | 50,798 | 19,347 |
| Columbia FSS | 611,870 | 10,000 | 4,901 |
| ### CNG GSS | 350,000 | 7,000 | 1,944 |

Notes

1.Under a discounted rate agreement, Nashville schedules this 55,900/day for storage withdrawals with a firm receipt point of Portland Storage (meter #070025) and a firm delivery point at Nashville’s city gate (meter #020312).  If Nashville schedules receipts/deliveries at points other than these firm points, Nashville will be billed the maximum FT-A reservation and commodity rates for that month.

2. This capacity will be avaible from 12/01/00 through 2/28/01.  This capacity agreement provides for firm deliveries with a receipt point of Leech, KY and delivery point of Nashville’s city gate. Nashville will be nominating this supply on a secondary basis from Rayne to Nashville’s city gate.

##### Nashville Gas Company Supply Agreements

| Pipeline | Zone/Leg | Delivered Quantity (Dt/d) | ###### Comments |
| --- | --- | --- | --- |
| Tennessee | Zone 0 / 100 Leg | 22,435 | Winter Only Baseload |
| Tennessee | Zone 1 / 500 Leg | 15,100 | Winter Daily Swing / Summer Baseload |
| Tennessee | # Zone 1 / 500 Leg | 10,535 | Year Round Baseload |
| Tennessee | Zone 1 / 500 Leg | 2,569 | Winter Only Baseload |
| Tennessee | Zone 1 / 800 Leg | 4,465 | Year Round Baseload |
| Tennessee | Zone 1 / 800 Leg | 18,996 | Winter Only Baseload |
| Columbia Gulf | Mainline | 5,000 | Year Round Baseload (4,601 Summer) |
| Columbia Gulf | Mainline | 30,000 | Winter Only Baseload (12/00 – 2/01) |
| Peaking – TGP | City Gate | 40,000 | 10 Day Daily Swing Service w/10,000 increments (Dec – Feb) |