# Introduction

This paper defines and discusses the purpose of and need for ‘day-ahead balanced schedules’ (‘balanced schedules’) as wholesale electricity markets are deregulated and entities such as the independent system operator (‘ISO’) in ERCOT, rather than load serving entities (‘LSEs’), are tasked with maintaining real-time reliability.

# What are balanced schedules?

Historically, and in the absence of ISO’s, real time reliability was managed bilaterally.  LSEs constructed, or contracted with, generation to ensure adequate capacity in the longer run, and energy in real time to keep their constituents lights on.  As long as each LSE contracted for it requirements, interconnected transmission networks could be operated reliably and energy delivered.

However, because transmission networks were interconnected, each LSE required a certain amount of time to communicate with neighboring LSEs to ensure that the proposed schedules were feasible and real time reliability could be maintained.  Given the technology at the time, it was decided that such communication and analysis had to begin at least a day ahead of real time.  Thus each LSE shared its balanced load and generation obligations with neighbors a day ahead.  The submission of day ahead balanced schedules demonstrated to neighbors that capacity resources (generation) were available to match the level of forecasted load for the next day.  This process was known as the “day ahead balanced schedule” requirement.

By submitting this information, each LSE could be assured that any resulting impact on neighboring systems was analyzed day ahead and if dispatch was deemed feasible each LSE would dispatch according to its day ahead schedule, if possible.  Thus, in theory, resource should be available in real time to maintain reliability.

# Why is this traditional practice being challenged?

More recently, three things have changed.  Firstly, the complexity of bilateral arrangements has increased as third party power merchants, and independent trading houses begin to compete with generators to provide services to LSEs.  For example, power is now traded across the country both physically and financially, derivatives and other risk management techniques such as options are also commonplace.  The actual scheduling of these products and can and does affect real time power flows.  Secondly, the technology that allows real time monitoring and reliability assessment has improved dramatically.  And thirdly in recognition of the increasingly complex nature of power trading, to facilitate third party entry and incent non-discriminatory practice, ISO’s have been tasked with maintaining real time reliability across regions rather than leaving this task to LSEs.

These recent changes now directly challenge the relevance of more traditional practices.  In fact, as this paper will demonstrate, the complexity inherent in regional reliability assessment and dispatch cannot be mitigated by market design.  Dispatch rules which force participants to submit balanced schedules on a day ahead basis, or effectively bilaterally contract with counter parties rather than promote flexible provision of resource are unnecessary, may limit the ability of the ISO to maintain reliability and effectively reduce market efficiency.  Therefore, Enron advocates the outright elimination of day ahead balanced schedule requirements, and other impediments, that restrict participant. Flexibility.  The benefits to the public will be reduced wholesale market costs for parties procuring directly from that market and an electric system at least as reliable as today.

# The Role of the ISO/Dispatcher is to dispatch according to real time conditions, not schedules

A fundamental discussion that is necessary to ensure robust regional electricity markets is the real role to be played by an ISO in maintaining real time reliability.

As a result of the developing regional electricity markets, and federal/state policy, the ISO has been primarily created to maintain real time reliability as an independent body.  In undertaking this task the ISO will manage real time capacity shortfalls, imbalance, and congestion while maintaining additional resources in case of unforeseen contingency.  The only resources that assist the ISO achieve its objective are generation resources (and interruptible load if incentives exist) and it will utilize all available resource to meet its objective even if they are bilaterally contracted and scheduled.  Management of reliability in real time can not be separated from management of transmission constraints, dispatch, generation output flux, ramping rates, load changes and many other multiple technical factors, but not schedules. Therefore, the ISO needs information, tools and resources ahead of time that will assist it complete its real time realibility responsibilities.

The key point is that the complexities of regional real time grid operation is inherent, and it simply does not go away because of market design (or balanced schedules):  There are any number of transmission constraints, unforeseen events and a full range of ancillary services which need to be dealt simultaneously.  The ISOs job does not change on the basis of whether or not balanced or balanced schedules are submitted a day ahead.  The ISO will still dispatch according to real time conditions, not schedules.

However, the underlying rationale supporting the continuation of more traditional sheduling methods remains intuitively appealing.  That is the role of the ISO can in some way be minimized and ‘the market’ can resolve issues without it.

To support continuation of this practice two assumptions must be found to be true.  The first relates to the ISOs ability to call on resources.  That is, the schedules provide the ISO with the information required to test the dispatch feasibility a day ahead (analyse the operational consequences of approving submitted schedules) and operate the system in real time.  The second is that for a feasible dispatch solution to be realized, day ahead conditions must closely match those in real time.  These assumptions are obviously closely linked as the ISO takes these schedules, determines the underlying resource pattern, if possible, and runs reliability studies to determine whether the solution is feasible in real time (i.e. does not overload the transmission network).

We tackle the first assumption.  In fact schedules do not always provide the ISO with the information it requires to manage real time reliability.  This is because the ISO is actually seeking the location of the generation resources expected to be running in real time, not the schedules themselves, so that it can enter this information into its security analysis and powerflow software.  Without such information the schedule itself is of minimal value.  However typical third party contracts do not provide for the nomination of specific resource a day ahead so the party cannot provide the actual resource information to the ISO.  As shown later in this paper, the dispatcher is still able to operate on this basis, and does so today.  Thus the first assumption is often not true.

And the second assumption.  To incent submission of day ahead balanced schedules that are closely correlated with real time conditions mismatches, where real time load and or generation do not match the day ahead schedules, are charged an explicit penalty.  This penalty varies for each region in the US, but the idea is to penalize mismatches, typically referred to as imbalance or inadvertent energy, over and above the payment for energy purchased.  Thus while the penalties do incent the provision of real day ahead projections, they incent parties differently so the ISO may begin to rely on information provided by one party but not another.  This does little to assist the ISO manage real time reliability.  In fact if the ISO begins to distrust information it is likely that it will take independent action which may in itself be inefficient.  For example if a party typically submits schedules that are 300MW short in real time, it may purchase ex ante 300MW of additional capacity to ensure real time reliability.  This cost is charged to the market even if the original participant does in fact balance in real time.  In summary, incentives need to be targeted to ensure that the economic incentive to provide accurate information is aligned with the economic consequences of providing faulty information.  Prices, not penalties, do exactly that.

We also know that day ahead balanced schedules are actually amended after submission and as the market approaches real time.  While the ISO will do its best to dispatch the system according to the balanced schedules, if the solution is not feasible, the ISO does not approve certain transactions according to pre-defined rules.  . This is done for various reasons, including change in operating conditions, dispatch infeasibility or reconstruction of contract positions.  The process of refinement and reconfiguration of bilateral contracts continues until a few minutes prior to the real time operation.  If the solution is still not feasible, or generation/transmission resources fail in the meantime, the operator calls for mandatory re-dispatch (or Transmission Relief Procedures). The operator may also make unit commitment decisions to make up any shortfall prior to real time and make other somewhat arbitrary decisions.

All actions are designed to ensure reliability.  Those actions do not ensure that an economic dispatch is being achieved.  Neither does this approach minimize the role of the ISO.  So rather than being ‘balanced a day ahead’ parties interact with the ISO incrementally to ensure that the lights stay on in real time.

# Why then submit, or incent the submission of, day ahead balanced schedules if it is recognized that real time conditions do differ from day ahead conditions?  Are there other approaches that achieve the same desirable result more effectively?

As set out above the balanced schedule concept is based on historical precedent.  Utilities were vertically integrated and solely responsible for procuring energy to meet their own native loads.  Regional power trading, or simply buying resource from a neighboring utility was embryonic or non-existent.

However as dispatch complexity and scale increases it becomes less and less likely that day ahead conditions will match those in real time.  Thus we need to ensure that all scheduling processes assist the ISO maintain real time reliability especially those processes that ensure incremental redispatch options are available to the ISO as conditions change.  Choosing to balance load and generation a day ahead can, and should be, relegated to second order issues.  That is, if individual parties do not balance in real time, and it is unlikely that they will even if they submit balanced schedules, the ISO has incremental resources that it can call on which will ensure the aggregate system balances.

Under this emerging regional marketplace multiple suppliers, including traditional generation, merchant plants and demand side bidders must be accommodated and interact to ensure reliable dispatch of resource.  To avoid conflicts of interest, and to effectively incent behavior, the ISO must to select the best combination of resources which provide the most economic and reliable solution at any moment in time.

The way to accommodate this is to give market participants flexibility to either submit balanced schedules, unbalanced schedules or sell/buy resources offered to the ISO through a ‘spot or real time market’.  The ISO will signal its ability to manage real time reliability by signaling forecast prices a day ahead or any increment before real time.  The objective remains the same, assuring that the operator has enough generation resources (or voluntary load reduction) to be utilized in the most economic and reliable way.

The full approach is not set out within this document for reasons of brevity but it is found in operation in the NE US, forms the basis of the Midwest ISO day 2 market design, and is the approach recommended by the FERC administrative law judge that presided over the SE RTO mediation proceeding.  In summary, it works and is gaining widespread support by stakeholders in other parts of the US.  This is because it recognizes that scheduling and dispatch of the power system is a dynamic process, which takes into account load variations, plant availability, transmission constraints and other factors over time.  The ISO has to utilize all available generation resources and information to maintain real time reliability at minimum cost, despite the generation resources being contracted or not.  The least cost solution, or “security constrained economic dispatch” is obtained by the use of an algorithm which takes into account all the generation possibilities, transmission and other constraints, such as must run plants.  Real time dispatch is not based only on reconfiguring bilateral trades, on the contrary, it recognizes that the nature of the electric grid involves coordination of multi lateral trades and the coordination of multiple paths.

This approach, which promotes flexibility so that market participants can manage positions as required, provides economic incentives to maintain real time reliability and leads to the best combination of cost and reliability.

# Is reliability jeopardized?

The historical argument supporting the balanced schedule approach was that in the absence of firm commitments from generation to serve some loads, system reliability might be jeopardized.  That is true. At the aggregate level, generation has to equate demand plus losses in real time.  However, do balanced schedules help the operator achieve this goal?  As pointed out above, the ISO manages all the resources on a network basis, with no regard for the contractual position of each generation and load (except for must run plants).  Therefore, real time reliability can only be maintained by analyzing aggregate supply and demand.

Prices, not penalties, posted on an ex-ante basis by the ISO, provide the most effective signals to incentivize efficient resource commitment and feasible aggregate dispatch.  Economic incentives are indeed the only drivers which incent generators to rearrange bilateral commitments.  Signaling forecast spot prices will incent participants to either offer additional resource to capture potential economic benefit, bilaterally contract to avoid spot prices bid or sell energy to external parties.  For example, it may make economic sense for a generator that is fully contracted and “committed” to a particular ex-ante balanced schedule not to operate and buy energy from another generator (or load) selling on a spot basis if the economic consequences of doing so are clear.  The optimal, or “least cost solution” oftentimes deviates from the aggregation of balanced schedules.  This is shown in the graph below.

There is no empirical evidence in the US or elsewhere that day-ahead balanced schedules and financial penalties for imbalances improve the reliability of the transmission grid.  The PJM design, for example, allows unbalanced schedules and is the only market in the US that has reduced the number of TLR events in order to maintain reliability.

Ironically, the market system in California, as originally designed, required market participants to submit balanced schedules. In a recent report, as part of “Docket No. EL00-95-000, FERC concurred that that some of the under scheduling problems observed in California could be a “result of the existence of many individual coordinators that are required to submit balanced schedules to the ISO”. FERC therefore directed the “ISO and the PX to pursue establishing day ahead markets in which all demand and supply bids are addressed in one venue”.

# Are forward markets irrelevant?

Certainly not.  As noted above forward markets play a fundamental role in providing the ISO with information, in managing price risk exposure and in supporting the development of new plant capacity, oftentimes under project financing schemes.  Precluding market players from entering into forward instruments may have devastating consequences for the risk allocation and stability of energy markets, such as recently witnessed in California.

Eliminating day ahead balanced requirements is not tantamount to saying that energy contracts and forward markets are irrelevant. The long-term contract is and will continue to be a fundamental instrument to mitigate risk and therefore foster long-term expansion. Despite the expected surge in merchant plants, planned to be installed across the US in the next few years, the contract and the project finance structure will continue to be basic pillars for expansion. Therefore, establishing the proper incentives for long term contracting will continue to be necessary to support system expansion.

However, this discussion has nothing to do with the requirements of balanced schedules.  Market players need flexibility to develop financial instruments that will provide a best fit for their needs and risk profile.  For example, merchant plants, by definition, may be willing to sell energy on a spot basis.  Forcing such entities to submit balanced schedules can limit their ability to enter the marketplace and restrict their flexibility and it forces them to enter into contracts rather than sell spot.  Thus there is an argument that could be run by some parties that balanced schedules sustain barriers to competitive entry are should be retained for that reason.  But that is not the focus of this paper.

Proponents of the balanced schedule requirement could still argue that in the absence of a firm ex-ante commitment there could not be enough available generation to meet unexpected demand.  We may rebuff this assertion.  The willingness of generators (or even a demand side bidder) to make themselves available is closely related to their expectations of supply-demand balance, spot price, and contractual obligation.

The system operator has a major role in providing the best information possible to guide decisions regarding level of contracting and availability. The RTO has a fundamental role of providing prices visible to all, preferably on a locational marginal basis, where the impact of congestion is reflected.  The RTO will also have responsibility to collect information regarding forecasted load and available generation, to make sure that the system is operated real time with an adequate degree of reliability.  Market participants, including LSEs, Generators (contracted or not), reserves and DSB will be allowed to bid into the pool.  The RTO will then coordinate the day scheduling process that ensures that sufficient reserves are committed or available to meet the projected load for the next day.  The RTO will then operate the markets for operating reserves and regulation that are integrated with the real time energy market.  If the RTO identifies a potential capacity shortfall, it may schedule additional capacity at the lowest cost resources, which may include new generation or load willing to decrease their consumption.

Any imbalances will be allocated to the cost-causative customers – that means that those who have not submitted bilateral schedules, or those who have not contracted energy the day ahead to satisfy their needs will pay the prevailing spot prices for their short positions. Similarly, generators or demand side bidders with a long position in the market will receive the spot price. The spot clearing price will be the basis for settling all real time imbalances, either positive or negative. From an economic standpoint, the spot price is the best proxy for the value of the energy resources at any given point in time. Any additional penalties on imbalances will be inefficient, arbitrary and not rooted on sound economics.

# Final Remarks

This paper demonstrates that the ex-ante “balanced requirement” is inconsistent with the current practices of trading energy in regional markets.  There is no empirical evidence that this requirement leads to improved system reliability.  That is not to say that contracts are not important in the new environment: Enron believes that regardless of the balanced requirement obligation contracts and other forms of risk mitigation are essential elements that assist manage volatility and risk in the new environment.  However, the mix between bilateral schedules and energy market transactions should be left up to the market, not forced on participants through market design.  There are real world examples that show that the above flexibility can be incorporated into market design and does work and improves the incentives of market participants and the ISO to manage real time reliability.  Therefore we discourage the adoption of any market requirements, such as day ahead balanced schedules, that restrict the ability of market participants to manage risk or the ISO to ensure real time reliability.

Appendix A

In Enron’s view, regardless of whether the ISO receives balanced or unbalanced schedules, its job should remain the same.  The ISO will have to manage reliability by “balancing” the system in real time not a day ahead.  To better illustrate the point, we will provide three numerical examples, which are shown in appendix:

- A “typical” balanced schedule example

- An “unbalanced” schedule example, where the aggregate system is short

- An “unbalanced” schedule example, where the aggregate system is long

In the first example, there is a “perfect balanced” schedule a day ahead. However, real time operation differs from forecast.  Loads may be lower or larger in some areas, plants trip off and some generators instructed to operate on a constrained on or off mode, serving loads different from the ones expected in the balanced schedule. Some loads may be receiving spot price and the tripped generation will be buying energy on a spot basis. That is, reality is different from the balanced schedules, and will seldom be the same. The ISO will “match” all resources on a real time basis regardless of day ahead commitments.

In the second example, initial schedules are not balanced and the system requires additional generation.  This is signaled a day ahead through the real time market process (prices increase) which attracts new generation resource to make itself available (or encourages load reduction). The ISO will continue to procure least cost resources and match supply and demand. The one-to-one correspondence embedded in the balanced schedule has very limited use for the real time dispatch.  Major deviations from the balanced schedule and the real time operations occur. Short positions are resolved through the real time market process and system reliability is preserved.

In the third example, day ahead schedules suggest surplus generation. In the real time, the ISO again has to resolve feasible dispatch.  Unforeseen events, such as constraints in transmission lines, generation tripping off and out-of merit generation had to be handled by the system operator, on a real time basis. Least cost and reliable operation were achieved.

There are two possible approaches to operate the system under this new scenario.

Incent bilateral supply/demand interaction. In fact, regardless of the approach taken, the role of the ISO remains the same.  It will attempt to ensure real time reliability and will effect redispatch or deny schedules if they are the only tools available.  However, as noted, this does not ensure economic dispatch.

Balanced generation and load obligations were required to ensure that there would minimal interregional energy flows or impacts on an LSEs neighbors.  To incent an LSE to provide accurate load and generation information to its neighbours a day ahead, penalties were charged on any mismatch between day ahead and real time energy purchases.

The development of real time monitoring and security analysis hardware and software, such as energy management and SCADA systems, over the last few years suggests that the ISO does not need this information a day ahead.  However, as some generation resources require a long start up period, potential real time shortfalls must be signaled to the market place in some way in order to give these generation units time to decide whether to commit to run.  This is the basis of the cnetralized dispatch process used in the NE US where there are no balanced schedule requirements, rather technology and price signaling is used to manage real time reliability and provide incentives for generators.

[Need to include ERCOT protocol and Order 2000 reference.]

The ISO needs to give market participants flexibility to either offer resources directly to the ISO, through a real time market designed specifically to assist the ISO/dispatcher maintain real time reliability, or bilaterally contract.  If the participants choose to independently contract (and schedule a day ahead), the ISO will still seek to redispatch resources in real time, or ahead of real time if it has the information and processes that allows it to do so.  In some wholesale market designs around the world, including the NE US, the ISO does not even take commercial contracts into consideration when operating the power system in real time.

Appendix A sets out three examples which highlight this fact.

The ISO knows that energy flows according to the laws of physics, not contract or schedule.  Thus the ISO needs information that tests dispatch feasibility (expected generation resource by busbar, transmission network configuration and demand) so that it can determine whether any proposed aggregate generation pattern meets forecast load while not overloading the transmission network.  The ISO has little interest in the schedule itself, just the generating resources likely to be committed as a consequence of submitting that schedule.  The actual tool that gives the ISO that information is the resource plan.

These contracts do ensure that a real resource will be available but they do not always comply with the scheduling process timetable.  For example, ‘into’ products do not specify the resource made available by the seller.  Typically all that can be determined is the control area that a resource may come from.  This does nothing to assist the ISO determine feasibility as infinite buses do not exist within control areas.  Such examples are only likely to become more commonplace as contracts become increasingly complex and flexible.  Market innovation does not need to be unnecessarily curtailed, the scheduling and dispatch process simply needs to allow for more flexibility.

Unfortunately penalties affect participants in different ways.  What may be punitive for one may not be for another.  As a result, penalties provide imperfect incentives and can in fact result in perverse incentives.

This dispatch requirement for an incremental resource stack should not, and does not need to, reduce participants flexibility to submit balanced schedules, unbalanced schedules or offer resource directly to the stack.

As markets become regional in nature, rather than utility specific, the ISO must select resource from competing providers in a consistent fashion.  It must be able to defend why it selected a particular resource to effect redispatch as the effect is to direct cashflows between market participants.  This is typically managed by ensuring that the ISO selects resources based on participant offers and least cost feasible dispatch.

An example of this approach can be seen in the North East US.  While the regional ISOs have slightly different processes the market framework is consistent.

The purpose of forward markets is to facilitate economic (re)-configuration of resource.  To the extent that a more economic dispatch is feasible new contracts will be written and old contracts rewritten.  In turn this economic reconfiguration will change expected generation patterns, schedules and resource commitment.