Basic Data Sheet for MHI Gas Turbines

General Information

- Equipment – Four Mitsubishi Heavy Industries M501F gas turbine Gensets (basic package equivalent to Westinghouse Econopac)

- Delivery will be FOB Japan on the following dates:

- Turbine 1:  July 6, 2001

- Turbine 2:  September 30, 2001

- Turbine 3:  May 31, 2002

- Turbine 4:  June 30, 2002

- Contractual Restrictions on Assignment - There is no need for assignment if a proposed assignee meets the following four requirements (there are no restrictions on where Enron can use the turbines):

- Credit rating of BBB+ or better, provides LC from company with credit rating of BBB+ or better or is an affiliate of Enron

- Is not direct competitor of MHI in the turbine manufacturing business.

- Does not have material litigation with MHI.

- Is not competing with MHI in the project in which the turbines would be delivered.

- The Dual Fuel option for Turbines 1 and 2 has already been selected (gas and diesel).  The decision as to whether to select dual fuel for Turbines 3 and 4 has to be made by December 31, 2000.

Pricing per Turbine

Turbines 1 and 2

Base Price	33,908,900

Options1	3,248,900

Total Price	37,157,800

Turbines 3 and 4

Base Price	33,578,900

Options2	3,276,000

Total Price	36,854,900

Spare Parts for Turbines 1 and 23	4,902,240

Additional costs (total)

# WestLB Fees, Interest and

Cost as of 12/1/00	1,296,686

Legal/Engineering	App. 1,000,000

1 Primarily composed of dual fuel.  This number includes all options which have already been selected.

2 Identical to footnote 1, except options have not yet been selected.  Deadline for selection is December 31, 2000.  Currently, I am not planning to exercise this option.

3 We will need to commit for spare parts for Turbines 3 and 4 by January 31, 2001, in order to receive them concurrently with the turbine delivery dates.

Turbine Performance Information

| GUARANTEE | PERFORMANCE |
| --- | --- |
| Simple Cycle Heat Rate (LHV) | 9,491 but/kwh at Average Conditions |
| Simple Cycle Output | 162,370 kw at Normal High Conditions |

Basis Conditions

- Elevation:						18 meters ASL

- Average Dry Bulb Temperature:			23.5 deg C

- Average Relative Humidity:			78.0%

- Normal High Dry Bulb Temperature:		29.3 Deg. C

- Normal High Relative Humidity:			58%

- Extreme High Dry Bulb Temperature:		44 Deg. C

- Normal Low Dry Bulb Temperature:		20 Deg. C

- Extreme Low Dry Bulb Temperature:		9.0 Deg. C

- Mean Annual Rainfall (mm)			1,083

- Maximum Monthly Rainfall B Jan. (mm)	           158.7

- Minimum Monthly Rainfall B July (mm)		37.6

- Design Wind Speed (km/hr)			177

- Prevailing Wind Direction				N

- Seismic Zone					1

- Nat Gas Pressure @ inlet to fuel htr		36 (± 1%) barg minimum

#### Exhaust Guarantees

Current contractual guarantees for Specific Performance are in accordance with World Bank guidelines.  These are significantly higher than the equipment capabilities.  If the equipment is placed in a location other than Brazil, the parties will need to change subject to the technical capabilities of the equipment.  MHI’s technical capabilities are similar to other manufacturer’s equipment.