PRELIMINARY ENERGY EQUIPMENT DATA FOR PULP MILL

POWER BOILERS AND RECOVERY BOILERS

# Please, fill in this form for each of your boilers.

# Company: Votorantim Celulose e Papel   Date: 27/08/99   Responsible: Marcelo Castelli

# Boiler  Number: CBC – 80	Manufacturer: CBC             Designer MHI

# Power

Steam Production (ton/hour):  HP   80

Steam       Pressure        (Bar): HP   85

Steam Temperature:     (  0C)  HP 475

Fuel used: oil 		Fuel Consumption:   5   ton/hour;  Fuel Cost:      US$/ton

Year in which it  started operation: 1998	Hours of effective operation:  14.000

Estimated Replacement Value:  US$                               Book Value: US$

Describe instruments and automation  equipment: Instruments FISCHER-ROSEMONT and valves VALTEK, and automation is implemented in a DCS (ABB Master View/Advant)

Company:                          Plant:                      Date:                                  Responsible:

# Boiler  Number: GTV	Manufacturer: GTV            Designer GTV - Gotaverken

# Power

Steam Production  (ton/hour): HP   70

Steam       Pressure        (Bar): HP   42

Steam Temperature:     (  0C): HP 415

Fuel used: Oil/Biomass	Fuel Consumption:   2   ton/hour;  Fuel Cost:      US$/ton

Year in which it  started operation: 1985	Hours of effective operation:  120.000

Estimated Replacement Value:  US$                               Book Value: US$

Describe instruments and automation  equipment: Instruments SMAR and valves NELES and automation is implemented in a DCS (ABB Master View/Advant)

Company:                          Plant:		Date:                                  Responsible:

# Boiler  Number: CR-3                   Manufacturer: CBC            Designer MHI

# Recovery

Steam Production (ton/hour):  HP   220

Steam       Pressure        (Bar): HP     85

Steam Temperature:     (  0C)  HP   475

Fuel used: Oil/ Black Liquor	Fuel Consumption: 2 ton/hour; Fuel Cost: US$/ton

Year in which it  started operation: 1994	Hours of effective operation:  39200

Estimated Replacement Value:  US$                               Book Value: US$

Describe instruments and automation  equipment: Instruments SMAR and valves NELES, and automation is implemented in a DCS (ABB Master View/Advant)