CALIFORNIA - PGE PHASE II RATE CASE AND GENERIC DISTRIBUTED GENERATION CASE

# Distribution Rate Design Issues

- Rate design for distribution delivery service

- Fixed vs. Volumetric: demand vs. energy vs. customer rates

- Time differentiated vs. Standard: on-peak vs. off-peak rates

- Seasonal vs. Standard: seasonal rates vs. uniform monthly rates

- Unit of measurement: kW vs. kVA

- Aggregation opportunity: localized vs. system wide

- Basis of determination: embedded costs vs. marginal costs reconciled to embedded revenue requirement

2)	Exit Fees

- Applicability with partial requirements

- Applicability with no requirements (complete disconnect)

- Existing vs. new load

- Standby Charges

- Method of Application:  Capacity-based vs. Usage-based

- Energy Charges:  standard vs. market

- Level of standby:  partial vs. full standby requirement

- Unbundling of Standby:  fully integrated vs. distribution (or transmission) only

- Voltage and Location Differentiated Rates

- General:  secondary vs. primary vs. transmission

- Voltage specific:  138 kV vs. 69 kV vs. 34 kV vs. 13 kV, for example

- Customer group:  residential vs. non-residential

- Location:  network vs. urban vs. suburban vs. rural

5)	Regulatory Oversight

- Revenue requirement:  Cost of service vs. PBR

- Reliability Measurement:  quantified standards vs. fix it when it’s broken

- Compensation for loss:  none vs. pre-defined payment vs. value of loss

- Refunctionalization:  standards for T vs. D

Forum Issues  (What to cover where)

1) DG Case

2) PGE Phase II Case