# On-peak year 2001  - the ATC values are listed in the two excel documents.

I.    ATC (MW) values – rate B for contingencies – with off line-units included.

(*) if the two most limiting elements were upgraded, the atc for that transfer would become 1035MW.

II.   Base case transfer values (MW).

III.  TTC values (MW) = ATC + base case transfers,

# (*) if the two most limiting elements were upgraded, the ttc for that transfer would become 4376MW.

# On-peak year 2001

I.    ATC (MW) values – rate B for contingencies – without off line-units.

(*) if the first most limiting element were upgraded, the atc for that transfer would become 850MW.

II.   Base case transfer values (MW).

III.  TTC values (MW) = ATC + base case transfers,

(*) if the first most limiting element were upgraded, the ttc for that transfer would become 4191MW.