# Texas SET Change Control Form

Texas SET Change Request

Change Control #2001-107

This TX SET Change Request can be found on the ERCOT website at www.ercot.com  .

| Requester’s Name: Shirley Whyte | Company Name: ITPTA | Phone #: 713-906-5224 |
| --- | --- | --- |
| Date of Request: 5/12/01 | Affected EDI Transaction Set #(s): 867_02 and 867_03, | E-Mail Address: swhyte@mindspring.com |
| Requested Priority: Emergency | Requested Implementation Date: | Status: |

Brief Explanation (This will be copied into the description in the Change Control Summary Spreadsheet):

Texas TDSPs will not provide demand information for interval meters.  It is requested that the implementation guides be changed to reflect this so there is no confusion about what data can be expected for interval meters.

Reason for Request (Explain why this change is needed. For business or technical purposes?):

The Technical Architect surveyed all TDSPs and determined that TDSPs will not provide demand data for Interval Meters in the PTD*PM, PTD*PP, PTD*BO Loops.  The REF*MT in the PTD*BO Loop must show the demand values in the REF02 as “NOT USED OFR INTERVAL METERS”.  The REF*MT in the PTD*PM Loop must show the demand values in the REF02 as “NOT USED”.  The PTD*PP does not allow for demand values in the REF02 of the REF*MT so no change is necessary for this loop.

Detail Explanation  (Exactly what change is required? To which TX SET Standards? Why?):

In the PTD~BO (Interval Summary) the REF*MT must mark the following codes as “NOT USED FOR INTERVAL METERS”

- K1 - Kilowatt Demand (kW)

- K2 - Kilovolt Amperes Reactive Demand (kVAr

In the PTD~PM (Interval Detail), the REF*MT must mark the following codes as “NOT USED”.

- K1 - Kilowatt Demand (kW)

- K2 - Kilovolt Amperes Reactive Demand (kVAr)

This change control is requested to clarify the guide to match the data that TDSPs will actually be sending.  No TDSP will send Demand data for interval meters.

For Change Control Manager Use Only:

| Date of TX SET Discussion: 5-16-2001 | Expected Implementation Date: |  |
| --- | --- | --- |

TX SET Discussion and Resolution:

5-16-2001

Approved.

Add K4 –kVA Kilowatt Amperes to the examples list for both.

Priority Classifications

| Emergency Priority | Updated as soon as possible or otherwise directed by TX SET |
| --- | --- |
| High Priority | Changes / Enhancements updated by the next release, or as otherwise directed by TX SET |
| Low Priority | Changes / Enhancements updated no earlier than the next release, or as otherwise directed by TX SET |

Please submit this form via e-mail to both the ERCOT at mmccarty@ercot.com  .

Your request will be evaluated and prioritized at an upcoming TX SET meeting or conference call.