Date:	January 2, 2001

To:	Greg Brazaitis - Enron

From:	Steve Hanshaw

C.C.	Milt Howard - Steag

Subject:	Comments regarding Houston Pipe Line Company Agreement

Dated November 13, 2000

- Article 1: Meter type to be ultrasonic sized to allow for 230 MMcf/d.

- Article 3:The project requires a “not to exceed” capital cost which would include taxes if applicable.  The monthly operations fee should be eliminated.

- Article 5: As shown in the draft Exhibit A, the BVP Facilities should be operated by HPL upon acceptance of the design and construction of the facilities.

- Article 5 (ii): Meter type should be ultrasonic.

- Article 5(v): The MAOP of the BVP Facilities will be provided by BVP.

- Article 8: Audit rights should be for a period of thirty-six (36) months.

- Article 9: Please add evergreen verbiage providing for an extension after the expiration of the initial term.

End

.