|  | Page/Section | Suggested Change | Comment | Disposition |
| --- | --- | --- | --- | --- |
| 1 | 10/Delivery Point def/n | Revert to original language or integrate site change mechanism (2.1 (c)) | Deal is for Purchaser to have until 6 months prior to delivery to specify site |  |
| 2 | 10/Earliest delivery date | Capture “no sooner than” concept somewhere in agreement | Purchaser should not be obligated to have site ready until after a specified date |  |
| 3 | 10/Direct fuelcell defn | Relate to a specification. |  |  |
| 4 | 10/Equipment | Broaden def’n to include Units plus BOP | Too confusing. |  |
| 5 | 10/Expected Delivery | Delete “major”. | Need standard for when delivery has been achieved. |  |
| 6 | 11/Guaranteed Acceptance Date | Incorporate delivery schedule which is applicable to orders released prior to 3/1/01. | Need to better capture commercial deal. |  |
| 7 | 11/Heat Rate | Specify location of measurement. | Need clarity. |  |
| 8 | 11/Heat Rate Guarantee | Retain def’n. | Need it for performance section. |  |
| 9 | 11/Maximum Output | Replace with Electrical Output and Guaranteed Output. | Need for price for performance section. |  |
| 10 | 11/O&M Spares | Need conceptual list at signing reinstated. | Reflects prior agreement. |  |
| 11 | 11/Preliminary and Final Specifications | Add definitions. | Need to clarify specification development process. |  |
| 12 | 11/Punchlist | Retain definition, insert retention concept. | Reflects prior agreement. |  |
| 13 | 13/Scope of Work | Retain concept of Equipment/Units, delete reference to Purchaser. | Clarity, accuracy. |  |
| 14 | 13/Specifications | Concept needs development. |  |  |
| 15 | 15/2.1 | Delete Scope of Work reference | Purchaser’s responsibilities are separate from Seller’s scope. |  |
| 16 | 15/2.1 (c) | See comment 1. | Inconsistent with Seller’s requested changes. |  |
| 17 | 15/2.1 (e) | Delete “and other site…” | Too broad. Exhibit should describe Purchaser’s site responsibilities. |  |
| 18 | 15/2.1 (g) | Clarify for which units/models. | Clarity needed. |  |
| 19 | 16/ (b) and (c) | Delete. | (c) impossible to comply with due to size of organizations involved. |  |
| 20 | 17/3.1 (1st paragraph) | Retain original language. | Standard turnkey language. |  |
| 21 | 17/3.1 (2nd paragraph) | Change “or” to “and” in line 4. Also need to discuss changes in specs and impact of long lead items and permits. |  |  |
| 22 | 17/3.2.1 | Need “no earlier than” concept for delivery; obligation not limited to commercially reasonable efforts. | Needs to reflect agreement; obligation to perform not limited to commercial reasonable standard. |  |
| 23 | 17/3.3 & 18/3.3(d) | Delete need for request from Purchaser. |  |  |
| 24 | 18/3.4, generally | Need to understand requested changes. |  |  |
| 25 | 18/3.4(c) | Retain “arising out of” and delete “of the circumstances...3.4”; insert “Seller’s use of hazardous materials”. | A compromise. |  |
| 26 | Withdrawn. |  |  |  |
| 27 | 19/3.7(a) | Retain sentence beginning on line 12; retain “Purchaser” on line 17; other requested changes accepted. | A compromise. |  |
| 28 | 20/3.7(b)(2) | Retain “Purchaser” on line 3;other requested changes acceptable. |  |  |
| 29 | 20/3.7(c) | Retain “Purchaser” on line 2. | Purchaser decision. |  |
| 30 | 20/3.7 | Need concept of work complying with Applicable Laws. | Standard language. |  |
| 31 | 21/3.9 | Retain original language but add a reference to travel expenses. Seller should notify Purchaser of charges in advance. |  |  |
| 32 | 21/3.10 | Need to discuss permit support, final specifications, timing. |  |  |
| 33 | 22/3.11 et seq. | Retain spare parts language. |  |  |
| 34 | 25/4.3 (f) | Retain “Equipment”. | Broader definition to pick up BOP. |  |
| 35 | 25/4.3(g) and (h) | Keep current language. |  |  |
| 36 | 26/4.3 (j) | Retain “sufficient”; other changes acceptable. |  |  |
| 37 | 27/5.1.1 | Retain original language; add reference to scope of work if preferred. | Better clarity. |  |
| 38 | 28/5.4 | Add reference to termination section. | Needed for clarity. |  |
| 39 | 29/6.1.1 | Retain 10 day period. | Three days is not long enough. |  |
| 40 | 29/6.3 | Need concept of offset somewhere in agreement. |  |  |
| 41 | 30/6.4 | Line 7: Replace Major Components with Equipment. 5th line from bottom: replace “gone through” with “achieved”. Delete language regarding 150 day cost increase. Retain language regarding offsets. | Need to harmonize with permit process language. |  |
| 42 | 31/6.6 | First requested change is acceptable. Retain deleted language in 2nd sentence. Need some language regarding lien release, but it can be elsewhere. Delete last sentence. | A compromise. The granting of a lien now is not acceptable. |  |
| 43 | 31/6.9 | Retain original language. | Reflects standard language. |  |
| 44 | 32/7.2 | If delivery point is specified at Release, then change mechanism must be specific. Need to relate guaranteed dates to the agreement concerning releases prior to 3/1/01. | Conflicts with Article 2. Release process needs to reflect that an order entered prior to March 1 will be accepted with agreed price and delivery schedule. |  |
| 45 | 33/8.1 | Retain list of document categories for PMP. | Changes will be picked up in refinement process. |  |
| 46 | 33/8.2 | Need mechanism for refinement of dates. |  |  |
| 47 | 33/8.3 and 8.4 | Final specifications need to be provided sooner. Leave in deleted language. |  |  |
| 48 | 35/9.5 | Need original language. | Original language was objective. |  |
| 49 | 36/Art. X and XIV | Replace “endurance” with “reliability”. Replace “Maximum” with “Electrical”. Conform definitions of Electrical Output and Guaranteed Unit Output. | Standard terminology is more accurate. |  |
| 50 | 36/10.2 | Add column for stack replacement standards. Paragraph following table is unclear. Need reference for water quality specification for consumption and discharge; move particulates description. |  |  |
| 51 | 36/10.3 | Retain descriptions of standards. Resolve sound test issue. |  |  |
| 52 | 37/10.4 | Change 10.8 to 10.7? |  |  |
| 53 | 37/10.5.1 | Replace “major” with “all”, add “reasonable” before “access” on line 9. |  |  |
| 54 | 37/10.5.2 | Please explain “commercially reasonable” in the context of this section. |  |  |
| 55 | 38/10.5.3 | Delete “properly” and tie to tests protocol. Clarify cost responsibility. | Meaning is unclear. |  |
| 56 | 38/10.6 | Retain acceptance criteria. Integrate punchlist/retention concept. | Reflects agreement. |  |
| 57 | 38/10.7 | Retain existing language. Limit improvement obligation to heat rate and output. | More accurate. |  |
| 58 | 40/11.2 | Retain “prudent” | Reason for change unclear. |  |
| 59 | 40/11.2 | Delete last line. | Not realistic. 11.5 is fall back. |  |
| 60 | 40/11.3 | Add “or has reason to believe” after “determines” on first line. Delete last sentence. | Need more objective standard. |  |
| 61 | 42/11.6.2 | Delete retroactive price adjustment. Unspecified charges is broad (e). Retain language concerning unapproved charges, billing and documentation. |  |  |
| 62 | 42/11.6.3 | Change “three” years to “two” years. |  |  |
| 63 | 43/12.2 | Clarify that the license can be freely assigned after Acceptance. |  |  |
| 64 | 43/12.3 | Add “Operator”; delete last sentence suggested by Seller, retain language “nothing herein shall authorize Seller to settle…”. Retain “the Parties” in all caps. |  |  |
| 65 | 46/14.1.1 | Retain language. | Need language stating that the equipment will work. |  |
| 66 | 46/14.1.2(iv) | Suggested insert is too broad. Deletion regarding supervisory personnel leaves language too broad. | Standard of Purchaser’s conduct defined in (i). |  |
| 67 | 46/14.1.3 | Delete “immediately”. | Consistent with Seller requested changes. |  |
| 68 | 47/14.2.1 | Insert “while using commercially reasonable efforts” between “while” and “minimizing”. |  |  |
| 69 | 48/14.6 | Retain deleted language. | Self help reasonable in case of default. |  |
| 70 | 49/14.7 | Delete “immediately”. |  |  |
| 71 | 50/15.2 | Add “in accordance with this Agreement” after “payment in full”. | Need to confirm that insurance issues are created by title transfer at payment instead of acceptance. |  |
| 72 | 51/Article XVI | An explanation of changes might be helpful. |  |  |
| 73 | 52/17.1(d) | Add “the” and “Date” around Release; delete need for a request for information; delete last sentence requested by Seller. |  |  |
| 74 | 52/17.2 | Clarify that cure period only works for Units as Site. Delete requested insertion about termination due to insolvency. Need clarification of voiding of termination. | Reflects agreement; parallel to Purchaser default. |  |
| 75 | 53/17.7 | Revise permit language as needed. | Confirm consistency with resolution of permit issues. |  |
| 76 | 55/18.2 | Retain original language in first sentence; other changes acceptable. |  |  |
| 77 | 55/18.3 | Need a time period. |  |  |
| 78 | 56/18.4 | Retain original language. | Revisions are overly broad. |  |
| 79 | 57/18.5 | Retain exclusion for technology/manufacturing. |  |  |
| 80 | 57/18.7 | Add concept of material breach or compliance with schedule. | Default is too narrow due to limited number of default events. |  |
| 81 | 57/18.8 | Resolve number of days. |  |  |
| 82 | 59 | Insurance to be reviewed. |  |  |
| 83 | 65 | Confidentiality to be reviewed. |  |  |
| 84 | 68/Article XXII | Need definition of competitor and step in rights for lender. |  |  |
| 85 | 70/23.1 | Retain original language. | Standard. |  |
| 86 | 71/Article XXIV | Need some lien assurance. | Standard for turnkey. |  |
| 87 | 73/Article XXV | Dispute resolution to be reviewed, however, waiver of jury trial not acceptable. |  |  |
| 88 | 77/26.2 | Need to retain language regarding indemnity. |  |  |
| 89 | 80/28.2 | Governing law needs resolution. |  |  |