#### PROJECT WHEAT

#### Document and Information Request

- For

- Enron

- Wheatland Facility

Susan Flanagan

Vice President of M&A

DPL Inc.

(937) 258-5506

Fax (937) 259-7386

Email DPLFLAN@Aol.com

| - ` | - Management/General | - Date Requested | - Date Received | - Status | - Comments |
| --- | --- | --- | --- | --- | --- |
|  | Please provide copies of all contracts and sub-contracts (including all contracts and subcontracts that are currently being negotiated) for the Wheatland facility, including but not limited to, Enron contracts with OEC, interconnection agreements, fuel contracts, maintenance/service contracts, water supply and makeup contracts, etc. | - 10/17/00 |  |  |  |
|  | Please provide a copy of Westinghouse Warranty Documents. | - 10/17/00 |  |  |  |
|  | Please describe the control area and scheduling services provided by Enron affiliate under separate contract. | - 10/17/00 |  |  |  |
|  | Please provide a copy of the lease between Lake Acquisition and West Fork. In addition, provide any drawings, maps and photos associated w/ the lake. | - 10/17/00 |  |  |  |
|  | Please provide a copy of Document 01.02.23 “Easements / Right of Ways”. | - 10/18/00 |  |  |  |
|  | Please provide a copy of Document 01.02.23.10 “Carnahaw Easement”. | - 10/18/00 |  |  |  |
|  | Please provide a copy of the survey by Matthew W. Wannesmuehler of Benardin Lochmueller & Associates”. | - 10/18/00 |  |  |  |
|  | Please provide a copy of Document 01.03.02 “Westinghouse Proposals”. | - 10/18/00 |  |  |  |
|  | Please provide current Salary and bonus structure, resumes and employment contracts for existing site personnel | - 10/18/00 |  |  |  |
|  | Please provide any documents regarding leases, ownership, options, etc. for the property adjacent to the facility. | - 10/18/00 |  |  |  |
|  | Please list any litigation or disputes that involve or are a result of the site development/operation or other litigation pending involving the LLCs. | - 10/18/00 |  |  |  |
|  | Please supply details of related party transactions/agreements pertaining to the Wheatland facility including administrative support, gas supply, electric supply and dispatch, environmental services, legal support, technical support, etc. | - 10/18/00 |  |  |  |
|  | Please provide a breakdown of all O&M costs (current year and 3 year forecast) and the methodology used to develop the forecast. Provide any scheduled capital expenditures over the next 3 years. | - 10/18/00 |  |  |  |
|  | Provide a schedule of all employee training completed to date and scheduled for the next year. | - 10/18/00 |  |  |  |
|  | Please provide a copy of the IPALCO and Cinergy open access tariffs filed w/ FERC and any supporting documentation indicating status. | - 10/18/00 |  |  |  |
|  | Please provide a copy of any other power agreement for the facility not included in the Deal Bench data room. | - 10/18/00 |  |  |  |

|  | - Technical | - Date Requested | - Date Received | - Status | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Please provide all scheduled maintenance for the next three (3) years. | 10/17/00 |  |  |  |
|  | Please provide a list of Westinghouse modifications or upgrades for the 501D’s. - List of modifications/upgrades that Enron has incorporated, or anticipates incorporating, into the facility. - ENRON’s plans for mitigating any turbine blade cracking issues associated w/ these machines. | 10/17/00 |  |  |  |
|  | - Please provide any studies conducted toward the expansion of the facility for more simple cycle gas turbines, or toward the conversion of the facility to a combined cycle plant. Please include the Technical and Economic backup. | - 10/17/00 |  |  |  |
|  | Please provide any Westinghouse bulletins related to the Wheatland facility. | 10/17/00 |  |  |  |
|  | Please provide a copy of the “Engineering Drawings – Construction Drawings and Plot Plans” and all one-line diagrams of the Power Block and Switchyard. | 10/17/00 |  |  |  |
|  | Please provide the startup curves for cold, warm and hot starts for all four units. | 10/17/00 |  |  |  |
|  | Please provide information explaining the apparent difference in the output and performance of Unit 3. | - 10/17/00 |  |  |  |
|  | Please provide a copy of the Oct. 2000 maintenance outage work scope and final outage report. | - 10/18/00 |  |  |  |
|  | Please explain the gas pressure related issues identified in the June Operation Report from C. Norris to M. Robbins dated July 10, 2000. | - 10/18/00 |  |  |  |
|  | Please provide your procedure for storing and handling “critical” spare parts (i.e.; WDPF boards). Provide your definition for classifying parts as “critical” and your list of “critical” spare parts. | - 10/18/00 |  |  |  |
|  | Please provide the following gas pipeline information: - Points of gas receipt used for the site - Has the interruptible contract caused any supply disruptions or problems w/ lack of pressure? - The root cause for the units being inoperable due to pressure - Can the existing gas contracts be assigned to purchaser? - How does the pipeline treat hourly and daily gas use imbalances? - How much notice is needed for unit startup and shut down? - Can the plant operate w/o a gas nomination? | - 10/18/00 |  |  |  |
|  | How much pipeline capacity is available for the facility? | - 10/18/00 |  |  |  |
|  | Were other pipelines considered for use during the facility planning and development stages? Why were the other pipelines not used (please provide supporting data)? | - 10/18/00 |  |  |  |

|  | - Financial | - Date Requested | - Date Received | Status | Comments |
| --- | --- | --- | --- | --- | --- |
|  | Please provide the annual and three (3) year Business Plans, including the additional capital forecasted | 10/18/00 |  |  |  |
|  | Please provide any analysis of capital cost estimates to determine the feasible of adding combined cycle or additional simple cycle generation to the site | 10/17/00 |  |  |  |
|  | Please provide all LLC financial statements, including income statements and balance sheets on a quarterly and annual basis. Please provide monthly management reports. | 10/18/00 |  |  |  |
|  | Please provide details of all liabilities of the LLCs as well as any commitments and contingencies or pending litigation, including employee obligations. | 10/18/00 |  |  |  |
|  | What is the station power consumption rate and how much has been paid for this consumption in 2000? Please provide the monthly cash flows. | 10/18/00 |  |  |  |

| - 4.0 | - Environmental | - Date Requested | - Date Received | - Status | Comments |
| --- | --- | --- | --- | --- | --- |
| - 4.1 | Please provide emission profiles with and without evaporative cooling, at load ranges of 0 – 100% (in 5% increments) at ambient temperatures of –15, -5, 5, 15, 25, 35, 45, 55, 65, 75, 85, and 95 degrees F, that include the #/hr and ppmvd of NOx CO, SO2, VOC, and particulates, as adjusted for site elevation. Emission profiles should also include output, heat rate, exhaust flow, exhaust temp. | 10/18/00 |  |  |  |
| - 4.2 | Please provide copy of emissions compliance testing conducted in accordance with NSPS and Permit to Construct and any emissions testing to validate equipment warranties. | 10/18/00 |  |  |  |
| - 4.3 | Please provide copy of plant monitoring data for fuel nitrogen and sulfur content. | 10/18/00 |  |  |  |
| - 4.4 | Please provide water-to-fuel ratio data during all operating hours. | 10/18/00 |  |  |  |
| - 4.5 | Please provide copy of Title 5 application submitted to IDEM. | 10/18/00 |  |  |  |
| - 4.6 | Please provide copy of Phase II Acid Rain Application | 10/18/00 |  |  |  |
| - 4.7 | Please provide results of CEM certification. | 10/18/00 |  |  |  |
| - 4.8 | Please provide explanation of stack gas stratification issues. | 10/18/00 |  |  |  |
| - 4.9 | Please provide NOx, CO2 and CO CEM reports for all operating hours, including ppm, #/hr, #/mmBtu and cumulative TPY. | 10/18/00 |  |  |  |
| - 4.10 | Please provide copy of CEM Standard Operating Procedures and QA/QC manual. | 10/18/00 |  |  |  |
| - 4.11 | Please provide information on initiation of water injection after startup (i.e. when water injection can be safely initiated). | 10/18/00 |  |  |  |
| - 4.12 | Please provide copy of Preventive Maintenance Plan | 10/18/00 |  |  |  |
| - 4.13 | Please provide copy of Compliance Response Plan | 10/18/00 |  |  |  |
| - 4.14 | Please provide copy of SPCC Plan | 10/18/00 |  |  |  |
| - 4.15 | Please provide copy of Affidavit of Construction | 10/18/00 |  |  |  |
| - 4.16 | Please provide copy of Operation Permit Validation letter. | 10/18/00 |  |  |  |
| - 4.17 | Please provide explanation of revision to the Permit to Construct dated 3-13-00. | 10/18/00 |  |  |  |
| - 4.18 | Please provide potable water supply agreement. | 10/18/00 |  |  |  |
| - 4.19 | Please provide any data on local water supplies, including well logs of local wells. | 10/18/00 |  |  |  |
| - 4.20 | Please provide copies of any Phase II environmental assessments conducted on any properties included in this transaction. | 10/18/00 |  |  |  |
| - 4.21 | Please provide detail on any zoning restrictions related to stack height or noise. | 10/18/00 |  |  |  |
| - 4.22 | Please provide water quality analyses of water withdrawn from lake. | 10/18/00 |  |  |  |
| - 4.23 | Please provide copy of water quality control procedures, including methods for pH and conductivity adjustments. | 10/18/00 |  |  |  |
| - 4.24 | Please provide explanation of raw water filtering requirements, prior to demineralization. | 10/18/00 |  |  |  |
| - 4.25 | Please provide copy of custom schedule request to USEPA. | 10/18/00 |  |  |  |
| - 4.26 | Please provide costs associated with operation and maintenance of CEMs including annual RATA testing, calibration gases, spare parts, etc. | 10/18/00 |  |  |  |
| - 4.27 | Please provide copy of contract with Ecolochem for demineralization of water. | 10/18/00 |  |  |  |
| - 4.28 | Please provide copy of CEM warranty agreement with CISCO. | 10/18/00 |  |  |  |
| - 4.29 | Please provide determination of SARA reporting requirements under 311 and 312. | 10/18/00 |  |  |  |
| - 4.30 | Please provide explanation of need for a mercaptan odorizing station. | 10/18/00 |  |  |  |
| - 4.31 | Please provide copies of any hydrologic studies performed at the associated properties. | 10/18/00 |  |  |  |
| - 4.32 | Please provide schedule of all environmental, health and safety required training and associated procedures. | 10/18/00 |  |  |  |
| - 4.33 | Please provide maximum water withdrawal rates from the lake reservoir and explain any limitations. | 10/18/00 |  |  |  |
| - 4.34 | Please provide the attachments to Section 3 of the Monitoring Plan, including the natural gas sulfur content documentation and flue flow meter documentation. | 10/18/00 |  |  |  |
| - 4.35 | Please provide information of the CO CEM system, including equipment and calculation method. | 10/18/00 |  |  |  |