REVIEW OF INTERACTION WITH GMS/PGAS

Review of Prior Period Information:

- The following reports are used by the Reps to review for possible measurement errors.  These reports come out of GVA using PGAS info.

- Scheduled volume with no physical

- Reallocated points

- Allocated vs. Scheduled Greater Than 25,000

- Allocated vs. Scheduled Greater Than 10%

- Reports are reviewed 3 times during the month those dates are on the calendar sent to GMS every month.

- The following reports are used by the Accounting   coordinators to review for possible measurement errors

- Allocation error report

- Scheduled volumes with no allocation

- Suspense entries

- Reports are reviewed 3 times during the month.  Those dates are based on the calendar sent to GMS every month.

# Review of Current Month Information

- The Reps review with Gas Control daily all interconnects with Scada.  As they received actuals from PGAS, the work with GMS on any issues.

- The following reports are used by the Reps to review for possible measurement errors for current month business.

  - Scheduled volume with no physical

  - Reallocated points

  - Allocated vs. Scheduled Greater Than 25,000

  - Allocated vs. Scheduled Greater Than 10%

- Reports are reviewed 3 times during the month those dates are on the calendar sent to GMS every month.

- The following reports are used by the Accounting Coordinators to review for possible measurement errors.

- Allocation error report

- Scheduled volumes with no allocation

- Suspense entries

- Reports are reviewed 3 times during the month.  Those dates are based on the calendar sent to GMS every month.

- As errors are found, Gas Logistic works with GMS to find out from the field why the error and what correction needs to be made.

MEASUREMENT DESK:

- Monitor and Log communications failures

- Review PGAS to ensure missing data has been updated

- Review and monitor Gas Control (Hotseat) failure reports

- Monitor EFM & SCADA comparison report

- Review GMS PPA completion