Discussion Draft

7/19/01

SECTION 1. SHORT TITLE.

This Act may be cited as the “National Electricity Reliability Act”'.

SEC. 2. ELECTRIC ENERGY TRANSMISSION RELIABILITY .

(a) ELECTRIC RELIABILITY ORGANIZATION AND OVERSIGHT-

(1) IN GENERAL- The Federal Power Act is amended by adding the following new section after section 214:

`SEC. 215. ELECTRIC RELIABILITY ORGANIZATION AND OVERSIGHT.

`(a) DEFINITIONS- As used in this section:

`(1) AFFILIATED REGIONAL RELIABILITY ENTITY- The term `affiliated regional reliability entity' means an entity delegated authority under the provisions of subsection (h).

`(2) BULK-POWER SYSTEM- The term `bulk-power system' means all facilities and control systems necessary for operating an interconnected transmission grid (or any portion thereof), including high-voltage transmission lines; substations; control centers; communications; data, and operations planning facilities; and the output of generating units necessary to maintain transmission system reliability .

`(3) ELECTRIC RELIABILITY ORGANIZATION , OR ORGANIZATION - The term `Electric Reliability Organization' or `Organization' means the organization approved by the Commission under subsection (d)(4).

`(4) ENTITY RULE- The term `entity rule' means a rule adopted by an affiliated regional reliability entity for a specific region and designed to implement or enforce one or more Organization Standards. An entity rule shall be submitted to the organization for approval and, if approved, shall be treated as an Organization Standard.

`(5) INDUSTRY SECTOR- The term `industry sector' means a group of users of the bulk power system with substantially similar commercial interests.

`(6) INTERCONNECTION- The term `interconnection' means a geographic area in which the operation of bulk-power system components is synchronized such that the failure of one or more of such components may adversely affect the ability of the operators of other components within the interconnection to maintain safe and reliable operation of the facilities within their control.

`(7) ORGANIZATION STANDARD- The term `Organization Standard' means a policy or standard duly adopted by the Electric Reliability Organization to provide for the reliable operation of a bulk-power system.

[`(8) PUBLIC INTEREST GROUP- The term `public interest group' means any nonprofit private or public organization that has an interest in the activities of the Electric Reliability Organization , including, but not limited to, ratepayer advocates, environmental groups, and State and local government organizations that regulate market participants and promulgate government policy.]

`(9) VARIANCE- The term `variance' means an exception or variance from the requirements of an Organization Standard (including a proposal for an Organization Standard where there is no Organization Standard) that is adopted by an affiliated regional reliability entity and applicable to all or a part of the region for which the affiliated regional reliability entity is responsible. A variance shall be submitted to the organization for approval and, if approved, shall be treated as an Organization Standard.

`(10) SYSTEM OPERATOR- The term `system operator' means any entity that operates or is responsible for the operation of a bulk-power system, including but not limited to a control area operator, an independent system operator, a regional transmission organization , a transmission company, a transmission system operator, or a regional security coordinator.

`(11) USER OF THE BULK-POWER SYSTEM- The term `user of the bulk-power system' means any entity that sells, purchases, or transmits electric power over a bulk-power system, or that owns, operates, or maintains facilities or control systems that are part of a bulk-power system, or that is a system operator.

`(b) COMMISSION AUTHORITY AND RESPONSIBILITIES- (1) Within the United States, the Commission shall have jurisdiction over the Electric Reliability Organization , all affiliated regional reliability entities, all system operators, and all users of the bulk-power system, for purposes of approving and enforcing compliance with the requirements of this section.

`(3)  The Commission shall issue a

final rule implementing the requirements of this section within 180 days after the date of enactment.

`(4) Nothing in this section shall be construed as limiting or impairing any authority of the Commission under any other provision of this Act, including its exclusive authority to determine rates, terms, and conditions of transmission services subject to its jurisdiction.

“(5)  The Commission shall ensure that regional transmission organizations and the Electric Reliability Organization (and any affiliated regional reliability entities) coordinate, as appropriate, in carrying out their respective responsibilities.

“(6)  In addition to authority otherwise specified in this section, the Commission may, upon complaint or its own motion, direct the Electric Reliability Organization to modify a delegation agreement, develop a new or modified organization standard, or amend its procedures, governance, or funding.

[ consider deleting: `(c) EXISTING RELIABILITY STANDARDS- Following enactment of this section, and prior to the approval of an organization under subsection (d), any entity, including the North American Electric Reliability Council and its member regional reliability councils, may file any reliability standard, guidance, or practice that such entity would propose to be made mandatory and enforceable. The Commission, after notice and an opportunity for  comment, may approve any such proposed mandatory standard, guidance, or practice, or any amendment thereto, if it finds that the standard, guidance, or practice, or amendment is just, reasonable, not unduly discriminatory or preferential, and in the public interest, taking into account any Commission-accepted tariffs, rate schedules, or agreements. Standards, guidances, or practices, including any amendments thereto, approved by the Commission under this subsection shall be mandatory and enforceable by the Commission  and shall remain in effect until withdrawn, disapproved (upon complaint or the Commission’s own motion), or superseded by an Organization Standard made effective under subsection (e).]

`(d) ORGANIZATION APPROVAL- (1) Following the issuance of a final Commission rule under subsection (b)(3), an entity may submit an application to the Commission for approval as the Electric Reliability Organization .

`(2) The Commission shall approve the application if, after notice and an opportunity for comment, the Commission determines that the applicant--

`(A) has the ability to develop, implement, and enforce standards that provide for an adequate level of reliability of the bulk-power system;

`(B) permits voluntary membership to any user of the bulk-power system or public interest group;

`(C) assures fair representation of its members in the selection of its directors and fair management of its affairs, taking into account the need for efficiency and effectiveness in decisionmaking and operations and the requirements for technical competency in the development of Organization Standards and the exercise of oversight of bulk-power system reliability ;

`(D) assures that no two industry sectors have the ability to control, and no one industry sector has the ability to veto, the Electric Reliability Organization's discharge of its responsibilities (including actions by committees recommending standards to the board or other board actions to implement and enforce standards);

`(E) provides for governance by a board wholly comprised of independent directors;

`(F) provides a funding mechanism and requirements that are just, reasonable, and not unduly discriminatory or preferential and are in the public interest, and which satisfy the requirements of subsection (l);

`(G) establishes procedures for development of Organization Standards that provide reasonable notice and opportunity for public comment, taking into account the need for efficiency and effectiveness in decisionmaking and operations and the requirements for technical competency in the development of Organization Standards, and which standards development process has the following attributes:

`(i) openness,

`(ii) balance of interests, and

`(iii) due process, except that the procedures may include alternative procedures for emergencies;

`(H) establishes fair and impartial procedures for implementation and enforcement of Organization Standards, either directly or through delegation to an affiliated regional reliability entity, including the imposition of penalties, limitations on activities, functions, or operations, or other appropriate sanctions;

`(I) establishes procedures for notice and opportunity for public observation of all meetings, except that the procedures for public observation may include alternative procedures for emergencies or for the discussion of information the directors determine should take place in closed session, such as litigation, personnel actions, or commercially sensitive information;

`(J) provides for the consideration of recommendations of States and State commissions; and

`(K) addresses other matters that the Commission may deem necessary or appropriate to ensure that the procedures, governance, and funding are just, reasonable, not unduly discriminatory or preferential, and are in the public interest.

`(3) If the Commission receives two or more timely applications that satisfy the requirements of this subsection, the Commission shall approve only the application it concludes will best implement the provisions of this section.

`(e) ESTABLISHMENT OF AND MODIFICATIONS TO ORGANIZATION STANDARDS- (1) The Electric Reliability Organization shall file with the Commission any new or modified organization standards, including any variances or entity rules, that it proposes to be made effective

and

`the  record of any proceedings conducted with respect to such proposal.

After notice and opportunity for comment, the Commission shall act on the proposed organization standard within  60 days after the filing, except that the Commission may extend the 60-day period for an additional 90 days for good cause.  If the Commission does not act within the time prescribed, the organization standard shall become effective according  to its terms, without prejudice to the authority of the Commission to thereafter direct a modification to the organization standard.

`(3)(A) In the exercise of its review responsibilities under this subsection, the Commission shall give due weight to the technical expertise of the Electric Reliability Organization with respect to the content of a new or modified organization standard, but shall not defer to the organization with respect to the effect of the standard on competition. The Commission shall approve a proposed new or modified organization standard if, after notice and an opportunity for comment, it determines the proposal to be just, reasonable, not unduly discriminatory or preferential, and in the public interest.

`(B) An existing or proposed organization standard that  is disapproved in whole or in part by the Commission shall be remanded to the Electric Reliability Organization for further consideration by a date certain.

“(4)  In exercising its responsibilities under this subsection, the Commission shall determine whether a proposed organization standard hinders or conflicts with a regional transmission organization’s ability to fulfill the requirements of any Commission-accepted tariff, rate schedule, or agreement, and shall resolve such hindrance or conflict by rejecting the proposed organization standard or ordering a change to the tariff, rate schedule, or agreement, as appropriate.  To the extent the hindrance or conflict arises after approval of an organization standard, the Commission shall resolve such hindrance or conflict promptly.  Where such hindrance or conflict is identified to the Commission, nothing in this section shall require a change in the regional transmission organization’s obligation to comply with the relevant provision in its tariff, rate schedule, or agreement unless the Commission orders such a change and the change becomes effective.

`(5) All users of the bulk-power system shall comply with any organization standard that takes effect under this section.

`(f) COORDINATION WITH CANADA AND MEXICO- The Electric Reliability Organization shall take all appropriate steps to gain recognition in Canada and Mexico. The United States shall use its best efforts to enter into international agreements with the appropriate governments of Canada and Mexico to provide for effective compliance with organization standards and to provide for the effectiveness of the Electric Reliability Organization in carrying out its mission and responsibilities. All actions taken by the Electric Reliability Organization , any affiliated regional reliability entity, and the Commission shall be consistent with the provisions of such international agreements.

`(g) CHANGES IN PROCEDURES, GOVERNANCE, OR FUNDING- The Electric Reliability Organization shall file with the Commission any proposed change in its procedures, governance, or funding, or any changes in the affiliated regional reliability entity's procedures, governance, or funding relating to delegated functions.

A proposed change shall take effect upon a finding by the Commission, after notice and opportunity for comments, that the change is just, reasonable, not unduly discriminatory or preferential, is in the public interest, and satisfies the requirements of subsection (d)(2).

`(h) DELEGATIONS OF AUTHORITY- (1) The Electric Reliability Organization shall, upon request by an entity, enter into an agreement with such entity for the delegation of authority to implement and enforce compliance with organization standards in a specified geographic area if the organization finds that the entity requesting the delegation satisfies the requirements of subparagraphs (A), (B), (C), (D), (F), (I), (J), and (K) of subsection (d)(2), and if the delegation promotes the effective and efficient implementation and administration of bulk-power system reliability . The Electric Reliability Organization may enter into an agreement to delegate to the entity any other authority, except that the Electric Reliability Organization shall reserve the right to set and approve standards for bulk-power system reliability .  The Electric Reliability Organization shall not enter into an agreement with an affiliated regional reliability entity where the geographic boundary of a regional transmission organization extends beyond the geographic boundary of the affiliated regional reliability entity.

`(2) The Electric Reliability Organization shall file with the Commission any agreement entered into under this subsection. The Commission shall approve the agreement, following public notice and an opportunity for comment, if it finds that the agreement meets the requirements of paragraph (1), and is just, reasonable, not unduly discriminatory or preferential, and is in the public interest. A proposed delegation agreement with an affiliated regional reliability entity organized on an interconnection-wide basis shall be rebuttably presumed by the Commission to promote the effective and efficient implementation and administration of bulk-power system reliability . No delegation by the Electric Reliability Organization shall be valid unless approved by the Commission.

`(3)(A) An affiliated regional reliability entity may propose a variance or entity rule to the Electric Reliability Organization.

“(i)  With respect to any such proposal that would apply on an interconnection-wide basis, the Electric Reliability Organization shall presume such proposal valid if made by an interconnection-wide affiliated regional reliability entity unless the Electric Reliability Organization makes a written finding that the proposal--

`(I) was not developed in a fair and open process that provided an opportunity for all interested parties to participate;

`(II) has a significant adverse impact on reliability or commerce in other interconnections;

`(III) fails to provide a level of reliability of the bulk-power system within the interconnection such that it would constitute a serious and substantial threat to public health, safety, welfare, or national security; or

`(IV) creates a serious and substantial burden on competitive markets within the interconnection that is not necessary for reliability .

`(i) With respect to any such proposal that would apply only to part of an interconnection, the Electric Reliability Organization shall find such proposal valid if the affiliated regional reliability entity or entities making the proposal demonstrate that it--

`(I) was developed in a fair and open process that provided an opportunity for all interested parties to participate;

`(II) would not have an adverse impact on commerce that is not necessary for reliability ;

`(III) provides a level of bulk-power system reliability adequate to protect public health, safety, welfare, and national security, and would not have a significant adverse impact on reliability ; and

`(IV) in the case of a variance, is based on legitimate differences between regions or between subregions within the affiliated regional reliability entity's geographic area.

The Electric Reliability Organization shall, within 120 days, approve or disapprove the variance or entity rule.  If the Electric Reliability Organization fails to adopt the variance or entity rule, either in whole or in part, the affiliated regional reliability entity may request that the Commission review such action.

`(4) If an existing or proposed affiliated regional reliability entity requests, consistent with paragraph (1) of this subsection, that the Electric Reliability Organization delegate authority to it, but is unable within 180 days to reach agreement with the Electric Reliability Organization with respect to such requested delegation, such entity may seek relief from the Commission.

.

`(i) ORGANIZATION MEMBERSHIP- Every system operator shall be required to be a member of the Electric Reliability Organization and the applicable  affiliated regional reliability entity or entities.

`(j) INJUNCTIONS AND DISCIPLINARY ACTION- (1) The Electric Reliability Organization may impose a penalty, limitation of activities, functions, operations, or other disciplinary action the Electric Reliability Organization finds appropriate against a user of the bulk-power system if the Electric Reliability Organization , after notice and an opportunity for interested parties to be heard, issues a finding in writing that the user of the bulk-power system has violated an organization standard. The sanctioned party shall have the right to seek modification or rescission of such disciplinary action by the Commission. If the organization finds it necessary to prevent a serious threat to reliability , the organization may seek injunctive relief in a Federal court in the district in which the affected facilities are located.

`(2) A disciplinary action taken under paragraph (1) may take effect not earlier than the 30th day after the Electric Reliability Organization files with the Commission its written finding and record of proceedings, unless the Commission, on its own motion or upon application, suspends the action. The action shall remain in effect or remain suspended unless and until the Commission, after notice and opportunity for hearing, affirms, sets aside, modifies, or reinstates the action, but the Commission shall conduct such hearing under procedures established to ensure expedited consideration of the action taken.

`(3) The Commission, on its own motion or on complaint, may order compliance with an organization standard and may impose a penalty, limitation of activities, functions, or operations, or take such other disciplinary action as the Commission finds appropriate, against a user

of the bulk-power system with respect to actions affecting or threatening to affect bulk-power system facilities located in the United States if the Commission finds, after notice and opportunity for a hearing, that the user of the bulk-power system has violated or threatens to violate an organization standard.

`(4) The Commission may take such action as is necessary against the Electric Reliability Organization or an affiliated regional reliability entity to assure compliance with an organization standard, or any Commission order affecting the Electric Reliability Organization or an affiliated regional reliability entity.

`(k) RELIABILITY REPORTS- The Electric Reliability Organization shall conduct periodic assessments of the reliability and adequacy of the interconnected bulk-power system in North America and shall report annually to the Secretary of Energy and the Commission its findings and recommendations for monitoring or improving system reliability and adequacy.

`(l) ASSESSMENT AND RECOVERY OF CERTAIN COSTS- The reasonable costs of the Electric Reliability Organization , and the reasonable costs of each affiliated regional reliability entity that are related to the  requirements contained in the  delegation agreement, shall be assessed by the Electric Reliability Organization and each affiliated regional reliability entity, respectively, taking into account the relationship of costs to each region and based on an allocation that reflects an equitable sharing of the costs among all end users, subject to approval by the Commission.

`(m) SAVINGS PROVISIONS- (1) The Electric Reliability Organization shall have authority to develop, implement and enforce compliance with standards for the reliable operation of only the Bulk Power System.

`(2) This section does not provide the Electric Reliability Organization or the Commission with the authority to set and enforce compliance with standards for adequacy or safety of electric facilities or services.

`(3) Nothing in this section shall be construed to preempt any authority of any State to take action to ensure the safety, adequacy, and reliability of electric service within that State, as long as such action is not inconsistent with any Organization Standard.

`(4) Within 90 days of the application of the Electric Reliability Organization or other affected party, the Commission shall issue a final order determining whether a state action is inconsistent with an Organization Standard, after notice and opportunity for comment, taking into consideration any recommendations of the Electric Reliability Organization .

`(5) The Commission, after consultation with the Electric Reliability Organization , may stay the effectiveness of any state action, pending the Commission's issuance of a final order.

[`(n) REGIONAL ADVISORY BODIES- The Commission shall establish a regional advisory body on the petition of at least two-thirds of the States within a region that have more than one-half of their electric loan served within the region. A regional advisory body shall be composed of one member from each participating State in the region, appointed by the Governor of each State, and may include representatives of agencies, States, and provinces outside the United States, upon execution of an international agreement or agreements described in subsection (f). A regional advisory body may provide advice to the electric reliability organization , an affiliated regional reliability entity, or the Commission regarding the governance of an existing or proposed affiliated regional reliability entity within the same region, whether an organization standard, entity rule, or variance proposed to apply within the region is just, reasonable, not unduly discriminatory or preferential, and in the public interest, and whether fees proposed to be assessed within the region are just, reasonable, not unduly discriminatory or preferential, in the public interest, and consistent with the requirements of subsection (l). The Commission may give deference to the advice of any such regional advisory body if that body is organized on an interconnection-wide basis.]

(2) ENFORCEMENT- Sections 316 and 316A of the Federal Power Act are each amended by striking `or 214' each place it appears and inserting `214, or 215'.

(b) APPLICATION OF ANTITRUST LAWS- Notwithstanding any other provision of law, each of the following activities are rebuttably presumed to be in compliance with the antitrust laws of the United States:

(1) Activities undertaken by the Electric Reliability Organization under section 215 of the Federal Power Act or affiliated regional reliability entity operating under an agreement in effect under section 215(h) of such Act.

(2) Activities of a member of the Electric Reliability Organization or affiliated regional reliability entity in pursuit of organization objectives under section 215 of the Federal Power Act undertaken in good faith under the rules of the organization .

Primary jurisdiction, and immunities and other affirmative defenses, shall be available to the extent otherwise applicable.

[replace subsection (b) with the following alternative antitrust language:

`(b) RULE OF REASON STANDARD- In any action under the antitrust laws, the conduct of the Electric Reliability Organization, of an Affiliated Regional Reliability Entity operating under an agreement in effect under subsection (i), or of a member of the Electric Reliability Organization or an Affiliated Regional Reliability Entity, to the extent such conduct is undertaken to develop or implement an Organization Standard which is approved by the Commission under subsection (f), shall not be deemed illegal per se. Such conduct shall be judged on the basis of its reasonableness, taking into account all relevant factors affecting competition. For purposes of this section, `antitrust laws' has the meaning given it in subsection (a) of the first section of the Clayton Act, except that such term includes section 5 of the Federal Trade Commission Act to the extent that such section 5 applies to unfair methods of competition.'.