95 FERC µ  61,225

UNITED STATES OF AMERICA

FEDERAL ENERGY REGULATORY COMMISSION

Before Commissioners:   Curt H‚bert, Jr., Chairman;

William L. Massey, and Linda Breathitt.

Removing Obstacles To Increased

Electric Generation And Natural Gas Supply        Docket Nos.

EL01-47-000

In The Western United States                    and EL01-47-001

FURTHER ORDER ON REMOVING OBSTACLES TO INCREASED ENERGY SUPPLY

AND REDUCED DEMAND IN THE WESTERN UNITED STATES AND DISMISSING

PETITION FOR REHEARING

(Issued May 16, 2001)

Introduction

On March 14, 2001, in response to the severe electric energy

1

shortages facing California and other areas in the West,  the

Commission announced certain actions it was taking within its

regulatory authorities under the Federal Power Act, the Natural

Gas Act, the Natural Gas Policy Act, the Public Utility

Regulatory Policies Act and the Interstate Commerce Act to help

increase electric generation supply and delivery in the Western

United States, to facilitate demand responsiveness, and to

2

protect consumers from supply disruptions.   The Commission

implemented some measures immediately and sought comments on

other measures that might help maximize supply, delivery, and

demand reduction.  This order follows up on the March 14 Order

based upon consideration of the comments received.

1

As we stated in the March 14 Order, we are concerned here

with what actions may affect electricity supply and demand in the

Unites States portion of the Western Interconnection, which is

the area encompassed within the United States portion of the

Western Systems Coordinating Council (WSCC).

2

Removing Obstacles to Increased Electric Generation and

Natural Gas Supply in the Western United States and Requesting

Comments on Further Actions to Increase Energy Supply and

Decrease Energy Consumption, 94 FERC µ 61,272 (2001) (March 14

Order).

Docket Nos. EL01-47-000        -2-

and EL01-47-001

In the March 14 Order, the Commission examined both electric

supply-side and demand-side actions that could be taken, as well

as how to best assure the availability of natural gas for

electric power production.  The Commission considered electric

transmission constraints, generation inadequacy, demand-side

response, the need to increase natural gas pipeline capacity

where appropriate, possible hydroelectric generation improvements

that could be made while protecting the environment, and whether

innovative proposals could ensure an adequate flow of petroleum

product into the California market for electric generation.

Among the actions the Commission took immediately were to

request a list of grid enhancements that could be undertaken in

the short term, extend certain waivers for Qualifying Facilities,

waive certain notice and filing requirements for wholesale power

sales from on-site generation at businesses, authorize the resale

of load reductions at market-based rates, and request that

hydroelectric licensees examine their projects for efficiency

improvements.  Among the proposals the Commission sought comment

on were premiums on equity returns and accelerated depreciation

for certain transmission investments, allowed revenue recovery

for non-capital intensive expenditures that increase transmission

capacity, allowed rolling in of certain interconnection costs for

new supply, use of the interconnection authority of section

210(d) of the Federal Power Act (FPA), waiver of blanket

certificate regulations to increase the dollar limits for

automatic and prior-notice authorizations for natural gas

facilities, offering blanket certificates for portable compressor

stations, rate incentives to expedite construction of pipeline

projects, and allowing greater operating flexibility at

hydroelectric projects.

Pursuant to the March 14 Order, the Commission convened two

conferences.  The Commission staff held conferences in Portland,

Oregon and Sacramento, California on April 9 and 10, 2001 with

licensees and interested stakeholders to discuss methods for

allowing increased generation at hydropower projects while

ensuring environmental protection.  On April 10, 2001, the

Commission held a conference on Western Energy Issues in Boise,

Idaho to discuss price volatility in the West and other

Commission-related issues raised by the Governors of Western

3

states.

3

Two state representatives, who included one state

commissioner from Arizona, California, Colorado, Idaho, Montana,

Nevada, New Mexico, Oregon, Utah, Washington and Wyoming attended

the conference.  Comments regarding the conference have been

filed under Docket No. PL01-3-000.

Docket Nos. EL01-47-000        -3-

and EL01-47-001

In this Order, the Commission reiterates the urgent need to

do what it can to alleviate the ongoing energy situation facing

the West and generally affirms its approach in providing

incentives and removing obstacles to increased energy supply in

4

the West.   As described more fully below, this order reaffirms

Commission actions implemented by the March 14 Order, and

implements additional actions.  Unless specifically noted below,

these actions are in effect as of the date of this order and,

consistent with the timeline established for the recent

5

Commission monitoring and mitigation order,  will expire on April

30, 2002.  The Commission:

Allows premiums on equity returns, and accelerated

depreciation, for projects that increase electric

energy transmission capacity in the short term, with a

uniform baseline cost of equity of 11.5%, specifically:

a cost-based rate reflecting a 200 basis point

premium and a 10-year         depreciable life for

projects that

increase

transmission

capacity at present

constraints and can

be in service by

July 1, 2001.

a cost-based rate reflecting a 150 basis point

premium and a 10-year depreciable life for

projects that increase transmission capacity at

present constraints and can be in service by

November 1, 2001.

4

The National Rural Electric Association (NRECA) and the

American Public Power Association (APPA) added a "petition for

rehearing" to their comments on the March 14 Order.  Most of

their comments address non-final action in the March 14 Order

that is not subject to rehearing.  The one comment that addressed

an action immediately implemented concerns an issue that is

clarified in the discussion on selling demand reduction herein.

Accordingly, the petition for rehearing is dismissed.

5

See Order Establishing Prospective Mitigation and

Monitoring Plan for the California Wholesale Electric Markets and

Establishing an Investigation of Public Utility Rates in

Wholesale Western Energy Markets, 95 FERC µ  61,115

(2001)(establishing that the monitoring and mitigation plan

adopted will terminate not later than one year from the date of

the order issued on April 26, 2001) (April 26 Order).

Docket Nos. EL01-47-000        -4-

and EL01-47-001

a cost-based rate reflecting a 100 basis point

premium and 15-year depreciable life for system

upgrades that involve new rights of way and can be

in service by November 1, 2002.

a cost-based rate reflecting a 150 basis point

premium for new interconnection facilities

required for new entrants if in service by

November 1, 2001, and a 100 basis point premium if

in service by November 1, 2002.

Allows revenue recovery for non-capital intensive

expenditures made to increase transmission capacity on

constrained interfaces.

Allows limited section 205 filings under the Federal

Power Act to implement the incentives adopted herein.

Allows rolling in of interconnection and upgrade costs

associated with new supply, rather than directly

assigning such costs to the generator for projects that

are in service by November 1, 2002.

6

Effective March 14, 2001,  extends and broadens the

temporary waivers of operating and efficiency

standards, and fuel use requirements, for qualifying

facilities.

Effective March 14, 2001, waives prior notice

requirements and grants authorization of market-based

rates for wholesale power sales from generation used

primarily for back-up and self generation and located

at businesses within the WSCC.

Effective March 14, 2001, authorizes wholesale

customers and retail customers (where permitted under

state rules) who reduce consumption to resell their

load reduction at wholesale at market-based rates.

Effective March 14, 2001, waives the prior notice

requirements for wholesale contract modifications to

facilitate demand-side management.

Effective March 14, 2001, where there are cost-based

wholesale rates in effect subject to a formula, the

Commission will permit DSM costs to be treated

6

Pursuant to the March 14 Order, as noted above, certain

Commission actions took effect on March 14, 2001.  94 FERC

µ 61,272 at 61,968.

Docket Nos. EL01-47-000        -5-

and EL01-47-001

consistently with other types of incremental and out-

of-pocket costs.

Temporarily waives blanket certificate regulations to

increase the dollar limitations for natural gas

facilities under automatic authorization to $10 million

and for prior notice authorizations to $30 million.

Temporarily waives blanket certificate regulations to

allow construction of mainline facilities, including

temporary compression and facilities that alter

mainline capacity.

Allows pipelines to roll-in costs of facilities

constructed under waived blanket certificate

regulations.

Will grant expeditious consideration for proposals for

greater operating flexibility at licensed hydroelectric

projects to increase generation while protecting

environmental resources.

General Comments

In response to the March 14 Order, the Commission received

more than one hundred sets of comments and interventions from

commenters who are listed in Attachment A.  There is substantial

agreement among commenters that the West currently faces a lack

of adequate energy supply that will continue into the foreseeable

future, which warrants the Commission's immediate and expeditious

7

action.   While commenters generally agree that the Commission

should take immediate action to address the energy situation in

the West, they emphasize different Commission proposals as well

8

as offer alternative proposals.   Some commenters caution the

7

Some commenters, however, object to the Commission's basic

understanding and characterization of the Western energy crisis.

The Public Utilities Commission of California (CPUC) states that

the recent energy situation in California does not involve a

capacity shortage, rather the unavailability of in-state supply.

Northern California Power Agency (NCPA) claims that the

Commission underestimates the crisis and asserts that building up

the infrastructure of the Western grid may be more difficult than

anticipated.

8

For example, Edison Electric Institute (EEI) favors what it

labels as the Commission's "holistic" approach to natural gas

supply and hydroelectric resources and California Department of

Water Resources (DWR) supports the Commission's efforts to remove

(continued...)

Docket Nos. EL01-47-000        -6-

and EL01-47-001

Commission to consider the long-term impact of the incentives on

consumers and the environment, while others offer alternative

proposals such as conservation and the development of renewable

technology.

There are two sets of general comments that we address up

front. First, some commenters favor the extension of Commission

incentives nationwide to address capacity problems and avert

energy problems in other areas.  While we are aware of the

potential for capacity deficiencies in other areas of the nation,

we believe the most urgent need is in the West, which is where we

will focus these measures for now.  Entities in other parts of

the country may request application of these measures on a case-

by-case basis.

A second set of general comments assert that the

Commission's actions are insufficient to resolve the crisis due

to the lack of adequate price mitigation, and call upon the

Commission to ensure that wholesale prices would be lowered to

just and reasonable levels. For example, Southern California

Edison Company (SCE) requests that the Commission regulate rates

on a cost of service basis while CPUC, Idaho Public Utilities

Commission (IPUC), and Public Power Council (PPC) support a

remedy under Section 206 of the FPA.  Other commenters also

express their support or opposition to the implementation of

temporary price caps.  The Commission has recently issued an

order adopting a number of related measures, including price

mitigation measures that are intended to help remedy

dysfunctional electricity markets in the West.  That docket, not

9

this one, is the appropriate forum for such pricing issues.

I.   Electric Generation and Transmission

A.   Electric Transmission Infrastructure

1.   List of Grid Enhancements

In the March 14 Order, the Commission directed the

California Independent System Operator (California ISO) and the

transmission owners in the WSCC to prepare and file within 30

8

(...continued)

impediments to demand response.

9

See supra note 5, citing April 26 Order.  The Commission

also convened a conference on Western Energy Issues on April 10,

2001 in Boise, Idaho to discuss price volatility and other

Commission-related issues recently identified by the Governors of

Western states. Comments for this conference were filed under

Docket No. PL01-3-000.

Docket Nos. EL01-47-000        -7-

and EL01-47-001

days of the date of the March 14 Order, a list of grid

enhancement projects that would offer the greatest potential for

improving grid capacity at present constraints within the

10

shortest period of time.

The proposed grid enhancements filed in response to the

March 14 Order consist of such projects as new or upgraded

transmission lines, circuit breakers, facility upgrades, and

system upgrades, which are being implemented to increase import

capability or capacity, mitigate line overloads and enhance

transmission capability.  The project completion dates for

proposed grid enhancements range from May 1, 2001 to after

11

November 1, 2002.    We appreciate the lists submitted, and we

encourage transmission owners in the West to continue to seek and

implement projects that can enhance capacity immediately.

Several comments accompanied the lists of grid enhancement

projects that were filed, noting, for example that successful

development of this infrastructure requires adequate return and

regulatory certainty with respect to future cost recovery, and

that the difficulty in siting acts as a significant restraint to

increased transmission capacity in the West.  The Commission

recognizes the siting problems, but has no authority to address

them.  The Commission also recognizes the necessity for adequate

returns for transmission projects, and is responding

appropriately.

2.   Equity Return Premiums and Accelerated

Depreciation

In order to provide incentives for the construction of new

or upgraded transmission capacity at the earliest date possible,

the March 14 Order proposed to give transmission owners of

projects that increase transmission capacity at present

constraints a cost-based rate reflecting a 300 basis point

premium on equity and a 10-year depreciable life if in service by

July 1, 2001, and a 200 basis point premium and a 10-year

depreciable life if in service by November 1, 2001.  To provide

certainty at the outset for transmission owners, the Commission

proposed to use a uniform baseline cost of equity of 11.5% for

10

The Commission requested that the filing clearly describe

each project, its impact on grid capability at present

constraints, the status of certification if necessary, its cost

and a definite completion date.

11

EEI cautions the Commission not to hold entities that

provide grid enhancement information under this proceeding

responsible for their cost estimates.  This information was

requested for informational purposes and is not binding.

Docket Nos. EL01-47-000        -8-

and EL01-47-001

all jurisdictional transmission providers in the WSCC in

implementing the equity premium.

Second, for system upgrades that involve new rights of way,

add significant transfer capability and can be in service by

November 1, 2002, the Commission proposed to allow transmission

owners a cost-based rate reflecting a 100 basis point premium and

15-year depreciable life.  Third, the Commission proposed that

facilities needed to interconnect new supply to the grid which go

in service as required to accommodate the in-service date of the

new entrant be afforded a cost-based rate which reflects a 200

basis point premium if in service by November 1, 2001 and a 100

basis point premium if in service by November 1, 2002.

Comments on Equity Return Premiums and Accelerated

Depreciation

Comments regarding equity return premiums and accelerated

depreciable lives fall into three groups.  Some commenters

support the Commission's proposal, often with slight

modifications.  EEI supports a substantial return on equity

incentive across the board above a uniform baseline cost of

equity equal to at least the Commission's proposed 11.5 percent

provided for all jurisdictional transmission providers in the

WSCC, or a current state-approved rate. Several commenters state

that the time frame is too short to provide an incentive to

construct and recommend that the incentive apply to those

projects that are already underway.

Other commenters contend that the proposed incentives of

higher returns on equity and shorter depreciation periods may not

serve their intended purposes. Arizona Corporation Commission

(ACC) believes that the incentives may increase transmission

rates in certain areas which would cause greater seams pricing

disparities for emerging RTOs to overcome.  Independent Energy

Producers (IEP) does not understand the feasibility of return on

equity "bonuses"  in California as long as a rate freeze exists.

Some commenters allege that the Commission's proposal is

unsupportable.

In addition, some commenters provide specific proposals,

with several urging the Commission to include projects with long

construction lead times.  Other requests include extending the

time frame to which the incentives apply or suggest that the

Commission perform studies of the equity markets to determine if

equity premiums will encourage construction.  Metropolitan Water

District of Southern California (Metropolitan Water) maintains

that system upgrade costs should be allocated in accordance with

cost causation principles.  PacifiCorp urges the Commission to

eliminate the condition that only system upgrades that involve

new rights of way will be considered under the incentive proposal

Docket Nos. EL01-47-000        -9-

and EL01-47-001

because many projects with long construction lead times not

involving new rights of way would meaningfully increase transfer

capability.  Salt River Project (SRP) recommends requiring a

request for transmission service to accompany a request for

interconnection from generators before regulated utilities can

plan transmission upgrades.   Duke recommends offering premiums

12

on return on equity rates to promote RTO development.

Some commenters seek clarification from the Commission

concerning its proposed rate of return incentives.  InterGen

requests that the Commission clarify the interrelationship

between the proposed rolled-in pricing rate design and the rate

13

of return incentives.    Xcel requests clarification of the

Commission's qualification standard, or alternatively, requests

the Commission accept all new transmission on new rights of way

as eligible for equity return premiums.  Several commenters

request clarification regarding the application and approval

process.  A few commenters suggest expanding the contemplated

deadlines or applying the incentives nationwide.

While supporting the Commission's proposal, some commenters

express doubt regarding the resulting benefits from incentives.

Transmission Agency of Northern California (TANC) cautions the

Commission against irreparably harming the existing structure.

NRECA and APPA, and the NCPA recommend careful analysis before

implementing incentive measures that will raise transmission

rates to consumers.  Several commenters doubt that these

incentives will do much good because there are existing

obligations to build such facilities and there is a lack of

sufficient credit and capital.  Alternatively, Industrial

14

Consumers   proposes third party bids for rights to build or

upgrade transmission facilities.

American Superconductor Corporation (AMSC) believes

incentives are needed for the immediate installation of grid

enhancements in both the short and long-term and advocates third

party investments in grid enhancement provided the third parties

12

See infra note 49 (RTO development for the West is

currently being addressed in other proceedings before the

Commission). See also, Order No. 2000 which addresses rate design

for RTOs.

13

InterGen believes that the rolled-in rate will comprise a

weighted average rate of return based on the vintages of capital

assets of the utility.

14

Electricity Consumers Resource Council, the American Iron

and Steel Institute, the American Chemistry Council, and the

American Forest and Paper Association.

Docket Nos. EL01-47-000        -10-

and EL01-47-001

can benefit from the upgrade.  SCE maintains that to make better

use of the available transmission capacity, the Commission must

immediately order the development of new procedures for the

California ISO's use in administering the existing transmission

contracts. Williams encourages the Commission to aggressively

facilitate investment in the electric transmission grid.

Xcel Energy Incorporated (Xcel) promotes interconnections

between WSCC and other North American regions.  While

Metropolitan Water supports the goal of reducing grid constraints

if cost-effective, it doubts that incentives to expedite grid

enhancements within the next two years will be cost-effective.

Pinnacle West Companies (Pinnacle) requests clarification that

incentives are available for projects that avoid future

constraints as well as for projects that alleviate current ones.

SCE recommends the development of consistent, long-term policy of

providing full cost recovery to transmission owners if the

Commission seeks to promote enhancements to the transmission

infrastructure.    Pacificorp states the short time frame limits

the number of potential projects qualifying for premiums on

equity returns.

Commission Response

The Commission finds that the proposed rate of return

premiums fall into a zone of reasonableness because they will

likely expedite increased grid capacity, and thus will help

address the existing emergency in the Western states.  The

proposed rate of return premiums adopted herein will apply only

to projects built under these incentives, and will not increase

the rates of return for existing plant.

The Commission will give transmission owners of projects

that increase transmission capacity at present constraints and

can be in service by July 1, 2001, a cost-based rate reflecting a

200 basis point premium on equity and a 10-year depreciable life.

Those that can be in service by November 1, 2001 will receive a

cost-based rate reflecting a 150 basis point premium and a 10-

year depreciable life.  The Commission also adopts its

recommended 11.5% as a uniform baseline cost of equity, which is

the most recent allowance the Commission has approved for a

15

western utility.

15

See Southern California Edison Company, 92 FERC µ 61,070

(2000).

Docket Nos. EL01-47-000        -11-

and EL01-47-001

With respect to system upgrades that involve new rights of

16

way and add significant transfer capacity,    the transmission

owners of any such projects that can be in service by November 1,

2002, will be permitted a cost-based rate reflecting a return on

equity of 12.5% (a 100 basis point premium) and a 15-year

depreciable life.

The Commission also adopts its proposal that facilities

needed to interconnect new supply to the grid which go in service

as required to accommodate the in-service date of the new entrant

will also be afforded a cost-based rate which reflects a return

on equity of 13% (a 150 basis point premium) if in service by

November 1, 2001 and 12.5% (a 100 basis point premium) if in

service by November 1, 2002.

We are retaining the original deadlines for project

completion necessary to receive these incentives because the

whole purpose of these incentives is to spur immediate action in

order to alleviate the severe shortage of capacity in California

and other problems facing Western electric energy markets.  In

addition, the Commission affirms that it will consider pending

projects, i.e., those now underway, for the increased ROE

incentive.  Given the emergency supply shortage in the West, it

is critical to provide incentives for timely completion of

transmission enhancements, including projects already underway,

in order to increase supply at the earliest possible date.  If a

pending project fulfills the requirements listed above, and is

completed by the requested deadlines, it will qualify for the

incentive, which includes the 11.5% baseline cost of equity.

We find that the proposed incentive equity returns and

accelerated depreciation allowances are appropriate given the

critical need for power supply and infrastructure enhancements.

Given the emergency nature of the power supply situation in the

WSSC, a departure from our normal process for determining case-

by-case return on equity allowances is warranted.  A detailed,

case-by-case record development process at this juncture to

support a utility-specific equity allowance would delay

critically needed infrastructure and is not necessary to

determine a reasonable rate of return.  Accordingly, we find it

appropriate to use the most recently approved equity allowance

for a western utility, 11.5 percent,  for the uniform baseline

return allowance.  The Commission established the 11.5 percent

through detailed analysis and this is the return level needed to

attract capital under normal conditions.  However, the current

abnormal situation in the WSSC warrants an added incentive to

make such investments more attractive than normal.  Therefore, we

16

Significant transfer capacity is any new right of way that

adds transfer capability or reduces congestion on the system.

Docket Nos. EL01-47-000        -12-

and EL01-47-001

find it appropriate to offer a sliding scale of basis point

premiums to provide a clear incentive to expedite infrastructure

development.  The faster capacity is added, the higher the

premium.  Since transmission costs are a relatively small portion

of delivered energy costs, the potential savings on the commodity

side due to greater transmission capacity and less congestion far

outweigh the cost embodied in these incentives.  For example,

recent commodity price differentials across California's

constrained Path 15 transmission line averaged $21 per MW-hr

17

during March 2001.    However, nationwide transmission costs

average only $1.98 per MW-hr, or 3.1 percent of total electric

18

costs.    Continuing energy commodity differentials of this

magnitude clearly warrant transmission constraint reduction,

which the proposed incentives would address.  Finally, we note

that the Commission has used rate of return incentives in the

19

past when needed to advance the public interest.

Similarly, we find that the accelerated depreciation

proposal is warranted as an incentive to expedite transmission

enhancements as it would provide improved cash flow and better

position utilities for longer-term infrastructure investments.

3.   Non-capital intensive upgrade cost recovery

The Commission proposed that, to the extent transmission

owners could increase transmission capacity on constrained

interfaces without capital intensive expenditures by, for

example, installing new technology on existing facilities to

better control voltage and power flow or by implementing new

operating procedures, the Commission would allow an increased

revenue requirement for their network service rates to ensure

17

See Megawatt Daily's indexes and transaction records for

March 2001.

18

This figure is derived from data reported in Energy

Information Administration's Financial Statistics of Major U.S.

Investor-Owned Electric Utilities 1996;

http://www.eia.doe.gov/cneaf/electricity/invest/invest.pdf.

19

See Regional Transmission Organizations, Order No. 2000,

65 Fed. Reg. 809 (January 6, 2000), FERC Stats. & Regs. µ 31,089

at 31,192-193 (1999), order on reh'g, Order No. 2000-A, 65 Fed.

Reg. 12,088 (March 8, 2000), FERC Stats. and Regs. µ 31,092

(2000) (Order No. 2000); petitions for review pending sub nom.,

Pub. Util. Dist. No. 1 v. FERC, 2000 U.S. App. LEXIS 26870 (D.C.

Cir. Sept. 8, 2000).  See also Order Setting Values for Incentive

Rate of Return, Establishing Inflation Adjustment and Change in

Scope Procedures, and Determining Applicable Tariff Provisions,

(7 FERC µ 61,237 (1979)).

Docket Nos. EL01-47-000        -13-

and EL01-47-001

that each additional MW of capacity will generate revenues equal

to the provider's current firm point-to-point rate.

Comments

Commenters raise specific concerns regarding the

Commission's proposed incentives for increasing capacity through

non-capital intensive means.  AMSC is concerned that state and

federal cost allocation divisions may deter investments that aid

system flow because they are categorized as "distribution" rather

than "transmission" investments.  AMSC requests that all upgrades

that improve transmission system performance be considered

transmission assets regardless of which side of the delivery

point they are physically located.  NRECA and APPA express

concern that the Commission's proposed incentive for increasing

capacity without capital intensive expenditures potentially

allows gaming and would increase the transmission cost without

making upgrades that broaden energy markets and benefit

consumers.  Stating that its retail customers pay ninety-five

percent of the company's network service rates through state-

regulated retail rates, PacifiCorp doubts that any significant

improvement will result or that state regulatory commissions will

allow the proposed cost of service treatment for these upgrades.

Commission Response

The Commission adopts the proposal to allow transmission

owners that can increase transmission capacity on constrained

interfaces without capital intensive expenditures to increase the

revenue requirement of their network service rates to ensure that

each additional MW of capacity will generate revenues equal to

the provider's current firm point-to-point rate.

The Commission finds that concerns that adopting this incentive

will result in gaming are unfounded.  This inducement is directed to

increase capacity.  If no increased capacity results, the project

does not qualify for the incentive and the transmission owner may not

increase the revenue requirement of its network service rate.

The Commission acknowledges the distinction between distribution

and transmission.  These determinations will be made on a case-by-

case basis.

4.   Limited Section 205 Rate Filing For Upgrades

Docket Nos. EL01-47-000        -14-

and EL01-47-001

The March 14 Order proposed to allow utilities to seek the

proposed incentives by way of a limited section 205 filing that would

not open up existing rates to review.

Comments

Commenters express both support and opposition to limited

section 205 rate filings for upgrades.  Idaho Power opposes the use

of wholesale adders that will not open a provider's existing rates to

review, stating that this would be a new impediment in which

transmission providers will absorb costs of any type of general

retail rate case for each upgrade due to the impracticality of

rolling in the costs.  Modesto Irrigation District (Modesto) and TANC

fear resulting  single issue ratemaking," and request that the

Commission reject this proposal.

Some commenters also request clarification of the definition and

application of the limited section 205 filings and clarification on

the ratemaking and approval process for these accelerated projects.

Modesto and TANC ask the Commission to clarify that these incentives

would only be available for relatively small projects which will not

greatly impact rates.

Commission Response

Due to the need to provide immediate relief to the West, the

Commission is adopting a voluntary, abbreviated filing procedure

under section 205 of the FPA for filings concerning the short-term

incentives adopted by the Commission in the body of this order.

Although such limited filings are not generally permitted, they are

appropriate in these extraordinary circumstances surrounding the

ongoing imbalances in California's electricity power supply system,

as reflected by the increasing frequency of Stage 3 System

Emergencies (declared when operating reserves fall below 1.5 percent)

20

and the recent threat of rolling blackouts.

20

The problems in California's electricity power supply

system continue despite the implementation of immediate measures

designed to stabilize the California markets.  On December 15,

2000, the Commission eliminated the requirement that investor-

owned utilities (IOUs) sell all of their resources into and buy

all of their requirements from the California Power Exchange (Cal

PX) and this allowed the IOUs to use their 25,000 MW of

generation to serve their load without buying it at spot prices.

See San Diego Gas & Electric Co., et al., 93 FERC µ 61,294

(2000), reh'g pending.  This, in conjunction with the elimination

of the Cal PX's single price auction at bids above $150,

(continued...)

Docket Nos. EL01-47-000        -15-

and EL01-47-001

Such limited section 205 filings are not without precedent.

Section 35.13(a)(2)(ii) of the Commission's regulations permits a

utility to file a rate change under the Commission's abbreviated

filing requirements if the rate change is "[f]or any service of short

duration and of a type for which the need and usage cannot be  21

reasonably forecasted (such as emergency or short term power)."

Unlike a general section 205 filing which opens other factors in the

rate change to review, the abbreviated filing procedure limits the

scope of the Commission's review in order to facilitate expeditious

filing.  The Commission first proposed this voluntary, expedited

procedure in order to provide consumers with necessary and immediate

22

rate relief due to tax law changes.

Consistent with the rationale of Section 35.13, these

abbreviated procedures are being applied here in order to encourage

infrastructure development through rate incentives, and expeditious

filing procedures for cost recovery.  These incentives are only

temporarily available since they expire after the specified

construction deadlines, and are of limited applicability since they

are specifically tailored to bring immediate relief to the West.

Under this abbreviated procedure, the Commission will only allow

filings made for the specific purpose of implementing these

incentives and will only review the portion of the rate to which

23

these incentives would apply.    As this abbreviated procedure will

not review the costs, allocations, and rate determinants underlying

the existing rates, the limited scope of the Commission's review will

20

(...continued)

terminating the Cal PX's rate schedule entirely as of May 1, 2001

and implementing a 5% bandwidth for scheduling error in the Cal

ISO's real time market was intended to provide immediate help.

See San Diego Gas & Electric Co., et al., 94 FERC µ 61,085

(2001).

21

18 C.F.R. § 35.13(a)(2)(ii) (2000).

22

In Order No. 475, the Commission amended the abbreviated

filing requirements of Section 35.13(a)(2)(ii) to enable a public

utility to voluntarily and timely file its lower rates to reflect

the reduction in the Federal corporate income tax rate under the

Tax Reform Act of 1986.  Rate Changes Relating to Federal

Corporate Income Tax Rate for Public Utilities,  Order No. 475,

FERC Stats. & Regs. µ 30,752 (1987) (citing Tax Reform Act of

1986 which reduced the Federal corporate income tax rate by

twelve percentage points, effective July 1, 1987); order denying

reh'g, 41 FERC µ 61,029 (1987).

23

The Commission directs any other rate filing issues that

are not incentives specifically adopted by the Commission in this

order to be raised in a general section 205 filing.

Docket Nos. EL01-47-000        -16-

and EL01-47-001

expedite the process, and thus facilitate the timely implementation

of these incentives.

Due to the extraordinary energy situation in the West, effective

upon issuance of this order, the Commission takes the unusual step of

permitting public utilities who are  prepared to file to implement

the incentives adopted herein, to make limited 205 filings for the

Commission to review.  The Commission directs the applicants to

clearly demonstrate how the proposals have satisfied the requirements

for the incentives approved herein within the temporary timeframes

outlined in this order, and to adequately explain how they increased

capacity at existing constraints in the WSCC in response to the

energy crisis in the West.  In addition, projects currently underway

must demonstrate that the construction schedule was accelerated in

response to the incentive program, and the facilities were placed

into service within the prescribed time frames. The Commission

requires strict adherence to these filing constraints and commits to

act on such filings expeditiously.

5.   Roll-in of Interconnection and Upgrade Costs

The March 14 Order requested comments on whether to directly

assign interconnection costs to a particular load or supply and to

incrementally charge that load or supply for system upgrades, or24

alternatively, to roll these costs into the average system rate.

Comments

Commenters who discuss the Commission's proposal to roll-in

interconnection costs into the average system rate are evenly

divided.  Those commenters who support the rolling in of such costs

condition their support on factors such as the scope and application

of the proposal.  PG&E supports the proposal if the activities fall

within the scope of the March 14 Order, and request clarification on

which types of costs will be rolled-in.  Energie Azteca & Energia de

Baja (InterGen) requests that the Commission clarify how rolled-in

costs will apply through December 31, 2001 and recommends allowing it

for necessary interconnection and transmission system upgrades

identified by studies to be completed by December 31, 2001.  NRECA

and APPA support the rolling in of costs if the local customers

benefit from the new generation.  Cogeneration Association of

California (CAC) urges the Commission to roll-in costs for

transmission upgrades as a permanent ratemaking principle, or

alternatively, be rolled into system-wide rates for any new generator

24

The Commission recognized its policy had been to allow the

cost of interconnection and the cost of certain incremental

system upgrades to be borne by those loads or supplies on the

margin.  However, the Commission noted the need for its pricing

policies to minimize the cost of entry upon individual entrants

due to the state of stress of the entire Western Interconnection.

Docket Nos. EL01-47-000        -17-

and EL01-47-001

that has obtained state regulatory permits to begin construction by

2002.

Commenters who oppose rolling-in upgrade costs express concern

about the impact of this incentive. Commenters allege unfair cost

shifts with no reciprocal benefits, such as forced consumer

subsidization of others' transmission costs.  American Electric Power

Company (AEP) believes rolled-in costs could encourage uneconomic

siting and fears that transmission owners' recovery for transmission

enhancement costs not directly assigned to generators is uncertain.

SCE contends that the proposal may exacerbate the current situation,

but if adopted, the cost of the upgrades should immediately be placed

into a utility's rates as an adder to existing rates.

Commission Response

The emergency facing the West justifies a measure that minimizes

the cost of entry for each new supply source in order to facilitate

the addition of as much supply a possible and as quickly as possible.

Accordingly, the Commission will roll in the costs of interconnection

and system upgrades for projects that are in service by November 1,

2002.

B.   Extension of Waivers for Qualifying Facilities

In the March 14 Order, we extended certain temporary waivers of

operating and efficiency standards for Qualifying Facilities (QFs)

25

that were first granted in an order issued December 8, 2000.

Because of the capacity shortages in California and other areas in

the West, we found good cause to extend the waivers through December

31, 2001 and broaden them to apply to the entire WSCC.  As with the

original waivers, we required the QFs to sell additional output

resulting from the waivers through negotiated bilateral agreements.

Comments

Most commenters support extending temporary waivers of operating

and efficiency standards as well as fuel use requirements.  EEI

contends that such waivers should apply only to those units that can

address the very short-term supply shortage of California and nearby

states.  PG&E supports extended waivers provided that the extension

does not compromise existing practices adopted by the States or host

utilities, and that existing QF contract holders are held harmless

from any increased cost burden.  Industrial Customers of Northwest

Utilities (ICNU) suggests that the Commission extend the termination

date for waivers until December 31, 2003, or until such date that

Commission expects significant additional generation to be available.

Industrial Consumers urges the Commission to consider extending these

25

San Diego Gas & Electric Company, et al., 93 FERC µ 61,238

(2000).

Docket Nos. EL01-47-000        -18-

and EL01-47-001

waivers throughout the country for the pending summer peak season.

Many commenters also support the Commission s decision to allow QFs

to sell increased output via bilateral contracts at market-based

rates.

In addition to comments on the specific waivers implemented by

the March 14 Order, a number of commenters suggest that the

Commission expressly permit QFs to use existing interconnection

arrangements to deliver excess QF power to the grid.  Some commenters

ask the Commission to grant additional relief including the

institution of proceedings under section 210(d) of the FPA.  These

commenters claim the requested relief will permit QFs to make third

party sales in California which they claim will increase the supply

of generation capacity in the state.

Commission Response

We reaffirm our March 14 decision to extend the QF waivers

26

through April 30, 2002,   to broaden them to the WSCC, and to require

that additional power made available as a result of the waivers be

sold through negotiated bilateral agreements.  We decline to extend

these waivers to the entire U.S. at this time, but we will entertain

requests for waiver on a case-by-case basis; such requests must show

that serious supply/demand imbalances create circumstances that would

justify a waiver under our regulations.

We clarify that the grant of these waivers does nothing to

modify existing contractual obligations under PPAs, and that the

extent to which a QF takes advantage of these waivers is

discretionary to the QF.  We decline to opine on how revenues from

additional sales under these waivers may relate to payment

obligations under the PPAs.

With respect to the issues raised as to the rights of QFs to use

existing interconnection arrangements to sell power released from or

in excess of existing PPAs to third parties, and the obligations of

utilities to facilitate QF sales to third parties, we will address

27

those in a separate order issued today.     As to the request that

the Commission institute enforcement action and reject the CPUC's

revision of the avoided cost rates for sales by QFs, we will address

28

this matter in a separate proceeding.    We are unable to address in

26

See supra note 5 and accompanying text.

27

See Order Granting Motions for Emergency Relief and

Proposed Order Directing Interconnections Under Section 210(d)

and Establishing Further Procedures (Docket No. EL01-47-002).

28

California Cogeneration Council, et al., Petition for

(continued...)

Docket Nos. EL01-47-000        -19-

and EL01-47-001

this short-term order CAC's assertion that the WSCC's operating

reserve requirements are inhibiting cogeneration.  We would normally

defer to WSCC on such matters.  We would expect that the WSCC and the

California ISO would attempt to minimize unnecessarily burdensome

requirements that might interfere with cogeneration.

C.   Additional Capacity from On-Site Generation

In the March 14 Order, the Commission adopted a streamlined

29

regulatory procedure   to accommodate wholesale sales from businesses

that had installed on-site generators to serve load within the WSCC.

From the period beginning March 14, 2001 through December 31, 2001,

owners of generating facilities located at business locations in the

WSCC and used primarily for back-up or self-generation, who would

become subject to the Federal Power Act by virtue of sales of power

from such facilities, will be permitted to sell power at wholesale

from such facilities to non-affiliated entities within the WSCC

without prior notice under Section 205 of the FPA.  Pursuant to

Section 205(d), the Commission found good cause to waive the 60-day

30

prior notice requirement for such sales.    The Commission further

granted waiver of its regulations consistent with its orders on

market-based rates and authorized market-based rates during the

31

identified time period.

28

(...continued)

Enforcement Action Pursuant to Section 210(h)(2)(B) of PURPA

(Docket No. EL01-64-000) (filed April 5, 2001).

29

The Commission narrowly defined the measure as only

streamlining Commission filing requirements for certain actions

that are otherwise agreed to among the relevant parties.  The

measure did not abrogate or supersede any existing contracts or

obligations, exempt any person from existing environmental,

safety, or reliability requirements, authorize the feeding of

power into the grid where not otherwise authorized, authorize a

retail customer to violate any rules or retail tariff provisions

that have been properly imposed on the retail sales made to those

customers, or impose new substantive obligations on any person.

30

16 U.S.C. § 824d (1994).

31

The Commission required that wholesale purchasers of power

from such facilities to report to the Commission the names of

each such seller from whom power was purchased, the aggregate

amount of capacity and/or energy purchased from each seller, and

the aggregate compensation paid to each seller. The Commission

allowed the purchaser to make one report for all purchases

pursuant to this paragraph, and, if it otherwise files quarterly

transactions summaries with the Commission, may include this

(continued...)

Docket Nos. EL01-47-000        -20-

and EL01-47-001

The Commission also stated that to the extent mutually-agreed

upon interconnection agreements become jurisdictional through the use

of the interconnection for a jurisdictional sale during the specified

period, the Commission waived the prior notice requirement for the

duration of the interim period.  The Commission allowed the filing of

such jurisdictional interconnection agreements to be postponed and

made along with the reports of sales pursuant to the procedures

discussed above.

Comments

A number of commenters support waivers associated with the sale

of on-site and self-generation from businesses not primarily engaged

in the sale of electricity at wholesale.  EEI notes that safety and

reliability must be preserved.  NRECA and APPA request the expansion

of the waivers for on-site generation to the rest of the country, and

SCE suggests an extended termination date for waivers.  PacifiCorp

requests that the Commission clarify whether the March 14 Order

precludes self generators from imposing increased costs on public

utilities, and requests market-based rates for self generation sales

only for that portion above historic levels.

NRECA and APPA suggest that the Commission waive jurisdiction to

the extent possible under the FPA over consumers with on-site

generation used primarily for on-site load, and who are not

substantial participants in wholesale markets.  CPUC states that

there is an unresolved legal question of whether and to what extent

distributed generation is subject to the Commission's jurisdiction.

Commission Response

We reaffirm this measure as adopted in the March 14 Order and

extend the measure until April 30, 2002.  With regard to the request

that we waive jurisdiction entirely over such entities, we note that

section 201(e) of the FPA defines a "public utility" as "any person

who owns or operates facilities subject to the jurisdiction of the

32

Commission..."    Section 201(b) of the FPA states that the

Commission shall have jurisdiction over all facilities for the

transmission of electric energy in interstate commerce and the sale

31

(...continued)

report as a separate section of its transaction summary for the

first calendar quarter of 2002.  The Commission directed the

purchaser to file this report with the Commission by April 30,

2002 if the purchaser does not otherwise file quarterly

transactions summaries. See March 14 Order at n. 18, 19.

32

16 U.S.C. § 824 (1994).

Docket Nos. EL01-47-000        -21-

and EL01-47-001

33

of electric energy at wholesale in interstate commerce.    Thus, by

virtue of sales of power at wholesale from generating facilities

located at business locations in the WSCC and used primarily for

back-up or self-generation, these businesses become public utilities

34

subject to the Commission's jurisdiction under the FPA.    Section

205 of the FPA further requires  public utilities to file with the

Commission rate schedules showing all rates and charges for any    35

transmission or sale subject to the jurisdiction of the Commission.

It is not within the Commission's authority to waive the statutory

requirement that public utilities file rate schedules under section

205, but the Commission may prescribe the time and form of such

filings, find good cause to waive the 60-day prior notice

requirements for these sales and, waive certain parts of its

36

regulations concerning such filings.

We will not expand the scope of this measure beyond the Western

Interconnection or extend it beyond April 30, 2002.  This blanket

measure is aimed at an emergency situation in the West.  We will

consider similar individual proposals by entities located in other

regions.

D.   Purchases of Demand Reduction

Effective on the date of the March 14 Order, the Commission

allowed retail customers, as permitted by state laws and regulations,

and wholesale customers to reduce consumption for the purpose of

reselling their load reduction at wholesale.  The Commission noted

that the sale of these "negawatts" would help maintain the

reliability of the grid by providing additional load resources when

generating resources are scarce.  Consistent with its discussion

33

Id; Contrary to NRECA and APPA's assertion, the

Commission's jurisdiction under the FPA is not waivable.

34

Sales for resale of distributed generation would also fall

under the Commission's jurisdiction.

35

16 U.S.C. § 824d (1994).

36

Id; The Commission has generally waived the following

portions of its procedural regulations: most of Subparts B and C

of Part 35 (documentation), Part 41 (accounting verification),

Part 101 (prescribed Uniform System of Accounts), and Part 141

(annual reports).  In addition, where requirements are statutory,

the Commission has allowed such sellers to make shortened filings

to satisfy Part 33 (disposition of facilities) and Part 45

(interlocking positions), and has granted blanket authorizations

for issuances of securities (Part 34); See, e.g., FirstEnergy

Generation Corp., 94 FERC µ 61,177 (2001); FirstEnergy Services,

Inc., 94 FERC µ 61,052 (2001).

Docket Nos. EL01-47-000        -22-

and EL01-47-001

regarding sales from generating facilities located at business

locations and used primarily for back-up or self-generation, the

Commission granted a blanket authorization to allow these sales at

market-based rates, subject to the requirement that similar        37

information on these transactions be reported on a quarterly basis.

The Commission stated its intention to promote complementary

wholesale programs that did not undermine existing state demand-side

management (DSM) programs or other state rules governing retail

sales.  The Commission requested comments on how helpful this action

is and how well it can be accomplished consistent with state

jurisdiction over retail sales.  The Commission also requested

comments on the desirability of accelerating action on the December

15 Order which directed that the California ISO establish an

integrated day-ahead market in which all demand and supply bids are

38

addressed in one venue.

Comments

Most demand reduction comments refer to the establishment of an

active market for load reduction or demand.  For instance, DWR

recommends removing rigid market rules designed for merchant

generation that impeded load participation.

Some commenters emphasize the difficulty of implementing such a

program.  While Xcel agrees with the Commission's treatment of DSM,

it points out the difficulty of determining how to measure and settle

the reductions if certain demand reductions will be determining the

market-clearing price.  SRP states that its retail tariffs as well as

those of most other distribution utilities prohibit retail customers

from selling into the wholesale market.  ACC asserts that other

economic factors such as local impacts must be considered.  SCE

doubts the proposal will provide any relief from power shortages as

it is unaware of any market in California that sells "negawatts."

Reliant Energy Power Generation, Inc. (Reliant) proposes a WSCC-wide

37

The Commission noted that the ISO instituted a market-

based wholesale demand responsiveness program on a four-month

trial basis during the summer of 2000.  Under this program, the

ISO paid participants a monthly "capacity" payment in exchange

for the ISO's ability to curtail these loads.  Initial

participation in the ISO's trial program reached 180 MW.

38

See December 15 Order, 92 FERC at 62,016-17.

Docket Nos. EL01-47-000        -23-

and EL01-47-001

program to provide load relief from interruptible load customers

across the entire WSCC region to any deficit WSCC control area.

PG&E perceives no impediment to the Commission's action if it

does not conflict or duplicate a state-imposed load management

program, while Washington Utilities and Transportation Board (WUTC)

emphasizes its exclusive jurisdiction over retail service and

suggests that this proposal extends the Commission's reach.

Commenters acknowledge ongoing state efforts to reduce consumption

such as the sale of demand which is already in place under the

California ISO's 2001 Demand Relief Program.  PacifiCorp points out

that it is actively seeking demand reduction on its system.  CPUC

notes ongoing efforts at the state level for waivers of prior notice

for rate schedule amendments and treatment.

Some commenters, such as WUTC, emphasize the states' exclusive

jurisdiction over retail customers or point out a need to coordinate

with state DSM programs.  WUTC  expresses concern that the

Commission's proposal may undermine the demand reduction tools it has

in place.  NRECA and APPA claim that the Commission will overreach

its jurisdiction if it describes pure load reduction agreements as

sales of energy at wholesale.  EEI encourages the Commission's

efforts, but notes that many DSM matters are under state

jurisdiction.

A few commenters address whether the Commission should

accelerate the California ISO's integration of demand-reduction

bidding.  SDG&E and SCG support accelerating action on establishing

an integrated supply/demand day-ahead market at the California ISO.

Among their specific recommendations, SDG&E and SCG supported a

"short forward" market similar to those managed by the PJM and New

York ISOs.  DWR states that to the extent that the Commission

accelerates development of integrated ISO dispatch of load, power and

payment mechanisms that occur in the day ahead time period in

addition to the real-time, the Commission should ensure that such

payments are not structured or priced to thwart the objectives of

forward contracting.

Commission Response

We reaffirm the March 14 Order's action concerning purchases of

demand reduction.  We recognize that such a program may be more

efficient if there were an organized market for "negawatts"

established.  Although we will be receptive to proposals brought to

us to establish such a market, we believe benefits can be obtained

through negotiated arrangements in the absence of an organized

market.  We reiterate what we stated in the March 14 Order with

respect to our recognition of the important role states play in the

regulation of retail service.  Nothing herein authorizes a retail

customer to violate existing state laws or regulations, or contract

rights.

Docket Nos. EL01-47-000        -24-

and EL01-47-001

As noted earlier, the Commission has jurisdiction over public

utility sales of electric energy for resale in interstate commerce,

and we do not believe we overreach our jurisdiction by asserting it

39

here.    To the extent the load reductions will be sold at wholesale,

they fall under the Commission's jurisdiction.  However, the

Commission is not attempting to supersede state authority over retail

customers.  As it stated in the March 14 Order, the Commission is

promoting wholesale programs that complement existing state DSM

programs or other state rules governing retail sales.  Our goal is

not to assert new jurisdiction but to work cooperatively with the

states to achieve a common good.

With respect to the issue of the California ISO establishing an

integrated day-ahead market in which all demand and supply bids are

addressed in one venue, the few commenters who responded favored

accelerating this proposal so long as forward contracting objectives

were not hindered.  The Commission will consider these comments as it

moves towards the goal of accelerating the California ISO's

integration of demand-reduction bidding.

E.   Contract Modifications to Promote DSM

In the March 14 Order, the Commission noted the potential

opportunities for public utilities to make alternative demand-side

arrangements with their wholesale customers.  The Commission found

good cause to grant waiver of the FPA's prior notice requirements for

any rate schedule amendments that may be required to effectuate

mutually agreed upon DSM alternatives that change contractual terms

and conditions within the Commission's jurisdiction.  This measure

became effective upon the issuance of the March 14 Order.  The

Commission set December 31, 2001 as the deadline for amending the

filed rate schedule which was required to consist of the FERC rate

schedule numbers, the load reduction negotiated under the DSM

arrangement (MW/MWh), total compensation, and the name of each

40

affected wholesale customer.

There were no substantive comments addressing this proposal.

The Commission reaffirms its adoption of this measure as outlined in

the March 14 Order.

39

16 U.S.C. § 824 (1994).

40

The Commission noted that this paragraph applied to

revisions to contracts to permit a wholesale customer's

participation in any utility DSM programs, including those of an

ISO or power exchange.

Docket Nos. EL01-47-000        -25-

and EL01-47-001

F.   DSM in Cost-Based Rates

The Commission also acknowledged that utilities sometimes

continue to operate under cost-based rates which often incorporate

formulas that are intended to track the actual out-of-pocket (i.e.,

incremental) cost that was incurred to generate or purchase the

energy. However, most rate schedules did not recognize that DSM costs

are a form of out-of-pocket or incremental cost which discouraged

utilities from engaging in DSM during generation shortages.  In order

to eliminate the disincentive to rely upon DSM during these times,

the Commission clarified that, effective upon issuance of the March

14 Order, DSM costs should be treated consistently with all other

types of incremental and out-of-pocket costs.

There were no substantive comments addressing this proposal.

The Commission reaffirms its adoption of this measure as outlined in

the March 14 Order.

G.   Use of Section 210(d) Interconnection Authority

In the March 14 Order, the Commission cited Section 210(d) of

the FPA as authorizing the Commission, on its own motion and after

following certain procedures, to issue an order requiring the same41

actions an applicant may request with respect to interconnections.

The Commission sought comments on whether the exercise of its

authority under this section could help alleviate any existing

impediments that may be preventing generating resources from reaching

load.  If the exercise of this authority could be warranted, the

Commission sought comments on whether the Commission could make some

of the required findings generically for the WSCC region in order for

the Commission to respond quickly if appropriate circumstances arose.

Comments

Cogenerators are generally supportive of the Commission's

efforts to encourage the interconnection of new generation.  Calpine,

Industrial Consumers and TransAlta specifically support the

Commission's exercise of its authority under section 210(d) of the

FPA, with Calpine requesting assurance that California's utilities

will not impede the sale of QF generation to third parties by

42

arbitrary interconnection requirements.    CCC, in its motion for

41

The Commission highlighted Section 210(d)(3)(A), (B), (C)

and (D).  16 U.S.C. § 824a-3.

42

Calpine states that the CPUC's order directing utilities

to pay QFs for future deliveries does not maximize California QF

generation. See Mimeo at 6 (citing Order Instituting Rulemaking

into Implementation of Pub. Util. Code § 390 , D.01-03-067

(continued...)

Docket Nos. EL01-47-000        -26-

and EL01-47-001

emergency relief, specifically requests that the Commission exercise

section 210(d) authority to facilitate sales by QFs to third parties.

While not specifically citing to Section 210(d) of the FPA, a

majority of commenters who discuss interconnection policy support

establishing uniform interconnection standards.  A number of

commenters assert that entry costs for new electricity supply would

be reduced by eliminating discriminatory or economically

disadvantageous procedures related to interconnection.  The SRP

opposes FERC-directed interconnections, preferring greater

flexibility for transmission owners to negotiate the terms of service

with generators.

Several commenters recommend specific reforms of the

interconnection process. For instance the California ISO requests

Commission approval of its recently filed "New Facility

Interconnection Policy" (NFIP), which is intended to establish one

policy applicable to all interconnections on the California ISO grid.

Commission Response

In response to the commenters' recommendations regarding the

uniformity of interconnection standards and other concerns, we note

that the Commission has responded to similar requests in other

proceedings and has so far found it unnecessary to adopt uniform

43

interconnection standards.     We will not further address this

request in this limited order for expeditious actions to aid the

West.   We also note that the issue of interconnection policies for

44

California utilities are the subject of other pending proceedings.

42

(...continued)

(2001)).  CCC's Petition for an Enforcement Action alleging that

CPUC's decision violates PURPA is currently pending in Docket No.

EL01-64.  In addition, the issue of California utilities impeding

the sale of QF generation to third parties is now pending in

Docket No. EL00-95.

43

See, e.g., Entergy Services Inc., 91 FERC µ 61,149 (2000),

clarified and order on reh'g, 94 FERC µ 61,257 at 61, 905 (2001);

Virginia Electric and Power Co., 93 FERC µ 61,307 (2000), reh'g

denied, 94 FERC µ 61,164 at 61,589 (2001); American Electric

Power Service Corp., 91 FERC µ 61,308 at 62,053 (2000), clarified

and reh'g denied, 94 FERC µ 61,166 (2001).

44

The Commission is currently reviewing the California ISO's

NFIP in Docket Nos. EL00-95-023 and EL00-98-022, and related

filings by SDG&E (Docket Nos.EL00-95-022; EL00-98-021), PG&E

(Docket Nos. EL00-95-024, EL00-98-023) and Southern California

Edison Co.(Docket Nos. EL00-95-025 and EL00-98-024).

Docket Nos. EL01-47-000        -27-

and EL01-47-001

With respect to the use of FPA section 210(d), as noted in

section B supra, the Commission is today instituting section 210(d)

proceedings and requiring California utilities and the California ISO

to provide interconnection and related services to enable QFs to make

45

third party sales in certain circumstances.

H.   Longer-Term Regional Solutions

The March 14 Order focused primarily on short-term regulatory

actions that it could take to improve energy supply conditions in the

West.  However, the Commission recognized that a regional perspective

should guide its decisions regarding investment in new electric and

gas infrastructure.  The Commission acknowledged that any long-term

solution to address and prevent the recurrence of the current crisis

must be developed on a west-wide basis, with appropriate input from

all of the affected states.  Stating that problems of inadequate

generation supply and poor demand responsiveness are exacerbated by

localized electric transmission and gas pipeline capacity

bottlenecks, and the fragmentation of Western market rules, the

Commission advocated a west-wide RTO or a seamless integration of

Western RTOs for designing and implementing a long-term regional

solution.  The Commission reaffirmed its commitment to the policy

course set forth in Order No. 2000 and noted its continued

cooperation with transmission owners, market participants and

affected state utility commissions to encourage the further

development of RTOs.

Comments

Many commenters agreed with the need for long-term solutions for

the Western electricity crisis that include the implementation of an

integrated western transmission system administered by one or more

regional transmission organizations (RTO), regional interconnections,

and incentives for investing in infrastructure.

A few commenters discuss the "phantom congestion" issue, which

they describe arises when the California ISO reserves transmission

capacity for existing transmission contracts (Existing Contracts),

the unused portion of which is not released to the market for use by

46

market participants.    While acknowledging that the issue is

45

See Order Granting Motions for Emergency Relief and

Instituting Section 210(d) Proceeding (Docket Nos. EL00-95-020,

EL00-98-019, EL01-47-002, EL01-72-000).

46

See Comments by MSCG.  In addition, California ISO's

comments state that Existing Contracts often contain scheduling

timelines that differ from the ISO's Day-Ahead and Hour-Ahead

scheduling timelines, in which transmission capacity is reserved,

(continued...)

Docket Nos. EL01-47-000        -28-

and EL01-47-001

47

currently being addressed in settlement negotiations,   Morgan

Stanley Capital Group (MSCG) proposes to make available

conservatively estimated amount of unused existing contract

transmission to market participants unless it is explicitly reserved

by Existing Contract customers in the day-ahead market.

Commission Response

The Commission shares the commenters' support for long-term

regional solutions and backs ongoing efforts to ensure sufficient

48

electricity transmission capacity for the est.    While the

Commission is focusing on short-term, immediate relief to the West in

this order, the Commission remains committed to the policies set

forth in Order No. 2000 and is committed to an integrated Western

49

transmission system administered by one or more RTOs.

46

(...continued)

but often not used by existing rights-holders.  California ISO

further explains that it can use in real time any transmission

capacity that has not been scheduled by existing rights-holders

in the Hour-Ahead scheduling process, but the reserved and unused

transmission capacity is unavailable to market participants in

the ISO transmission markets (i.e., the Day-Ahead and Hour-Ahead

scheduling processes).

47

See Docket No. ER00-2019 (settlement negotiations

regarding Amendment 27's proposed new methodology for recovering,

through a Transmission Access Charge, the embedded cost of

transmission facilities comprising the California ISO-controlled

grid)

48

The Commission supports the recent Electricity

Transmission Roundtable hosted by the Western Governors'

Association to identify decision-making bottlenecks related to

planning, financing, siting and permitting that inhibit

investments in needed transmission capacity.  See Press Release,

Western Governors' Association, Governors Recommend Actions to

Remove Electricity Transmission Bottlenecks, Expand Capacity (May

9, 2001), available at

http://www.westgov.org/wga/press/energy_transmission.htm.

49

See Order, Granting with Modification, RTO West Petition

for Declaratory Order and Granting TransConnect Petition for

Declaratory Order 95 FERC µ 61,114 (2001) (Order provides

preliminary guidance with respect to governance, scope and

configuration, and liability of RTO West, and addresses

TransConnect's October 16 filing regarding the proposed

governance structure, proposal to file rates unilaterally and its

(continued...)

Docket Nos. EL01-47-000        -29-

and EL01-47-001

The Commission recognizes that "phantom congestion" is a market

inefficiency that must be addressed and rectified either through the

settlement negotiations regarding the ISO's transmission Access

50

Charge, or in a separate proceeding.    While the phantom congestion

issue is currently being addressed in overall settlement negotiations

under Docket No. ER00-2019, the Commission will address phantom

congestion in a separate proceeding in the event the negotiations do

not resolve this issue.

II.  Natural Gas Pipeline Capacity

In order to provide regulatory incentives to build new natural

gas infrastructure in the WSCC to support increased electric

generation, the March 14 order solicited comments of interested

persons on how it might exercise its authority over new pipeline

construction to assist the present situation.  In particular, the

Commission requested comments on the following proposals:

1) waiving the blanket certificate regulations to increase the

dollar limitations for facilities under automatic authorization

to $10 million and for prior notice authorizations to $30

million;

2) offering blanket certificates for construction or acquisition

and operation of portable compressor stations to enhance

pipeline capacity to California; and

3) offering rate incentives to expedite construction of projects

that will make additional capacity available this summer on

constrained pipeline systems.

The March 14 order noted that the Commission's current policy of

allowing rolled in rates for facilities built under the current

blanket authorization of $20.6 million or less would continue to

apply.  However, we requested comments on whether blanket

authorizations exceeding $20.6 million should also be rolled in.

The Commission also expressed concern that its actions to

expedite new capacity for gas to serve California and the West may

49

(...continued)

proposed transmission planning and expansion function.)  The

Commission directed Desert STAR to file its RTO proposal by May

31, 2001, and conditioned the market mitigation and monitoring

remedies adopted in its April 26 Order on the California

utilities and California ISO filing their RTO proposal by June 1,

2001.

50

See California Independent System Operator Corp., 91 FERC

µ 61,205 at 61,727 (2000).

Docket Nos. EL01-47-000        -30-

and EL01-47-001

only be effective to the extent there is available local distribution

capacity to deliver gas downstream of the interstate pipeline.

However, the Commission noted, the availability of take-away capacity

is within the states' control rather than the Commission's.

Therefore, the Commission requested pipelines to coordinate their

efforts with local distribution companies, public utilities, and

state officials to ensure that their will be sufficient local take-

away capacity to accommodate any additional interstate pipeline

capacity.

General Comments

In addition to comments on the specific proposals described

above, parties also commented on the need for the Commission to

coordinate with state and federal agencies to streamline and expedite

the process for increasing pipeline capacity.  NGSA suggests that if

such coordination does not work, the Commission should use its

authority under Section 17 of the Natural Gas Act to convene joint

boards or hearings with affected state agencies to facilitate needed

pipeline system enhancements to serve the West.  Forest Service

recommends the Commission include federal land management agencies

when meeting with state regulators since such agencies may have

jurisdiction over the siting of natural gas and electrical generation

and transmission facilities on federal lands.  Forest Service also

recommends that all natural gas or electricity providers who intend

to upgrade notify all affected land management agencies as far in

advance as possible so that federal land management agencies can

align limited resources for processing and approving such

applications.

NGSA, InterGen, Questar, Kinder Morgan and Williams comment

regarding staffing issues.  These comments include supporting

existing Commission staff organization, adding Commission staff to

deal with western projects, assisting other federal and state

agencies to identify critical staffing needs, and creating a special

"compression-only" staff in the Office of Energy Projects to address

the relevant issues in a more timely fashion.

The parties commenting on the local take-away capacity issues

generally concur with the Commission's collaborative approach to

ensure that downstream take-away capacity reasonably matches upstream

capacity.  IEP maintains that California must make a simultaneous

effort to encourage take-away capacity.  El Paso is concerned that

expansions to California may not be matched by expansions within

California.  Enron emphasizes the need to coordinate upstream and

downstream capacity expansion because the current imbalance, more

delivery capacity to California than take-away capacity, will likely

grow.

Williams agrees with the Commission that the cooperation of

local distribution entities, public utilities, and state officials

Docket Nos. EL01-47-000        -31-

and EL01-47-001

will be needed to insure sufficient local take-away capacity and

seeks the Commission's support in dealings with these entities.  Kern

River maintains the Commission should condition approval of

expansions on the existence of sufficient take-away capacity

expressing the concern that the integrity of existing firm service

should not be compromised by the rush to build interstate pipeline

capacity to California.

Commission Response

Our coordination with other agencies in processing pipeline

certificate applications is evolving into the more streamlined

approach advocated by commenters.  We are continuing to work with

other agencies to enhance and accelerate the certification process.

The Commission has consistently shown its ability and commitment to

expedite pipeline proposals in response to critical needs, and we

will continue to process all applications as expeditiously as

possible.  With respect to our authority to convene formal joint

boards to facilitate pipeline enhancements, we do not believe it is

necessary to do so at this time.  Regarding staffing concerns, the

March 14 order explained that our staff is properly allocated to

expedite the processing of gas infrastructure projects.  We see no

need to realign our staff as suggested by commenters; further

realignment at this stage of the energy emergency could be

counterproductive.

Several commenters agree with the March 14 order's assertion

that pipelines must coordinate their efforts with downstream entities

in order to make sufficient takeaway capacity available.  Kern River

suggests that the Commission should condition expansions upon the

existence of sufficient takeaway capacity.  However, there is no

mandate for the Commission to require a downstream non-jurisdictional

entity to match the planned upstream capacity.  We are pleased to

note that the CPUC has started proceedings addressing takeaway

capacity issues.  The Commission is also convening a technical

conference on May 24, 2001 on take away capacity and its relationship

51

to interstate pipeline capacity and intrastate pipeline capacity.

A.   Raising the Cost Limitations for Part 157 Blanket

Certificates

Section 157.208 of the Commission's regulations limits the cost

for projects qualifying for automatic authorization to $7.4 million

and for projects qualifying for prior notice authorization to $20.6

million.  In the March 14 order, the Commission requested comments on

whether it should waive the blanket certificate regulations to

increase the dollar limitations under automatic authorization to $10

51

Notice of the conference was issued under Docket No. PL01-

4-000.

Docket Nos. EL01-47-000        -32-

and EL01-47-001

million and under prior notice authorizations to $30 million for

those projects that would serve California and the West.  If so, the

Commission asked whether the current policy of allowing rolled in

rates for facilities built under the blanket authorization should

apply to facilities constructed at costs between $20.6 million and

$30 million.

Comments

Pinnacle, Duke, EEI, El Paso, EPSA, LPPC, NWIGU support raising

the dollar limitations on blanket authorizations under section

157.208 of the Commission's regulations.  NGSA thinks the proposal is

a reasonable one that would encourage interstate pipeline

infrastructure improvements in California and the West.  Other

commenters support the change but propose higher limits. Questar

believes the increases suggested by the Commission are not high

enough to facilitate much additional construction in the near term.

PG&E supports increasing the limits to $15 million for automatic

authorizations and $45 million for prior notice authorizations, while

EEI thinks the limits should be $20 million and $60 million,

respectively.  Williams would raise the limit for prior notice

authorizations to $40 million to permit more projects to qualify.

WPSC urges that, if the Commission adopts a new limit, it do so only

until the end of 2002 to allow for further review.

Contending that it will allow ever-larger pipeline projects to

go forward without meaningful Commission review, APGA opposes raising

the dollar limitations for blanket certificate authorizations.

El Paso, Kinder Morgan, and PG&E support a presumption of

rolled-in rate treatment for blanket certificate authorizations that

exceed $20.6 million.  NGSA supports the presumption but only up to

the $30 million limit suggested by the Commission.  NGSA also states

that the Commission should re-affirm its current policy that any

preliminary endorsement of rolled in rates in a certificate

proceeding can be challenged by any party in the subsequent rate case

52

where the pipeline seeks to implement roll-in.    NWIGU comments that

facilities approved under prior notice authorizations that cost more

than $20.6 million should meet a system-benefit analysis for rolled

in rate treatment to apply.

Commission Response

After consideration of the comments, we believe it is in the

public interest to waive our regulations, on a temporary basis, to

raise blanket certificate limits to $10 million for automatic

authorizations and to $30 million for prior notice authorizations for

52

Citing Equitrans, L.P. et al, 91 FERC µ 61,041 at 61,151,

reh'g denied, 92 FERC µ 61,010 (2000).

Docket Nos. EL01-47-000        -33-

and EL01-47-001

all pipelines that deliver gas in the WSCC.  We believe that these

amounts are sufficient to allow pipelines to quickly add capacity

while effectively limiting the size of the projects.  This temporary

waiver applies only to those projects that will be built and placed

in service by April 30, 2002.  A pipeline intending to construct

facilities under our prior notice regulations at a cost between $20.6

million and $30 million should note the temporary waiver in its prior

notice application.

To further expedite prior notice projects, we will also consider

requests to shorten the 45 day protest period that would otherwise be

required under section 157.205(d).  We will respond to such requests

in the notice of the application issued by the Secretary of the

Commission.

We have determined that the expanded blanket authority should be

available to all pipelines that deliver gas in the WSCC.  While the

initial impetus for providing the regulatory means to quickly add

pipeline capacity was the problems in California, we believe it is

prudent to permit these pipelines that deliver gas in the WSCC to

quickly add capacity where necessary to preclude insufficient

pipeline capacity exacerbating the current energy problems.

Under our Certificate Policy Statement, pipelines can roll-in

costs incurred in constructing facilities pursuant to our Part 157,

53

Subpart F regulations.    We will allow pipelines to roll-in the cost

of facilities that are built, and placed in service by April 30,

2002, under the expanded authorizations as we do for any automatic or

prior notice authorization.  We believe this will encourage pipelines

to construct needed facilities and thus accomplish our goal of

increasing pipeline capacity to address the current crisis in

California and the West, and to prevent serious capacity shortages

elsewhere in the country.

We note that section 157.208(b) of our regulations prohibits

pipelines from segmenting projects to meet the automatic or prior

notice cost limitations.  Nothing we are contemplating in this order

negates that prohibition.

B.   Eligible Facilities in Automatic and Prior Notice Blanket

Certificates

In the March 14 order, the Commission stated that it was

seeking proposals for expediting the approval of pipeline

infrastructure needed to serve California and the West, particularly

during the upcoming spring and summer.  The Commission noted that

planned pipeline maintenance, and the resulting reductions in

53

See Certification of New Natural Gas Pipeline Facilities,

Statement of Policy, 88 FERC µ 61,227 at 61,754 (1999).

Docket Nos. EL01-47-000        -34-

and EL01-47-001

transmission capacity, usually occur during the spring and summer

when power requirements are at their highest in California and the

West.  Therefore, the Commission sought comments on a proposal to

offer blanket certificates for construction or acquisition and

operation of portable compressor stations that could be used quickly

to avoid reduction in the amount of pipeline capacity to California

this summer.  The Commission also stated that it would be receptive

to other proposals that achieve these goals.

Comments

Commenters, including CPUC and ACC, generally support the

Commission's initiatives to increase natural gas pipeline capacity.

Others express reservations.  APGA cautions the Commission to

consider the long-term wisdom of authorizing pipeline construction

that has as its sole purpose increasing the growing reliance of the

electric power industry on natural gas.  NGSA and Kern River state no

expansion should impede the firm rights of existing customers.

Parties commenting on expanding blanket authorizations to allow

for portable compression generally support it.  Noting the multi-

state nature of gas delivery requirements, ACC, Pinnacle, ConEd, EEI,

El Paso, LPPC, NGSA, O&R, PG&E, Questar, and Xcel support expanded

blanket authorization not just in California but anywhere in the

West.  SRP is concerned that, due to existing constraints in Arizona,

the proposal could potentially result in blackouts in the Phoenix

area if portable compressors are used to enhance pipeline capacity

only to California.  Duke and Kinder Morgan submit that the

Commission should allow participation nationwide to allow

construction of facilities to aid in eliminating shortages or

bottleneck situations in other regions.

Williams contends that to support maximum flexibility, blanket

certificate authority should allow the installation of portable

compressors not only at existing compressor station sites but also at

new sites to maximize opportunities for new throughput.  Williams

also urges the Commission to work with the Environmental Protection

Agency to facilitate and streamline the permit process for portable

compressors since it believes the air quality permit process will be

a bottleneck in the permitting process.

Some commenters propose that the Commission further expand the

definition of facilities eligible for automatic or prior notice

blanket certificate authorization under section 157.202(b)(ii).  For

example, El Paso supports permitting mainline expansions to be

eligible for blanket certificates, Kinder Morgan proposes to allow

looping of mainlines and nonportable mainline compression to qualify,

Docket Nos. EL01-47-000        -35-

and EL01-47-001

and EEI believes there should be no restriction on the types of

facilities that can be built under blanket authorization.

Commission Response

After consideration of the comments, we believe it would be in

the public interest to temporarily waive our regulations to expand

the definition of eligible facilities under section 157.202 of our

regulations for those pipelines that deliver gas in the WSCC.  This

is a reasonable near-term solution that can quickly enhance the

pipeline infrastructure in the Western United States. Specifically,

we will temporarily waive sections 157.202(b)(2)(ii)(A), (B), (C),

and (F) of our regulations to include as an eligible facility a main

line, an extension of a mainline, a facility, including compression

and looping, that alters the capacity of a main line, and temporary

compression that raises the capacity of a mainline.  The cost limit

waivers can apply to newly eligible facilities.  This temporary

waiver is in effect through April 30, 2002.

We emphasize that projects under the expanded blanket authority

will remain subject to our existing environmental regulations and

compliance provisions.

To determine whether these expanded blanket authorizations have

been successful in encouraging pipeline expansion to alleviate the

present crisis, we will require pipelines that are granted waivers to

our Part 157 regulations to file a report by June 1, 2002 describing

any projects undertaken pursuant to the expanded blanket

authorizations including projects that expanded mainline capacity and

those that exceeded the permanent dollar limits.

C.   Rate Incentives to Expedite Construction

The Commission requested comments on offering rate incentives to

expedite construction of projects that will make additional capacity

available this summer on constrained pipeline systems that deliver

gas in the WSCC.

Comments

Some commenters oppose the use of rate incentives for several

reasons.  APGA states there is no discussion about what the

incentives would be or why they are needed.  Coral Energy states rate

incentives are not needed and pipelines Kern River, El Paso, and

Transwestern have already submitted applications for capacity

expansion under current rules and rates.  Kern River also claims such

incentives are not needed and there is no evidence that existing rate

design policies are not working.  NGSA points out that because market

forces are working to bring needed capacity on, rate incentives for

additional capacity are not necessary to resolve the western energy

problems.  Moreover, NGSA observes that offering special incentives

Docket Nos. EL01-47-000        -36-

and EL01-47-001

to relieve constraints may inadvertently send a signal that the

Commission is willing to provide similar rate premiums in response to

future capacity constraints and encourage delays in expansions if

there is an expectation that regulatory return premiums will be

provided when constraints develop.

El Paso believes that rate incentives are unlikely to impact

capacity for this summer and recommends that the Commission expedite

action on pending projects.  Conversely, Pinnacle supports rate

incentives on constrained pipelines available by this summer.

InterGen advocates rolled-in treatment for incremental pipeline

facilities to be constructed and encourages incentive rates of return

and accelerated depreciation rates to stimulate construction.

Kinder Morgan supports additional rate incentives by increasing

rate flexibility.  For small projects, Kinder Morgan states a

pipeline should be able to charge either its pre-existing rate or add

an incremental rate as a surcharge for shippers on particular

projects.  The pipeline would file a tariff sheet with the proposed

rate treatment before the service begins and the rate treatment would

be reviewed in the pipeline's next rate proceeding.

PG&E supports the grant of reasonable rate-related incentives,

provided that rates remain just and reasonable.  Appropriate rate

incentives could include presumptive rolled-in treatment for

emergency related construction under blanket certificates.  PG&E

proposes extending such treatment beyond December 31, 2001, to

include construction activities to provide extra capacity through the

2001/2002 winter period.  Finally, PG&E recommends the Commission

consider returning to a policy of allowing roll-in of project costs

where there are system benefits and the impact will not be

significant.

Williams submits that offering rate incentives to expedite

construction of projects in time for the summer is appropriate

because accelerated projects have higher inherent risks of scheduling

and permitting delays, cost overruns, and the regulatory approvals

required by multiple agencies.  Questar supports rolled-in rate

treatment.  SRP supports rate incentives.  Xcel supports the use of

rate incentives but recommends establishing a sunset date for

waivers.

Commission Response

No party has proposed rate incentives that would make additional

capacity available this summer.  Indeed, many commenters have stated

that incentives are not needed or that incentives would not have an

impact upon capacity for this summer.  Some commenters who support

rate incentives offered no tangible proposals.  We cannot evaluate

such support without content.  Other commenters ask for rate

incentives that either are already at their disposal (e.g., higher

Docket Nos. EL01-47-000        -37-

and EL01-47-001

rates of return and accelerated depreciation rates may be proposed

for incremental rates) or are being approved herein (i.e., allowing

the roll-in of project costs up to the temporary blanket certificate

limit of $30 million).

Kinder Morgan's request for rate flexibility as a rate incentive

may not guarantee that a rate for a project is in the public

convenience and necessity as required in section 7 certificate cases.

That is, a pipeline, under Kinder Morgan's proposal, may opt to

charge an existing rate that does not recover the costs of a project,

resulting in the subsidization of a project by the existing

customers.  This runs afoul of our Certificate Policy not only by

shifting costs to existing customers, but also by not sending the

proper price signals to the market.  If we were to approve rate

incentives for natural gas projects, those incentives should not

negatively affect existing customers.  Since Kinder Morgan's proposal

for rate flexibility has the potential to negatively impact existing

customers, we will not adopt it.

PG&E asks that the Commission return to its previous pricing

policy that would allow project costs to be rolled-in when the rate

impact will not be "significant."  We view this recommendation a step

backwards.  As stated above, we want the proper price signals to be

sent to the market, and the subsidization inherent in the previous

pricing policy masked those signals.  Thus, we will not reverse our

current certificate pricing policy.

We believe, based on the filed comments, that the demand in the

Western U.S. market is an adequate rate incentive for the short term.

In addition, there are other rate incentives, albeit more of a long-

term nature, in existence and at the disposal of the pipelines that

deliver gas in the WSCC.  Pipelines have the right to propose market-

based or negotiated rates subject to the framework outlined in our

54

January 31, 1996 statement of policy.    This policy statement also

revisited and revised our earlier policy to permit incentive rates

55

which offer pipelines the possibility to earn higher returns.    In

addition, a pipeline is free to design incremental rates for projects

which may propose rates of return and depreciation rates than differ

56

from those used on a system wide basis.

54

See, Statement of Policy and Request for Comments, 74 FERC

µ 61,076 (1996) (Docket Nos. RM95-6-000 and RM96-7-000).

55

See, Policy Statement on Incentive Regulation, 61 FERC µ

61,168 (1992).

56

See, e.g., Algonquin Gas Transmission Company, 71 FERC µ

61,069 (1995), Algonquin Gas Transmission Company, 83 FERC µ

61,200 (1998).  In these orders, we approved incremental rates

(continued...)

Docket Nos. EL01-47-000        -38-

and EL01-47-001

Further, as detailed above, we are allowing pipelines that

deliver gas in the WSCC to roll in the costs of those blanket

certificate activities that exceed $20.6 million, up to the temporary

blanket certificate limit of $30 million until April 30, 2002.  We

believe that this, coupled with the demand for energy, will serve as

an adequate incentive to construct new pipeline capacity this summer.

III. Hydroelectric Power

In the March 14 Order, the Commission noted that any action

taken to enhance the generation from the 326 projects that it

regulates in the WSCC, consistent with protecting critical

environmental resources, can improve the energy picture for the

Western states.  The Commission's review of hydrologic conditions

indicated that they are not conducive to maximizing hydropower

generation during the summer of 2001.  The Commission stated that

57

modification of operational constraints on licensed projects   could

increase generation from existing hydroelectric facilities, provide

additional power during peak-load periods, and increase the ability

of projects to provide ancillary services to the power system.  The

Commission conditioned its approval of any such proposed license

modifications on consultation with federal and state resource

agencies and environmental review of the proposal.

In addition, the Commission stated that many hydropower projects

are potentially capable of more fully using the available water

resources to contribute to the electric capacity and energy needs.

The Commission identified principal areas in which improvements could

be made:  (1) addition of new capacity units; (2) generator upgrading

through rewinding; (3) turbine upgrading through runner replacement;

and (4) operational improvements through better coordination of

upstream and downstream plants, increasing hydraulic head, and

computerization.  The Commission encouraged all licensees to examine

their projects and propose any efficiency modifications that could

contribute to the nation's power supply.

The Commission announced a spring conference to discuss and

obtain comments on methods to address environmental protection at

56

(...continued)

for service on new laterals where the depreciation rate matched

the life of the shipper's contract as opposed to using the system

wide depreciation rate. See also, Granite State Gas Transmission,

Inc. 83 FERC µ 61,194 (1998).  In this order, the Commission

approved a rate of return for an LNG plant without reference to

the company's overall existing rate of return.

57

Of the 326 projects licensed by the Commission within the

WSCC, 200 projects have provisions that limit operational

flexibility and represent a total capacity of 21,000 megawatts.

Docket Nos. EL01-47-000        -39-

and EL01-47-001

projects while allowing for increased generation. The Commission

asked commenters to consider:  (1) methods for agency involvement;

(2) ways to handle and expedite Endangered Species Act consultation;

(3) criteria for modifying licenses; and (4) processes to provide

efficiency upgrades.

Comments

Greater Operating Flexibility

SWRCB, CPUC, GPU, PG&E, and PPL support the Commission's effort

to increase hydroelectric power generation consistent with protecting

environmental resources.  However, the California Resources Agency

and the Hydropower Reform Coalition (HRC) contend that increased

hydropower generation may not provide meaningful supply benefits in

the context of the overall supply mix, and that other variables and

sources of supply will have a greater effect on the ability to avoid

blackouts.

EEI supports greater operating flexibility when supplies are

constrained and emphasizes that such flexibility should continue as

long as a shortfall in supply persists.  EEI asserts that during

supply shortages the Commission should  authorize efficiency upgrades

without  requiring consultations or license amendments.  NHA makes a

similar suggestion, proposing that the Commission adopt a standard

article in all licenses in the affected region that would allow

operational modifications during generation emergencies without going

through a time-consuming license amendment process.

PacifiCorp and SCE identify a number of areas for increased

generation through capacity increases and operational efficiency

upgrades.  Shasta Paddlers asserts that improvements can be made by

retrofitting the facilities without compromising fish and aquatic

resources downstream.  NHA asked its members to evaluate the

potential for efficiency improvements and capacity additions in their

projects, and to  provide suggestions at the spring conference

referenced in the Commission's order.

Several commenters express apprehension about the environmental

implications of the proposal to increase generation through

efficiency and operational changes at hydropower facilities.  They

assert that these measures are likely to have adverse environmental

effects and will come at the expense of fish, wildlife, and

recreational opportunities.  HRC contends that the proposal to

increase generation in this manner runs counter to the balancing that

the Commission is legally required to give power and non-power

resources.

Some commenters encourage the Commission to seek operational

improvements that do not compromise the environment.  American

Whitewater contends that this can be achieved if certain measures

Docket Nos. EL01-47-000        -40-

and EL01-47-001

such as retrofitting are taken. The California Resources Agency notes

that the Commission should encourage mechanical and technological

improvements to hydropower projects that would increase generation

without further degrading the environment.  Trout Unlimited urges the

Commission, in examining opportunities for increasing generation, to

carefully balance power and environmental values in regard to

projects with pre-1986 licenses (i.e., before enactment of the

Electric Consumers Protection Act of 1986, which required the

Commission to give equal consideration to developmental and

environmental values).

GPC and Avista maintain that there are ways to increase power

generation during this emerging energy crisis that would be

consistent with environmental protection.  GPC recommends that during

the crisis the Commission lift all restrictions related to

recreation.  Avista supports NWPPC's recommendation to significantly

reduce spill.

The U.S. Department of the Interior recommends that the

Commission develop license-specific data on how much improvement in

generation, delivery, and reliability can be achieved, and that the

two agencies work together to assess costs and benefits.

Potential Project Improvements

Several commenters express concerns about the length of the

licensing and amendment processes and encourage the Commission to put

hydroelectric case processing on a fast track, both in order to solve

the current energy shortage and on a going-forward basis.  EEI views

the current licensing and amendment processes as complex, time-

consuming and costly, and suggests ways the Commission can streamline

and improve the hydro licensing process.  NCPA and NHA assert that

the Commission's policies and licensing process have precluded the

fuller utilization of the power potential of hydro projects, and

argue that expediting pending relicensing cases and implementing

policies to encourage installation of new capacity will provide

greater benefits than will any other measure.  NHA recommends that

the Commission temporarily modify its regulations to expedite the

approval of applications for adding generating capacity to aid in the

western electricity crisis.  LPPC and the Grant County PUD endorse

the NHA proposal for a temporary standard license condition as a

means of expediting the review process for modifications to existing

projects.

Metropolitan Water applauds the Commission's commitment to

expeditiously process hydroelectric facility applications and

recommends that the Commission eliminate, or at least reduce, the

extensive consultation process.  HRC  proposes an 8-step approach to

implementing project improvements that will not harm the environment.

Docket Nos. EL01-47-000        -41-

and EL01-47-001

SCE and Avista assert that modifications to existing hydropower

projects to add generation or the construction of new projects will

not occur in sufficient time to address the short-term supply issues

in the western states.

PacifiCorp encourages the Commission to collaborate with state

and federal agencies to address license modifications and believes

that the Commission could provide greater assistance to licensees for

Endangered Species Act consultations.

The U.S. Forest Service maintains that it is committed to

participation in licensing proceedings for all Commission licensed

projects that affect National Forest Service System lands, and

requests permission to implement direct cost recovery from licensees

and applicants for licenses.

Commission Response

The Commission's  March 14 Order called for Commission

staff to hold a conference with licensees and interested stakeholders

to discuss methods for allowing increased generation at hydropower

projects while ensuring environmental protection.

By notice issued on March 26, 2001, the Commission staff

announced that they would hold conferences in Portland, Oregon, and

Sacramento, California on April 9 and 10, respectively.  To ensure

that potential attendees represented a broad spectrum of interests,

over 450 notices where sent to licensees, state and Federal resource

agencies, Native American tribes, and nongovernmental organizations.

During the conferences, Commission staff set forth suggestions as to

how proposals to increase generation could be processed.  In

addition, staff suggested criteria that could be used in identifying

proposals that would be consistent with protecting environmental

resources.

The Portland conference was attended by approximately 50

individuals, representing all of the aforementioned stakeholder

groups.  The discussions evidenced a willingness on the part of state

and Federal resource agencies to review proposals from the hydropower

industry to increase generation.  These entities noted, however,

that, given the  number of endangered fish species in the Northwest,

the number of proposals to increase generation may be limited.

Similarly, industry representatives, while setting forth suggestions

as to how additional generation could be accomplished, also expressed

concerned regarding potential impacts to listed species.  Some

industry representatives said that for projects undergoing

relicensing, they were hesitant to divert agencies and other

participants from that process in order to pursue interim operational

changes. Commission staff urged the industry to  re-examine their

projects in concert with other stakeholders to determine what

opportunities exist to increase generation.

Docket Nos. EL01-47-000        -42-

and EL01-47-001

The Sacramento conference was attended by more than 80

individuals representing  all principal stakeholder groups. The

industry indicated that they were in the process of  identifying

proposals that could provide for more generation at existing

projects, and that they were already or would be  engaging the

various stakeholders in this review.  Due to the power emergencies in

California, many of the resource agencies have established programs

for quick review of proposals to increase generation.  Many of the

attendees offered suggestions on how to handle such proposals.

Subsequent to the conferences, a number of industry

representatives advised staff that the Commission would soon  be

receiving several proposals.  On May 8, 2001, the Commission granted

proposals from Idaho Power Company to waive minimum flow requirements

58

at its Milner and Twin Falls Projects for one year.    Currently, the

Commission has before it proposals from Public Utility District No. 1

59

of Chelan County, Washington   and Public Utility District No. 2 of

60

Grant County, Washington.    The Commission is evaluating all such

proposals on a case-specific basis.

IV.  Oil Pipelines

Recognizing that some generators rely on oil and oil products

for electric generation in the West, the March 14 Order stated that

the Commission would explore with oil pipelines whether any

innovative proposals could help ensure an adequate flow of petroleum

product into Western markets.  In addition, the Commission requested

comments addressing whether the possible non-delivery of oil products

61

to generators that rely on such products is a serious concern.    No

substantive comments were filed.  The Commission will continue to

monitor whether actions need to be taken to facilitate the use of oil

and oil products for electric generation in the West.

58

See 95 FERC µ 61,180 (2001), 95 FERC µ 61,181 (2001) (both

entitled Order Authorizing Temporary Increase in Generation in

Light of Electricity Exigencies in Western United States).

59

Public Utility District No. 1 of Chelan County, Washington

proposes to increase the maximum normal reservoir elevation at

its Rocky Reach project for a period of one year.  See Project

No. 2145-041.

60

Public Utility District No. 2 of Grant County, Washington

requests temporary variance of interim spill requirements at its

Priest Rapids project.  See Project No. 2114-091.

61

The March 14 Order recognized that oil pipelines rely upon

electricity for pumping and to the extent pumping is affected by

electric curtailments, oil products may not get delivered to

generators that rely on such products.

Docket Nos. EL01-47-000        -43-

and EL01-47-001

The Commission orders:

(A)  The actions ordered in the March 14 Order are reaffirmed.

(B)  Requests for equity returns and accelerated depreciation

for electric transmission facilities consistent with the discussion

in the body of this order will be permitted, and limited section 205

rate filings to implement these returns will be allowed.

(C)  Temporary waivers of blanket certificate regulations for

natural gas facilities are granted consistent with the discussion in

the body of this order, and costs associated with such facilities

will be permitted to be rolled in.

(D)  The petition for rehearing by NRECA and APPA is hereby

dismissed.

By the Commission.   Commissioner Massey concurred with a

separate statement attached.

( S E A L )

David P. Boergers,

Secretary.

Docket Nos. EL01-47-000        -44-

and EL01-47-001

Attachment A

Motions to Intervene, Notices of Interventions, Comments and Protests

Docket No. EL01-47-000

American Electric Power System (AEP)

American Public Gas Assoc. (APGA)

American Rivers, Inc. (American Rivers)

American Superconductor Corp. (AMSC)

American Whitewater Affiliation (American Whitewater)

Arizona Corporation Commission (ACC)

Avista Corp. (Avista)

California Cogeneration Council (CCC)

California Dept. of Water Resources (California DWR)

California Electricity Oversight Board (Oversight Board)

California Energy Commission (CEC)

California Independent System Operator (California ISO)

California Municipal Utilities Assoc. (CMUA)

California Public Utilities Commission (CPUC)

California Resources Agency (Resources Agency)

California State Water Resources Control Board (SWRCB)

Calpine Corp. (Calpine)

Cities/M-S-R ( Redding, California; Santa Clara, California; Palo

Alto, California and M-S-R Public Power Agency)

Cogeneration Association of California (CAC)

Consolidated Edison Co. of New York (ConEd) and Orange and Rockland

Utilities, Inc. (O&R)

Coral Energy Resources, L.P. (CER)

Douglas County Public Utilities District No. 1

Duke Energy Corp. (Duke)

Dynamis Inc. (Dynamis)

Dynegy Power Marketing, Inc. (Dynegy)

Edison Electric Institute (EEI)

Electric Power Supply Association (EPSA)

El Paso Western Pipelines (El Paso Natural Gas Co., Mojave Pipeline

Co., Colorado Interstate Gas Co., Wyoming Interstate Co., Ltd.)

Energie Azteca & Energia de Baja (InterGen)

Enron Interstate Pipelines (Enron)

Georgia Power Co. (GPC)

Hydropower Reform Coalition (HRC)

Idaho Power Co. (Idaho Power)

Idaho Public Utilities Commission (IPUC)

Independent Energy Producers Assoc. (IEP)

Indicated RTO West Filing Utilities (Avista, BPA, Idaho Power,

Montana Power Co., PacifiCorp, Portland General Electric Co. and

Puget Sound Energy, Inc.)

Industrial Consumers (Electricity Consumers Resource Council,

American Iron and Steel Institute, American Chemistry Council and

American Forest and Paper Assoc.)

Industrial Customers of Northwest Utilities (ICNU)

Docket Nos. EL01-47-000        -45-

and EL01-47-001

Kern River Firm Customer Group (Kern River)

Kinder Morgan Pipelines (Natural Gas Pipeline Co. of America, Kinder

Morgan Interstate Gas Transmission, LLC)

Large Public Power Council (LPPC)

Mason and Karen Flagg

Metropolitan Water District of Southern Ca. (Metropolitan Water)

Modesto Irrigation District (MID)

Morgan Stanley Capital Group, Inc. (MSCG)

National Energy Marketers Assoc. (NEM)

Natural Gas Supply Assoc. (NSGA)

National Hydropower Assoc. (NHA)

National Marine Fisheries Service (NMFS)

National Oceanic and Atmospheric Administration (NOAA)

National Rural Cooperative Assoc. (NRECA) & American Public Power

Assoc. (APPA)

Northern California Council Federation of Fly Fishers (NCCFFF)

Northern California Power Agency (NCPA)

Northwest Industrial Gas Users (NWIGU)

Northwest Power Planning Council

PacifiCorp

Pacific Gas &Electric Co. (PG&E)

Pinnacle West Cos. (Pinnacle West Capital Corp., Arizona Public

Service Co., Pinnacle West Energy Corp.)

PPL EnergyPlus & PPL Montana, LLC (PPL Parties)

Portland General Electric Co.

Public Power Council (PPC)

Public Utility District No.2 of Grant County, Washington (Grant PUD)

Public Utility District No. 1 of Snohomish County, Washington

(Snohomish PUD)

Qualifying Facilities Lenders Council

Questar Pipelines Company (Questar)

R.M. Gardner

Railroad Commission of Texas (RRC)

Reliant Energy Power Generation, Inc. (Reliant)

Ridgewood Power, LLC (Ridgewood)

Salt River Project Agricultural Improvement and Power District (SRP)

San Diego Gas and Electric Co. (SDG&E) and Southern California Gas

Co. (SCG)

San Joaquin Paddlers

Seattle City Light Dept. (Seattle)

Shasta Paddlers

Southern California Edison Co. (SCE)

Southern Cities (Cities of Anaheim, Azusa, Banning, Colton and

Riverside, California)

Sunray Energy, Inc. (Sunray)

Tractebel Power, Inc. (TPI)

TransAlta Corp.

Transmission Agency of Northern California (TANC)

Trout Unlimited, Inc. (TU)

United States Department of the Interior

United States Executive Agencies (USEA)

Docket Nos. EL01-47-000        -46-

and EL01-47-001

USDA Forest Service

Washington Utilities and Transportation Commission (WUTC)

Western Area Power Administration (WAPA)

Western Carolina Paddlers (WCP)

Williams Companies, Inc. (Williams)

Wyoming Public Service Commission (WPSC)

Xcel Energy, Inc. (Xcel)

UNITED STATES OF AMERICA

FEDERAL ENERGY REGULATORY COMMISSION

Removing Obstacles To Increased

Electric Generation And Natural Gas Supply        Docket No. EL01-47-

000

In The Western United States                    and EL01-47-001

(Issued May 16, 2001)

MASSEY, Commissioner, concurring:

I support the measures regarding energy supply that today's

order adopts.  Regarding electricity, these measures include:

extending and broadening temporary waivers of QF standards;

facilitating market based rate authority for sales from back up and

self generation at business locations; authorizing customers to

"sell" load reduction at wholesale and at market based rates;

facilitating wholesale contract changes to allow demand side

management and facilitating demand side cost recovery in wholesale

contracts.  Many of these same actions were authorized by the

Commission last year in our May 2000 reliability initiative.  They

were good ideas last year and they are good ideas now.  I also

support the natural gas and hydroelectric measures in today's order.

Most experts seem to agree that the nation's electric

transmission infrastructure is inadequate.  I share their concern.

The impediments to increasing transmission most often mentioned are

difficulty getting facilities sited and inadequate returns.  I

believe that the Commission must take reasonable steps to address

these problems, to the extent of our jurisdiction.  I support the

Commission allowing fully compensatory risk-based returns on equity

that are sufficient to attract needed new transmission investment.

We do so for gas pipelines and we should do so for electric

transmission.

My concern with rate of return premiums for certain transmission

facilities adopted in today's order is that there is no particular

rationale for the level of returns, which could be as high as 13.5%.

In addition, Order No. 2000 reserved such incentive treatments for

transmission facilities within RTOs.  Nevertheless, because there is

an energy emergency in the West, and we want to do all we can to

help, I am willing to vote for this approach in these unique

circumstances.

I must also express my ongoing concern with the Commission's

refusal to consider uniform interconnection standards as suggested by

some commenters in this proceeding.  While I agree that this

proceeding may not be the appropriate forum to consider uniform

standards, I renew my call for the Commission to do so in another

proceeding.  Utility-specific procedures have their idiosyncracies.

Electricity markets are regional in scope

2

and the decision of a new generator to locate in one area or another

should be driven by economics, not the relative  peculiarities of the

interconnection procedures of individual transmission providers.

For the above reasons, I concur with today's order.

________________________

William L. Massey

Commissioner