ELECTRICAL

## Summary

Outlets (approx 61)

Floor Outlet (2)

GFI (approx 10)

Paddle Switches (approx 45)

Dimmer Switches (13)

Cans (approx 35)

Ceiling fixtures, mounting only (approx 40)

Ceiling fan, mounting only (11)

Exhaust fans (6)

Rough in pool electric

Dryer (1), Range (2), Washing Machine (1), & Water Htr (2) outlets.

A/C- inside and outside units<2–3 ton/each> (2)

200 amp service Outside (1)

125 amp inside panel (1)

Smoke Detectors (9)

Telephone Outlets (approx 6)

Cable Outlets (approx 7)

Permit if needed (1)

## Room by Room

# Entry and Stairs

Outlets – 2 entry

1 GFI front porch

2 GFI ceiling front porch-Christmas lights

Light Fixtures – Recessed – 2 entry; 3 stairs

Hanging – 1 entry

Front porch – 2 lanterns

Switches – Bottom of stairs – 2 paddles

Top of stairs – 2 paddles

Entry – 3 paddles by front door (dimmer on recessed); 1 paddle by living

Room

# Powder Room

Outlet – 1 GFI

Light fixture – 1 over sink

Exhaust fan – 1

Switches – 2 paddles (sink, fan)

# Master Bedroom

Outlets – 5

Fan – 1 (no light)

Light Fixtures – Recessed 4

Switches – 1 Lutron slide to off fan/light control

# Master Bath

Outlets – 1

2 GFI

Light Fixtures – 2 recessed

2 over sinks

2 fluorescent - closet

1 plain for toilet

1 exhaust fan

Switches – 6 paddles (2 doubles, 2 singles)

# Living Room

Outlets – 4

1 GFI (back porch)

2 floor

Light Fixtures – 5 small recessed for book shelves and mantle

4 recessed

1 fan (no light)

3 lanterns back porch

Switches – 2 paddles (small recessed, back porch)

1 Lutron slide to off fan/light control (for fan and recessed lights)

# Kitchen/Dining

Outlets – 5

5 GFI

Light Fixtures – 4 recessed

1 hanging

3 under cabinet

Switches – 4 paddles

2 dimmer (recessed and hanging)

# Office/Pantry

Outlets – 7

Light Fixtures – 1 pantry (plain)

5 recessed

1 ceiling fan (no light)

1 fluorescent under cabinet desk

Switches – 1 Lutron slide to off fan/light control

3 paddles (pantry, 1 recessed in back entry, florescent)

# Garage

Outlets – 3 GFI

Light Fixtures – 3 fluorescent

2 outside lanterns

2 garage door openers

Switches – 2 paddles (florescent, outside)

2 garage door openers

# Game Room

Outlets – 6

3 GFI

Light Fixtures – 2 fans with lights

1 under bar counter

2 plain (bar closet, game closet)

Pool table light

Switches – 2 Lutron slide to off fan/light control

4 paddles (bar, 2 closets, pool table)

# Bedroom #2 and Computer Nook

Outlets – 6

1 GFI

Light Fixtures – 1 ceiling fan with light

1 plain light in closet

1 over sink

1 recessed over computer

Switches – 1 Lutron slide to off fan/light control

3 paddles (closet, sink, computer)

# Utility Room

Outlets – 4 (1 220)

2 GFI

Light Fixtures – 1 ceiling fan with light

1 exhaust fan

Switches – 1 Lutron slide to off fan control

2 paddles (light, exhaust fan)

# Bedroom #3

Outlets – 5

1 GFI

Light Fixtures – 2 plain (closet and tub area)

1 over sink

1 ceiling fan with light

Switches – 1 Lutron slide to off fan/light control

4 paddles (closet, sink, tub, fan)

# Bedroom #4

Outlets – 5

Light Fixtures – 1 ceiling fan with light

1 plain for closet

Switches – 1 Lutron slide to off fan/light control

1 paddle (closet)

# Bedroom #5

Outlets – 5

Light Fixtures – 1 ceiling fan with light

1 plain in closet

Switches – 1 Lutron slide to off fan/light control

1 paddle (closet)

# Bathroom #3

Outlets – 3

1 GFI

Light Fixtures – 1 over sink

2 plain (closet, tub)

1 exhaust fan

Switches – 4 paddles (sink, tub, closet, fan)

# Media Room

Outlets – 5

Light Fixtures – 1 ceiling fan (no light)

4 recessed

2 lanterns for upper front balcony

Switches – 1 Lutron slide to off fan/light control

1 paddle (upper front balcony)