# EL PASO ELECTRIC USERS MANUAL

El Paso System :

The El Paso Electric Co. serves the city of El Paso in Southwest Texas. The El Paso system is a summer load peaking system that peaks at 1445Mw. With a winter peak of 1182 Mw.

The El Paso system usually has two peaks during the peak summer months. The first occurs from HE 13 thru He 15 then again the super peak from HE 19 thru 21.

Enron marketing :

Enron Real Time serves as El Paso’s marketing agent during off peak hours and weekends. The Real Time group is charged with maintaining Spin reserves and marketing the generation assets of El Paso.

To contact the El Paso power dispatchers call 915-877-1602.

To contact the El Paso marketing staff, Roger Hawkins, Tony Soto or Steve Buraczyk call 915-543-5872.

To contact the El Paso settlements staff, Kathy Peterson, call 915-543-2039.

To contact the Marketing staff after hours call 915-543-5808.

El Paso Scrape:

El Paso provides a Real Time feed, via the Internet, from their unit status computers. This web site can be found at http://dotect.ect.enron.com/genstat/epe/status/recent.csv.

Examples with explanations are attached:

El Paso Model:

Hourly updates to the El Paso model are the responsibility of the Enron Real Time group. The El Paso Model can be found in Excel

M: Drive/Electric/EPE/2000/MARCH/03___15ACT (current date).

The model is updated at the bottom of the hour using the automated loading function in the Model. If manual entry is needed go to http://dotect.ect.enron.com/genstat/epe/000407 (current date) this will display the previous scrapes.

Example below:

0032:05  04/17/00

NEWMAN 1 ,ECON, 66  , 66  , 37  , 82  ,  0  ,1

NEWMAN 2 ,ECON, 76  , 77  , 38  , 83  ,  1  ,1

NEWMAN 3 ,UNAV, -0  ,100  , -1  ,103  ,  0  ,1

NEWMN/GT1,MANL, 11  , 60  , 18  , 60  ,  0  ,1

NEWMN/GT2,MANL, 10  , 60  , 18  , 60  ,  0  ,1

NM/GT1+ST,UNAV,  0  , 99  , 47  ,107  ,  0  ,1

NM/GT2+ST,UNAV,  0  ,107  , 47  ,107  ,  0  ,1

NEWMAN 4 ,UNAV,  0  ,204  , 86  ,214  ,  0  ,1

NEWMAN   ,, 164 ,  263,  111, 285 ,   1 ,

COPPER   ,UNAV, -0  , 69  , 10  , 70  ,  0  ,1

RIOGRAN 6,MANL, 39  , 44  , 28  , 49  ,  6  ,1

RIOGRAN 7,UNAV,  0  , 40  , 26  , 49  ,  0  ,1

RIOGRAN 8,MANL, 69  ,120  , 55  ,151  ,  0  ,1

RIOGRANDE,, 107 ,  164,   83, 200 ,   6 ,

PALOVERDE,MANL,399  ,399  ,399  ,600  ,  0  ,1

FOURCRNRS,MANL, 52  , 52  , 52  ,104  ,  0  ,1

LAMBDA, 28.26,  611,  612,  108,  -12,    0,11532,15

PGT     ,LOSS    ,LC,  ,  -2,  -2

PNM     ,CNTG    ,LC,  ,  11,  11

PNM     ,LOSS    ,WM,  ,   4,   4

SRP     ,LOSS    ,PV,  ,   1,   1

SRP     ,LOSS    ,PV,  ,  -1,  -1

TNP     ,FIRM    ,HI,  ,  25,  25

TNP     ,LOSS    ,AM,  ,  -5,  -5

CISO    ,FIRM    ,FC,  ,  40,   0

CALPX   ,FIRM    ,PV,  ,  50,  50

Generation:

El Paso owns several local generation plants within their control area as well portions of several remote generation stations.

Local Generation Units -

Newman units 1 , 2 & 3 are gas/oil fired.

Newman units 1 & 2 have a nameplate rating of 82Mw.

Newman unit   3        has a nameplate rating of 103 Mw.

Newman unit 4 is a combined cycle gas turbine and steamer combination plant.

Newman unit   4     has a nameplate rating of 215 Mw.

Rio Grande units  6, 7 & 8 are gas/oil fired.

Rio Grande units 6&7 have a nameplate rating of 49Mw.

Rio Grande unit  8  has a nameplate rating of 151Mw.

Copper is a gas-fired peaker.

Copper has a nameplate rating of 70Mw.

Remote Generation Units:

Four Corners units 4 & 5 are Coal burning units.

Four Corners unit 4 & 5 allotment for El Paso is 52 Mw each unit.

Palo Verde Units 1, 2 & 3 are nuclear units.

Palo Verde units 1, 2 & 3 allotment for El Paso is 200 Mw for each unit.

Spinning reserves and Ramp rates:

Each of the generation units has a ramp rate (the amount up or down that the dispatchers can change the units output per minute) these are listed below.

As a general rule the dispatchers can only ramp up or down El Paso’s local generation. It is possible to the curtail Four Corners but this is usually only done during light load hours. This complete table can be found in Rogers’s calculator at M:Electric/epe/epe2000/Roger_Calculator2/calculator hourly tab. See spin calculator below.

Spinning reserves are required to meet SRSG requirements in the event of a generation/transmission loss by either El Paso or a member of the Southwest Reserve Sharing Group. Generally spinning reserves are calculated at 7% of load.

Spinning reserves are defined as unloaded generation that can be ramped in within ten minutes to serve load. The generators ramp rate X 10 will give the amount of spin available. Hence, the faster the ramp rate of a unit the greater component of spin it can provide.

Enron receives an estimate from El Paso Electric via e-mail with the predicted Spin and Non-Spin components to meet reserve requirements. However, it is the real time marketing group’s responsibility to maintain reserves. See reserve requirements below.

To meet spin requirements for El Paso /Enron marketers have the following options:

- Buy capacity.  This is essentially an hourly call option with the capacity priced usually in the single figures. This will show in the spin numbers in the Scrape and can bolster reserves. However, remember that although the spin portion of reserves maybe in limits CAPACITY purchases DO NOT provide energy to meet load. So while there maybe ample spin to cover limits the El Paso system maybe be pulling energy from the grid to meet load. If the energy is needed remember there is a ten-minute ramp and integrated volumes will usually need to be calculated (see below). Also, expect to pay $45.00 up for the energy.

- Buy firm energy. This is more expensive and will depend on market conditions. However, this option accomplishes both covering loads with  energy and increasing spin reserves.

- Sell economy energy. This will allow the economy sales to be counted as Contingent reserves that can be recalled if needed (this includes Id’s 50Mw of recallable energy from their total of 150Mw take. See contract section for details). Without economy sales the entire Contingent reserves must be carried as spin.

- Request unloaded generation be raised to increase spin. The Rio Grande units have the slowest ramp rates. If these units are loaded at less than their maximum outputs request the dispatchers to put these units in manual and raise them to maximum to receive the maximum spin output from them. This is the dispatchers option to refuse this request and leave the units in AGC (Automatic Generation Control). However, this will allow the faster ramp rate Newman units to provide the spin reserves while getting the maximum spin contribution from the Rio Grande units.

Start the Copper peaker unit. This unit provides 69Mw of energy and capacity within ten minutes. The dispatchers start this unit and to start the unit it costs $2500.00. Once started Copper costs between $50 - $65 Mwh depending on gas prices. This model can be found at M:Electric/epe/epe2000/Rogers_Calculator2/calculations tab.

- Spin calculator

| These are the ramp rates per minute of the El Paso local generation units. | Enter Blue Numbers |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Spin from Ramp rates |  |  |  |  |  |  |
|  |  |  | Output | Highs' | Spin | RR |  |
|  | newman | Unit 1 | 0 | 0 | 0 | 3.00 |  |
|  | newman | 2 | 38 | 64 | 26 | 4.5 |  |
|  | newman | 3 | 0 | 0 | 0 | 5.1 |  |
|  | newman | GT1 | 0 | 0 | 0 | 10 |  |
|  | newman | GT2 | 0 | 0 | 0 | 10 |  |
|  | newman | GT1S | 0 | 0 | 0 | 3.33 |  |
| $0.00 | newman | GT2S | 0 | 0 | 0 | 3.6 |  |
|  | newman | NM4 | 179 | 214 | 35 | 3.6 |  |
|  |  | Copper | 0 | 0 | 0 | 10 |  |
|  | Rio Grande | 6 | 28 | 44 | 16 | 2 |  |
|  | Rio Grande | 7 | 30 | 40 | 10 | 2.1 |  |
|  | Rio Grande | 8 | 94 | 125 | 21 | 2.1 |  |
|  |  | Total | 369 | 487 | 108 |  |  |
| $0.00 |  | FC | 52 | 104 |  |  |  |
|  |  | PV | 598 | 600 |  |  |  |
|  |  |  | 650 | 704 |  |  |  |

Reserve requirements  from IZARAGOZ@Epelectric.com

|  | FOR APRIL 5, 2000 |  |
| --- | --- | --- |
|  | Contingent Res. | Spinning Res. |
| Hour | Quota | Quota |
| 1 | 65 | 33 |
| 2 | 66 | 33 |
| 3 | 67 | 34 |
| 4 | 66 | 33 |
| 5 | 66 | 33 |
| 6 | 67 | 34 |
| 7 | 65 | 33 |
| 8 | 62 | 31 |
| 9 | 61 | 31 |
| 10 | 61 | 31 |
| 11 | 60 | 30 |
| 12 | 60 | 30 |
| 13 | 60 | 30 |
| 14 | 60 | 30 |
| 15 | 59 | 30 |
| 16 | 58 | 29 |
| 17 | 57 | 29 |
| 18 | 57 | 29 |
| 19 | 58 | 29 |
| 20 | 59 | 30 |
| 21 | 58 | 29 |
| 22 | 57 | 29 |
| 23 | 60 | 30 |
| 24 | 63 | 32 |
|  | 1472 | 736 |

Transmission:

El Paso Electric is connected via its tie lines with Public Service of New Mexico, SouthWestern public service, Texas New Mexico Power, Tucson Electric & Plains Elec. Generation Co-op.

El Paso has delivery and sales rights at the Palo Verde and Four Corners 345-tie points. Due it’s remote generation assets.

To deliver power from the Four Corners units El Paso relies on the West Mesa 345Kv (100% ownership) line that runs through PNM’s service territory.

To deliver power from the Palo Verde units El Paso relies on the Greendale to Hidalgo (40% ownership), Hidalgo to Ulna line ( 57% ownership), Luna to Diablo line (100% ownership), 345Kv lines and the Springville to Diablo 345 kV line(100% ownership).

El Paso also owns the Artesia AC-DC-AC conversion tie line, which connects El Paso’s system with SouthWestern Public Service. This is a 200 Mw tie.

To bring the energy from its remote generation units to West Mesa, Springerville and Greenlee substations El Paso has exchange rights with Tucson Electric Company. El Paso may provide a Minimum of 300Mw from Palo Verde and West Wing substations and a maximum of 450Mw. TEP provides the energy back at Greenlee, Springerville, San Juan and Four Corners.

El Paso has 100 Mw of exchange rights at Coronado with SRP. El Paso has 100 Mw of rights from San Juan to Springerville and 100 Mw of rights from San Juan to Four Corners. From Four Corners to West Mesa El Paso has 124 Mw of rights.

See Transmission rights and ownership example sheet.

CONTRACTS:

IID –

El Paso sells up to 150 Mw of energy to Imperial Irrigation District (IID) at Palo Verde on an hourly basis. IID can ramp this energy from a zero to 150 Mw or any volume in between on an hourly basis. Usually IID will notify the marketer by 15 minutes after the hour of their energy needs for the next hour.

100 Mw of this total is firm energy. 50 Mw of this energy is interruptible IF El Paso’s system is in danger of being damaged or load being curtailed. However, if it becomes necessary to take back this energy from IID El Paso’s marketing staff will offer to buy this energy from IID. Then as a last resort interrupt the power.

PNM -

Public Service of New Mexico owns a percentage of the Rio Grande 7 & 8 unit’s capacity.

Per contract with El Paso this allows PNM to raise and lower, on an hourly basis, the take from each of these units. PNM may only raise or lower their contingent take based on the ramp rate and overall capacity of the Rio Grande units. PNM may at times take their contingent to zero Mw’s in this case PNM is required to give an 2 hours notice before PNM can begin receiving contingent energy.

See the PNM Contingent calculator below.

Also, PNM has until 30 minutes after the hour to schedule for the next hour i.e. 1630 to schedule for hour ending 18. PNM will test this limit often and the Enron marketers need to be aggressive enforcing this deadline.

To determine what PNM paid for the contingent energy for the previous hours call the dispatchers and ask for PNM’s contingent cost for the previous hour. Take this into consideration when PNM calls for economy quotes. PNM will try to buy economy energy from El Paso at a cost below their contingent costs and cut their contingent purchases.

The calculator below should be used to determine PNM’s hourly contingent entitlement. This model gives the maximum take as well as the maximum increase or decrease in schedule changes from hour to hour. This model can be found at M:Electric/epe/epe2000/Rogers_Calculator2/calculations tab.

|  | Enter Blue Numbers |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | PNM's Contingent |  |  |  |  |  |  |
|  | Gross output | Station Services*** NET |  |  | % of cap |  |  |  |
| Rio 7* | 38 | 3 | 35 | 70% |  |  |  |
| Rio 8* | 105 | 5 | 100 | 67% |  |  |  |
| PNM's Contingent** |  |  | 70 |  |  |  |  |  |
| Rio 7= .25 |  | 12.25 | 12.00 | 12.00 |  |  |  |
| Rio 8 =.75 |  | 35.00 | 35.00 | 21.00 |  |  |  |
| Current Maximum Take |  |  | 47.25 | 47.00 |  |  |  |  |
| Current Maximum Increase or Decrease |  |  |  |  |  | 33.00 |  |  |  |
| **PNM's total contingent = 70 with Units @ 100% |  |  |  |  |  |  |  |  |  |
| *based on high numbers on Manual |  |  |  |  |  |  |  |  |  |
| ***Station Services Approximately 6% |  |  |  |  |  |  |  |  |  |
| When taking a unit to zero it is important to take out Station Services for that unit |  |  |  |  |  |  |  |  |  |  |  |  |
| Sample |  |  |  |  |  |  |  |
| RG 7 entitlement = 0.25 * 70MW * ((48-3)/50) = 15.75 or 16 MW rounded. |  |  |  |  |  |  |  |  |  |  |  |
| RG 8 entitlement = 0.75 * 70 MW * ((100-5)/150) = 33.25 or 33 MW rounded. |  |  |  |  |  |  |  |  |  |  |  |
| Total of 49 MW's |  |  |  |  |  |  |  |  |

BORDER STEEL –

This company can take up to 30 Mw of firm energy on a real time basis.

TEXAS NEW MEXICO POWER –

TNP can take up to 25Mw of firm power on an hour ahead basis.

TNP frequently will request to purchase additional energy at the Hidalgo tie point with El Paso. Sales at this point require an OASIS request from El Paso Transmission and will add $6.00 to the sale price. When possible sell to TNP at Four Corners or other tie points where TNP can purchase less expansive transmission.

Emergency or off normal procedures:

Integration of power purchase/sale within the current trading hour. Remember it takes at least 10 minutes to ramp power in or out for an integration schedule.

If power needs to be bought during the hour divide the volume needed by the amount of time remaining in the hour. Example need 50Mw integrated for the hour. It is currently 1620 hrs. How much do we need to purchase?

50Mw /.5hr remaining = 100Mw

It is 0105 and power needs to be sold for the hour your in. You need to sell at least 75mw. How much do you need to sell.

75Mw x .75 hour remaining = 56 Mw

Lost transmission Line –

The dispatcher tells you that he has lost the Greenlee to Luna line and there is no ETR. This limits you import capabilities for Palo Verde and Four Corners.

This scenario forces the marketer to sell off the remote generation due to import limitations on the tie lines. If too much energy is brought in the on remaining two import lines the West Mesa and Springville lines could become will overloaded and also trip.

To cover native load the marketer can buy additional power across the Artesia tie and run the local generation to maximum.

The import limit with one of the 3 tie lines out is 313 Mw. The following example determines the amount of sales needed from external generation with the loss of one transmission line.

Palo Verde      600Mw

Four Corners  104Mw

Total                704Mw

Less Import

Maximum       - 313Mw

Excess Gen.       391Mw

IID @              - 100 Mw

CALPX Sch.   - 110 Mw

Required Sales   181Mw

Generation loss –

Example:

It’s 1815 hours on June 18 system load is 1250 Mw and Palo Verde unit one suddenly trips. El Paso’s system has now lost 200 Mw of firm energy with no ETR. Also, the surrounding Southwest is now short 1200 Mw of generation. Buy immediately from across the Artesia tie and any available energy from other utilities. Start the Copper unit.

Most likely the dispatchers will declare an emergency and request assistance from their neighboring utilities.

Schedule cuts –

Enron serves as El Paso’s Schedule Coordinator for the CALPX and CISO.

If schedules that Enron serves as SC are curtailed in the Hour Ahead market communicate this to the El Paso marketers if during the day and they will determine whether to remarket or reduce generation. If the cut occurs Real Time and the El Paso marketers have the phone follow the above direction.

If the cut occurs Real Time and Enron is marketing for El Paso reduce generation or sell within the hour if the Mw amount is significant and prices are strong.

Administrative Duties:

Building the El Paso model for the next day.

Go to M: Electric/Epe/Epe2000/march/03_24(current date).

Use File tab and select Save As and change date to 03_25.(current date).

Enter the correct CALPX preschedules for Palo Verde and Four Corners from the California Schedulers packet. Verify the tag matches the cover sheet before loading into the model. Also, check for wrap around schedules with the CALPX. Ensure the TMM multiplier is set to 1x.25. The price entered into the model should be the CALPX price minus .25.

Enter the CALPX day ahead prices in the columns at the bottom of the model sheet. Ensure these are the correct prices. Incorrect prices are the most common cause of errors that must be corrected with El Paso’s settlements group.

Enter the correct Bi-Lateral deals from the Southwest scheduler’s sheet.

From the Unit Commitment sheet provided by El Paso copy the load data into the model being built.

Checking out the day.

To complete the day check with counterparties the totals and prices of the days transactions. These include:

IID hourly schedules

PNM Contingent

TNP Firm

Real Time deals

Preschedule totals at the Tie points.

Run the SAR/CARP reports. This can be found in the Enpower Reports section. Set the dates to the previous day and counterparty to ELPASELECOM. Use MST for the time zone. Compare these reports totals to the Deals section of the El Paso model totals. Both Mw’s and Dollar amounts should balance. Verify each hour has prices.

Send the completed Model to Kpeterso@epelectric.com,Rhawki1@epelectric.com.

Deal Capture -

When entering El Paso deals in Enpower use EPEC as the group. Also, prices should be the same on the buy and sell transactions. The exception to this is if transmission is purchased on El Paso’s behalf. In this case reduce El Paso’s sell price by the cost of the transmission.

Enter any deals on the El Paso log sheet.

In the model go to the Deals tab. Click on a row in the real time area then click on the add a row tab and enter the requested information. Tie points must be either PV, 4C or Hidalgo.