Comments on the CAISO Proposal for Penalizing Uninstructed Deviations

Clarification questions/EPMI Response to proposal:

I assume the proposal applies only to generator deviations and not to load.  Need  to confirm.

Because GMMs cannot be forecasted with precision, what provision is made to uninstructed deviations that are caused by changes in uninstructed deviations?

Chosen bandwidth is too narrow: greater of 3% or 3 MW.  The load imbalance penalty is 5% or 10 MW, no (need to check)?  Generator imbalance penalty bandwidth should be similar to any set on load.  Also, because of GMM deviations, the proposed bandwidth is too narrow.

Mechanism should allow computation of penalty based  on portfolio rather than a specific unit.  At a minimum, there should be pooling across gen in a similar (unconstrained) location.  If CAISO will not allow either, then SCs at a similar location should be able to trade deviations before penalty is assessed.

Would dispatch able  load be subject to this imbalance penalty?  Can shed load be used against under generation at a specific location to avoid a penalty?  If no to either, why not?

Can implementation of this proposal be made in conjunction with either the creation of a 60 minute market or a suspension of 10-minute settlements?