A California Limited Liability Company

For subscription information, please call (916) 797-3106, or e-mail schneider@rsvl.net

## KNOW THE ISO EVENT REPORT

# ISO Draft Market Stabilization Plan

Post-Filing Conference Call

April 10th, 2001

This conference call was held to discuss issues regarding the ISO’s draft Market Stabilization Plan (“Plan”).  The Plan is intended to ameliorate major market problems before summer 2001.

The call focused on the ISO’s submittal to FERC of a “detailed narrative” description on Friday, April 6th.  This submittal was made so that FERC could consider the ISO proposals in deciding on the market power monitoring/mitigation framework to replace the current “soft cap” structure on or around May 1st.

The most interesting aspect of this call was the apparent tension between the ISO and CDWR regarding their respective market roles, e.g., whether the unit commitment aspect of the Plan might duplicate some functions CDWR thought were assigned to it under State Law AB-1X.  Check out the discussion on p.10 for more information.

Structure of this report

- Next section (pp.2-8):  Updated version of the ISO’s Plan, starting with the summary in the April 6th Market Stabilization Plan Filing Event Report and indicating clearly (in red italics) the program modifications (changes and additions) discussed during the call;

- Last section (pp. 8-12):  Summary of discussions about related Plan issues.

Tentative schedule for action

| ACTION | EXPECTED DATE |
| --- | --- |
| FERC decision on new market power monitoring/mitigation structure | Next week or so |
| File tariff language at FERC* | Soon afterwards |
| Current expiration date for “soft cap” structure | May 1st |
| Implementation of ISO Plan | Late May** (assuming waiver of usual 60 days notice) |
| Expiration of these measures | Later of Summer 2002 or when “longer-term market re-design elements can be implemented” |

* Tariff language has been developed internally, but it’s not yet ready for public review and won’t be circulated until after the FERC decision.

**Not clear what would bridge the gap between May 1st and implementation of the new structure – presumably, the current structure would remain.

Comments and questions about the Plan:  The ISO continues to welcome both - please send them to Byron Wertz, at bwoertz@caiso.com.

REVISED ISO MARKET STABILIZATION PLAN

As of April 10th, 2001

(Changes from April 6th version shown in red italics.)

### Problems with the California market today

- High cost of Real-Time energy purchases:  Generation costs are unjust/unreasonable - supplier market power must be mitigated before summer.

- Real-time operational uncertainty:  The ISO is still buying energy in Real Time for an “extremely large” portion of the market, causing uncertainty into the operating hour about exactly which units will be used to meet this need.

- MW Laundering (“significant” ISO Control-Area supplies scheduled for export Day Ahead and then sold back to the ISO in Real-Time OOM transactions at higher prices - aka “boomerang” or “ping-pong” schedules).  This practice frustrates any ISO market price limits and “adds significantly to the real-time uncertainty facing ISO operators.”

### Major Plan elements

### Resource-specific cost-based bid caps (RCBCs) in ISO markets, to control generator exercise of market power;

### New ISO Day Ahead and Hour Ahead markets for “energy and unit commitment” (to cover “net short” position, i.e., difference between ISO load forecast and Day Ahead load/generation schedules), to facilitate price transparency, market liquidity, and forward scheduling;  and

- Control-Area resources obligation (voluntary for others) to serve system load (i.e., interrupting exports) under “capacity shortage conditions”, at RCBC prices (standing bid).

### Resource-specific cost-based bid caps (RCBCs) in ISO markets

Applicability:  Sales in ISO markets (Energy, Ancillary Services, Congestion Management) by “Participating Resources,” i.e.:

- Generators with Participating Generator Agreements (PGAs) with the ISO;  and

- “Participating sellers,” other generators who agree to make themselves available to the ISO for dispatch in the Day Ahead market, based on an annual election and a mutually agreeable “standing bid” in place of the RCBC.

- Exemptions include the following:

  - Generators owned/under contract as energy or reserves to serve municipal utility loads with no PGA and not otherwise FERC-jurisdictional;

  - QF generator capacity under contract to a utility;  and

  - Generation exporting under an “Existing Contract,” i.e., an agreement that pre-dates the creation of the ISO.

Costs included

- Incremental costs for fuel, NOx emissions, O&M and an adder included in RCBCs, defined by a “piecewise step function” (up to 10 horizontal linear segments).

  - Fuel costs based on:

    - Heat rate (fuel-use efficiency (Btu/kWh)):  Based on the individual unit characteristics;  and

    - Fuel prices:

      - “May” vary daily and by region;

      - Indexed to forward and spot fuel market prices [doesn’t say how];  and

      - Based on published price data.

  - Emissions costs based on:

    - Amount of emissions (lbs/kWh):  Based on individual unit emissions curve;  and

    - Emissions price:  Based on published price data.

  - Adder:

    - “On the order of” 10%;  and

    - “Intended to:

      - Cover any revenue shortfalls due to modeling inaccuracy;  and

      - Provide participation incentives.”

- Start-up/no-load costs:  Resource-specific;  would be reimbursed when incurred as a result of unit commitment to the ISO, but wouldn’t be included in the RCBC (and the Market-Clearing Price (MCP – see below) – instead, they will be covered through a separate payment.

### New ISO Day Ahead and Hour Ahead markets

Market features

- “Market Separation Rule:” Scheduling requirement for balanced load/supply would be eliminated.  The ISO intends to maintain the integrity of bilateral trades (i.e., avoid adjusting the resources down if the optimization program would otherwise do so, except in cases where the adjustment is done for congestion purposes) but is still considering exactly how to do that.

- Services purchased:  “Energy and unit commitment” (“transmission-constrained unit commitment and dispatch”) to cover “Unmatched Demand,” the difference between ISO load forecast and SC scheduled resources (i.e., load not covered by resources).

- (CLARIFICATION/NEW) Charges to Unmatched Demand

  - If scheduled in forward market but not matched with resources:  Allocation mostly based on ISO forward-market purchases/costs.

  - If not scheduled in forward markets (i.e., “Residual Load,” the difference between Metered Demand and SC scheduled load, aka “under-scheduled load”):  The ISO would cover partly through the forward markets and partly through Real Time dispatch.  Charges (in addition to any under-scheduling penalty) would be the following:

    - A share of the ISO’s Day Ahead purchases;

    - A share of the ISO’s Hour Ahead purchases;

    - The cost to increment resources in Real Time; and (unless proposal is changed)

    - A share of the ISO’s “arbitrage” losses when it has to buy supplies in Day Ahead market and sell back in Hour Ahead market (see stakeholder Q&A below).

- Procurement method:  Energy procurement, Congestion Management, and Ancillary Services procurement performed simultaneously through cost-minimizing optimization model.

  - Adjustment Bids, including Inter-SC Trade Adjustment Bids:  Would no longer submitted – the model will optimize between portfolios.

  - Ancillary Services self-procurement:  Still allowed.

  - Software program:  An off-the-shelf Unit Commitment Economic Dispatch (UCED) model.  Though only 24 hours of results would be used to produce Day Ahead schedules, the model would minimize costs over a rolling multi-day time horizon to “ensure optimal use of available resources,”e.g., those with:

    - Performance constraints (long start-up times, ramping constraints, no-load costs, etc.);  or

    - Potential energy limitations (e.g., hydro availability, emissions limits).

- Other features

  - Existing zonal structure retained

  - Existing RMR pre-dispatch practices retained

  - Loads will be able to submit bids to be curtailed

  - Existing radial network model retained, though the ISO hopes to move to a more accurate looped configuration model in the future.

Energy payment to Participating Resources

- Largely based on “mitigated prices,” i.e., RCBCs (or, for Participating Sellers, an “agreed-upon standing bid price”);  with

- Accepted bids paid zonal Market-Clearing Price (MCP), i.e., the higher of:

  - The mitigated price of the last (highest-priced) Participating Resource committed by the ISO*;  or

  - The price of an unmitigated bid (i.e., from a Non-Participating Seller) that clears the market at a lower price than unselected available Participating Resource mitigated bids [however, there is some uncertainty about this – see section immediately below].

*Exception:  Only “flexible” resources can set the MCP.  Resources thus excluded from setting the MCP include:

      - Resources not operating at the time and/or constrained due to ramping or minimum operating-time constraints;  and

      - Resources that can only operate at specific output levels with no adjustment range (e.g., most combustion turbines).

The difference between the zonal MCP and the operating cost of inflexible resources (including start-up and no-load costs) would be paid by the ISO through “side payments” recovered through “an uplift charge payable by the demand served.”

Energy payment to “Non-Participating Sellers” (out-of-Control-Area resources (“Non-Participating Resources”) who don’t agree to become Participating Sellers):  May submit any bid they want.

- Bids below MCP:  Will be accepted and paid the MCP if it’s priced below that level.

- Bids above MCP:  The last Plan version stated that bids from Non-Participating Sellers priced above the MCP set by Participating Resources would be rejected even if that led to a resource deficiency (and export curtailments).  However, though the language is a little ambiguous, this version seems to state that such bids:

  - If priced below unselected higher-priced Participating Resource RCBCs/standing bids: Will be accepted, and can even set the MCP;  and

  - If priced above the highest-priced Participating Resource RCBC/standing bid:  Might still be accepted, but they would be paid “as bid,” i.e., can’t set the MCP.  (CLARIFICATION)  The ISO is considering how it might procure these resources, if necessary, between the Day Ahead and Hour Ahead markets, so the resources can be scheduled in the Hour Ahead market.

Ancillary Services capacity payments for Participating Resources:  In addition to any capacity payment for standing availability (see next section below), units selected for Ancillary Services capacity commitment but not dispatched for energy would receive a capacity payment equal to the difference between the energy MCP (discussed immediately above) and their RCBC/standing bid.  [In other words, they’d earn the same margin whether or not they’re dispatched.]

Ancillary Services capacity payments for Non-Participating Resources:

- If the bid price is below the MCP, would receive the MCP;

- If the bid price is above the MCP:  The document says:

“…if available capacity from Participating Resources and from bids below the RCBC of the highest-cost Participating Resource are not adequate to meet both Ancillary Service requirements and Residual Load energy requirements, the ISO will meet its Ancillary Services requirements first.”

(CLARIFICATION)  Given the clarification on energy bids (see above), this provision probably means that bids from Non-Participating Resources above the highest Participating Resource RCBC would be accepted somehow, but the cost would be allocated solely to Residual Load.

Replacement Reserve Ancillary Service:  Would no longer be required “since the ISO would have the ability to dispatch any remaining capacity of Participating Resources in Real Time by virtue of the availability requirement.”

### Control-Area resources obligation to serve system load

Principle:  Requirement that in-area resources make full capacity available to meet ISO system loads in the Day Ahead market (i.e., exports curtailed) in hours when “capacity shortage conditions” are expected –declaration of a System Emergency (reserves <7%) not required.

(NEW) Trigger for curtailing exports:  ISO projection that supplies will be less than forecasted load plus exports, counting only Participating Resources, plus Non-Participating Resources with mitigated prices below the highest Participating Resource RCBC.

Mandatory market participation

- ISO ability to call on Participating Resources at RCBC prices (standing bids);

- Interruption of scheduled exports to the extent the ISO deems necessary, in Day Ahead schedules (see below).

  - FTR priority:  If it’s not necessary to interrupt all exports, those scheduled without Firm Transmission Rights (FTRs) will be interrupted before those scheduled with FTRs.

  - (CLARIFICATION) “Wheeling through” transactions (e.g., imports from Northwest with exports to Southwest):  Would be exempt from export interruptions for supply deficiencies*, assuming that the export is linked with an import, i.e., with:

    - The same interchange ID;  and

    - Two different tie points (one for import, one for export)

* Transaction (both ends) could still be cut for congestion management purposes, like today.

[Consultant notes:

- Section 5.6 of the ISO tariff already grants the ISO authority to restrict exports from units with PGAs in an “actual or imminent system emergency,” but the ISO has never exercised this authority.

- The Plan calls for such action Day Ahead, which ISO legal personnel are interpreting as a substantive change requiring a tariff revision;  now that the proposal no longer requires an Emergency declaration, the need for a tariff change is more obvious.]

Process

- Export Interruption Advisory:  By 6pm 2 days in advance, the ISO would issue an advisory to the market if (based on its best estimates at the time) stating whether exports might need to be curtailed/interrupted on the operating day.  The purpose is to:

  - Incent SCs to reduce their exports voluntarily to minimize required export curtailments for Day Ahead scheduling (see below);  and

  - Reduce the cost impact on SCs with opportunity for alternative arrangements.

- Resource adequacy determination:  After Day Ahead Preferred Schedules are submitted the following day (10am deadline, same as now), the ISO would assess whether scheduled/available resources were adequate compared to the amount of forecasted (not scheduled) load.  [Previous version had this assessment considering only Participating Resources and Non-Participating Seller bids priced below the Participating Resources MCP, but assuming that this version allows acceptance of above-MCP Non-Participating Seller bids in forward markets (with as-bid payment), then presumably they would also be included in this assessment.]

This adequacy determination would be based on service to at least the 90-95% of load the ISO wants to cover in the Day Ahead market, plus some level of operating reserve (7% is the working number now, but that could change).

- Export curtailment sequence:  If there aren’t enough resources from the sources listed above, the ISO will adjust export schedules to reach adequate resource levels, beginning with exports scheduled without FTRs (see above), and run the Day Ahead optimization program.

- Congestion iteration:  Due to “some concerns” (no more detail given), the ISO is leaning toward eliminating the congestion iteration (SC ability to adjust their schedules once after they see their congestion cost exposure if they keep their Preferred Schedules).*

* Consultant note:  Retention of the congestion iteration was a hard-fought issue last year in the Comprehensive Market Reform effort.  The ISO some “gaming” associated with the iteration and proposed to eliminate it if congestion costs were higher after it than before, then (in response to protests from stakeholders) proposed to retain it, then proposed to eliminate it altogether…needless to say, it was an “unresolved issue” from the CMR effort, and this new proposal may start it all over again.

- Final Day Ahead Schedules for the next day, reflecting the interrupted export schedules, would be sent to SCs by about 1pm.

- In the Hour Ahead market:

  - Day Ahead Final Schedules will not be frozen (as they are today) but will be “re-optimized as needed to satisfy both the energy and congestion management needs of the Hour Ahead market;  however,

  - To avoid “excessive schedule volatility due to Hour Ahead re-optimization,” Day Ahead Final Schedules will be “given higher scheduling priority than Hour Ahead Preferred Schedules” (changes SCs make to their Final Day Ahead Schedules in the Hour Ahead market).

Capacity payment for standing availability to Participating Resources (non-utility generation only*)

- Designed to permit full recovery of variable costs and Annual Fixed Revenue Requirement (AFRR – i.e., total fixed costs) if all standards are met (see below);

- Tied to availability/performance standards (i.e., reduced if those aren’t met);

- Paid in monthly installments;

- Will consider revenue from above-cost MCPs**;  and

- Will consider any RMR capacity payments.

* Assumes that cost recovery for utility-owned generation is under the jurisdiction of the CPUC (per the FERC December 15th decision in Docket No. EL00-95-000, et al.) and addressed fully through retail ratemaking.

[**Consultant comment:  The document says that efficient resources would be able to earn >100% of AFRR, but I’m not sure how this would work if the capacity availability payment is reduced when variable costs are low.]

STAKEHOLDER-ISO DISCUSSION ON CONFERENCE CALL

(issues not covered in Plan revisions shown above)

EXPORT INTERRUPTIONS AND RECIPROCITY/RETALIATION

Salt River Project (SRP):  We have Mojave capacity in the ISO control area, and we want to make sure that your export restrictions wouldn’t affect our affect ability to bring back to our power to Phoenix.  This is a long-standing arrangement that far pre-dates ISO creation.

A:  Export interruptions wouldn’t apply to Existing Contract (predating ISO) volumes.

SRP:  So do you have any objection to including specific language that says that exports from the ISO control area to serve load in Arizona would be exempt?

A:  The exemption wouldn’t be that broad – only transactions pursuant to an Existing Contract would be covered.

SRP:  So would you support tariff modifications that would allow cuts to SCE’s exports from Palo Verde into California equivalent to your schedule cuts into Arizona?

A:  We don’t think we have to address that reciprocity issue in our filing.

ADVANCE NOTICE OF POTENTIAL EXPORT INTERRUPTIONS

Independent Energy Producers Association (IEP):  You have some forecasts long before you issue the Export Interruption Advisory 2 days in advance  - is there any way you could give more notice?  If someone is exporting on a bilateral contract, they need to know if they’ll be cut before they get Day Ahead schedules back and discover they’ve been cut.

A:  We’ve been talking about how we could even be accurate two days ahead – we’re open to what you’re asking but we want your feedback about the tradeoff for notice vs. accuracy.

ISO vs. EXISTING CONTRACT SCHEDULING TIMELINES

Your consultant:  In your filing on Friday, you mentioned that the ISO was considering whether the timelines in Existing Contracts should be conformed to the ISO’s scheduling deadlines [to reduce “phantom congestion,” where capacity is held open for possible EC scheduling after the close of the ISO markets and, thus, is unavailable for forward-market scheduling].  Were you asking FERC to change those contracts, and if not, are you planning to do that?

A:  We just identified it as an issue, and gave our opinion that it would be within FERC’s power to resolve it.  This wasn’t a formal filing asking for it – we just flagged it as an operational issue.  We need to think about that more.

TREATMENT OF ENERGY-LIMITED RESOURCES

Northern California Power Agency (NCPA):  On the last conference call, you mentioned needing some recognition for energy-limited resources.  What’s the status of that?

A:  We haven’t given that a lot more thought.  We’d probably try not to “increment” them (order them to increase production) above the scheduled level, maybe by having them put in a very high price to signal that they’re energy limited, as a “code” to let us know.

Bonneville Power Administration (BPA):  How would that work?

A:  The high price would be just a mechanism to keep up from moving the resource off its schedule, to ensure that we don’t move it unless we’ve exhausted all the available economic bids.

BPA:  We’ve had a lot of experience with using prices in that way in our bids, and we don’t want a high-priced bid to be taken as indication of non-competitive behavior, or something we’d have to justify.  We hope you can find another way to do the same thing – basing it on prices is “pretty dangerous.”

IEP:  Energy-limited resources include more than just hydro – will you take a similar approach with gas-fired plants with operating limits due to air emissions restrictions?

A:  Well…we still need to consider how we would handle that.

NCPA:  How would you handle capacity availability payments vs. limited operating hours?

A:  We’re not sure yet – that needs more detailed off-line discussion.

California Department of Water Resources (CDWR):  Do you plan to use Participating Load (loads certified to submit curtailment bids for Spinning/Non-Spinning Reserve, and Supplemental Energy, in competition with generation) as a Participating Resource?

A:  Yes, we do.

CDWR:  Then how would that work relative to energy-limited resources?  We have to run our pumps to meet our water obligation, and we think that’s the load equivalent of an energy-limited resources.  [CDWR bids pumping load into the ISO’s markets as Participating Load.]

A:  We need to think about that more, and then circulate a response.

Role of CDWR vs. ISO

BPA:  So would CDWR be the chief purchaser here?  How do they fit in?

A:  All of that is still under discussion.  There’s an expectation that all ISO purchases would have to be supported by creditworthy buyers, especially with the FERC decision last Friday (see below).

[I assume that this is a reference to the FERC decision in Docket No. ER01-889-002, et al.  That decision affirmed that the ISO is required to have a creditworthy counter-party for all transactions involving third-party suppliers (i.e., transactions other than SCs (in this case, the IOUs) serving their own loads).  Exceptions claimed by the ISO for Real-Time transactions and Emergency declarations were not allowed.  You can view the decision on the FERC Web site at http://www.ferc.fed.us/electric/bulkpower/ER01-889-002.pdf.]

CDWR/California Energy Resources Scheduler (CERS -- CDWR scheduling arm for energy bought for utility customers):  Our charge, in AB-1X and by direction of the Governor, is to procure on behalf of the IOUs enough power to bridge the gap between their own resources and their forecasted load, to cover the load at least 90% in the Day Ahead market and 95% in the Hour Ahead market.

So, your proposal to have the ISO do basically the same thing would be duplicative of this activity and would leave us competing with each other for very limited resources.  We definitely need a clearer understanding of the respective role of CERS and the ISO.

A:  Could we use the proposed ISO market structure as a vehicle or mechanism to assist you in fulfilling your mandate from the state?  [Implies that the CDWR could actually be the buyer instead of the ISO in the new markets.]  Even if you’re successful, but there would still be at least a 5% shortfall, and more if you’re unable to hit your targets.  It may be prudent for us to procure some of that in the Day Ahead timeframe.

Anyway, it’s clear that we need to have further discussions.  The ISO wants to cooperate, not compete.  We need a creditworthy entity, and we’re willing to sit down with DWR and anyone else to work out these issues.

PG&E:  Even if you or CDWR get to 90-95% coverage in the forward markets, in Real Time you will still have a 5-10% gap in real time for which creditworthiness needs to be addressed.

Palo Alto:  There needs to be clear communication between the ISO and CDWR.  Instead, there seems to be seems to be some confusion, and we’re concerned.

A:  We talk regularly with CDWR, but there are obviously still questions that we need to clarify – we’ve taken your input and will try to make it clear how we’d work with CDWR.

CONGESTION MANAGEMENT

Pacific Gas and Electric Company (PG&E):  We’re trying to understand how you will do congestion management – will you still have Adjustment Bids?

A:  No, we would have energy bids only, and those would take the place of Adjustment Bids.

PG&E:  Then how are you proposing to calculate the congestion charges?

A:  There would be zonal energy prices, which would differ by zone when there’s congestion. Effectively, the congestion charge would be the difference between the price in the zone where the energy is generated and price in the zone where the load is located.

For example, if your generation is in SP15 and the price there is $50, and your load is in NP15 and the price there is $70, you will receive $50 for the generation and be charged $70 for the load, whether or not the schedule is balanced.  So, on net, you will pay $20 for generating in SP15 to serve load in NP15, if you do have a balanced transaction.

ENERGY BUY-BACKS

PG&E:  What if you buy to cover 90 percent of the forecasted load in the Day Ahead market and then a lot more resources are scheduled in the Hour Ahead market?

A:  We will pay the DA price for the energy bought in the DA market, and we’ll sell the unneeded HA volumes back at the HA price.  [Because HA prices would likely be lower in this resource-rich situation than DA prices, this would probably result in a net loss for the ISO.]  However, because we will only aim to cover 90% or so of the forecast in the DA market, these “buybacks” would probably be pretty small unless the forecast is way off.

PG&E:  Then who would pay the difference between the high buy price and the lower sell price?

A:  At this point, we’re looking at allocating any loss to load deviations, i.e., the difference between load in Final Hour Ahead Schedules and actual load (Metered Demand).

PG&E:  But the incurrence of the “arbitrage” loss doesn’t have anything to do with the difference between final HA schedules and load in real time.

A:  If you have a suggested alternative, we’re certainly open to considering it.

PG&E:  What if there is no deviation, i.e., metered load is the same as scheduled load?  Then how does the arbitrage loss get allocated?

A:  It seems pretty unlikely that we’d have fixed the whole under-scheduling problem (though that would be OK with us).  If that did happen, we’d then have to decide on an allocation methodology, because otherwise we’d have no way to collect the money.  It may just need to be spread pro-rata to all loads.

We need to spend some more time fleshing out this issue, and maybe then have some further discussions.

RETENTION OF UNDER-SCHEDULING PENALTY

Your consultant:  You said earlier you were considering whether you’d retain the under-scheduling penalty [scheduled to come back into effect on May 31st] – any more thoughts about that?

A:  The latest FERC order from last Friday (see below), in response to the filings of SCE and PG&E, asked us to comment on the penalty, and to forecast how much under-scheduling there would be this summer.  When we asked for a suspension of the penalty until the end of May, we assumed that the credit problems would be resolved by then, but now things are more confusing than ever.  We have to consider whether it’s legitimate to claim that the penalty would have an incentive effect.

That all amounts to a definite “I don’t know.”

[I assume that this is a reference to the FERC decision in Docket No. EL01-34-000, et al.  That decision deferred action on the PG&E/SCE/ISO request to suspend the under-scheduling penalty and ordered the ISO to submit additional information within 15 days.  You can view the decision on the FERC Web site at http://www.ferc.fed.us/electric/bulkpower/EL01-34-000.pdf.]

MISCELLANEOUS ISSUES

Southern California Edison Company (SCE):  Frankly, with the recent market changes, and the complications like this cost allocation issue, why even bother to have an Hour Ahead market?

A:  The HA market was intended to adjust the market for generating outages, transmission de-rates, and the like – we understand that creates problems, and we’re open to suggestions.

BPA:  What are your plans for training and market simulation (testing in close-to-real-world assumed conditions)?

A:  There will be some training around the second week of May, including settlements training, and we’ll attempt to do some market simulations.  However, that’s highly dependent on software progress and FERC direction –more details should be available within the next 2 weeks.