Enron – GE Contract Review

Rev 10/5/00

XXXX		Closed Item or no action required

| Exhibit | Action |
| --- | --- |
| EXHIBIT A BASIS CONDITIONS | Project Specific – No action required |
| EXHIBIT A-1 BASIS FUEL | Project Specific – No action required |
| EXHIBIT A-2 SELLER FUEL SPECIFICATION | GEI 41040 – No action required |
| EXHIBIT B SCOPE OF WORK/SPECIFICATION | E. Booth to issue GT spec for review. GE spec is job specific. Need to agree on what should be included. GE will provide a list |
| EXHIBIT B-1 SPECIFICATION | See above |
| EXHIBIT B-2 GUARANTEED READY TO SHIP DATE | Project Specific – No action required |
| EXHIBIT B-3 PERFORMANCE GUARANTEES AND SPECIFIC PERFORMANCE GUARANTEES | Project Specific – No action required |
| EXHIBIT B-4 APPROVED VENDORS | Project Specific – No action required |
| EXHIBIT B-5 NOT USED |  |
| EXHIBIT B-6 LIQUIDATED DAMAGES | Project Specific – No action required |
| EXHIBIT C-1 SELLER PARENT GUARANTEE |  |
| EXHIBIT C-2 PURCHASER’S GUARANTEE |  |
| EXHIBIT D SAMPLE STANDBY LETTER OF CREDIT- RETENTION FUNDS |  |
| EXHIBIT E COMMUNICATIONS | No Action required |
| EXHIBIT F PERFORMANCE TEST GUIDELINES | Use Goldendale |
| EXHIBIT F-1 SOUND LEVEL TEST GUIDELINES | Use Goldendale |
| EXHIBIT F-2 EMISSIONS TEST GUIDELINES | Project Specific based on GEK - 28172 |
| EXHIBIT G-1 PERFORMANCE TEST CERTIFICATE | No action required |
| EXHIBIT H-1 TECHNICAL DIRECTION OF INSTALLATION | GE to offer comments |
| EXHIBIT H-2 TRAINING | No action required |
| EXHIBIT I CANCELLATION CHARGE | Project Specific – No action required |
| EXHIBIT I-1 MILESTONE PAYMENT SCHEDULE | Project Specific – No action required |
| EXHIBIT J QUALITY |  |
| EXHIBIT K PROJECT PLANNING |  |
| EXHIBIT L EQUIPMENT REQUIRING INSURABILITY CERTIFICATE |  |
| EXHIBIT M-1 NOT USED |  |
| EXHIBIT M-2 COMMISSIONING SPARES AND SPECIAL TOOLS |  |
| EXHIBIT N-1 PURCHASE AMOUNT RECONCILIATION | Project Specific – No action required |
| EXHIBIT N-2 OPTIONS | Project Specific – No action required |
| EXHIBIT O HAZARDOUS MATERIAL NOTIFICATION |  |
| EXHIBIT P UNIT SERIAL NUMBER | Project Specific – No action required |
| EXHIBIT Q NOT USED |  |
| EXHIBIT R OBSERVATION POINTS | Enron –GE need to review the current list |
| EXHIBIT S FINAL WAIVER OF LIENS FORM |  |
| EXHIBIT T DOCUMENT DELIVERY SCHEDULE AND DOCUMENT DELIVERY STATUS | Project Specific – No action required |