# October 31, 2000

Via Fax (202) 219-2152 and Regular Mail

Max Robinson, Director

Division of Environmental and Engineering Review

Office of Energy Projects

Federal Energy Regulatory Commission

888 First Street N.E.

Washington, DC 20426

Re:	Report of Interruption on Transwestern Pipeline Company

Dear Director:

Transwestern Pipeline Company ("Transwestern") makes the following report of an interruption occurring on its pipeline system:

On October 29, 2000, a Burlington Northern train derailed approximately 12 miles east of Transwestern Station 5 near Thoreau, New Mexico.  Transwestern learned on the afternoon of October 30 that Burlington had moved approximately 30 rail cars over or onto its 30-inch mainline pipeline.  Upon learning of Burlington’s actions, Transwestern began reducing pressure on its mainline and curtailing capacity.  The line pressure will be reduced to near zero pressure by early October 31.   After the train cars have been removed from pipeline right-of-way, Transwestern will inspect the pipeline and return it to service as soon as possible.  This interruption is presently expected to last until ????

This condition is interrupting supply which had been flowing at a rate of approximately 250,000 MMBtu per day.  Attached is a list of affected customers. Additional information will be provided as it becomes availble.  If additional information is needed on this event, please do not hesitate to contact me at the above address or call me at (713) 853-7237.

Very truly yours,

Louis P. Soldano

Asst. General Counsel

cc:	New Mexico Public Regulation Commission

ferc\fercnotice.doc