Bonneville Power Administration

Transmission Business Line

Business Practices

FY 2002-2003 Rate Period

# Comment Solicitation on Business Practice

# Implementing the 2002 Rate Case Settlement

Effective October 1, 2001

# Section V

Redispatch and Curtailment Procedures

# Posted: February 12, 2001

CHANGE:  Comment period extended to March 2, 2001.

Please review and comment on Section IV, Redispatch and Curtailment Procedures Business Practice by close of business February 23, 2001.  Please reference the specific section for which you are providing comments.

Comments should be submitted by E-mail to:

Madalton@bpa.gov

AND

Jmcneilkeister@bpa.gov

All customer comments and BPA's Transmission Business Line's (BPAT) responses to those comments will be posted on BPAT's OASIS website on or about March 16, 2001.

Bonneville Power Administration

Transmission Business Line  (BPAT)

Business Practices

2002-2003 Rate Period

Table of Content

SECTION		Page No.

- Commonly Used Acronyms

- Scheduling Procedures

A.	General Terms

B.	Specific Transmission Services

1.1	Firm Point-to-Point (PTP) Transmission Service

  - Non-Firm Point-to-Point (PTP) Transmission Service

1.3	Network Integration (NT) Transmission Service

Table A - Reservation Timing Requirements

### Table B - Priorities for Competing

### Reservation Requests

- Remote Resources and Remote Loads

- Sheltering Basics

V.	Redispatch and Curtailment Procedures

VI.	Available Transfer Capability Methodology

- Customer Load and Resource

SECTION V

Redispatch and Curtailment Procedures

The Redispatch and Curtailment Procedures in place are designed to manage Available Transfer Capacity (ATC) and Transmission System overloads.

- General Redispatch Principles

(a)	All load and generation forecasts schedules and resource/generation uses and forecasts are subject to Curtailment (after BPAT requests Bonneville Power Administration Power Business Line (BPAP) to redispatch).

(b)	Upon request by BPAT, Network (NT) Transmission Customers must submit or cause to be submitted all the data and information necessary for BPAT to implement Curtailment procedures.  This required data may include, but may not necessarily be limited to, forecasts of Network Resource output, load forecasts, and schedules.

(c)	The Transmission Customer must schedule all Point-to-Point (PTP) transactions.

(d)	NT Transmission Customers must submit schedules or estimates (proxies) for schedules) as determined by BPAT, when:

- the power is originating from, passing through, or terminating in another Control Area; or

- the power is being transmitted over a constrained path within BPAT’s Control Area; or

- the power is being delivered to or from designated systems within the BPAT Control Area.

- Redispatch/Curtailment Procedures

(a)	The TCH must ensure that the Nework Rsource owners submit hourly estimated generation operation profiles during the preschedule period when requested by BPAT.

(b)	Redispatch will not result in changes to the original schedules or E-Tags.

(c)	All redispatch will be implemented through BPAP adjustment accounts.  The adjustment accounts are included in the controller totals.

(d)	All firm and non-firm schedules along with the total transmission rights allocated for the preschedule day will be analyzed by BPAT to determine the ATC based on all preschedules submitted by 2 p.m. or two hours after the California Independent System Operator (ISO) posts its final schedules (whichever is later).  The redispatch analysis will be run about 30 minutes later.

- BPAT will Curtail all PTP non-firm schedules and then cut all NT non-firm schedules, then request redispatch, then do pro rata firm Curtailments.

- Curtailment Priorities

Lowest to Highest:

- Secondary Hourly Non-Firm PTP Transmission Service (Non-Firm)

- Primary Hourly Non-Firm (lowest price cut first)

- Flexible daily Non-Firm first by duration then by price (duration is measured from start date to stop date)

(iv)	Flexible weekly Non-Firm first by duration then by price

(v) 	Flexible monthly Non-Firm first by duration then by price

(vi)	Hourly non-firm for NT Transmission Customers

(vii)	Firm schedules

(g)	System emergencies or problems may require dispatchers and schedulers to deviate from the redispatch principles (See Attachment K of  BPAT’s proposed 2002 Open Access Transmission Tariff), in order to maintain reliability.

3.	Current Day, Hour Ahead, and Emergency Congestion Management Rules (accommodates load changes for NT Transmission Customers)

(a)	Requested real time schedule changes must be submitted no later than 20 minutes prior to the hour of delivery for PTP, Integrated Resources (IR), and Formula Power Transmission (FPT) Transmission Customers to utilize their unused firm capacity.

(b)	 In real time, BPAT will employ Curtailment procedures if the level of desired schedules across a constrained path exceeds BPAT’s transmission capacity on the path.  In non-emergency situations, all firm schedules will be Curtailed on a pro rata basis.  In emergency situations, BPAT may not have enough time to implement a pro rata Curtailment.  In those circumstances, BPAT will coordinate schedule changes or generation changes as necessary in order to maintain system reliability (situation specific).  Command and control Curtailments (BPAT dictates) should last no more than two hours after the start of the emergency.  Pro rata Curtailments will be used, if necessary, beyond that time.