# Overview of Enron’s Generation
Preliminary Terms and Operating Information

# Certain information included in this Information Memorandum contains forward-looking statements identified by such words as “expect”, "anticipate”, or “project.”  Such statements are based on current expectations and involve a number of known and unknown risks and uncertainties that could cause the actual results and performance of the power generation plants (“Plants”) to differ materially from any expected future results or performance, expressed or implied, by the forward-looking statements, including expectations regarding the future results of operations of the Plants.  Enron North America Corp. (“ENA”) has identified important factors that could cause actual results to differ materially from such expectations, including development uncertainty, operating uncertainty, acquisition uncertainty, uncertainties relating to power and gas markets, weather, uncertainties relating to domestic and international economic and political conditions and uncertainties regarding the impact of regulations, changes in government policy, industry deregulation and competition.  You have an obligation to evaluate all such risks for itself.  ENA does not assume responsibility to update forward-looking information contained herein.

Although in furnishing the enclosed information ENA has endeavored to include materials which ENA believes to be reliable and relevant for your evaluation, ENA makes no representation or warranty as to the accuracy or completeness of any such provided information.  Furthermore, neither ENA nor its representative shall have any liability to any party whatsoever resulting from the use of any such information.

#### Portions of this Information Memorandum contain term sheets which contemplate potential agreements. Be advised that such term sheets are for discussion purposes only and are not complete or inclusive of all terms that would need to be agreed upon before a definitive and binding agreement could be reached. These term sheets are not intended to create and do not create a binding or enforceable contract or a duty to negotiate toward a binding contract. A binding commitment can only arise from the negotiation, execution, and delivery of a final written definitive agreement.

#### Table of Contents

1.	General Terms

2. 	Preliminary Terms of Power Purchase Agreement

3.	Financial Information

3-a. Description of Financial Model

3-b. Financial Model

4.	S&P’s Write-up of Enron Generation Company

#### 1.	General Terms

DRAFT FOR REVIEW AND DISCUSSION PURPOSES ONLY

GENERAL TERMS

- NewCo:

NewCo will be a newly created generation company. The owners of NewCo would be FPL Energy, L.L.C. (“FPL Energy”) and ENA, and other persons buying shares of NewCo in an IPO of NewCo.

- Marketing and Risk Management:

The marketing, operations, development and risk management capability for NewCo would be managed within the new entity subject to a risk management policy agreed to by ENA, FPL Energy and the newly formed board of directors.

Our suggestion would be that employment candidates for key positions including risk management, trading, development and origination be submitted by both ENA and FPL Energy and that offers of employment be given only to those people who are successfully interviewed by both FPL Energy and ENA. Those candidates that are hired would become employees of the NewCo.

There would be no exclusivity or non-compete clauses between NewCo and the parent companies.

ENA and FPL Energy would each retain a right of first refusal on 50% in the aggregate of NewCo’s fuel and output volumes with a term greater than 3 months.

- Risk Management Systems and Back Office Services (Administrative Services):

ENA would provide NewCo, for a fee, risk management and back office services (“Administrative Services”) under a contractual arrangement for a term of five years from the closing of the IPO/merger.  If not terminated by either party with ninety days notice prior to the end of the initial term, it shall remain in effect for an additional twelve months on an evergreen basis.  Every year after the initial term, either party would have the right to cancel the agreement by providing written notice to the other party no less than 90 days prior to the end of that term.  ENA would provide all the services described herein with respect to all quantities of electric energy, electric capacity, ancillary services and fuel procurement generated, dispatched or scheduled for purchase and sale related to NewCo’s assets and any related contracts.  ENA will provide the necessary resources and systems to execute the following services:

- Risk Management System and Controls: Provides daily positional reporting including daily profit and loss, deal and curve entry, VAR reporting and limits monitoring;

- Deal Clearing: Prepares customer confirmations, contracts and broker check-outs; interfaces with NewCo’s credit/legal groups; and monitors deal integrity;

- Settlements:  Provides reconciliation of invoices and payments to general ledger, cash management and cash settlements with counterparties;

- Scheduling and Nominations: 24 Hour OASIS transmission scheduling, tagging, schedule verification and monitoring, fuel nominations and balancing.

- Proposed NewCo Capital Structure:

- Debt: TBD

- Equity: Public float up to 40%

ENA and FPL Energy would each receive cash and the remaining 60% of NewCo’s stock in exchange for contributing plants, turbines and development projects to NewCo.

- Development:

ENA and FPL Energy would staff a fully functional development capability inside NewCo.  ENA and FPL Energy would initially provide sites, turbines and other capabilities necessary to demonstrate a backlog of projects and a greenfield development capability.

- ENA Contributed Assets:

Value

#### - Peakers:						$1,100 million

- Moore project:					TBD1

- Pastoria and LV Cogen II development projects:	$136 million2 plus LM 6000’s and 3 GE 7 FA commitments

- Other Sites and Turbines:				TBD1

- To be determined at a later date.

- Includes approximately $115 million for Pastoria and $21 million for LV Cogen II, and is subject to completion of certain agreed upon development milestones including execution of gas supply and transportation agreements, interconnection agreements, receipt of air permits (CEC permit in California), ERC’s and EPC agreements.

- PPA’s:

ENA would like to retain a three year tolling agreement on the 1999 and 2000 Peakers beginning 2001. Further, ENA would like to retain a five year tolling agreement on Project Moore beginning Summer 2001. A proposed tolling contract is attached. ENA would potentially like to discuss offtake agreements on Pastoria and LV Cogen II at a future date.

- FPL Energy Contributed Assets:

To be determined

#### 2.	Preliminary Terms of

#### Power Purchase Agreement

DRAFT: FOR REVIEW AND DISCUSSION PURPOSES ONLY

Power Purchase Agreements

| ### Buyer | Enron Power Marketing, Inc. |
| --- | --- |
| ### Seller | NewCo. |
| ### Fixed Price Period ## See Attached PPA Summary Table | Buyer must pay a fixed monthly Demand Charge* in exchange for its right to capacity, energy and ancillary services. When energy or ancillary services are scheduled, Buyer must supply fuel, take output and pay an Energy Charge* plus a Start Charge*. |
| ### Quantity | Actual output level of each plant as established initially by a performance test and calculated annually based upon agreed upon curves (subject to either party’s right to request a re-test with the cost thereof to be shared equally by both parties). In each hour, quantity is adjusted for ambient conditions to calculate the amount of available output. |
| Hours in which Buyer can Schedule | On Peak Hours* are those listed on the PPA Summary Table. During Off Peak Hours (those other than On Peak Hours), Seller has a best efforts obligation to supply but there are no penalty provisions associated with a failure to deliver. |
| ### Minimum Block Size, Duration | Size* – See Attached PPA Summary Table Minimum Duration = 2 hours. |
| ### Guaranteed Availability for Damages | See Attached PPA Summary Table for Availability Requirements. Summer Months = May, June, July, August, September Shoulder Months = March, October Winter Months = April, November, December, January, February |
| #### Damages | Cost of cover damages. |

* Terms are defined on the PPA Summary Table attached hereto.

DRAFT: FOR REVIEW AND DISCUSSION PURPOSES ONLY

| ### Gas Transportation | During Fixed Price Period, Seller shall own the gas transportation rights but Buyer shall be entitled to exclusive use thereof and must pay all costs. |
| --- | --- |
| ### Automatic Generating Control | Buyer has right to install, pay for and utilize automatic generation control. |
| ### Payment | Demand Charges and Energy Charges paid monthly. Start Charges paid annually. |
| ### Event of Default | Typical events of default, including if the average monthly actual availability is below: (1) 80% for any consecutive twelve month period, (2) 85% for any consecutive twenty-four month period or (3) 90% for the Summer Months in any calendar year. |
| ### Heat Rate Guaranty | The heat rate of each plant shall not exceed the Guaranteed Heat Rate*. |
| ### Heat Rate Penalty | Seller shall pay the actual fuel costs (based on Buyer’s cost therefor) for any additional fuel required because the actual plant heat rate exceeds the Guaranteed Heat Rate. |
| ### Scheduling | Buyer shall be able to call on each plant after providing the Minimum Dispatch Notice prior to when the energy or ancillary services are needed. Buyer’s ability to Schedule shall be limited to the Maximum Annual MWh’s* for each plant. |

* Terms are defined on the PPA Summary Table attached hereto.

DRAFT: FOR REVIEW AND DISCUSSION PURPOSES ONLY

| PPA SUMMARY TABLE |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Brownsville | Caledonia | New Albany | Wilton Center | Wheatland | Gleason | Moore |
| Output** | 458 | 446 | 3561 | 608 | 470 | 510 | 396 |
| On Peak Hours (Central Prevailing Time) | HE 0700 – HE 2200 | HE 0700 – HE 2200 | HE 0700 – HE 2200 | HE 0700 – HE 2200 | HE 0700 – HE 2200 | HE 0700 – HE 2200 | HE 0700 – HE 2200 |
| Guaranteed Heat Rate** (HHV, Btu/kWh) | 11,406 | 12,064 | 12,500 | 11,973 | 11,734 | 10,592 | 12,396 |
| Fixed Price Period | Three years beginning 1/1/2001 | Three years beginning 1/1/2001 | Three years beginning 1/1/2001 | Three years beginning 1/1/2001 | Three years beginning 1/1/2001 | Three years beginning 1/1/2001 | Five years beginning 6/1/2001 |
| Demand Charge ($/Kw-mo) | $4.00 | $4.00 | $4.00 | $4.00 | $4.00 | $4.00 | $4.00 |

**  Output and Heat Rate figures assuming new and clean 90º F, 14.524 p.s.i.a., 60% relative humidity.

DRAFT: FOR REVIEW AND DISCUSSION PURPOSES ONLY

|  | Brownsville | Caledonia | New Albany | Wilton Center | Wheatland | Gleason | Moore |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Energy Charge ($/MWh) | $1.50 | $1.00 | $1.00 | $2.00 | $3.00 | $1.50 | TBD |
| Start Charge ($/Start/Turbine) | $1,500 | $1,000 | $1,000 | $1,000 | $1,500 | $1,500 | TBD |
| Maximum Annual MWh’s | 624,992 | 544,140 | 410,270 | 2,002,000 | 461,313 | 532,992 | TBD |
| Minimum Availability: - Summer Months - Shoulder Months - Winter Months | 98% 95% 95% | 98% 95%2 95% | 98% 95% 95% | 98% 95%3 95% | 98% 95%2 95% | 98% 95%3 95% | 98% 95%3 98% |
| Minimum Block Size (MW) | 50 | 50 | 50 | 50 | 50 | 50 | 50 |
| Min Dispatch Notice (minutes) | 35 | 25 | 20 | 30 | 30 | 30 | TBD |

3.	Financial Information

3-a.	Description of Financial Model

This section provides a description of the principal assumptions and calculations used in the financial model.  The table below lists a number of the key inputs for the financial model.

Key Inputs

|  | 1999 Plants |  |  |  | 2000 Plants |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | BROWNSVILLE | caledonia | new albany |  | GleasoN | wheatland | wilton center |
| PPA Start Date | Jan. 2001 | Jan. 2001 | Jan. 2001 |  | Jan. 2001 | Jan. 2001 | Jan. 2001 |
| Contractual PPA Capacity (MW) (1) | 458 | 466 | 371 |  | 510 | 470 | 608 |
| Annual Generation (000 MWh/year)(1) | 625 | 544 | 410 |  | 533 | 461 | 2,002 |
| Fixed Demand Charge Rate ($/kW-month) | 4.00 | 4.00 | 4.00 |  | 4.00 | 4.00 | 4.00 |
| Energy Charge (2000 $/MWh) | 1.50 | 1.00 | 1.00 |  | 1.50 | 3.00 | 2.00 |
| Start Charge (2000 $/Start/turbine) | 1,500 | 1,000 | 1,000 |  | 1,500 | 1,500 | 1,000 |
| Assumed Starts Per Year | 75 | 75 | 75 |  | 75 | 75 | 75 |
| Number of Turbines | 4 | 6 | 6 |  | 3 | 4 | 8 |
| Variable O&M Rate (2000 $/MWh) | 1.50 | 1.00 | 1.00 |  | 1.50 | 3.00 | 2.00 |
| Fixed O&M (2000 $000) | 1,564 | 1,721 | 1,878 |  | 1,242 | 1,516 | 1,449 |
| Plant Net Heat Rate @ 900 (HHV, Btu/kWh) | 11,406 | 12,064 | 12,500 |  | 10,592 | 11,734 | 11,973 |
| Applicable State Income Tax Rate | 6.00% | 5.00% | 5.00% |  | 6.00% | 4.50% | 7.18% |

- Includes additional capacity of 20 MW at Caledonia and 15 MW at New Albany, with installation of evaporative coolers by June 2000.

- Capital Costs

Debt and Equity. The financial model allocates the sources of capital from debt and equity to the 1999 Plants and the 2000 Plants at 42% and 58%, respectively.

Power Contract Liability.  Pursuant to APB 16, the present value of difference between the $4.00 Fixed Price Demand Charge Rate and the ICF Curve for years 2001-2003 is capitalized on a plant-by-plant basis for GAAP purposes.

B.	Revenue Assumptions

In calculating revenue, the financial model incorporates the terms of the PPAs and merchant price projections from ICF Resources’ (“ICF”) market report.

1.	Fixed Price Period Operating Revenue Assumptions

The fixed price period extends from January 1, 2001 through December 31, 2003 for all 6 Plants.

- Demand Payments.  ENA pays the Demand Payments, based on a Fixed Demand Charge Rate of $4.00 per kilowatt-month, and calculated as follows:

- Demand Payments = $4.00 x Contractual PPA Capacity x 12 months

- Energy Payments.  Enron pays the Energy Payments which are calculated as follows:

- Energy Payments = Energy Charges x Annual Generation

- Energy Charges are inflated at 3% per annum.

- Start Charges.  Enron pays the Start Charges which are defined as follows:

- Start Charges = Start Charge ($/Turbine/Start) x 75 Starts x Number of Turbines

Start Charges escalate at 3% per annum.

2.	Merchant Price Period Operating Revenue Assumptions

The merchant price period extends from January 1, 2004 through December 31st, 2020 for all the 6 Plants.  Merchant capacity prices for the Plants have been independently assessed by ICF.  ICF has provided three capacity price forward curves for the Plants: the TVA curve for the Caledonia, New Albany, Brownsville and Gleason Plants; the Com Ed curve for the Wilton Center Plant; and the Southern ECAR curve for the Wheatland Plant.  The model adjusts ICF’s real capacity price projections to nominal values utilizing an inflation factor of 3%.

- Demand Payments.  Demand Payments are determined as follows:

Demand Payments = Contractual PPA Capacity x ICF Base Case Capacity Price x 12 months

ICF Base Case Capacity Prices are listed in the table below.

ICF Base Case Capacity Prices

(Nominal $/kW–month)

|  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TVA | 6.42 | 6.74 | 6.82 | 6.91 | 7.00 | 7.09 | 7.18 | 7.32 | 7.46 | 7.60 | 7.74 | 7.89 | 8.00 | 8.11 | 8.23 | 8.35 | 8.47 |
| Southern ECAR | 6.77 | 7.13 | 7.27 | 7.42 | 7.57 | 7.73 | 7.88 | 7.98 | 8.09 | 8.19 | 8.30 | 8.40 | 8.53 | 8.66 | 8.79 | 8.92 | 9.06 |
| Com Ed | 6.70 | 7.01 | 7.15 | 7.30 | 7.45 | 7.60 | 7.75 | 7.90 | 8.06 | 8.21 | 8.38 | 8.54 | 8.67 | 8.81 | 8.94 | 9.08 | 9.22 |

- Variable Revenues.  Variable Revenues are calculated as follows:

Variable Revenues = [(1/3) x Start Charge ($/Turbine/Start x 75 Starts Per Year x Number of Turbines] + [Energy Charge x Annual Generation]

Only a third of the Start Charges are additional revenues, as ICF’s capacity price projections have 2/3 of the value of major maintenance costs embedded as a fixed value.  Start Charges are inflated at 3% per annum.

Energy Charges are escalated at 3% per annum.

- Amortization of Power Contract.  The Power Contract Liability is amortized on a straight-line schedule over the Fixed Price Period.

3.	Interest Income

Interest income on cash balances, based on 25% of annual EBITDA (less Amortization of Power Contract), has been included in the revenues.  The model assumes an interest rate of 5% per annum.

C.	Operating Costs Assumptions

- Fixed O&M.  Fixed O&M includes payroll expenses and other fixed O&M expenses. The amount of annual fixed O&M is approximately $5.2 million for the 1999 Plants and $4.2 million for the 2000 Plants ($ 2000).  Both are inflated at 3% per annum.

- Variable O&M.  Variable O&M expenses include water costs and variable maintenance expenditures, and are calculated as follows:

- Variable O&M = Variable O&M Rate x Annual Generation

Variable O&M per unit is inflated at 3% per annum.

- Major Maintenance.  The model assumes an annual major maintenance expense of approximately $1.35 million for the 1999 Plants and $1.39 million for the 2000 Plants ($ 2000), assuming 75 starts/year.  Major maintenance expenditures are inflated at 3% per annum.

- Owner’s Expense.  The Owner’s Expense includes Insurance, Utilities, Interconnection Fees, Gas Pipeline Metering Cost and Miscellaneous Expenses.  The amount of the Owner’s Expense is estimated at $1.2 million for the 1999 Plants and $1.1 million for the 2000 Plants.

- Property Taxes.  The amount of the property taxes is estimated at $1.3 million for the 1999 Plants and $0.6 million for the 2000 Plants ($ 2000).  Property taxes vary based on abatement programs and other local issues.  Property taxes are not escalated annually.

- Franchise Tax. Franchise Tax is calculated for Brownsville, Gleason, New Albany, Caledonia and Wilton.  For Brownsville and Gleason, Tennessee imposes a .25% tax on the higher of (1) capital stock less treasury stock or stock held in other Tennessee corporations, retained earnings, indebtedness to, or guaranteed by, affiliated corporations and all reserves that do not represent legal liabilities, or, (2) the cost of all property owned less book (GAAP) accumulated depreciation.  For New Albany and Caledonia, Mississippi imposes a .25% tax on corporation capital employed in Mississippi.  The measure of capital includes stock, paid-in-capital, surplus and retained earnings less certain reserves.  For Wilton, Illinois imposes a franchise tax, which is the product of the computed paid-in capital multiplied by a .15% (drops to .10% after first year) rate.  The computed paid-in capital is comprised of consideration paid for stock, any other consideration contributed to the corporations by a shareholder and any amounts added or transferred to paid-in capital by the board of directors.

- Wheatland Adjusted Gross Income Tax and Gross Receipts Tax. Indiana income is subject to the greater of a 3.4% adjusted gross income tax or a 1.2% gross income tax.  The adjusted gross income tax are based on federal net income, adjusted for specific Indiana additions and subtractions.  The gross income tax base is total gross receipts, without any deductions for expenses or related cost.

D.	Accounting and Tax Assumptions

- Depreciation and Amortization.  The 1999 and 2000 Project Costs are depreciated based on a 15-year MACRS depreciation schedule for the calculation of cash taxes.  The 1999 and 2000 Project Costs, and Power Contract Liability are depreciated over a 30-year straight-line schedule, with a residual value for the assets of 10%.

- Income Taxes.  Federal tax and State income tax benefits from the Plants are calculated assuming utilization on a carry forward basis at the holding company level.  The applicable local state income tax rates are listed in the Key Inputs table.

3-b.	 Financial Model

4.	S&P’s Write-up of Enron Generation Company

# ENRON GENERATION COMPANY, LLC

Analysts: Jeffrey Wolinsky, CFA, New York (1) 212-438-2117

Peter Rigby, New York (1) 212-438-2085

RATING ASSIGNED:	BB+ (Confidential)

DATE:			November 3, 1999

OUTLOOK:		STABLE

$775 million senior secured bonds to be issued in three tranches:

$100 million Tranche A bonds maturing in 2003

$200 million Tranche B bonds maturing in 2009

$475 million Tranche C bonds maturing in 2019

RATIONALE:

Standard & Poor’s assigned a BB+ rating (Confidential) to Enron Generation Company, LLC’s (EGC), $775 million senior secured bonds.  EGC owns a 99% limited partnership interest in six natural gas-fired simple-cycle power plants, with a capability of 3,159 MW located in Tennessee, Mississippi, Kentucky, Indiana and Illinois.  About half of the facilities are in commercial operation and the other half are expected to be in service by July 2000.  The rating reflects the following risks:

- Merchant risk under the power purchase agreement (PPA) during the market price period (2004-2019).  Because the facilities are defined as peaking facilities, they rely on capacity revenues for cash flow stability.  Average prices for capacity are expected to be much more volatile than average prices for electricity.

- The inability of the project to enter into sales agreements during the market price period in excess of five years.  Short-term sales agreements increase cash flow volatility and increase risk for bondholders.

- An auction process under the PPA that gives ECT the right, but not the obligation to purchase 70% of any block of power at the auction price.  Standard & Poor’s concludes that the value of this option could be reflected through lower bid prices.

- A moderate amount of technology risk.  The turbines range from commercially proven models with significant operating history to new models with limited or no commercial history.  The mix also includes modified older turbine models with limited commercial history for the modifications.

The following strengths offset the risks at the BB+ level:

- Substantial liquidity in the form of a 12 month debt service reserve fund during the merchant period and a restrictive covenant package that limits distributions to equity participants.

- The flexibility of the plants to deliver power into multiple market areas decreases their susceptibility to isolated regional problems.  The plants are all located on 500kV transmission lines and high pressure gas pipelines, which also mitigates deliverability constraints.

- A demonstrated need for peaking capacity in the MAIN, ECAR and TVA market regions.  The combination of declining reserve margins and a disproportionate amount of base load capacity in each region, substantiate a need for peaking load generation in the near-term.

- The expertise of Enron as an energy marketer to obtain gas and sell the output of the plant during the merchant period (2004-2019).  Enron is the largest marketer of natural gas and electricity in the US.

- Low construction risk.  Some of the 1999 facilities are in operation and all of the facilities are scheduled to be in operation by July 2000.

# Outlook: STABLE

The Stable outlook reflects the anticipated completion of the projects without significant delays.  The plants are expected to operate in accordance with the guarantees.  The anticipated volatility in revenues in conjunction with the fall-away provision of the debt service reserve fund (DSRF) make an upgrade to investment grade unlikely.  The additional six month debt service reserve fund requirement during the merchant period falls away if EGC has maintained an investment grade rating from Standard & Poor’s for at least 2 years and Standard & Poor’s affirms that the rating will not be downgraded because of the fall away.  Alternatively, a sustained depression in capacity prices during the merchant period could cause a downgrade.

With the installation of evaporative coolers, output will increase to 466 for Caledonia and 371 for New Albany.

Excluding the entire month of March

Excluding the entire month of October