- The FilesDownload application is designed based on SUB352-C, SCADA data backup procedure (attached).

- Requirements:

- The FilesDownload application must be installed in C:\Visupro on Park PC

- If MetMast is installed, in the Network Overview from VisuPro, the Plant Name of the MetMast must be in this format:  Met#  (#)

- Installing FilesDownload Application:

- From the CD provided, double click on DwnldSetup.EXE

- Follow the prompted installation screen.   NOTE:  This application must be installed in C:\Visupro

- Running FilesDownload:

- Go to C:\Visupro directory and double click on FilesDownload.exe

To create a shortcut on the Desktop, left-click, drag and drop FilesDownload.exe to the Desktop

- Select the appropriate download date

- Click on the Download button to download

- Click Exit when finished

| Application Files | Description |
| --- | --- |
| C:\Visupro\TodayHH_MM_Sec | When downloading is completed, the application saves all downloaded files in this folder located at directory where the application is installed (Park PC, C:\Visupro). Today=download date, HH=hour, MM=minute, Sec=second |
| C:\Visupro\DownloadLogMonDDYY.log | Logs the downloading status (Mon=abbr. Month, DD=2-digit Date, YY=2-digit Year). User must Exit by clicking the Exit button. |
| C:\Visupro\CurtailIP.dat | Contain the IP address of the Park PC that has the curtailment software installed. |