Stranded Costs Associated with California Qualifying Facilities

Confidential Report

Prepared for

Enron Energy Services

## November 19, 1999

Prepared by:

MRW & Associates, Inc.

1999 Harrison Street, Suite 1440

Oakland, CA 94612

(510) 834-1999

PREFACE Enron Energy Services (Enron) has requested that MRW & Associates, Inc. (MRW) prepare estimates of the stranded costs associated with California qualifying facilities (QFs). While MRW's assessment is based on extensive experience in power markets as well as its best professional judgement, MRW cannot guarantee the accuracy of any projections contained in this report. Moreover, none of MRW's discussion within this report should be interpreted as providing legal opinion on these topics. This project was executed under the direction of Mr. Robert B. Weisenmiller, a Principal of MRW. Members of the project team included Mr. William A. Monsen, a Principal of MRW, Ms. Michele S. Kito, a Senior Associate and Mr. Andrew R. Price and Mr. Derik J. Broekhoff, both Associates with the firm. This report is confidential and can only be used by Enron.

TABLE OF CONTENTS

| CHAPTER 1 Introduction and Summary |  |
| --- | --- |
| 1.1 Introduction………………………………………………………………………... | 1 |
| 1.2 Background………………………………………………………………………… | 1 |
| 1.21 Stranded Offer Contract Payment Opinions……………………………… | 1 |
| 1.22 Operational Projects…………………………………………………….. | 4 |
| 1.3 Organization of this Report………………………………………………………... | 5 |
| CHAPTER 2 Regulatory Issues |  |
| 2.1 Conversion from SRAC to PX Pricing…………………………………………….. | 6 |
| 2.1.1 Current SRAC Pricing Formula…………………………………………… | 6 |
| 2.1.2 Conversion Timetable……………………………………………………… | 7 |
| 2.1.3 Historical SRAC and PX Price Comparison………………………………. | 8 |
| 2.2 The PX Clipping Issue……………………………………………………………... | 8 |
| 2.3 QF Contract Restructuring and Buy-Outs…………………………………………. | 10 |
| CHAPTER 3 Pacific Gas and Electric |  |
| 3.1 Introduction………………………………………………………………………... | 11 |
| 3.2 Major Assumptions………………………………………………………………… | 11 |
| 3.3 Results……………………………………………………………………………... | 13 |
| CHAPTER 4 Southern California Edison |  |
| 4.1 Introduction………………………………………………………………………... | 17 |
| 4.2 Major Assumptions………………………………………………………………… | 17 |
| 4.3 Results……………………………………………………………………………... | 19 |
| CHAPTER 5 San Diego Gas & Electric |  |
| 5.1 Introduction………………………………………………………………………... | 23 |
| 5.2 Assumptions……………………………………………………………………….. | 23 |
| 5.3 Results……………………………………………………………………………... | 24 |
| APPENDIX A PG&E, SCE, and SDG&E Current As-Available Capacity Prices ……………………….. | 27 |
| APPENDIX B PG&E, SCE, and SDG&E Fixed, Forecasted Energy Price Schedule, Annual Average….. | 28 |
| APPENDIX C PG&E, SCE, and SDG&E 10-year levelized energy prices, annual average……………… | 29 |
| APPENDIX D PG&E, SCE, and SDG&E Incremental energy rates, annual average…………………….. | 30 |
| APPENDIX E PG&E and SCE As-delivered Capacity Shortage Cost Schedule…………………………. | 31 |
| APPENDIX F PG&E, SCE, and SDG&E Firm Capacity Prices………………………………………….. | 32 |

# CHAPTER 1

# INTRODUCTION AND SUMMARY

## 1.1	Introduction

# Enron Energy Services (Enron) has requested that MRW & Associates (MRW) provide estimates of the stranded costs associated with California qualifying facilities (QFs) between 2000 and the end of the contract terms.  In addition, Enron requested that MRW provide this information for each year, with monthly variations and including assumed monthly energy production.  Finally, Enron requested information on the conversion from short-run avoided cost (SRAC) pricing to power exchange (PX) pricing in terms of the timing and the potential affect on the calculation of stranded costs.  This chapter provides a general discussion of qualifying facilities, the types of contracts that the utilities have executed with the QFs, and briefly describes the organization of this report.  The remainder of this report discusses the SRAC to PX conversion issue and other related regulatory issues and the estimate for each of the three utilities—Southern California Edison (SCE), Pacific Gas & Electric (PG&E) and San Diego Gas & Electric (SDG&E).

## Background

### 1.2.1	Standard Offer Contract Payment Options

In response to the passage of the Public Utilities Regulatory Policy Act, the California Public Utilities Commission (CPUC) developed four “standard” offer contracts—three short-run standard offers based on shortage and running costs of existing utility resources, and a long-run offer based on the costs of a new utility resource that could be avoided by purchasing power from QFs. The standard offers are summarized in Table 1-1 and discussed further below:

- Standard Offer 1 (SO1):  This standard offer is for as-available QFs, which could not make a firm commitment to be available at peak times.  The capacity payment generally used a combustion turbine as a proxy for capacity shortage costs, and is paid in cents/kWh during peak and mid-peak periods.  The capacity price is generally adjusted downwards if the utility has excess capacity. The energy payment is equal to the short-run avoided cost of energy, which is currently determined by a formula generally indexed to the border price of gas, as discussed in Section 2 of this report. The term of the contract is for a minimum of one year and a maximum of thirty years.  Appendix A contains current as-available capacity payments.

- Standard Offer 2 (SO2):  This standard offer is for QFs who can make a firm commitment and maintain an 80 percent capacity factor during summer peak hours.  The energy payment is the same as in SO1.  The capacity payment is forecasted, fixed, and levelized for the life of the contract to protect against reductions in the capacity value from the addition of new resources. QFs earn a bonus for peak-period capacity factors above 85 percent.  The maximum contract term is 30 years.

Table 1-1

Summary of Standard Offer Contracts

| Standard Offer Contract | # General Information | Energy Payments | Capacity Payments |
| --- | --- | --- | --- |
| Standard Offer 1 | Available for as-available QFs, which can no make a firm commitment to be available at peak timers | Short-run avoided costs | As-delivered capacity prices |
| Standard Offer 2 | Available for QFs who can make a firm commitment and maintain an 80% capacity factor during summer peak hours; maximum contract term is 30 years | Short-run avoided costs | Forecasted, fixed, and levelized capacity prices |
| Standard Offer 3 | A simplified version of the SO1 available for QFs smaller than 100 kW; minimum contract term is one year | Short-run avoided costs | As-delivered capacity prices |
| Interim Standard Offer 4 | Guarantees fixed energy payment rates over long time spans (up to 10 years) to provide QFs with some certainty in return on their investments; contract term ranges from 15 to 30 years | EPO1—Fixed, forecasted avoided energy costs for up to 10 years, after which they revert to SRAC EPO2—Fixed, forecasted, and levelized avoided energy costs for up to 10 years, after which they revert to SRAC EPO30-Based on fixed, forecasted utility Incremental Energy Rates (IERs) and current utility oil and gas costs | CPO1—Short-run capacity prices similar to those in SO1 CPO2—Fixed, forecasted as-available capacity prices, which are not levelized, for up to 10 years, after which they revert to the highest between the as-delivered capacity price and the 10th year fixed capacity price CPO3—Fixed, forecasted, and levelized firm capacity prices for the term of the contract |

## Standard Offer 3 (SO3):  This standard offer is a simplified version of the SO1 for QFs smaller than 100 kW. The contract has a minimum term of one year.

## Interim Standard Offer 4 (ISO4):  This standard contract guarantees fixed energy payment rates over long time spans (up to 10 years) to provide QFs with some certainty in the return on their investments.  There are three energy and three capacity payment options, as follows:

- Under Energy Payment Option 1 (EPO1), energy prices are fixed and are based on forecasted avoided energy costs for the first period (up to 10 years), after which they revert to short-run avoided costs for the remainder of the contract.  Natural gas fired QFs could only have 20% of their energy price based on fixed and forecasted energy prices under EPO1. receiving the fixed energy prices under EPO1. Appendix B contains the fixed, forecasted avoided energy prices for PG&E, SCE, and SDG&E.

- Under Energy Payment Option 2 (EPO2), energy prices are fixed, forecasted, and levelized for the first period of the contract (up to 10 years), after which they revert to short-run avoided costs for the remainder of the contract.  Gas-fired cogenerators could not use this option.  In general, few QFs opted for this payment option due to security deposit requirements. Appendix C contains the fixed, forecasted, and levelized avoided energy prices for PG&E, SCE and SDG&E, for QFs on line between 1983 and 1987.

- Under Energy Payment Option 3 (EPO3), energy prices are based on fixed, forecasted utility Incremental Energy Rates (IERs) and current utility fuel costs.  Appendix D contains the fixed, forecasted IERs for PG&E, SCE and SDG&E.

- Capacity Payment Option 1 (CPO1) provides payments based on as-delivered capacity prices as set by the utilities and approved by the CPUC.

- Capacity Payment Option 2 (CPO2) provides fixed, forecasted shortage costs, which are not levelized, for the first period of the contract.  At the end of the fixed price period, the QF receives the highest capacity price between as-delivered and the tenth year price.  Appendix E contains these fixed, as-delivered shortage cost schedules for PG&E and SCE.

- Capacity Payment Option 3 (CPO3) provides firm capacity payments which are based on forecasted, levelized shortage costs for the full term of the contract. Appendix F contains the firm capacity payment schedules for PG&E and SCE.  Most cogeneration, geothermal, biomass, and solar projects chose this option.  Few hydroelectric and wind projects could guarantee firm capacity.

### Operational Projects

The currently operational projects, by standard offer contract type, are shown in Table 1-2.  As shown in this table, PG&E and SCE each have in excess of 300 contracts representing over 9,500 MW combined.  SDG&E has far fewer contracts than the other two utilities, with only 65 contracts representing 329 MW.  For all of the utilities, SO2, ISO4 and negotiated contracts, generally with fixed capacity payments, represent the bulk of the contracts signed.  These three types of contracts represent 87% of all operational PG&E contracts, 93% of all operational SCE contracts, and 74% of operational SDG&E contracts.  As shown in Table 1-3, contracts for power supplied by cogeneration facilities account for most of the capacity:  63% for PG&E, 49% for SCE, and 88% for SDG&E.  Moreover, cogeneration likely accounts for a greater proportion of the firm capacity provided because wind and hydroelectric installed or nameplate must be de-rated to determine firm capacity.

# Table 1-2

# Operational Projects, by Standard Offer Contract Type

| Contract Type | Number of Contracts | Nameplate Capacity (MW)* |
| --- | --- | --- |
| PG&E |  |  |
| SO1 | 59 | 565 |
| SO2 | 28 | 826 |
| SO3 | 51 | 3 |
| SO4 | 164 | 2,944 |
| Negotiated |  | 4,339 |
| Total | 302 |  |
| SCE |  |  |
| SO1 | 73 | 374 |
| SO2 | 10 | 326 |
| SO3 | 102 | 8 |
| SO4 | 105 | 2,084 |
| Negotiated | 59 | 2,494 |
| Total | 349 | 5,286 |
| SDG&E |  |  |
| SO1 | 29 | 84 |
| SO2 | 2 | 103 |
| SO3 | 15 | 1 |
| SO4 | 8 | 116 |
| Negotiated | 11 | 26 |
| Total | 65 | 329 |

Source:  Cogeneration and Small Power Production Reports

* Sums may not equal the total due to rounding

Table 1-3

# Operational Projects, by Fuel Type

| Utility/Facility Type | ## Number of Projects | Nameplate Capacity (MW)* |
| --- | --- | --- |
| # PG&E |  |  |
| Bio-Gas | 18 | 42 |
| Biomass | 22 | 421 |
| Cogeneration | 103 | 2,720 |
| Geothermal | 8 | 153 |
| Hydroelectric | 96 | 218 |
| Solar | 3 | <1 |
| Waste to Energy | 10 | 144 |
| Wind | 42 | 641 |
| Total | 302 | 4,339 |
| # SCE |  |  |
| Biomass | 31 | 346 |
| Cogeneration | 177 | 2,609 |
| Geothermal | 20 | 751 |
| Small Hydro | 44 | 127 |
| Solar | 12 | 379 |
| Wind | 65 | 1,074 |
| Total | 349 | 5,286 |
| # SDG&E |  |  |
| Bio-Gas | 7 | 25 |
| Cogeneration | 45 | 288 |
| Hydroelectric | 7 | 7 |
| Photovoltaic | 3 | <1 |
| Steam Turbine | 3 | 9 |
| Total | 65 | 329 |

Source:  Cogeneration and Small Power Production Reports

* Sums may not equal the total due to rounding

## 1.3.	Organization of this Report

# The remainder of this report is organized as follows. Chapter 2 discusses the conversion of SRAC to PX pricing, the so-called PX “clipping issue,” and other regulatory issues such as QF buy-outs and contract renegotiation and restructuring.  Chapters 3, 4, and 5 discuss the individual assumptions used in developing our estimate of the stranded costs associated with QFs.

# CHAPTER 2

# REGULATORY ISSUES

A number of regulatory issues have arisen with regard to QFs in California, including (1) conversion from short-run avoided cost (SRAC) pricing to Power Exchange (PX) pricing, (2) the so-called “PX clipping” issues, and (3) QF contract restructuring and buy-outs.  These three issues are discussed in this chapter.  In the following chapters, we discuss how these issues are addressed in our modeling.

## 2.1	Conversion from SRAC to PX Pricing

### Current SRAC Pricing Formula

Since July 1997, SRAC pricing has been based upon a formula agreed to by the utilities and QFs.  The formula is as follows:

Price = {PBase + PBase * [(GPn – GPBase)/GPBase] * Escalation Factor} * TOU Conversion Factors

where,

Pbase 	= 	Staring SRAC Price

GPn	=	Average California Border Gas Price Index

GPBase	=	Starting Gas Price

In essence, the formula indexes the base SRAC price to the border price of gas.   The starting parameters for each of the three utilities are specified in Table 2-1 below.  In addition, line loss adjustments at the transmission level are 1.023 for SCE, 1.02 – 1.03 for SDG&E, and 1.0 for PG&E.  The final numbers are also adjusted for TOU conversion factors, which differ considerably across the utilities.  Section 2.1.3 below discusses historical SRAC prices and compares SRAC prices to PX prices over a similar period.

Table 2-1

SRAC Assumptions

|  | SCE | PG&E | SDG&E |
| --- | --- | --- | --- |
| Winter | October – May | November – April | October - April |
| Starting SRAC Price | $20.808/MWh | $23.973/MWh | $22.181/MWh |
| Starting Gas Price | $1.3975/MMBtu | $1.6394/dth | 1.3975/MMBtu |
| Escalation Factor | 0.7067 | 0.7875 | 0.6050 |
| Summer | June-September | May – October | May – September |
| Starting SRAC Price | $20.808/MWh | $18.748/MWh | $22.181/MWh |
| Starting Gas Price | $1.3975/MMBtu | $1.4457/dth | 1.3975/MMBtu |
| Escalation Factor | 0.7067 | 0.6270 | 0.6050 |

### 2.1.2	Conversion Timetable

At some point in the not too distant future QFs currently receiving SRAC payments will begin receiving energy payments based upon the PX.  However, the timing and many implementation details remain to be decided.  AB 1890 Section 390 specified a number of criteria that had to be met before this transition would occur.  Namely, Section 390 specified that:

The short-run avoided cost energy payments paid to nonutility power generators by electrical corporations shall be based on the clearing price paid by the independent Power Exchange if (1) the commission has issued an order determining that the independent Power Exchange is functioning properly for the purposes of determining the short-run avoided cost energy payments to be made to nonutility power generators, and either (2) the fossil-fired generation units owned, directly or indirectly, by the public utility electrical corporation are authorized to charge market-based rates and the "going forward" costs of those units are being recovered solely through the clearing prices paid by the independent Power Exchange or from contracts with the Independent System Operator, whether those contracts are market-based or based on operating costs for particular utility-owned powerplant units and at particular times when reactive power/voltage support is not yet procurable at market-based rates at locations where it is needed, and are not being recovered directly or indirectly through any other source, or (3) the public utility electrical corporation has divested 90 percent of its gas-fired generation facilities that were operated to meet load in 1994 and 1995.  However, nonutility power generators subject to this section may, upon appropriate notice to the public utility electrical corporation, exercise a one-time option to elect to thereafter receive energy payments based upon the clearing price from the independent Power Exchange.

In early July, the Independent Energy Producers Associated requested Commission action on the “one-time option to elect” conversion from SRAC to PX pricing. The Commission issued a decision on November 4 that would allow such conversion, but with true-up depending upon the outcome of the broader Section 390 proceeding, despite the fact that many QFs and their representatives opposed the true-up mechanism.

On July 28, 1999, Commission Neeper issued a Coordinating Commissioner’s Ruling on regarding the scope, process and schedule for addressing the broader AB 1890 Section 390 issues.  The three issues identified by Commission Neeper included:  (1) defining explicitly what PX-based clearing price to use for QF payments, (2) determining whether the Section 390(c) criteria have been met, and (3) determining the value of capacity, if any, implicit in the PX clearing price.  In addition, other issues include the appropriate line loss factor to use, which QFs will be affected, and if the methodology would be subject to change.  The value of capacity issue is discussed in the following section.  The Commission commenced a rulemaking regarding Section 390 issues at its last meeting (See attachment 1 for a copy of the draft rulemaking; the final rulemaking order has some modifications).  Commissioner Neeper explicitly stated that he anticipated a decision on the Commission’s agenda “no later than June of 2000, in advance of the season of peak demand.”  Thus, while we expect that a decision regarding these issues would not be issued before June 2000, we would also not be surprised if there were considerable delay or the Commission adopted an interim mechanism, subject to change at a future date.  Privately, some parties do not expect that this issue will be addressed before the end of 2001.

### 2.1.3	Historical SRAC and PX Price Comparison

On average, it appears that SRAC prices have exceeded PX prices for SCE and SDG&E QFs, but that SRAC prices are slightly less than the PX prices for QFs selling to PG&E, as shown in Table 2-2.  This suggests that it is more likely that QFs in PG&E’s service territory would elect to switch from SRAC pricing to PX pricing by July 2000, while it is less likely that SCE and SDG&E QFs would voluntarily elect to switch.  However, because an individual QF’s production and the corresponding SRAC and PX prices vary by time-of-use period, the decision to switch will depend upon the unique circumstances of each QF. Additional information on historical SRAC prices and PX prices is contained in Attachment 1.

## The PX Clipping Issue

Considerable controversy has arisen regarding whether QFs receiving PX energy payments in the future will have these payments reduced if the PX energy price contains a “capacity component” and how this “capacity component” will be measured.  AB 1890 Section 390(d) states that:

If a nonutility power generator is being paid short-run avoided costs energy payments by an electrical corporation by a firm capacity contract, a forecast as-available capacity contract, or a forecast as-delivered capacity contract on the basis of the clearing price paid by the independent Power Exchange as described in subdivision (c) above, the value of capacity in the clearing price, if any, shall not be paid to the nonutility power generator.  The value of capacity in the clearing price, if any, equals the difference between the market clearing customer demand bid at the level of generation dispatched by the independent Power Exchange and the highest supplier bid dispatched.

The QFs and their representatives have seized upon the second sentence and stressed that QF energy payments would be reduced if the market price is set by a demand bid and only by the difference between the market clearing customer demand bid and the highest supplier bid dispatched. To date, demand bids have not often, if ever, cleared the market.

Others, including the Office of Ratepayer Advocates and some of the utilities have placed greater weight to the first sentence and the statement that “the value of capacity in the clearing price, if any, shall not be paid to the nonutility power generator.”  In particular, ORA stated “one interpretation of [Section] 390(d) is that capacity only has value when there is not enough capacity.  That interpretation is inconsistent with the definition of capacity.”  ORA goes on to recommend consideration of alternative means to implement the [Section] 390 formula.

Table 2-2

Historical SRAC and PX Prices

| Time Period | PX Price (North of Path 15) | PG&E SRAC Price | PX Price (South of Path 15) | SCE SRAC Price | SDG&E SRAC Price |
| --- | --- | --- | --- | --- | --- |
| 1998 |  |  |  |  |  |
| April | 22.61 | 30.18 | 22.61 | 31.80 | 34.09 |
| May | 12.06 | 25.33 | 12.06 | 31.62 | 29.78 |
| June | 12.25 | 22.19 | 12.34 | 28.37 | 27.42 |
| July | 32.52 | 23.39 | 33.14 | 30.14 | 28.89 |
| August | 38.80 | 24.54 | 39.96 | 30.93 | 29.33 |
| September | 33.97 | 22.40 | 33.25 | 27.81 | 26.76 |
| October | 27.88 | 22.57 | 24.09 | 27.96 | 30.03 |
| November | 27.25 | 31.33 | 22.92 | 31.29 | 33.41 |
| December | 30.43 | 30.70 | 26.74 | 30.82 | 33.02 |
| Average | 26.45 | 25.84 | 25.27 | 30.09 | 30.30 |
| 1999 |  |  |  |  |  |
| January | 21.79 | 29.08 | 21.09 | 28.06 | 30.26 |
| February | 19.19 | 25.73 | 19.19 | 25.94 | 28.30 |
| March | 19.74 | 24.34 | 19.48 | 24.79 | 27.32 |
| April | 24.21 | 24.88 | 24.29 | 25.40 | 27.88 |
| May | 24.07 | 24.56 | 24.06 | 30.11 | 28.53 |
| June | 24.15 | 24.49 | 23.93 | 30.10 | 28.82 |
| July | 32.01 | 25.57 | 29.91 | 31.86 | 30.13 |
| August | 34.65 | 26.76 | 32.80 | 34.05 | 32.11 |
| September | 38.98 | 29.61 | 29.28 | 37.82 | 35.28 |
| October | 55.78 | 28.28 | 39.87 | 35.11 | 37.15 |
| Average | 29.56 | 26.34 | 26.47 | 30.36 | 30.60 |

This issue is likely to be extremely contentious. At one extreme, the Commission could determine that the PX energy price only contains a capacity component when it meets the Section 390(d) criteria and reduce the PX energy prices only by the difference between the market clearing demand bid and the last supply bid dispatched.  On the other hand, the Commission could determine that the PX energy price contains a capacity component at any time the PX price exceeds a threshold level (e.g., 6 cents/kWh) or meets other criteria (e.g., exceeds a price assuming a given gas price and upper bound heat rate, such as 5 cents/kWh when gas price equals $2.50/MMBtu with an upper bound heat rate of 20,000 Btu/kWh).

In response the Coordinating Commissioners Ruling, which was discussed in the previous section, parties have submitted preliminary comments on this and other issues (e.g., how to treat line losses) and proposed procedural schedules to address these issues, with many anticipating a final decision by June or July 2000.  Given these proposed schedules and Commissioner Neeper’s desire to issue a decision by June of 2000, we anticipate an order addressing these issues between June 2000 and the end of 2001.

## QF Contract Restructuring and Buy-Outs

A significant uncertainty in QF stranded costs estimates comes from contract restructuring and buy-outs. Utilities are guaranteed recovery of above market QF costs past the end of the rate freeze and therefore have no natural incentive to reduce these costs. In an effort to provide an incentive, the Commission, in its Restructuring Policy Decision D.95-12-063 (as modified by D.96-01-009), allowed Utilities to retain 10% of the net present value of the benefits of a successful contract buyout subject to true-up. This “shareholder incentive” must be reported by the utilities in their annual ATCP filing. Unfortunately, the shareholder incentive and an estimate of the net ratepayer benefits is almost all that is know about most contract buyouts. Specifics such as amortization periods are often kept confidential making buyouts difficult to model. In addition negotiations are not made public until a deal is struck, making it difficult to judge future buyout activity.

Certain QF’s have incentives to negotiate contract buyouts as well. In particular, QF’s with net operating income below the expected above market contract payments are buyout candidates. Utilities can offer to pay these QF’s their net operating income plus a portion of the restructuring benefit and still reduce overall stranded costs.

To date, SCE has been the most aggressive at negotiating contract buyouts. In its most recent ATCP, SCE reported 10 contract restructurings that have received Commission approval and 4 more that are pending. In addition, SCE notes that it has held negotiations with dozens more QFs (mostly unsuccessful) and will continue to do so. SDG&E proposed the auction off all of its QF contracts in A.97-12-039 as part of its divestiture of generation assets. The ALJ assigned to the case has issued a proposed decision approving the auction and the Commission is scheduled to consider the issue at its December 2 meeting. PG&E has shown minimal interest, or had minimal success, with contract negotiations reporting only 2 contract buyouts in its ATCP filings.

# CHAPTER  3

# PACIFIC GAS AND ELECTRIC

## 3.1	Introduction

This chapter presents MRW’s estimate of PGE’s ongoing qualifying facility stranded costs.  PG&E currently has 302 operational QFs and between July 1998 and June 1999 paid them $1.39 billion in energy and capacity payments.  PG&E realized only $640 million in revenues from these contracts, leaving over $745 million in QF-related stranded costs.  Although QF liabilities will decline rapidly as contracts and fixed price energy periods expire, the last contract is not scheduled to terminate until 2026 and PG&E’s QF obligations are by far the most significant source of post rate-freeze CTC.

MRW constructed a database of PG&E’s QF contracts using data from ER-94 filings, QF Semi-Annual Status Reports, the California Energy Commission and other sources.  Using this database, monthly capacity and above market energy payments are forecasted for each contract from January 2000 to the end of the contract term. The next section of this chapter discusses the assumptions that were used in developing MRW’s annual estimate of PG&E’s future stranded costs. Following the assumptions the results of MRW’s analysis are presented along with an assessment of the major uncertainties inherent in these figures. Finally the results are compared with stranded cost data recorded to date as well as with other estimates of future stranded costs.

## Major Assumptions

Major assumption include the following:

- Standard Offer 1 (SO1) and Standard Offer 3 (SO3) Contracts.  SO1 and SO3 contracts were assumed to have a minimal impact on total CTC costs.  PG&E has contracts with 59 SO1 and 51 SO3 QFs, representing a total of 526 MW of capacity.  For these facilities, however, both SRAC payments and as-available capacity payments are assumed to be based on PX clearing prices after 2001.   Thus, stranded costs for these facilities occur only for the first two years.  MRW’s model presents aggregated data for SO1 and SO3 contracts, instead of analyzing contracts individually.  The model allows for toggling on and off the SO1 and SO3 contributions to total CTC costs.

- Fixed Capacity Payments.  Fixed capacity payments for SO2 and SO4 contracts were calculated using separate levelized payment schedules.  SO4 firm capacity prices are listed in Appendix F.  SO2 firm capacity prices were determined using a similar schedule.

- As-Available Capacity (AAC) Payments.  AAC payments were based on a predefined cost schedule for SO4 contracts (Appendix E), and on current AAC prices published by PG&E for all other contracts (Appendix A).  For each QF, payments were determined by multiplying its contracted as-available capacity by the AAC price, and then by an “as-available adjustment factor” to account for variability in the timing of generation (AAC payments are only made for capacity provided during peak periods).

- Energy Payments.  For SO4 contracts with time remaining in the fixed-price portion of their energy contracts, energy payments were computed using the appropriate Payment Option schedule (Appendices B-D).  After the fixed price period, energy payments were assumed to revert either to SRAC payments, or to the PX clearing price (see below).

- Yearly Payment Distribution.  Annual QF capacity and energy payments were dis-aggregated by month according to load profiles specific to PG&E.  Capacity payments were distributed according to PG&E’s 1998 Monthly Firm Capacity Allocation Factors.  Monthly energy payments were based on the distribution of QF generation from July 1998 through June 1999, as presented in PG&E’s 1999 ATCP.

|  | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Capacity | 4% | 4% | 4% | 4% | 13% | 13% | 13% | 13% | 13% | 13% | 4% | 4% |
| Energy | 9% | 7% | 7% | 8% | 8% | 10% | 9% | 9% | 8% | 8% | 9% | 7% |

For the year in which a contract terminates, the capacity payment for the final month was prorated based on the percent of the month that had elapsed.

- SRAC to PX Conversion. Energy payments were assumed to be based on the SRAC formula for 2000 and 2001. For 2000 and 2001, we estimate future SRAC prices in two different ways.  First, we assume that the relationship of SRAC to PX prices in the future is consistent with the relationship over the past 12 months.  For PG&E, this results in a difference between SRAC and PX prices, on average of $2/MWh.  (See spreadsheet entitled “PG&E SRAC and PX Data” for historical SRAC and PX data compared).  In addition, we also model SRAC prices based upon estimate future gas prices of $2.13/MMBtu in 2000 and $2.19/MMBtu in 2001. For PG&E, this results in smaller differentials between SRAC and PX prices. Gas price assumptions can easily be changed to determine the effect on SRAC prices.  However, this is done outside of the main model in the spreadsheets entitled “Forecasted SRAC Prices” and then must be imported into the model.  Based upon our estimates for PG&E, we find that PX prices exceed SRAC prices, on average, through 2001 and that negative stranded costs are generated (i.e., stranded benefits).  This result, however, is sensitive to assumptions used for PX price projections—see the discussion under “Results,” below.

After 2001, we assume that SRAC prices convert to PX pricing and that there are no additional stranded costs or benefits associated with the energy payments (with the exception of the clipping issue, which is treated separately). After 2001 all energy payments (except for QFs still in their fixed price period) are assumed to be based on the PX market clearing price. This eliminates above market costs associated with energy payments and leaves capacity payments as the primary contributor of QF stranded costs on a going forward basis.  Furthermore, for new contracts, the PX market clearing price will be used to set both capacity and energy payments. This prevents newly executed contracts from contributing to future stranded costs.

- PX Price Forecast.   MRW’s used its own PX price forecast to determine the above market portion of fixed energy payments, SRAC versus PX costs, and clipping effects.  Annual unconstrained clearing prices were projected to start at $28.42 in 2000 and, after declining slightly in 2001 and 2002, to increase to $63.61/MWh by 2028. The forecasted PX prices were shaped on a monthly basis using historical PX price variations. The PX price assumptions can be changed in the assumptions worksheet of the PG&E Excel workbook accompanying this report.

- Energy Price Clipping. As discussed in Chapter 2, there is considerable controversy regarding the PX clipping. In attempt to approximate the potential effects of clipping, MRW assumed that QFs would be denied payments that are arguably in excess of the most expensive marginal resource.  MRW defined this as a gas-fired facility with a heat rate of 20,000 and also developed an annual gas price forecast.  MRW first forecast future PX prices and assumed the same hourly distribution as seen over the past 12 months (i.e., November 1998 through October 1999) and then took the monthly average of this prices (note that this is also done in the model).  MRW then assumed that PX prices would be capped in each hour that the PX exceeded the most expensive marginal resource, defined by forecasted gas prices and a heat rate of 20,000.  MRW then took the monthly average for these revised PX prices.  These assumptions (i.e., forecasted gas prices, heat rate, assumed shape) can be changed in a separate spreadsheet entitled “PX Clipping.” Clipping is assumed to start in 2002. Clipping can be turned on or off in the PG&E spreadsheet using the toggle located in the assumptions worksheet of the workbook accompanying this report.

- Contract Buyouts.  PG&E reported a total of ten buyouts or contract terminations in its 1998 and 1999 ATCP filings.  However, most were low-capacity facilities at the end of the fixed-price portion of their energy contracts.  Where possible, MRW has provided estimates of annual buyout payments, computed as the annualized net present value of future contract payments.  For PG&E, however, the impact of buyouts is small.

## Results

The results of MRW’s analysis are shown in Table 3-1.  As with both SCE and SDG&E, the bulk of PG&E’s stranded costs are associated with fixed capacity payments made to QFs with SO2 and SO4 contracts.  These payments remain relatively level over time, but decrease as the long-term contracts expire.  Fixed energy payments (less revenue from PX sales) constitute 21 percent of stranded costs in 2000, but decline rapidly as QFs reach the end of the fixed-price portion of their contracts.  After 2001, fixed energy payments actually produce stranded benefits, i.e., PG&E pays less under contractually fixed energy prices than it receives from selling QF energy on the PX.  This results almost entirely from PG&E’s contract with the 240 MW Crockett Cogeneration Facility, whose fixed energy period lasts until 2009.

Table 3-1.  PG&E Stranded Cost Analysis

| Year | PG&E Fixed Capacity | SO1 & SO3 As-Available Capacity | Fixed Energy | PX/SRAC Conversion | PX Clipping | Total (Unshaded) |
| --- | --- | --- | --- | --- | --- | --- |
| 2000 | 528,746 | 3,187 | 136,497 | (28,068) | 38,876 | 640,362 |
| 2001 | 524,462 | 3,187 | 55,524 | (12,354) | 35,461 | 570,818 |
| 2002 | 519,625 |  | (2,884) |  | 33,394 | 483,348 |
| 2003 | 515,297 |  | (3,150) |  | 33,498 | 478,649 |
| 2004 | 503,651 |  | (4,128) |  | 35,389 | 464,134 |
| 2005 | 499,989 |  | (8,462) |  | 42,866 | 448,661 |
| 2006 | 499,153 |  | (9,730) |  | 47,006 | 442,417 |
| 2007 | 475,928 |  | (11,394) |  | 49,884 | 414,650 |
| 2008 | 464,328 |  | (12,673) |  | 52,701 | 398,953 |
| 2009 | 427,656 |  | (85) |  | 49,505 | 378,066 |
| 2010 | 408,113 |  | - |  | 50,082 | 358,031 |
| 2011 | 397,277 |  | - |  | 49,284 | 347,992 |
| 2012 | 379,678 |  | - |  | 47,376 | 332,302 |
| 2013 | 371,134 |  | - |  | 45,306 | 325,828 |
| 2014 | 352,127 |  | - |  | 42,344 | 309,783 |
| 2015 | 325,962 |  | - |  | 38,610 | 287,352 |
| 2016 | 307,386 |  | - |  | 36,362 | 271,024 |
| 2017 | 283,663 |  | - |  | 33,609 | 250,054 |
| 2018 | 234,477 |  | - |  | 26,739 | 207,739 |
| 2019 | 188,031 |  | - |  | 19,895 | 168,137 |
| 2020 | 104,633 |  | - |  | 9,204 | 95,429 |
| 2021 | 63,469 |  | - |  | 5,878 | 57,591 |
| 2022 | 54,214 |  | - |  | 5,671 | 48,543 |
| 2023 | 54,184 |  | - |  | 5,813 | 48,371 |
| 2024 | 54,184 |  | - |  | 5,958 | 48,226 |
| 2025 | 52,475 |  | - |  | 5,960 | 46,514 |
| 2026 | 6,714 |  | - |  | 4 | 6,709 |
| 2027 | - |  | - |  | - | - |
| Total | $ 8,596,557 | $ 6,373 | $ 139,515 | $ (40,422) | $ 846,677 | $ 7,929,682 |

As stated above, we assume that after 2001 energy payments based on SRACs will convert to payments based PX prices.  Our base-case projections suggest that the difference between SRAC and PX prices will result in stranded benefits to PG&E totaling close to $28 million in 2000 and $12 million in 2001.  However, this is premised on PX forecasts based on the last 12 months of price data; unusually high prices in October 1999 biased our forecasts for October prices in future years.  When a more moderate October PX price is used as the basis for projections, the total annual difference between PG&E’s SRACs and PX prices becomes negligible.  We therefore conclude that SRAC energy payments are not likely to substantially contribute to total stranded costs.

MRW’s base case analysis estimates PG&E’s total undiscounted CTC obligation at close to $8.7 billion.  Two sensitivity cases were analyzed, one assessing the impact of contract buyouts and the other examining the effects of PX price clipping (See Table 3-2).  Including buyouts slightly increases CTC costs in 2000 and 2001, but decreases total costs.  The difference in cost between the base case and buyout case, however, was less than one percent.  PX price clipping, on the other hand, was projected to substantially reduce total CTC obligations to around $7.9 billion.

Overall, MRW’s base-case estimates track well with PG&E’s own stranded cost forecasts (Table 3-2).  Our projections fall slightly above PG&E’s, most likely because our data conservatively overestimate capacity payments for certain facilities, in particular those receiving performance bonuses.  In 2000, our data suggest higher QF energy payments than PG&E’s projections, probably due to incomplete information about contract starting and ending dates; our data indicate that the fixed-energy portion of many QF contracts will end in 2000.  Aggregate QF payment estimates were reasonably close to actual expenditures presented in both PG&E’s FERC filings and in its 1999 ATCP.

Table 3-2.  Sensitivity Results and Comparison with PG&E Forecast

| Pacific Gas & Electric: Remaining Qualifying Facility Stranded Costs |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | MRW | MRW | MRW |  |
| Year | Base Case | Base With Clipping | Base With No Buyouts | PG&E A.96-08-001/070 |
| 2000 | 640,362 | 640,362 | 621,305 |  |
| 2001 | 570,818 | 570,818 | 551,762 |  |
| 2002 | 516,741 | 483,348 | 526,735 | 520,000 |
| 2003 | 512,147 | 478,649 | 522,141 | 514,000 |
| 2004 | 499,523 | 464,134 | 509,516 | 500,000 |
| 2005 | 491,527 | 448,661 | 501,520 | 496,000 |
| 2006 | 489,423 | 442,417 | 499,417 | 495,000 |
| 2007 | 464,534 | 414,650 | 474,527 | 474,000 |
| 2008 | 451,655 | 398,953 | 461,648 | 472,000 |
| 2009 | 427,571 | 378,066 | 430,139 | 430,000 |
| 2010 | 408,113 | 358,031 | 408,885 | 406,000 |
| 2011 | 397,277 | 347,992 | 398,049 | 391,000 |
| 2012 | 379,678 | 332,302 | 380,450 | 366,000 |
| 2013 | 371,134 | 325,828 | 371,906 | 354,000 |
| 2014 | 352,127 | 309,783 | 352,269 | 336,000 |
| 2015 | 325,962 | 287,352 | 326,093 | 304,000 |
| 2016 | 307,386 | 271,024 | 307,517 | 283,000 |
| 2017 | 283,663 | 250,054 | 283,664 | 262,000 |
| 2018 | 234,477 | 207,739 | 234,477 | 214,000 |
| 2019 | 188,031 | 168,137 | 188,031 | 166,000 |
| 2020 | 104,633 | 95,429 | 104,633 | 100,000 |
| 2021 | 63,469 | 57,591 | 63,469 | 60,000 |
| 2022 | 54,214 | 48,543 | 54,214 | 52,000 |
| 2023 | 54,184 | 48,371 | 54,184 | 52,000 |
| 2024 | 54,184 | 48,226 | 54,184 | 52,000 |
| 2025 | 52,475 | 46,514 | 52,475 | 52,000 |
| 2026 | 6,714 | 6,709 | 6,714 | 14000 |
| 2027 | - | - | 0 |  |
| Total | 8,702,022 | 7,929,682 | 8,739,924 | - |

Several uncertainties could affect PG&E’s actual stranded costs in the future.  As already indicated, how the capacity clipping issue is decided could have a substantial impact on CTC calculations.  Although contract buyouts have had relatively little impact on total costs so far, PG&E may seek to renegotiate more uneconomic QF contracts in the future.  Additional buyouts would further reduce PG&E’s total CTC obligation.

One significant uncertainty for PG&E’s QFs concerns the timing of the switch to PX-based energy payments.  We assume that after 2001, SRAC payments will convert to payments based PX prices.  However, individual QFs will have the option to switch to PX pricing before this time.  To date, PX prices in California’s northern zone have at times exceeded PG&E’s SRAC payments.  MRW predicts that PX prices will not substantially exceed SRACs in the future.  If they do, however, many of PG&E’s QFs will have an incentive to make an early switch to PX pricing.  This could cause an increase in PG&E’s stranded costs (by decreasing stranded benefits).

We expect that most of PG&E’s QFs will find it more beneficial to wait until a mandated switch to PX pricing.  If this mandate occurs later than 2001, stranded costs resulting from these facilities would increase slightly.

# CHAPTER 4

# SOUTHERN CALIFORNIA EDISON

  - Introduction

This chapter presents MRW’s estimate of SCE’s ongoing qualifying facility stranded costs. SCE currently has obligations with 349 operational QFs, and for the one year period, July 1998 to June 1999, paid them $2.35 billion in energy and capacity payments. SCE was able to realize only $700 million in revenues from these contracts, leaving over $1.65 billion in QF related stranded costs. Although QF liabilities will decline rapidly as contracts and fixed price energy periods expire, QF obligations are by far the most significant source of SCE’s post rate freeze CTC.

Using SCE’s ATCP filings, 1996 CTC Application, QF Semi-Annual Status Reports, FERC Form 1 reports and executed QF contracts, a database of all active QF contracts was constructed. Using the information in this database, monthly capacity and above market energy payments were forecasted for each contract from January 2000 to the end of the contract term. The next section of this chapter discusses the assumptions that were used in developing MRW’s annual estimate of SCE’s future stranded costs. Following the assumptions, the results of MRW’s analysis are presented along with some of the major uncertainties inherent in these figures. Finally, the results are compared with SCE’s latest estimate of its future stranded costs.

  - Major Assumptions

The major assumptions used in MRW’s analysis are as follows:

- The MRW “Top Down” Model.   MRW developed a “bottom up” estimate of SCE’s ongoing CTC obligations based upon the terms of each individual contract, but ultimately decided that a “top down” approach using the data contained in SCE’s 1998 and 1999 Annual Transition Cost Proceeding (ATCP) filings would yield better results. For the majority of contracts, the bottoms up model accurately approximated actual recorded payments reported in the 1999 ATCP. For a critical number of contracts, however, the discrepancy between the “bottom-up” model and actual recorded data was unacceptably large. Reasons for these discrepancies could include under/over performing generation facilities and recent changes to contract terms and conditions. These deviations were especially troublesome with the negotiated contracts that are harder to model on a pro-forma basis. Because of the model’s deviations, actual recorded data for the period July 1, 1998 to June 30, 1999 were used to estimate future payments.

- Standard Offer 1 (SO1) and Standard Offer 3 (SO3).   SO 1 and SO 3 as-available capacity payments are included for 2000 and 2001 on an aggregate, instead of contract by contract, basis. MRW believes that it is likely that SO1 and SO3 contract holders will lose their (already small) as-available capacity payments when QFs payments convert from SRAC to PX pricing in the next couple of years. For this report the SRAC/PX conversion is assumed to take place at the end of 2001. As reported in SCE’s 1999 ATCP, SO1 and SO3 contracts accounted for only 0.03% of SCE’s total QF capacity payments. The reason for the small contribution of SO1 and SO3 contract holders to capacity costs is twofold: (1) the vast majority of the 122 online but inactive projects are SO1 and SO3 contract holders, and (2) the projects that are active are very small in size.

- Capacity Payments.  Annual capacity payments reported in the ATCP are dis-aggregated into monthly payments by assuming a shape or profile. SCE provided a forecast of monthly payments in its CTC Application (A.96-08-071). Contract payments for negotiated, SO4 and SO2 type contracts were distributed almost identically throughout the year. More than 80% of all capacity payments came during the four on-peak summer months of July-September. Based on the monthly payments forecasted in A.96-08-071 the following aggregate payment distribution was selected.

| Jan | Feb | Mar | April | May | June | July | Aug | Sept | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2% | 2% | 2% | 2% | 2% | 2% | 21% | 21% | 21% | 21% | 2% | 2% |

- Fixed Price Energy Payments.   For contracts with time left in their fixed price energy period, fixed energy payments are estimated by reducing the total energy payment, as reported in the ATCP, by the product of a PX price forecast and annual GWh production, also reported in the ATCP. These figures are dis-aggregated into monthly payments by using the following shape, which is based on SCE’s monthly GWh QF purchases for the most recent ATCP period.

| Jan | Feb | Mar | April | May | June | July | Aug | Sept | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 0.088 | 0.082 | 0.075 | 0.080 | 0.077 | 0.080 | 0.091 | 0.092 | 0.088 | 0.086 | 0.081 | 0.080 |

- SRAC to PX Conversion.   Energy payments are assumed to be based on the SRAC formula for 2000 and 2001. After 2001 all energy payments are assumed to be based on the PX market clearing price. A detailed description of SRAC pricing is included in the assumptions section of Chapter 3. For SCE, SRAC prices are based on estimates of future gas prices. We find that SRAC prices exceed PX prices, on average, through 2001 and that additional stranded costs are generated. Note, however, that SCE’s stranded costs are greatly increased over MRW’s base case if one assumes that future SRAC and PX prices follow their relationship over the past 12 months. The SRAC prices can be changed in the assumptions worksheet of the SCE Excel worksheet accompanying this report.

- PX Price Forecast.   MRW’s used its own PX Price forecast to determine the above market portion of fixed energy payments, SRAC versus PX costs, and clipping effects. Prices start at $28.42 in 2000 and - after declining slightly in 2001 and 2002 - increase to $63.61/MWh by 2028. The forecasted PX prices were shaped on a monthly basis using historical PX price variations. The PX price assumptions can be changed in the assumptions worksheet of the SCE excel workbook accompanying this report.

- Energy Price Clipping.   In the clipping scenario, an estimate of the capacity portion of PX market clearing prices are used to reduce the going-forward stranded cost estimate. Clipping is assumed to start in 2002. A more detailed description of MRW’s estimate of clipped PX prices is included in the assumptions section of Chapter 3. Clipping can be turned on or off in the SCE spreadsheet using the toggle located in the assumptions worksheet of the workbook accompanying this report.

- Contract Buyouts.  SCE reported a total of 11 buyouts in its 1998 and 1999 ATCP filings. Buyouts generally increase QF payments in the short run but decrease the present value of payments to a QF over the life of its contract. Utilities are allowed to keep 10% of the total benefits of a QF buyout as a shareholder incentive. In MRW’s base case, annual buyout payments are estimated in two general ways: (1) using the payment reported in the ATCP if the buyout has begun, or (2) extrapolating the total benefit from the shareholder value reported in the ATCP, subtracting the result from the present value of the remaining capacity and energy payments, and amortizing the result until the end of 2001. The impact of these buyouts on stranded costs can be bounded by (1) setting the “restructured contracts” to zero to represent the lowest stranded-cost case and (2) by assuming the buyouts did not occur and that capacity and energy payments will continue as normal. These changes can be made by changing the buyout toggle from “1” to “0” and “2” respectively in the buyout worksheet of the SCE excel workbook accompanying this report.

  - Results

MRW’s base case scenario estimates SCE’s total CTC obligation at just under $9 billion. Two sensitivities on the base case were done including a case were the capacity portion of PX prices are clipped after 2001 and a case where contract payments continue as if no buyouts were executed. These help to place upper and lower bounds on SCE’s QF obligation. In the scenario with clipping, SCE’s total CTC obligation is reduced to $8.4 billion. In the case where no contracts are restructured, SCE’s total CTC obligation is increased to almost $9.9 billion. In each case the largest component of ongoing QF stranded costs is the capacity payment portion. Fixed energy payments account for roughly 15 percent of total stranded costs in 2000, 6 percent in 2001, and drop to 0 in 2007. The following table presents the results of our analysis for the base case. The results for each sensitivity are presented at the end of this chapter. Results are presented on a monthly basis in the accompanying SCE spreadsheet.

# Remaining SCE Qualifying Facility CTC: Base Case

| ###### Year | SO2 SO4 and NEG Firm Capacity ($000) | SO1 & SO3 As-Available Capacity ($000) | Fixed Energy ($000) | PX/SRAC Conversion ($000) | PX Clippling ($000) | Total Unshaded ($000) |
| --- | --- | --- | --- | --- | --- | --- |
| 2000 | 861,929 | 2,493 | 153,375 | (2,489) | 0 | 1,015,308 |
| 2001 | 860,065 | 2,493 | 55,369 | 22,252 | 0 | 940,179 |
| 2002 | 584,577 | 0.00 | 41,748 |  | 0 | 626,325 |
| 2003 | 584,577 | 0.00 | 29,611 |  | 0 | 614,188 |
| 2004 | 579,727 | 0.00 | 15,832 |  | 0 | 595,559 |
| 2005 | 550,087 | 0.00 | 14,458 |  | 0 | 564,545 |
| 2006 | 528,575 | 0.00 | 5,613 |  | 0 | 534,189 |
| 2007 | 528,540 | 0.00 | 0 |  | 0 | 528,540 |
| 2008 | 404,943 | 0.00 | 0 |  | 0 | 404,943 |
| 2009 | 367,516 | 0.00 | 0 |  | 0 | 367,516 |
| 2010 | 339,353 | 0.00 | 0 |  | 0 | 339,353 |
| 2011 | 330,728 | 0.00 | 0 |  | 0 | 330,728 |
| 2012 | 324,630 | 0.00 | 0 |  | 0 | 324,630 |
| 2013 | 319,831 | 0.00 | 0 |  | 0 | 319,831 |
| 2014 | 318,585 | 0.00 | 0 |  | 0 | 318,585 |
| 2015 | 301,966 | 0.00 | 0 |  | 0 | 301,966 |
| 2016 | 250,362 | 0.00 | 0 |  | 0 | 250,362 |
| 2017 | 216,288 | 0.00 | 0 |  | 0 | 216,288 |
| 2018 | 176,965 | 0.00 | 0 |  | 0 | 176,965 |
| 2019 | 117,583 | 0.00 | 0 |  | 0 | 117,583 |
| 2020 | 42,128 | 0.00 | 0 |  | 0 | 42,128 |
| 2021 | 9,972 | 0.00 | 0 |  | 0 | 9,972 |
| 2022 | 9,019 | 0.00 | 0 |  | 0 | 9,019 |
| 2023 | 3,032 | 0.00 | 0 |  | 0 | 3,032 |
| 2024 | 126 | 0.00 | 0 |  | 0 | 126 |
| 2025 | 49 | 0.00 | 0 |  | 0 | 49 |
| 2026 | 49 | 0.00 | 0 |  | 0 | 49 |
| 2027 | 49 | 0.00 | 0 |  | 0 | 49 |
| 2028 | 6 | 0.00 | 0 |  | 0 | 6 |
| Total | 8,611,261 | 4,987 | 316,006 | 19,763 | 0 | 8,952,017 |

The results presented in the table above have many associated uncertainties. The largest uncertainties are related to contract buyouts and clipping. Only buyouts that have already been announced are considered in this report. SCE is likely to continue to seek to renegotiate uneconomic QF contracts in the future. The likelihood and impact of their success was not evaluated. In addition, because the terms and conditions of buyouts and renegotiations are often confidential, estimating their impact is difficult and uncertain.

A comparison of the base case to the case where clipping reduces PX shows that clipping could significantly reduce CTC. In certain years the impact of clipping is as high as $40 million and all together the reduction could be as high as $550 million. It is unclear at this point whether clipping will be implemented at all or, if it is, what methodology will be used to estimate the value of capacity in the PX market clearing price.

In addition, the timing of the switch from SRAC pricing to PX pricing could differ from the end of 2001 date assumed in this report. On average the SRAC price is higher than the SP15 PX MCP so we would expect most of SCE’s QFs to wait until they are forced to switch. A delay in the SRAC to PX switch would likely result in a slight increase in SCE’s CTC obligation, while a an accelerated implementation date will likely reduce SCE’s stranded costs. The magnitude of the impact depends on the gas price and the PX price but could be on the order of $20 million per year (the increase in stranded costs due to SRAC pricing versus PX pricing in 2001). Note that in addition to the timing of the SRAC to PX switch, there could be additional stranded benefits/costs associated with the difference between PX and SRAC due to monthly variations in output. MRW’s estimates for 2000 and 2001 assume that QFs have even production throughout the month.

Finally, a higher PX price than that assumed in this forecast will reduce stranded costs and a lower PX price will increase stranded costs after the end of the transition period.

MRW’s estimate is compared with SCE’s estimate of stranded costs from its 1996 CTC application in the table below. SCE’s estimate is lower than MRW’s base case by $368 million and above MRW’s clipping case by $188 million.

Comparison with SCE’s A.96-08-071 Forecast

|  | MRW | MRW | MRW | SCE |
| --- | --- | --- | --- | --- |
| Year | ### Base Case | Base With Clipping | Base With No Buyouts | #### A.96-08-071 |
|  | ($000) | ($000) | ($000) | ($000) |
| 2000 | 1,015,308 | 1,015,308 | 874,234 | 1,009,552 |
| 2001 | 940,179 | 940,179 | 778,894 | 772,910 |
| 2002 | 626,325 | 598,283 | 716,688 | 680,170 |
| 2003 | 614,188 | 586,614 | 694,261 | 620,286 |
| 2004 | 595,559 | 563,117 | 675,631 | 578,109 |
| 2005 | 564,545 | 527,912 | 644,490 | 536,889 |
| 2006 | 534,189 | 497,763 | 606,197 | 499,901 |
| 2007 | 528,540 | 486,651 | 599,946 | 471,694 |
| 2008 | 404,943 | 369,541 | 476,348 | 366,859 |
| 2009 | 367,516 | 334,829 | 438,921 | 339,470 |
| 2010 | 339,353 | 307,304 | 410,759 | 327,154 |
| 2011 | 330,728 | 299,219 | 402,134 | 314,893 |
| 2012 | 324,630 | 293,042 | 396,036 | 302,617 |
| 2013 | 319,831 | 288,498 | 391,237 | 298,405 |
| 2014 | 318,585 | 286,690 | 389,991 | 277,124 |
| 2015 | 301,966 | 271,100 | 373,371 | 270,017 |
| 2016 | 250,362 | 212,671 | 320,791 | 234,571 |
| 2017 | 216,288 | 194,495 | 266,717 | 213,924 |
| 2018 | 176,965 | 159,406 | 225,156 | 178,824 |
| 2019 | 117,583 | 106,537 | 149,407 | 133,571 |
| 2020 | 42,128 | 38,332 | 54,147 | 88,485 |
| 2021 | 9,972 | 8,647 | 20,454 | 34,031 |
| 2022 | 9,019 | 7,751 | 9,259 | 14,586 |
| 2023 | 3,032 | 2,649 | 3,032 | 9,069 |
| 2024 | 126 | 114 | 126 | 6,031 |
| 2025 | 49 | 36 | 49 | 5,200 |
| 2026 | 49 | 36 | 49 | 0 |
| 2027 | 49 | 36 | 49 | 0 |
| 2028 | 6 | 5 | 6 | 0 |
| Total | 8,952,017 | 8,396,765 | 9,918,382 | 8,584,342 |

# CHAPTER 5

# SAN DIEGO GAS & ELECTRIC

## Introduction

This chapter discusses the assumptions that were used in developing MRW’s annual estimate of SDG&E’s future stranded costs, summarizes the results of this analysis, and highlights the major uncertainties, and compares the results of this analysis with recorded stranded cost data and other estimates of future stranded costs.  Data relied upon for modeling SDG&E’s stranded costs are contained in Attachment 4.

## Assumptions

Major assumptions include the following:

- Standard Offer 1 (SO1) and Standard Offer 3 (SO3) Contracts. SO2, ISO4 and negotiated contracts were included in our base case analysis. In addition, SO1 and SO3 as-available capacity payments were included in 2000 and 2001, but excluded thereafter because the utilities have argued that the as-available capacity payments should end when QFs convert from SRAC to PX pricing.  The results section, below summarizes the effect on our estimate if these as-available capacity payments continued indefinitely.

- Capacity Prices and Payments. The capacity payment data used in the model were obtained from SDG&E’s 1996 stranded cost filing.  Also included in the model, but not explicitly used, is a bottom-up calculation of stranded costs based upon contract types, start dates and fixed capacity and energy prices specified in the standard offer contracts.

- Monthly Capacity Payments. QFs receive the bulk of their capacity payments during the summer peak months.  Specifically, the capacity payments formula equals:

(Period Price Factor) x (Monthly Delivered Capacity) x (Capacity Bonus Factor)

where,

Period Price Factor 	=	0.15730 in the Summer (May – September)

0.03050 in the Winter (October – April)

Bonus Factor		=	Energy Delivered On-Peak/

(Firm Capacity x Peak Hours x 0.85)

Applicable only in May – September

- Fixed Price Energy.  Only a small portion of the energy delivered in 2000 and 2001 received fixed priced energy.  For the most part, SDG&E QFs have converted from fixed energy pricing to SRAC pricing.  To illustrate this point, SDG&E estimates that fixed energy price payments would be $25.8 million in 1998, $22.2 million in 1999, but only $1.5 million in 2000.  Thus, for the most part, all QFs will be receiving SRAC energy price payments for 2000 and 2001.  We estimate the aggregate payments based upon SRAC energy deliveries of 1,741 GWh, as estimated by SDG&E in its stranded cost filing.  SDG&E’s reported receiving 1,812 GWh for 1998 in its FERC Form 1 and 1,798 in its ATCP application for July 1998 – June 1999.

- PX Prices.  MRW has used its own estimate of future PX prices, both to determine the additional stranded costs associated with the difference between SRAC and PX prices and payments and to assess the PX clipping issue, as discussed below.  The PX price is estimated to be $28.42/MWh in 2000 and $28.01/MWh in 2001.  Future PX prices can easily be changed in the model.  Monthly variation in PX prices is modeled consistent with monthly variation in the PX experienced over the last 12 months (i.e., between November 1998 and October 1999).  To view historical monthly PX price variations, see the spreadsheet entitled “SDG&E SRAC & PX Data.”

- SRAC Prices.  See the assumptions section of Chapter 3 for a detailed description of our   SRAC methodology. Based upon our estimates for SDG&E, we find that SRAC prices exceed PX prices, on average, through 2001 and that additional stranded costs are generated.  After 2001, we assume that SRAC prices convert to PX pricing and that there are no additional stranded costs or benefits associated with the energy payments (with the exception of the clipping issue, which is treated separately).

- Monthly Energy Pattern.  The monthly energy patterns were obtained from MRW data regarding production at individual QF facilities.  This can be changed in the model.

- Energy Price Clipping.  See the assumptions for PG&E in Chapter 3.

- Buyouts.  In its ATCP application, SDG&E reported that 6 contracts totaling 34.9 MW were terminated.  Five QFs, totaling 10.9 MW, sent official notice to SDG&E terminating their contracts.  The remaining contract terminated automatically pursuant to the terms set in the contract.  We did not explicitly model these terminations.  In addition, SDG&E has proposed auctioning its QF contracts. This issue is currently before the CPUC.  We have not explicitly modeling these buy-outs, but we assume that it would decrease QF stranded costs in the future.

  - Results

The results of our analysis are shown in Table 5-1.  As this table demonstrates, the bulk of the stranded costs are associated with fixed capacity payments made to QFs with SO2 and ISO4 contracts.  These payments remain relatively level over time, but decrease as the long-term contracts expire.  It is possible that the data we have somewhat underestimate the actual capacity payments that will be incurred.  For example, in its FERC Form 1, SDG&E reported total demand charges of $40.5 million. Including our estimates of SO1 and SO3 capacity payments, total estimated capacity payments would be $38.9 million, which is $1.6 million less than SDG&E actual expenditures for 1998.  In our base case estimate, we assume that SO1 and SO3 capacity payments cease when SRAC converts to PX pricing, which we estimate to occur at the end of 2001.

We have also included a bottom-up estimate of stranded costs associated with QF capacity payments, which tends to confirm the magnitude of stranded costs reported by SDG&E.  However, we do not rely upon our estimate in our base case because SDG&E’s estimate appears to more closely match expenditures to date.

Fixed energy represents just a small portion of the QF stranded costs in 2000 and 2001, and ceases in 2002.  The payments shown in the table are less the assumed PX payments.  In general, the utilities pay QFs fixed energy prices, but bid the energy into the PX and receive the PX price.  The difference ii the stranded portion of the energy payments.  As indicated in the assumptions section above, the forecasted PX price can be changed in the model on a monthly basis, which would change the stranded portion of the fixed price payments, although only slightly.

Currently, QFs are paid based upon SRAC prices, but the utilities bid the QFs into the PX and receive PX prices.  If SRAC prices exceed PX prices, additional stranded costs will be created; if PX prices exceed SRAC prices, stranded benefits will be created (i.e., stranded costs will be reduced).   Based upon our examination of the historical data, the SRAC price has exceeded the PX price in nearly every month, with the exception of some summer months.  On average, we find that SRAC prices have exceeded PX prices by approximately $5/MWh.  Using this figure would result in additional stranded costs of $8 to $9 million.  However, for our base case estimate, we forecast PX prices and SRAC prices (which are based upon gas price forecasts) separately.  In this case, we show substantially less stranded costs, more in the $2.5 to $4 million range.  Obviously, this will be a very important assumption during the next year or two, when QFs are still paid based upon SRAC prices. After that time, there will be no additional stranded costs as QFs will be paid based upon PX prices.

PX clipping, which is estimated in the last column, is very controversial.  First, it is clear that clipping will not occur, if at all, until QFs convert from SRAC to PX pricing.  At that time, it is possible that their energy payments will be reduced by some amount to take out the “capacity value” embedded in the PX price.  While it is very possible that the QFs will prevail, and clipping will only occur when a demand bid clears the market and will be limited to the difference between the demand bid and the last supply bid, it is also possible that the CPUC will take a more proactive approach and limit PX prices paid to QFs already receiving separate capacity payments.  We have modeled a somewhat extreme case, assuming that any PX price in excess of the most expensive conceivable supply resource would be clipped.   We base this on the hourly variability over the past year.  Note that if the PX becomes even more variable (or mimics the variability seen in the first year), PX clipping could be even higher.  As seen in the table, PX clipping increases over time as PX prices increase.

# Table 5-1

SDG&E QF Stranded Cost Estimates

| Year | # SDG&E Capacity | # SO1 & SO3 Capacity | # MRW # Capacity | Fixed Energy | # SRAC/PX Differential | PX Clipping | Total (Unshaded) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2000 | 36.94 | 1.94 | 37.59 | 1.16 | 2.48 | 2.02 | 42.52 |
| 2001 | 36.94 | 1.94 | 37.59 | 0.71 | 4.05 | 1.87 | 43.65 |
| 2002 | 36.94 | 1.94 | 37.35 |  |  | 1.77 | 35.17 |
| 2003 | 36.94 | 1.94 | 37.35 |  |  | 1.80 | 35.14 |
| 2004 | 36.94 | 1.94 | 37.35 |  |  | 1.97 | 34.97 |
| 2005 | 36.94 | 1.94 | 37.35 |  |  | 2.41 | 34.53 |
| 2006 | 36.94 | 1.94 | 37.08 |  |  | 2.66 | 34.28 |
| 2007 | 36.81 | 1.94 | 36.85 |  |  | 2.96 | 33.84 |
| 2008 | 36.68 | 1.94 | 36.85 |  |  | 3.23 | 33.45 |
| 2009 | 36.68 | 1.94 | 36.30 |  |  | 3.46 | 33.22 |
| 2010 | 36.68 | 1.94 | 36.30 |  |  | 3.65 | 33.03 |
| 2011 | 36.27 | 1.94 | 36.00 |  |  | 3.66 | 32.61 |
| 2012 | 36.06 | 1.94 | 36.00 |  |  | 3.73 | 32.33 |
| 2013 | 36.06 | 1.94 | 36.00 |  |  | 3.81 | 32.25 |
| 2014 | 36.06 | 1.94 | 36.00 |  |  | 3.91 | 32.15 |
| 2015 | 36.06 | 1.94 | 36.00 |  |  | 4.03 | 32.03 |
| 2016 | 36.06 | 1.94 | 35.62 |  |  | 4.13 | 31.93 |
| 2017 | 36.05 | 0.00 | 35.17 |  |  | 4.23 | 31.81 |
| 2018 | 36.04 | 0.00 | 35.03 |  |  | 4.35 | 31.69 |
| 2019 | 34.59 | 0.00 | 16.62 |  |  | 2.06 | 32.53 |
| 2020 | 17.96 | 0.00 | 16.62 |  |  | 2.11 | 15.85 |
| 2021 | 17.96 | 0.00 | 16.62 |  |  | 2.16 | 15.80 |
| 2022 | 17.96 | 0.00 | 16.62 |  |  | 2.21 | 15.75 |
| 2023 | 17.96 | 0.00 | 16.62 |  |  | 2.27 | 15.69 |
| 2024 | 12.70 | 0.00 | 8.02 |  |  | 1.17 | 11.53 |
| 2025 | 1.23 | 0.00 | 0.00 |  |  | 0.00 | 1.23 |

APPENDIX A

PG&E, SCE, and SDG&E

Current As-Available Capacity Prices

(cents/kWh)

At the Transmission Level

|  | # PG&E(1) | # SCE(2) | # SDG&E(3) |
| --- | --- | --- | --- |
| # Summer | # May-October | # June-September | # May-September |
| # Peak | # 5.8711 | # 0.68 | # 7.1154 |
| # Partial-Peak | # 0.1574 | # 0.08 | # 0.4451 |
| # Off-Peak | # 0.0006 | # 0.00 | # 0.0000 |
| # Super Off-Peak | # 0.0000 | # NA | # 0.0000 |
| # Winter | # November-April | # October-May | # October-April |
| # Peak | # NA | # NA | # 0.9596 |
| # Partial-Peak | # 0.7557 | # 0.03 | # 0.5871 |
| # Off-Peak | 0.0047 | # 0.00 | # 0.0000 |
| # Super Off-Peak | # 0.0000 | # 0.00 | # 0.0000 |

# Based upon a capacity value of $59.37/kW-Year

- Based upon a capacity value of $4.93/kW-Year

- Based upon a capacity value of $70.34/kW-Year

# APENDIX B

PG&E, SCE and SDG&E

Fixed, Forecasted Energy Price Schedule, Annual Average (EPO1)

(cents per kWh)

| ## Year | PG&E | SCE | SDG&E |
| --- | --- | --- | --- |
| 1983 | 5.18 | 5.30 | -- |
| 1984 | 5.47 | 5.60 | 5.90 |
| 1985 | 5.55 | 5.70 | 6.40 |
| 1986 | 5.79 | 6.00 | 6.40 |
| 1987 | 6.16 | 6.40 | 6.50 |
| 1988 | 6.70 | 6.90 | 6.70 |
| 1989 | 7.34 | 7.60 | 7.90 |
| 1990 | 7.84 | 8.10 | 8.60 |
| 1991 | 8.34 | 8.60 | 9.20 |
| 1992 | 9.01 | 9.30 | 10.00 |
| 1993 | 9.75 | 10.10 | 10.30 |
| 1994 | 10.54 | 10.90 | 11.10 |
| 1995 | 11.39 | 11.80 | 11.80 |
| 1996 | 12.24 | 12.60 | 12.60 |
| 1997 | 13.14 | 13.60 | 13.40 |
| 1998 | 13.14 | 14.60 | 14.20 |
| 1999 | 13.14 | 15.60 | -- |
| 2000 | 13.14 | -- | -- |

APPENDIX C

PG&E, SCE, and SDG&E

10-Year Levelized Energy Prices, Annual Average (EPO2)

(cents per kWh)

| ## Year | PG&E | SCE | SDG&E |
| --- | --- | --- | --- |
| 1983 | 6.27 | 6.5 | -- |
| 1984 | 6.66 | -- | 7.2 |
| 1985 | 7.09 | -- | 7.7 |
| 1986 | 7.61 | -- | 8.1 |
| 1987 | 8.20 | -- | 8.7 |
| 1988 | 8.85 | -- | 9.4 |

APPENDIX D

PG&E, SCE and SDG&E

Incremental Energy Rates, Annual Average (EPO3)

(Btu/kWh)

Gas Based at Generation Level

| ## Year | PG&E | SCE | SDG&E |
| --- | --- | --- | --- |
| 1983 | -- | 9729 | 9519 |
| 1984 | 9000 | 9243 | 8896 |
| 1985 | 9050 | 9232 | 8054 |
| 1986 | 8840 | 9180 | 8054 |
| 1987 | 8850 | 9212 | 8054 |
| 1988 | 8960 | 9212 | 8577 |
| 1989 | 8820 | 9346 | 8577 |
| 1990 | 8540 | 9191 | 8577 |
| 1991 | 8540 | 9056 | 8577 |
| 1992 | 8540 | 9056 | 8577 |
| 1993 | 8540 | 9056 | 8577 |
| 1994 | 8540 | 9056 | 8577 |
| 1995 | 8540 | 9056 | 8577 |
| 1996 | 8540 | 9056 | 8577 |
| 1997 | 8540 | 9056 | 8577 |
| 1998 | -- | -- | 8577 |

Oil Based at Generation Level

| ## Year | PG&E | SCE | SDG&E |
| --- | --- | --- | --- |
| 1983 | 8496 | 9400 | -- |
| 1984 | 8543 | 8930 | 9100 |
| 1985 | 8345 | 8920 | 8600 |
| 1986 | 8354 | 8870 | 7700 |
| 1987 | 8458 | 8900 | 7700 |
| 1988 | 8326 | 8900 | 7700 |
| 1989 | 8062 | 9030 | 8200 |
| 1990 | 8062 | 8880 | 8200 |
| 1991 | 8062 | 8750 | 8200 |
| 1992 | 8062 | 8750 | 8200 |
| 1993 | 8062 | 8750 | 8200 |
| 1994 | 8062 | 8750 | 8200 |
| 1995 | 8062 | 8750 | 8200 |
| 1996 | 8062 | 8750 | 8200 |
| 1997 | 8062 | 8750 | 8200 |
| 1998 | -- | -- | 8200 |

APPENDIX E

PG&E and SCE

As-Delivered Capacity Capacity Shortage Cost Schedule (CPO2)

($/kW-Year)

| ## Year | PG&E | SCE |
| --- | --- | --- |
| 1983 | 70 | -- |
| 1984 | 76 | -- |
| 1985 | 81 | 81 |
| 1986 | 88 | 87 |
| 1987 | 95 | 94 |
| 1988 | 102 | 101 |
| 1989 | 110 | 109 |
| 1990 | 118 | 117 |
| 1991 | 126 | 126 |
| 1992 | 135 | 148 |
| 1993 | 144 | 158 |
| 1994 | 154 | 169 |
| 1995 | 164 | 180 |
| 1996 | 176 | 194 |
| 1997 | 188 | 206 |
| 1998 | 188 | 221 |
| 1999 | 188 | 235 |
| 2000 | 188 | -- |

APPENDIX F
PG&E, SCE, and SDG&E

Firm Capacity Prices (CPO3)

(Levelized $/kW-Year)

PG&E

| Availability Date | Number of Years of Firm Capacity Delivery |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | 5 | 10 | 15 | 20 | 25 | 30 |
| 1982 | 65 | 75 | 86 | 95 | 103 | 109 | 113 |
| 1983 | 70 | 80 | 92 | 102 | 110 | 117 | 122 |
| 1984 | 76 | 86 | 99 | 110 | 118 | 125 | 130 |
| 1985 | 81 | 93 | 106 | 118 | 127 | 134 | 140 |
| 1986 | 88 | 100 | 114 | 126 | 136 | 144 | 150 |
| 1987 | 95 | 108 | 123 | 135 | 146 | 154 | 160 |
| 1988 | 102 | 116 | 131 | 145 | 156 | 165 | 172 |
| 1989 | 110 | 124 | 141 | 155 | 167 | 176 | 184 |
| 1990 | 118 | 133 | 150 | 165 | 178 | 188 | 196 |

SCE

| Availability Date | Number of Years of Firm Capacity Delivery |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | 5 | 10 | 15 | 20 | 25 | 30 |
| 1985 | 83 | 92 | 105 | 116 | 125 | 132 | 138 |
| 1986 | 88 | 99 | 112 | 124 | 133 | 141 | 146 |
| 1987 | 94 | 105 | 120 | 132 | 143 | 151 | 155 |
| 1988 | 100 | 113 | 128 | 141 | 153 | 162 | 165 |
| 1989 | 107 | 121 | 137 | 151 | 164 | 173 | 175 |
| 1990 | 115 | 130 | 147 | 162 | 176 | 185 | 187 |

SDG&E

| Availability Date | Number of Years of Firm Capacity Delivery |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 | 5 | 10 | 15 | 20 | 25 | 30 |
| 1983 | 56 | 65 | 75 | 85 | 93 | 99 | 104 |
| 1984 | 62 | 70 | 82 | 92 | 100 | 107 | 112 |
| 1985 | 65 | 75 | 89 | 100 | 108 | 115 | 121 |
| 1986 | 70 | 81 | 96 | 108 | 117 | 124 | 131 |
| 1987 | 76 | 88 | 105 | 117 | 127 | 134 | 141 |

See http://www.pge.com/customer_services/business/qf/fca.html.  The spreadsheet also allows for the entry and selection of alternative load shapes.

The magnitude of stranded benefits depends on how SRAC payments are projected.  MRW’s base case uses SRAC payments based on projected gas prices.  See above.

From SCE’s 1999 Annual Transition Cost Proceeding. The $2.353 billion in QF payments also includes buyout payments made to 7 QFs as well as 6 dispute settlements.

Note: Although not used, the bottom-up model of fixed and as-available capacity payments was left intact in the SCE QF database accompanying this report.