Financial Information

This section provides a description of the principal assumptions and calculations used in the financial model.  The table below lists a number of the key inputs for the financial model.

Key Inputs

|  | 1999 Plants |  |  |  | 2000 Plants |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | BROWNSVILLE | caledonia | new albany |  | GleasoN | wheatland | wilton center |
| PPA Start Date | Jan. 2001 | Jan. 2001 | Jan. 2001 |  | Jan. 2001 | Jan. 2001 | Jan. 2001 |
| ISO Capacity (MW) | 494 | 504 | 396 |  | 536 | 508 | 656 |
| Contractual PPA Capacity (MW) (1) | 458 | 466 | 371 |  | 510 | 470 | 608 |
| Expected Annual Operating Hours | 1,365 | 1,685 | 1,086 |  | 915 | 902 | 3,250 |
| Annual Generation (000 MWh/year)(1) | 625 | 785 | 403 |  | 467 | 424 | 1,976 |
| Demand Charge Rate ($/kW-month) | 4.00 | 4.00 | 4.00 |  | 4.00 | 4.00 | 4.00 |
| Energy Charge (2000 $/MWh) | 1.50 | 1.00 | 1.00 |  | 1.50 | 3.00 | 2.00 |
| Block Charge (2000 $/Start/turbine) | 1,500 | 1,000 | 1,000 |  | 1,500 | 1,500 | 1,000 |
| Assumed Starts Per Year | 75 | 75 | 75 |  | 75 | 75 | 75 |
| Number of Turbines | 4 | 6 | 6 |  | 3 | 4 | 8 |
| Energy Margin ($/MWh) | 1.00 | 1.00 | 1.00 |  | 1.00 | 1.00 | 1.00 |
| Capacity Factor for Market Price Period | 2% | 2% | 2% |  | 2% | 2% | 2% |
| Variable O&M Rate (2000 $/MWh) | 1.50 | 1.00 | 1.00 |  | 1.50 | 3.00 | 2.00 |
| Fixed O&M (2000 $000) | 1,564 | 1,721 | 1,878 |  | 1,242 | 1,516 | 1,449 |
| Plant Net Heat Rate @ 900 (HHV, Btu/kWh) | 11,406 | 12,064 | 12,500 |  | 10,592 | 11,734 | 11,973 |
| Applicable State Income Tax Rate | 6.00% | 5.00% | 5.00% |  | 6.00% | 4.50% | 7.18% |

- Includes additional capacity of 20 MW at Caledonia and 15 MW at New Albany, with installation of evaporative coolers by June 2000.

- Capital Costs

The financial model allocates the Plants’ total capital costs (debt plus equity) to the 1999 Plants and the 2000 Plants at 42% and 58%, respectively.

B.	Revenue Assumptions

In calculating revenue, the financial model incorporates the terms of the PPAs and market price projections from ICF Resources’ (“ICF”) market report.

1.	Fixed Price Period Operating Revenue Assumptions

The fixed price period extends from Jan 1st, 2001 through December 31, 2003 for all 6 Plants.

- Demand Payments.  ENA pays the Demand Payments, based on a fixed Demand Charge Rate of $4.00 per kilowatt-month, and calculated as follows:

Demand Payments = $4.00 x Contractual PPA Capacity x 12 months

- Energy Payments.  Enron pays the Energy Payments which are calculated as follows:

Energy Payments = Energy Charge x Annual Generation

Energy Charges are inflated at 3% per annum.

- Block Payments.  Enron pays the Block Payments which are defined as follows:

Block Payments = Block Charge x Actual Annual Number of Starts x Number of Turbines

Block Charges escalate at 3% per annum.

2.	Market Price Period Operating Revenue Assumptions

Per the PPAs, the market price period extends from January 1st, 2004 through December 31st, 2020 for all the 6 Plants.  ENA and/or third parties will pay market-based Demand Payments, Variable Revenues and Energy Margins for each Plant.

Market capacity prices for the Plants have been independently assessed by ICF.  ICF has provided three capacity price forward curves for the Plants: the TVA curve for the Caledonia, New Albany, Brownsville and Gleason Plants; the Com Ed curve for the Wilton Center Plant; and the Southern ECAR curve for the Wheatland Plant.  The model adjusts ICF’s real capacity price projections to nominal values utilizing an inflation factor of 3%.

- Demand Payments.  Demand Payments are determined as follows:

Demand Payments = Contractual PPA Capacity x ICF Base Case Capacity Price x 12 months

ICF Base Case Capacity Prices are listed in the table below.

ICF Base Case Capacity Prices

(Nominal $ / kW–month)

|  | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TVA | 6.42 | 6.74 | 6.82 | 6.91 | 7.00 | 7.09 | 7.18 | 7.32 | 7.46 | 7.60 | 7.74 | 7.89 | 8.00 | 8.11 | 8.23 | 8.35 | 8.47 |
| Southern ECAR | 6.84 | 7.13 | 7.27 | 7.42 | 7.57 | 7.73 | 7.88 | 8.01 | 8.14 | 8.28 | 8.41 | 8.55 | 8.65 | 8.75 | 8.85 | 8.95 | 9.06 |
| Com Ed | 6.70 | 7.01 | 7.15 | 7.30 | 7.45 | 7.60 | 7.75 | 7.90 | 8.06 | 8.21 | 8.38 | 8.54 | 8.67 | 8.81 | 8.94 | 9.08 | 9.22 |

- Variable Revenues.  Variable Revenues are calculated as follows:

Variable Revenues = [(1/3) x Block Charge x Assumed Starts Per Year x Number of Turbines] + [Energy Charge x Annual Capacity]

Only a third of the Block Charges are additional revenues, as ICF’s capacity price projections have 2/3 of the value of major maintenance costs embedded as a fixed value.  Block Charges are inflated at 3% per annum.

Energy Charges are escalated at 3% per annum.

- Energy Margins.  Energy Margins are calculated as follows:

Energy Margins = Contractual Capacity x Market Price Period Energy Margin x Capacity Factor for Market Price Period Energy Margin x Annual Operating Hours

The Energy Margin is assumed to be $1/MWh and is not escalated.

3.	Interest Income

Interest income on cash balances, based on 25% of annual EBITDA, has been included in the revenues.  The model assumes an interest rate of 5% per annum.

C.	Operating Costs Assumptions

- Fixed O&M.  Fixed O&M includes payroll expenses and other fixed O&M expenses. The amount of annual fixed O&M is approximately $5.2 million for the 1999 Plants and $4.2 million for the 2000 Plants ($ 2000).  Both are inflated at 3% per annum.

- Variable O&M.  Variable O&M expenses include water costs and variable maintenance expenditures, and are calculated as follows:

Variable O&M = Variable O&M Rate x Annual Generation

Variable O&M per unit is inflated at 3% per annum.

- Major Maintenance.  The model assumes an annual major maintenance expense of approximately $1.35 million for the 1999 Plants and $1.39 million for the 2000 Plants ($ 2000), assuming 75 starts/year.  Major maintenance expenditures are inflated at 3% per annum.

- O&M Fee.  The O&M fee is a contracted annual amount of $1.7 million ($ 2000) for the Plants, inflated at 3% per annum.

- Owner’s Expense.  These include Insurance, Utilities, Interconnection Fees, Gas Pipeline Metering Cost and Miscellaneous Expenses.  The amount of the Owner’s Expense is estimated at $1.2 million for the 1999 Plants and $1.1 million for the 2000 Plants.

- Property Taxes.  The amount of the property taxes is estimated at $1.3 million for the 1999 Plants and $0.6 million for the 2000 Plants ($ 2000).  Property taxes vary based on abatement programs and other local issues.  Property taxes are not escalated annually.

- Franchise Tax. Franchise Tax is calculated for Brownsville, Gleason, New Albany, Caledonia and Wilton.  For Brownsville and Gleason, Tennessee imposes a .25% tax on the higher of (1) capital stock less treasury stock or stock held in other Tennessee corporations, retained earnings, indebtedness to, or guaranteed by, affiliated corporations and all reserves that do not represent legal liabilities, or, (2) the cost of all property owned less book (GAAP) accumulated depreciation.  For New Albany and Caledonia, Mississippi imposes a .25% tax on corporation capital employed in Mississippi.  The measure of capital includes stock, paid-in-capital, surplus and retained earnings less certain reserves.  For Wilton, Illinois imposes a franchise tax, which is the product of the computed paid-in capital multiplied by a .15% (drops to .10% after first year) rate.  The computed paid-in capital is comprised of consideration paid for stock, any other consideration contributed to the corporations by a shareholder and any amounts added or transferred to paid-in capital by the board of directors.

D.	Accounting and Tax Assumptions

- Depreciation and Amortization.  A 15-year MACRS depreciation schedule has been assumed for the calculation of cash taxes.  Book depreciation uses a 30-year straight-line schedule, with a residual value for the assets of 10%.

- Income Taxes.  Federal tax and State income tax benefits from the Plants are calculated assuming utilization on a carry forward basis at the holding company level.  The applicable local state income tax rates are listed in the Key Inputs table.