# Ft. Pierce Project Description

Expected Deal Close Date:

Operational Date: 6/1/2002

## Deal Summary

## CT Turbine

As of 2/16/2001 we are looking at procuring a 501F from the South America group, which would generate approximately 292 MW on the entire facility.

## Gas Delivery

Currently, we are looking at purchasing the gas for Ft. Pierce at an index price.  The gas and power structuring team are looking at what blend of index energy and calls would best suit the operating needs of the plant.

It is expected that Ft. Pierce will deliver gas at a 9,500 HR for 82 MW of output, when they dispatch the plant.  Ft. Pierce has transport agreements for 13,900 of capacity.  If Ft. Pierce does not use this capacity, it turns over to Florida Gas Utilities.  Dave Fairley is working with Ft. Pierce to see whether ENA can use this capacity when Ft. Pierce has not dispatched.

There are several alternatives available to deliver gas to the plant.  The Phase VI expansion on FGT starts in June of 2003.  Until this pipe is expanded, it would be up to the East Gas desk to deliver the gas.  Currently, the East desk has some NUI capacity (HOW MUCH NUI CAPACITY TO WE OWN?) that could be used to serve the plant, but if the desk could make more money selling the capacity, they would do this, and serve the Ft. Pierce facility from the market until the Phase VI expansion.

FGT Phase VI expansion: It is in Enron’s best interest to participate in the Phase VI expansion.  The deal team is confident we can sell this capacity if we do not use it for this project.  Fuel losses on the transport capacity are capped at 3.25%, but the estimate for this project is 2.25%. The Phase VI expansion is for approximately 150,000 – 200,000 mmbtu a day.  A positive characteristic of the Phase VI expansion, is the tilt feature.  FGT is allowing transporters to purchase their max quantity in the summers, and 28% of this amount in the winters.  This minimizes the amount of demand that the customer must pay in the months when usage is low.

## Fuel Oil

There is a backup fuel oil tank on the site, but there are a couple of points to take note of:

- Current permitting limits the run hours to 600-1000 hours a year

- The site currently has only 2-3 days of fuel on site (half of this belongs to FPUA) CHECK – DOES THIS INCLUDE FPUA’S ALLOCATION?

- As part of the upgrades to the site, ENA plans to install a new tank, which is safer than the tank that currently resides on the site.  The new tank has 2 walls, so the containment area is no longer needed.

- The current permit only allows for 660,000 gallons of fuel on site, due to the size of the containment area, and the structure of the tank.  Once the new tank is installed, the deal team (?regulatory)  feels that we can re-permit the site and increase the storage capacity from 660,000 to 1,000,000 gallons.

## Pricing Scenarios

Note:  If Ft. Pierce dispatches, when ENA dispatches, Ft. Pierce must contractually provide 9,500 btu/kwh.  If ENA does not dispatch, Ft. Pierce must provide 12,200 btu/kwh to run their boilers.

- No one runs the plant

- Ft. Pierce & ENA dispatches the plant

|  | Ft. Pierce | ENA | Facility | Boiler |
| --- | --- | --- | --- | --- |
| ### MW | 82 | 210 | 292 | N/A |
| HR | 9,500 | 6,692 | 7,563 | 12,200 |

- Ft. Pierce does not dispatch, ENA dispatches the plant, and tolls through Ft. Pierces boilers

|  | Ft. Pierce | ENA | Facility | Boiler |
| --- | --- | --- | --- | --- |
| ### MW | 0 | 292 | 292 | N/A |
| HR |  |  | 7,563 | 12,200 |

- Ft. Pierce dispatches, ENA does not dispatch

|  | Ft. Pierce | ENA | Facility | Boiler |
| --- | --- | --- | --- | --- |
| ### MW | 82 | 0 | 82 | N/A |
| HR | 12,200 |  | 12,200 | 12,200 |